| Pick List 20A1001 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | ADMINISTRATIVE IDENTIFICATIONS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017a | Defined attribute 1 name | Contact | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | Equipment module | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | Production line | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | SERVICE IDENTIFICATIONS | SECTION TITLE |  |
| 019 | Tag/Functional ident |  |  |
| 020 | Related equipment |  |  |
| 021 | Service |  |  |
| 023 | P&ID/Reference dwg number |  |  |
| 024 | Process line/nozzle no | NA |  |
| 025 | Process conn pipe spec | NA |  |
| 026a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 1/8 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 10 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 12 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 14 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 16 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 18 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 20 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 22 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 24 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 26 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 28 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 3/8 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 30 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 32 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 34 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 36 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 38 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 40 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 42 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 44 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 46 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 48 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 50 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 52 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 54 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 56 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 58 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 6 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 60 in | NOMINAL SIZE |
| 026a | Process conn nominal size | 8 in | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 10 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 100 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 1000 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 1200 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 125 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 1400 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 15 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 150 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 1500 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 20 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 200 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 25 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 250 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 300 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 32 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 350 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 40 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 400 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 450 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 50 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 500 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 550 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 600 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 65 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 700 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 80 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 800 | NOMINAL SIZE |
| 026a | Process conn nominal size | DN 900 | NOMINAL SIZE |
| 026b | Process conn nom rating | cl 125 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 25 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 250 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 400 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 75 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 800 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 10 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 100 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 150 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 16 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 20 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 25 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 250 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 40 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 420 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 50 | NOMINAL PRESSURE/RATING |
| 026b | Process conn nom rating | PN 6 | NOMINAL PRESSURE/RATING |
| 027a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 027a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 027a | Process conn termn type | flangeless | END CONNECTION CATEGORY |
| 027a | Process conn termn type | flg adptr | END CONNECTION CATEGORY |
| 027a | Process conn termn type | plain | END CONNECTION CATEGORY |
| 027a | Process conn termn type | sep flg | END CONNECTION CATEGORY |
| 027a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 027a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 027b | Process conn termn style | 16A | END CONNECTION TYPE |
| 027b | Process conn termn style | 16A w/nut | END CONNECTION TYPE |
| 027b | Process conn termn style | 16AMP | END CONNECTION TYPE |
| 027b | Process conn termn style | beveled | END CONNECTION TYPE |
| 027b | Process conn termn style | boss | END CONNECTION TYPE |
| 027b | Process conn termn style | BSP(F) | END CONNECTION TYPE |
| 027b | Process conn termn style | BSPP | END CONNECTION TYPE |
| 027b | Process conn termn style | BW | END CONNECTION TYPE |
| 027b | Process conn termn style | cameron | END CONNECTION TYPE |
| 027b | Process conn termn style | chiksan | END CONNECTION TYPE |
| 027b | Process conn termn style | chiksan | END CONNECTION TYPE |
| 027b | Process conn termn style | FF | END CONNECTION TYPE |
| 027b | Process conn termn style | grayloc | END CONNECTION TYPE |
| 027b | Process conn termn style | grooved | END CONNECTION TYPE |
| 027b | Process conn termn style | hub | END CONNECTION TYPE |
| 027b | Process conn termn style | LGE F | END CONNECTION TYPE |
| 027b | Process conn termn style | LGE M | END CONNECTION TYPE |
| 027b | Process conn termn style | LGE M&F | END CONNECTION TYPE |
| 027b | Process conn termn style | LJ | END CONNECTION TYPE |
| 027b | Process conn termn style | NA | END CONNECTION TYPE |
| 027b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 027b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 027b | Process conn termn style | NPT-LH | END CONNECTION TYPE |
| 027b | Process conn termn style | pancake | END CONNECTION TYPE |
| 027b | Process conn termn style | RF | END CONNECTION TYPE |
| 027b | Process conn termn style | RTJ | END CONNECTION TYPE |
| 027b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 027b | Process conn termn style | SW(M) | END CONNECTION TYPE |
| 027b | Process conn termn style | T&G | END CONNECTION TYPE |
| 027b | Process conn termn style | tri-Clamp | END CONNECTION TYPE |
| 027b | Process conn termn style | VS | END CONNECTION TYPE |
| 027b | Process conn termn style | weld-in | END CONNECTION TYPE |
| 027b | Process conn termn style | WN | END CONNECTION TYPE |
| 028a | Process conn schedule no | 10 |  |
| 028a | Process conn schedule no | 100 |  |
| 028a | Process conn schedule no | 10S |  |
| 028a | Process conn schedule no | 120 |  |
| 028a | Process conn schedule no | 140 |  |
| 028a | Process conn schedule no | 160 |  |
| 028a | Process conn schedule no | 20 |  |
| 028a | Process conn schedule no | 30 |  |
| 028a | Process conn schedule no | 40 |  |
| 028a | Process conn schedule no | 40S |  |
| 028a | Process conn schedule no | 5 |  |
| 028a | Process conn schedule no | 5S |  |
| 028a | Process conn schedule no | 60 |  |
| 028a | Process conn schedule no | 80 |  |
| 028a | Process conn schedule no | 80S |  |
| 028a | Process conn schedule no | std |  |
| 028a | Process conn schedule no | XS |  |
| 028a | Process conn schedule no | XXS |  |
| 028b | Process conn wall thickness |  |  |
| 028bu | Process conn thkns units | in | UNITS |
| 028bu | Process conn thkns units | mm | UNITS |
| 029 | Process connection length |  |  |
| 029u | Process conn lg units | in | UNITS |
| 029u | Process conn lg units | mm | UNITS |
| 030 | Process line matl type | alloy steel | MATERIAL |
| 030 | Process line matl type | aluminum | MATERIAL |
| 030 | Process line matl type | carbon steel | MATERIAL |
| 030 | Process line matl type | cobalt Alloy | MATERIAL |
| 030 | Process line matl type | copper Alloy | MATERIAL |
| 030 | Process line matl type | ductile Iron | MATERIAL |
| 030 | Process line matl type | FRP | MATERIAL |
| 030 | Process line matl type | iron (Cast) | MATERIAL |
| 030 | Process line matl type | low temp Carbon steel | MATERIAL |
| 030 | Process line matl type | monel | MATERIAL |
| 030 | Process line matl type |  | MATERIAL |
| 030 | Process line matl type | NA | MATERIAL |
| 030 | Process line matl type | nickel Alloy | MATERIAL |
| 030 | Process line matl type | stainless Steel | MATERIAL |
| 030 | Process line matl type | titanium | MATERIAL |
| 030 | Process line matl type | zinc Alloy | MATERIAL |
| 031 | Fast loop line number | NA |  |
| 032 | Fast loop pipe spec | NA |  |
| 033a | Fast loop conn nom size | 1 1/2 in |  |
| 033a | Fast loop conn nom size | 1 1/4 in |  |
| 033a | Fast loop conn nom size | 1 in |  |
| 033a | Fast loop conn nom size | 1/2 in |  |
| 033a | Fast loop conn nom size | 1/4 in |  |
| 033a | Fast loop conn nom size | 1/8 in |  |
| 033a | Fast loop conn nom size | 2 1/2 in |  |
| 033a | Fast loop conn nom size | 2 in |  |
| 033a | Fast loop conn nom size | 3 in |  |
| 033a | Fast loop conn nom size | 3/4 in |  |
| 033a | Fast loop conn nom size | 3/8 in |  |
| 033a | Fast loop conn nom size | DN 10 |  |
| 033a | Fast loop conn nom size | DN 15 |  |
| 033a | Fast loop conn nom size | DN 1500 |  |
| 033a | Fast loop conn nom size | DN 20 |  |
| 033a | Fast loop conn nom size | DN 25 |  |
| 033a | Fast loop conn nom size | DN 32 |  |
| 033a | Fast loop conn nom size | DN 40 |  |
| 033a | Fast loop conn nom size | DN 50 |  |
| 033a | Fast loop conn nom size | DN 65 |  |
| 033a | Fast loop conn nom size | DN 80 |  |
| 033b | Fast loop conn nom rating | cl 125 |  |
| 033b | Fast loop conn nom rating | cl 150 |  |
| 033b | Fast loop conn nom rating | cl 1500 |  |
| 033b | Fast loop conn nom rating | cl 25 |  |
| 033b | Fast loop conn nom rating | cl 250 |  |
| 033b | Fast loop conn nom rating | cl 2500 |  |
| 033b | Fast loop conn nom rating | cl 300 |  |
| 033b | Fast loop conn nom rating | cl 400 |  |
| 033b | Fast loop conn nom rating | cl 4500 |  |
| 033b | Fast loop conn nom rating | cl 600 |  |
| 033b | Fast loop conn nom rating | cl 75 |  |
| 033b | Fast loop conn nom rating | cl 800 |  |
| 033b | Fast loop conn nom rating | cl 900 |  |
| 033b | Fast loop conn nom rating | PN 10 |  |
| 033b | Fast loop conn nom rating | PN 100 |  |
| 033b | Fast loop conn nom rating | PN 150 |  |
| 033b | Fast loop conn nom rating | PN 16 |  |
| 033b | Fast loop conn nom rating | PN 2.5 |  |
| 033b | Fast loop conn nom rating | PN 20 |  |
| 033b | Fast loop conn nom rating | PN 25 |  |
| 033b | Fast loop conn nom rating | PN 250 |  |
| 033b | Fast loop conn nom rating | PN 40 |  |
| 033b | Fast loop conn nom rating | PN 420 |  |
| 033b | Fast loop conn nom rating | PN 50 |  |
| 033b | Fast loop conn nom rating | PN 6 |  |
| 034a | Fast loop conn termn type | clamped |  |
| 034a | Fast loop conn termn type | flanged |  |
| 034a | Fast loop conn termn type | flangeless |  |
| 034a | Fast loop conn termn type | flg adptr |  |
| 034a | Fast loop conn termn type | plain |  |
| 034a | Fast loop conn termn type | sep flg |  |
| 034a | Fast loop conn termn type | threaded |  |
| 034a | Fast loop conn termn type | welded |  |
| 034b | Fast loop conn termn style | 16A |  |
| 034b | Fast loop conn termn style | 16A w/nut |  |
| 034b | Fast loop conn termn style | 16AMP |  |
| 034b | Fast loop conn termn style | beveled |  |
| 034b | Fast loop conn termn style | boss |  |
| 034b | Fast loop conn termn style | BSP(F) |  |
| 034b | Fast loop conn termn style | BSPP |  |
| 034b | Fast loop conn termn style | bw |  |
| 034b | Fast loop conn termn style | cameron |  |
| 034b | Fast loop conn termn style | chiksan |  |
| 034b | Fast loop conn termn style | chiksan |  |
| 034b | Fast loop conn termn style | ff |  |
| 034b | Fast loop conn termn style | grayloc |  |
| 034b | Fast loop conn termn style | grooved |  |
| 034b | Fast loop conn termn style | hub |  |
| 034b | Fast loop conn termn style | LGE F |  |
| 034b | Fast loop conn termn style | LGE M |  |
| 034b | Fast loop conn termn style | LGE M&F |  |
| 034b | Fast loop conn termn style | lj |  |
| 034b | Fast loop conn termn style | NA |  |
| 034b | Fast loop conn termn style | NPT(F) |  |
| 034b | Fast loop conn termn style | NPT(M) |  |
| 034b | Fast loop conn termn style | NPT-LH |  |
| 034b | Fast loop conn termn style | pancake |  |
| 034b | Fast loop conn termn style | RF |  |
| 034b | Fast loop conn termn style | RTJ |  |
| 034b | Fast loop conn termn style | SW(F) |  |
| 034b | Fast loop conn termn style | SW(M) |  |
| 034b | Fast loop conn termn style | T&G |  |
| 034b | Fast loop conn termn style | tri-Clamp |  |
| 034b | Fast loop conn termn style | VS |  |
| 034b | Fast loop conn termn style | weld-in |  |
| 034b | Fast loop conn termn style | WN |  |
| 035a | Fast loop schedule no | 10 |  |
| 035a | Fast loop schedule no | 100 |  |
| 035a | Fast loop schedule no | 10S |  |
| 035a | Fast loop schedule no | 120 |  |
| 035a | Fast loop schedule no | 140 |  |
| 035a | Fast loop schedule no | 160 |  |
| 035a | Fast loop schedule no | 20 |  |
| 035a | Fast loop schedule no | 30 |  |
| 035a | Fast loop schedule no | 40 |  |
| 035a | Fast loop schedule no | 40S |  |
| 035a | Fast loop schedule no | 5 |  |
| 035a | Fast loop schedule no | 5S |  |
| 035a | Fast loop schedule no | 60 |  |
| 035a | Fast loop schedule no | 80 |  |
| 035a | Fast loop schedule no | 80S |  |
| 035a | Fast loop schedule no | std |  |
| 035a | Fast loop schedule no | XS |  |
| 035a | Fast loop schedule no | XXS |  |
| 035b | Fast loop wall thickness |  |  |
| 035bu | Fast loop thkns units | in | UNITS |
| 035bu | Fast loop thkns units | mm | UNITS |
| 036 | Fast loop estimated lg |  |  |
| 036u | Fast loop estimated lg units | in | UNITS |
| 036u | Fast loop estimated lg units | mm | UNITS |
| 037 | Fast loop material type | alloy steel | MATERIAL |
| 037 | Fast loop material type | aluminum | MATERIAL |
| 037 | Fast loop material type | carbon steel | MATERIAL |
| 037 | Fast loop material type | cobalt Alloy | MATERIAL |
| 037 | Fast loop material type | copper Alloy | MATERIAL |
| 037 | Fast loop material type | ductile Iron | MATERIAL |
| 037 | Fast loop material type | FRP | MATERIAL |
| 037 | Fast loop material type | iron (Cast) | MATERIAL |
| 037 | Fast loop material type | low temp Carbon steel | MATERIAL |
| 037 | Fast loop material type | monel | MATERIAL |
| 037 | Fast loop material type |  | MATERIAL |
| 037 | Fast loop material type | NA | MATERIAL |
| 037 | Fast loop material type | nickel Alloy | MATERIAL |
| 037 | Fast loop material type | stainless Steel | MATERIAL |
| 037 | Fast loop material type | titanium | MATERIAL |
| 037 | Fast loop material type | zinc Alloy | MATERIAL |
| 038a | Return conn nominal size | 1 1/2 in |  |
| 038a | Return conn nominal size | 1 1/4 in |  |
| 038a | Return conn nominal size | 1 in |  |
| 038a | Return conn nominal size | 1/2 in |  |
| 038a | Return conn nominal size | 1/4 in |  |
| 038a | Return conn nominal size | 1/8 in |  |
| 038a | Return conn nominal size | 10 in |  |
| 038a | Return conn nominal size | 12 in |  |
| 038a | Return conn nominal size | 14 in |  |
| 038a | Return conn nominal size | 16 in |  |
| 038a | Return conn nominal size | 18 in |  |
| 038a | Return conn nominal size | 2 1/2 in |  |
| 038a | Return conn nominal size | 2 in |  |
| 038a | Return conn nominal size | 20 in |  |
| 038a | Return conn nominal size | 22 in |  |
| 038a | Return conn nominal size | 24 in |  |
| 038a | Return conn nominal size | 26 in |  |
| 038a | Return conn nominal size | 28 in |  |
| 038a | Return conn nominal size | 3 in |  |
| 038a | Return conn nominal size | 3/4 in |  |
| 038a | Return conn nominal size | 3/8 in |  |
| 038a | Return conn nominal size | 30 in |  |
| 038a | Return conn nominal size | 32 in |  |
| 038a | Return conn nominal size | 34 in |  |
| 038a | Return conn nominal size | 36 in |  |
| 038a | Return conn nominal size | 38 in |  |
| 038a | Return conn nominal size | 4 in |  |
| 038a | Return conn nominal size | 40 in |  |
| 038a | Return conn nominal size | 42 in |  |
| 038a | Return conn nominal size | 44 in |  |
| 038a | Return conn nominal size | 46 in |  |
| 038a | Return conn nominal size | 48 in |  |
| 038a | Return conn nominal size | 50 in |  |
| 038a | Return conn nominal size | 52 in |  |
| 038a | Return conn nominal size | 54 in |  |
| 038a | Return conn nominal size | 56 in |  |
| 038a | Return conn nominal size | 58 in |  |
| 038a | Return conn nominal size | 6 in |  |
| 038a | Return conn nominal size | 60 in |  |
| 038a | Return conn nominal size | 8 in |  |
| 038a | Return conn nominal size | DN 10 |  |
| 038a | Return conn nominal size | DN 100 |  |
| 038a | Return conn nominal size | DN 1000 |  |
| 038a | Return conn nominal size | DN 1200 |  |
| 038a | Return conn nominal size | DN 125 |  |
| 038a | Return conn nominal size | DN 1400 |  |
| 038a | Return conn nominal size | DN 15 |  |
| 038a | Return conn nominal size | DN 150 |  |
| 038a | Return conn nominal size | DN 1500 |  |
| 038a | Return conn nominal size | DN 20 |  |
| 038a | Return conn nominal size | DN 200 |  |
| 038a | Return conn nominal size | DN 25 |  |
| 038a | Return conn nominal size | DN 250 |  |
| 038a | Return conn nominal size | DN 300 |  |
| 038a | Return conn nominal size | DN 32 |  |
| 038a | Return conn nominal size | DN 350 |  |
| 038a | Return conn nominal size | DN 40 |  |
| 038a | Return conn nominal size | DN 400 |  |
| 038a | Return conn nominal size | DN 450 |  |
| 038a | Return conn nominal size | DN 50 |  |
| 038a | Return conn nominal size | DN 500 |  |
| 038a | Return conn nominal size | DN 550 |  |
| 038a | Return conn nominal size | DN 600 |  |
| 038a | Return conn nominal size | DN 65 |  |
| 038a | Return conn nominal size | DN 700 |  |
| 038a | Return conn nominal size | DN 80 |  |
| 038a | Return conn nominal size | DN 800 |  |
| 038a | Return conn nominal size | DN 900 |  |
| 038b | Return conn nom rating | cl 125 |  |
| 038b | Return conn nom rating | cl 150 |  |
| 038b | Return conn nom rating | cl 1500 |  |
| 038b | Return conn nom rating | cl 25 |  |
| 038b | Return conn nom rating | cl 250 |  |
| 038b | Return conn nom rating | cl 2500 |  |
| 038b | Return conn nom rating | cl 300 |  |
| 038b | Return conn nom rating | cl 400 |  |
| 038b | Return conn nom rating | cl 4500 |  |
| 038b | Return conn nom rating | cl 600 |  |
| 038b | Return conn nom rating | cl 75 |  |
| 038b | Return conn nom rating | cl 800 |  |
| 038b | Return conn nom rating | cl 900 |  |
| 038b | Return conn nom rating | PN 10 |  |
| 038b | Return conn nom rating | PN 100 |  |
| 038b | Return conn nom rating | PN 150 |  |
| 038b | Return conn nom rating | PN 16 |  |
| 038b | Return conn nom rating | PN 2.5 |  |
| 038b | Return conn nom rating | PN 20 |  |
| 038b | Return conn nom rating | PN 25 |  |
| 038b | Return conn nom rating | PN 250 |  |
| 038b | Return conn nom rating | PN 40 |  |
| 038b | Return conn nom rating | PN 420 |  |
| 038b | Return conn nom rating | PN 50 |  |
| 038b | Return conn nom rating | PN 6 |  |
| 039a | Return conn termn type | clamped |  |
| 039a | Return conn termn type | flanged |  |
| 039a | Return conn termn type | flangeless |  |
| 039a | Return conn termn type | flg adptr |  |
| 039a | Return conn termn type | plain |  |
| 039a | Return conn termn type | sep flg |  |
| 039a | Return conn termn type | threaded |  |
| 039a | Return conn termn type | welded |  |
| 039b | Return conn termn style | 16A |  |
| 039b | Return conn termn style | 16A w/nut |  |
| 039b | Return conn termn style | 16AMP |  |
| 039b | Return conn termn style | beveled |  |
| 039b | Return conn termn style | boss |  |
| 039b | Return conn termn style | BSP(F) |  |
| 039b | Return conn termn style | BSPP |  |
| 039b | Return conn termn style | BW |  |
| 039b | Return conn termn style | cameron |  |
| 039b | Return conn termn style | chiksan |  |
| 039b | Return conn termn style | chiksan |  |
| 039b | Return conn termn style | FF |  |
| 039b | Return conn termn style | grayloc |  |
| 039b | Return conn termn style | grooved |  |
| 039b | Return conn termn style | hub |  |
| 039b | Return conn termn style | LGE F |  |
| 039b | Return conn termn style | LGE M |  |
| 039b | Return conn termn style | LGE M&F |  |
| 039b | Return conn termn style | LJ |  |
| 039b | Return conn termn style | NA |  |
| 039b | Return conn termn style | NPT(F) |  |
| 039b | Return conn termn style | NPT(M) |  |
| 039b | Return conn termn style | NPT-LH |  |
| 039b | Return conn termn style | pancake |  |
| 039b | Return conn termn style | RF |  |
| 039b | Return conn termn style | RTJ |  |
| 039b | Return conn termn style | SW(F) |  |
| 039b | Return conn termn style | SW(M) |  |
| 039b | Return conn termn style | T&G |  |
| 039b | Return conn termn style | tri-Clamp |  |
| 039b | Return conn termn style | VS |  |
| 039b | Return conn termn style | weld-in |  |
| 039b | Return conn termn style | WN |  |
| 041 | Return conn matl type | alloy steel | MATERIAL |
| 041 | Return conn matl type | aluminum | MATERIAL |
| 041 | Return conn matl type | carbon steel | MATERIAL |
| 041 | Return conn matl type | cobalt Alloy | MATERIAL |
| 041 | Return conn matl type | copper Alloy | MATERIAL |
| 041 | Return conn matl type | ductile Iron | MATERIAL |
| 041 | Return conn matl type | FRP | MATERIAL |
| 041 | Return conn matl type | iron (Cast) | MATERIAL |
| 041 | Return conn matl type | low temp Carbon steel | MATERIAL |
| 041 | Return conn matl type | monel | MATERIAL |
| 041 | Return conn matl type | monel | MATERIAL |
| 041 | Return conn matl type | NA | MATERIAL |
| 041 | Return conn matl type | nickel Alloy | MATERIAL |
| 041 | Return conn matl type | stainless Steel | MATERIAL |
| 041 | Return conn matl type | titanium | MATERIAL |
| 041 | Return conn matl type | zinc Alloy | MATERIAL |
| 042a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 042a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 042a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 042b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 042b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 042b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 042c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 042c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 042c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 042c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 042c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 042c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 042c | Inline hazardous area gr | G | AREA CLASSIFICATION (GROUP) |
| 042c | Inline hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 042c | Inline hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 042c | Inline hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 043a | Inline area min ign temp |  |  |
| 043au | Inline ign temp units | °C | UNITS |
| 043au | Inline ign temp units | °F | UNITS |
| 043au | Inline ign temp units | C | UNITS |
| 043au | Inline ign temp units | F | UNITS |
| 043b | Inline ign temp ident no | T1 |  |
| 043b | Inline ign temp ident no | T2 |  |
| 043b | Inline ign temp ident no | T2A |  |
| 043b | Inline ign temp ident no | T2B |  |
| 043b | Inline ign temp ident no | T2C |  |
| 043b | Inline ign temp ident no | T2D |  |
| 043b | Inline ign temp ident no | T3 |  |
| 043b | Inline ign temp ident no | T3A |  |
| 043b | Inline ign temp ident no | T3B |  |
| 043b | Inline ign temp ident no | T3C |  |
| 043b | Inline ign temp ident no | T4 |  |
| 043b | Inline ign temp ident no | T4A |  |
| 043b | Inline ign temp ident no | T5 |  |
| 043b | Inline ign temp ident no | T6 |  |
| 044a | Remote hazardous area cl | I |  |
| 044a | Remote hazardous area cl | II |  |
| 044a | Remote hazardous area cl | III |  |
| 044b | Remote hazardous Div/Zone | 0 |  |
| 044b | Remote hazardous Div/Zone | 1 |  |
| 044b | Remote hazardous Div/Zone | 2 |  |
| 044c | Remote hazardous area gr | A |  |
| 044c | Remote hazardous area gr | B |  |
| 044c | Remote hazardous area gr | C |  |
| 044c | Remote hazardous area gr | D |  |
| 044c | Remote hazardous area gr | E |  |
| 044c | Remote hazardous area gr | F |  |
| 044c | Remote hazardous area gr | G |  |
| 044c | Remote hazardous area gr | IIA |  |
| 044c | Remote hazardous area gr | IIB |  |
| 044c | Remote hazardous area gr | IIC |  |
| 045a | Remote area min ign temp |  |  |
| 045au | Remote area min ign temp units | °C | UNITS |
| 045au | Remote area min ign temp units | °F | UNITS |
| 045au | Remote area min ign temp units | C | UNITS |
| 045au | Remote area min ign temp units | F | UNITS |
| 045b | Remote ign temp ident no | T1 |  |
| 045b | Remote ign temp ident no | T2 |  |
| 045b | Remote ign temp ident no | T2A |  |
| 045b | Remote ign temp ident no | T2B |  |
| 045b | Remote ign temp ident no | T2C |  |
| 045b | Remote ign temp ident no | T2D |  |
| 045b | Remote ign temp ident no | T3 |  |
| 045b | Remote ign temp ident no | T3A |  |
| 045b | Remote ign temp ident no | T3B |  |
| 045b | Remote ign temp ident no | T3C |  |
| 045b | Remote ign temp ident no | T4 |  |
| 045b | Remote ign temp ident no | T4A |  |
| 045b | Remote ign temp ident no | T5 |  |
| 045b | Remote ign temp ident no | T6 |  |
| 046a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 047a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 048 | COMPONENT DESIGN CRITERIA | SECTION TITLE |  |
| 049 | Component Type | boiling point analy xmtr |  |
| 049 | Component Type | btu analyzer transmitter |  |
| 049 | Component Type | chlorine analyzer xmtr |  |
| 049 | Component Type | chromatograph analyzer |  |
| 049 | Component Type | cloud/flash/bp analyzer |  |
| 049 | Component Type | colorimeter |  |
| 049 | Component Type | combustible gas monitor |  |
| 049 | Component Type | combustible gas xmtr |  |
| 049 | Component Type | conductivity sensor |  |
| 049 | Component Type | corrosion sensor |  |
| 049 | Component Type | density detector |  |
| 049 | Component Type | density transmitter |  |
| 049 | Component Type | dew point detector |  |
| 049 | Component Type | dissolved oxygen analy |  |
| 049 | Component Type | flash point xmtr |  |
| 049 | Component Type | humidity element |  |
| 049 | Component Type | hydrazine analyzer xmtr |  |
| 049 | Component Type | hydrocarbon detector |  |
| 049 | Component Type | hydrocarbon transmitter |  |
| 049 | Component Type | infrared analyzer element |  |
| 049 | Component Type | infrared analyzer xmtr |  |
| 049 | Component Type | mass spec analyzer xmtr |  |
| 049 | Component Type | meteorological monitor |  |
| 049 | Component Type | moisture detector |  |
| 049 | Component Type | oil-in-water detector |  |
| 049 | Component Type | opacity detector |  |
| 049 | Component Type | orp sensor |  |
| 049 | Component Type | oxygen detector |  |
| 049 | Component Type | ph sensor |  |
| 049 | Component Type | phosgene detector |  |
| 049 | Component Type | pour point xmtr |  |
| 049 | Component Type | residual chlorine analyze |  |
| 049 | Component Type | sample conditioning sys |  |
| 049 | Component Type | silica analyzer |  |
| 049 | Component Type | solids xmtr nuclear type |  |
| 049 | Component Type | specific gravity xmtr |  |
| 049 | Component Type | specific ion transmitter |  |
| 049 | Component Type | stack gas monitor xmtr |  |
| 049 | Component Type | steam/water analysis |  |
| 049 | Component Type | sulphur sensor |  |
| 049 | Component Type | tc/toc analyzer xmtr |  |
| 049 | Component Type | tc/toc detector |  |
| 049 | Component Type | thermal conductivity xmtr |  |
| 049 | Component Type | toxic gas detector |  |
| 049 | Component Type | trace oxygen xmtr |  |
| 049 | Component Type | turbidimeter |  |
| 049 | Component Type | ultraviolet analyzer |  |
| 049 | Component Type | viscometer |  |
| 049 | Component Type | water in oil detector |  |
| 049 | Component Type | water quality monitor |  |
| 050 | Component style | flowing ref electrolyte | INSTRUMENT TYPE |
| 050 | Component style | flow-through | INSTRUMENT TYPE |
| 050 | Component style | H2S detector | INSTRUMENT TYPE |
| 050 | Component style | inline | INSTRUMENT TYPE |
| 050 | Component style | insertion | INSTRUMENT TYPE |
| 050 | Component style | SO2 detector | INSTRUMENT TYPE |
| 050 | Component style | SOX detector | INSTRUMENT TYPE |
| 051 | Output signal type | analog current | SIGNAL |
| 051 | Output signal type | analog current & relays | SIGNAL |
| 051 | Output signal type | analog pneumatic | SIGNAL |
| 051 | Output signal type | analog voltage | SIGNAL |
| 051 | Output signal type | binary pneumatic | SIGNAL |
| 051 | Output signal type | digital multi-variable | SIGNAL |
| 051 | Output signal type | digital single-variable | SIGNAL |
| 051 | Output signal type | dry contact | SIGNAL |
| 051 | Output signal type | NA | SIGNAL |
| 051 | Output signal type | relay | SIGNAL |
| 051 | Output signal type | smart multivariable | SIGNAL |
| 051 | Output signal type | smart,single variable | SIGNAL |
| 052 | Characteristic curve | linear with mass | CHARACTERISTIC CURVE |
| 052 | Characteristic curve | linear with measurement | CHARACTERISTIC CURVE |
| 052 | Characteristic curve | linear with volume | CHARACTERISTIC CURVE |
| 052 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 052 | Characteristic curve | square root | CHARACTERISTIC CURVE |
| 053 | Compensation style | average temperature |  |
| 053 | Compensation style | NA |  |
| 053 | Compensation style | source decay |  |
| 054 | Type of protection | continuous dilution | TYPE OF PROTECTION |
| 054 | Type of protection | encapsulation | TYPE OF PROTECTION |
| 054 | Type of protection | explosion proof enclosure | TYPE OF PROTECTION |
| 054 | Type of protection | flameproof | TYPE OF PROTECTION |
| 054 | Type of protection | increased safety | TYPE OF PROTECTION |
| 054 | Type of protection | intrinsic safety | TYPE OF PROTECTION |
| 054 | Type of protection | NA | TYPE OF PROTECTION |
| 054 | Type of protection | nonincendive equipment | TYPE OF PROTECTION |
| 054 | Type of protection | pressurization | TYPE OF PROTECTION |
| 054 | Type of protection | restricted breathing | TYPE OF PROTECTION |
| 054 | Type of protection | special protection | TYPE OF PROTECTION |
| 055 | Criticality code | 1 | CRITICALITY CODE |
| 055 | Criticality code | 2 | CRITICALITY CODE |
| 055 | Criticality code | 3 | CRITICALITY CODE |
| 056a | Max EMI susceptibility | 1-a:0.1 |  |
| 056a | Max EMI susceptibility | 1-b:0.1 |  |
| 056a | Max EMI susceptibility | 1-c:0.1 |  |
| 056a | Max EMI susceptibility | 2-a:0.1 |  |
| 056a | Max EMI susceptibility | 2-b:0.1 |  |
| 056a | Max EMI susceptibility | 2-c:0.1 |  |
| 056a | Max EMI susceptibility | 3-a:0.1 |  |
| 056a | Max EMI susceptibility | 3-b:0.1 |  |
| 056a | Max EMI susceptibility | 3-c:0.1 |  |
| 056b | Ref base susceptibility | % reading |  |
| 056b | Ref base susceptibility | % span |  |
| 056b | Ref base susceptibility | % Span@30 V/m |  |
| 057a | Max temperature effect |  |  |
| 057b | Ref base max temp effect | % span/100 F |  |
| 058 | Max sample time lag |  |  |
| 058u | Max sample time lag units | s | UNITS |
| 059 | Max response time |  |  |
| 059u | Max response time units | s | UNITS |
| 060a | Min required accuracy | .1 |  |
| 060a | Min required accuracy | .2 |  |
| 060b | Accuracy rating ref base | % input span | ACCURACY REFERENCE |
| 060b | Accuracy rating ref base | % scale | ACCURACY REFERENCE |
| 060b | Accuracy rating ref base | % URV | ACCURACY REFERENCE |
| 061a | Avail nom power supply | 110 |  |
| 061a | Avail nom power supply | 115 |  |
| 061a | Avail nom power supply | 12 |  |
| 061a | Avail nom power supply | 120 |  |
| 061a | Avail nom power supply | 20 |  |
| 061a | Avail nom power supply | 220 |  |
| 061a | Avail nom power supply | 230 |  |
| 061a | Avail nom power supply | 24 |  |
| 061a | Avail nom power supply | 240 |  |
| 061a | Avail nom power supply | 250 |  |
| 061a | Avail nom power supply | 32 |  |
| 061au | Power supply units | bar(g) | UNITS |
| 061au | Power supply units | kPa(g) | UNITS |
| 061au | Power supply units | psig | UNITS |
| 061au | Power supply units | V(ac) | UNITS |
| 061au | Power supply units | V(dc) | UNITS |
| 061b | Number wires | 2 |  |
| 061b | Number wires | 3 |  |
| 061b | Number wires | 4 |  |
| 061b | Number wires | NA |  |
| 062 | Calibration method | automatic |  |
| 062 | Calibration method | NA |  |
| 063 | Testing/Listing agency | BASEEFA |  |
| 063 | Testing/Listing agency | CENELEC |  |
| 063 | Testing/Listing agency | CSA |  |
| 063 | Testing/Listing agency | FM |  |
| 063 | Testing/Listing agency | ISSEP |  |
| 063 | Testing/Listing agency | JIS/RIIS |  |
| 063 | Testing/Listing agency | LCIE |  |
| 063 | Testing/Listing agency | NA |  |
| 063 | Testing/Listing agency | SAA |  |
| 063 | Testing/Listing agency | UL |  |
| 063 | Testing/Listing agency | VNIIVE |  |
| 064 | Test requirements | hydrostatic press test |  |
| 064 | Test requirements | NA |  |
| 065 | Supply loss failure mode | activate fault relay |  |
| 065 | Supply loss failure mode | deactivate output relay |  |
| 065 | Supply loss failure mode | drive output low |  |
| 065 | Supply loss failure mode | NA |  |
| 066 | Signal loss failure mode | activate fault relay |  |
| 066 | Signal loss failure mode | drive output high |  |
| 066 | Signal loss failure mode | drive output low |  |
| 066 | Signal loss failure mode | flashing display |  |
| 066 | Signal loss failure mode | hold last value |  |
| 066 | Signal loss failure mode | NA |  |
| 067a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069 | MATERIAL FLOW CONDITIONS | SECTION TITLE | MATERIAL |
| 070 | Flow Case Identification | max flow |  |
| 070 | Flow Case Identification | min flow |  |
| 070 | Flow Case Identification | norm flow |  |
| 071 | Process pressure |  |  |
| 071u | Process pressure units | atm | UNITS |
| 071u | Process pressure units | bar | UNITS |
| 071u | Process pressure units | bar(g) | UNITS |
| 071u | Process pressure units | ftH2O | UNITS |
| 071u | Process pressure units | inH2O | UNITS |
| 071u | Process pressure units | inHg | UNITS |
| 071u | Process pressure units | kPa | UNITS |
| 071u | Process pressure units | kPa(g) | UNITS |
| 071u | Process pressure units | lbf/ft2 | UNITS |
| 071u | Process pressure units | lbf/in2 | UNITS |
| 071u | Process pressure units | mmH2O | UNITS |
| 071u | Process pressure units | mmHg | UNITS |
| 071u | Process pressure units | Pa | UNITS |
| 071u | Process pressure units | Pa(g) | UNITS |
| 071u | Process pressure units | psia | UNITS |
| 071u | Process pressure units | psig | UNITS |
| 072 | Process temperature |  |  |
| 072u | Process temperature units | °C | UNITS |
| 072u | Process temperature units | °F | UNITS |
| 072u | Process temperature units | C | UNITS |
| 072u | Process temperature units | F | UNITS |
| 073 | Process phase type | liquid |  |
| 073 | Process phase type | mixed |  |
| 073 | Process phase type | solid |  |
| 073 | Process phase type | vapor |  |
| 074 | Process liquid actl flow |  |  |
| 074u | Process liquid actl flow units | galUS/h | UNITS |
| 074u | Process liquid actl flow units | galUS/min | UNITS |
| 074u | Process liquid actl flow units | L/s | UNITS |
| 074u | Process liquid actl flow units | m3/h | UNITS |
| 074u | Process liquid actl flow units | m3/s | UNITS |
| 075 | Process vapor actl flow |  |  |
| 075u | Process vapor actl flow units | ft3ACT/h | UNITS |
| 075u | Process vapor actl flow units | ft3ACT/min | UNITS |
| 075u | Process vapor actl flow units | m3/h(N) | UNITS |
| 075u | Process vapor actl flow units | m3/s(N) | UNITS |
| 076 | Process vapor std flow |  |  |
| 076u | Process vapor std flow units | ft3STD/h | UNITS |
| 076u | Process vapor std flow units | ft3STD/min | UNITS |
| 076u | Process vapor std flow units | ft3STD/s | UNITS |
| 076u | Process vapor std flow units | L/s(std) | UNITS |
| 076u | Process vapor std flow units | m3/h(std) | UNITS |
| 076u | Process vapor std flow units | m3/s(std) | UNITS |
| 077 | Process liquid density |  |  |
| 077u | Process liquid density units | g/cm3 | UNITS |
| 077u | Process liquid density units | lb/ft3 | UNITS |
| 077u | Process liquid density units | lb/galUS | UNITS |
| 078 | Process vapor density |  |  |
| 078u | Process vapor density units | g/cm3 | UNITS |
| 078u | Process vapor density units | kg/m3 | UNITS |
| 078u | Process vapor density units | lb/ft3 | UNITS |
| 079 | Process liquid viscosity |  |  |
| 079u | Process liquid viscosity units | cP | UNITS |
| 079u | Process liquid viscosity units | cSt | UNITS |
| 079u | Process liquid viscosity units | m2/s | UNITS |
| 079u | Process liquid viscosity units | m³/s | UNITS |
| 079u | Process liquid viscosity units | Pa.s | UNITS |
| 080 | Sample return pressure |  |  |
| 080u | Sample return pressure units | atm | UNITS |
| 080u | Sample return pressure units | bar | UNITS |
| 080u | Sample return pressure units | bar(g) | UNITS |
| 080u | Sample return pressure units | ftH2O | UNITS |
| 080u | Sample return pressure units | inH2O | UNITS |
| 080u | Sample return pressure units | inHg | UNITS |
| 080u | Sample return pressure units | kPa | UNITS |
| 080u | Sample return pressure units | kPa(g) | UNITS |
| 080u | Sample return pressure units | lbf/ft2 | UNITS |
| 080u | Sample return pressure units | lbf/in2 | UNITS |
| 080u | Sample return pressure units | mmH2O | UNITS |
| 080u | Sample return pressure units | mmHg | UNITS |
| 080u | Sample return pressure units | Pa | UNITS |
| 080u | Sample return pressure units | Pa(g) | UNITS |
| 080u | Sample return pressure units | psia | UNITS |
| 080u | Sample return pressure units | psig | UNITS |
| 081 | Sample vent/drain press |  |  |
| 081u | Sample vent/drain press units | atm |  |
| 081u | Sample vent/drain press units | bar |  |
| 081u | Sample vent/drain press units | bar(g) |  |
| 081u | Sample vent/drain press units | ftH2O |  |
| 081u | Sample vent/drain press units | inH2O |  |
| 081u | Sample vent/drain press units | inHg |  |
| 081u | Sample vent/drain press units | kPa |  |
| 081u | Sample vent/drain press units | kPa(g) |  |
| 081u | Sample vent/drain press units | lbf/ft2 |  |
| 081u | Sample vent/drain press units | lbf/in2 |  |
| 081u | Sample vent/drain press units | mmH2O |  |
| 081u | Sample vent/drain press units | mmHg |  |
| 081u | Sample vent/drain press units | Pa |  |
| 081u | Sample vent/drain press units | Pa(g) |  |
| 081u | Sample vent/drain press units | psia |  |
| 081u | Sample vent/drain press units | psig |  |
| 082 | Sample temperature |  |  |
| 082u | Sample temperature units | °C | UNITS |
| 082u | Sample temperature units | °F | UNITS |
| 082u | Sample temperature units | C | UNITS |
| 082u | Sample temperature units | F | UNITS |
| 083 | Sample phase type | liquid |  |
| 083 | Sample phase type | mixed |  |
| 083 | Sample phase type | solid |  |
| 083 | Sample phase type | vapor |  |
| 084 | Fast loop liq actl flow |  |  |
| 084u | Fast loop liq actl flow units | galUS/h | UNITS |
| 084u | Fast loop liq actl flow units | galUS/min | UNITS |
| 084u | Fast loop liq actl flow units | L/s | UNITS |
| 084u | Fast loop liq actl flow units | m3/h | UNITS |
| 084u | Fast loop liq actl flow units | m3/s | UNITS |
| 085 | Fast loop vapor actl flow |  |  |
| 085u | Fast loop vap actl flow units |  | UNITS |
| 085u | Fast loop vap actl flow units | ft3ACT/h | UNITS |
| 085u | Fast loop vap actl flow units | ft3ACT/min | UNITS |
| 085u | Fast loop vap actl flow units | m3/h(N) | UNITS |
| 085u | Fast loop vap actl flow units | m3/s(N) | UNITS |
| 086 | Fast loop vapor std flow |  |  |
| 086u | Fast loop vap std flow units | ft3STD/h | UNITS |
| 086u | Fast loop vap std flow units | ft3STD/min | UNITS |
| 086u | Fast loop vap std flow units | ft3STD/s | UNITS |
| 086u | Fast loop vap std flow units | L/s(std) | UNITS |
| 086u | Fast loop vap std flow units | m3/h(std) | UNITS |
| 086u | Fast loop vap std flow units | m3/s(std) | UNITS |
| 087 | Fast loop vapor density |  |  |
| 087u | Fast loop vapor density units | g/cm3 | UNITS |
| 087u | Fast loop vapor density units | kg/m3 | UNITS |
| 087u | Fast loop vapor density units | lb/ft3 | UNITS |
| 088 | Conductivity/Resistivity |  |  |
| 088u | Conductivity/Resistivity units | kohm.cm | UNITS |
| 088u | Conductivity/Resistivity units | Mohm.cm | UNITS |
| 088u | Conductivity/Resistivity units | mS/cm | UNITS |
| 088u | Conductivity/Resistivity units | mS/m | UNITS |
| 088u | Conductivity/Resistivity units | S/m | UNITS |
| 088u | Conductivity/Resistivity units | uS/cm | UNITS |
| 089 | pH/ORP |  |  |
| 089u | pH/ORP units | mV | UNITS |
| 089u | pH/ORP units | pH | UNITS |
| 090 | RH/Dewpoint |  |  |
| 090u | RH/Dewpoint units | % | UNITS |
| 090u | RH/Dewpoint units | °C | UNITS |
| 090u | RH/Dewpoint units | °F | UNITS |
| 090u | RH/Dewpoint units | C | UNITS |
| 090u | RH/Dewpoint units | F | UNITS |
| 091 | Turbidity/Opacity |  |  |
| 091u | Turbidity/Opacity units | % | UNITS |
| 091u | Turbidity/Opacity units | degree | UNITS |
| 091u | Turbidity/Opacity units | EBC | UNITS |
| 091u | Turbidity/Opacity units | FNU | UNITS |
| 091u | Turbidity/Opacity units | FTU | UNITS |
| 091u | Turbidity/Opacity units | g/l | UNITS |
| 091u | Turbidity/Opacity units | mg/l | UNITS |
| 091u | Turbidity/Opacity units | NTU | UNITS |
| 092 | Dissolved oxygen |  |  |
| 092u | Dissolved oxygen units | % sat | UNITS |
| 092u | Dissolved oxygen units | ppm | UNITS |
| 093 | Corrosivity |  |  |
| 093u | Corrosivity units | in/a | UNITS |
| 093u | Corrosivity units | mm/a | UNITS |
| 094 | Particle size |  |  |
| 094u | Particle size units | um | UNITS |
| 095a | Defined attribute 1 name | moisture | DEFINABLE ATTRIBUTE NAME |
| 095a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 095a | Defined attribute 1 name | Oil-in-water | DEFINABLE ATTRIBUTE NAME |
| 095a | Defined attribute 1 name | specific gravity | DEFINABLE ATTRIBUTE NAME |
| 095a | Defined attribute 1 name | specific ion | DEFINABLE ATTRIBUTE NAME |
| 095au | Defined attribute 1 units | NA | UNITS |
| 095b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 096 | CALCULATED VARIABLES | SECTION TITLE |  |
| 097 | Sample lag time |  |  |
| 097u | Sample lag time units | min | UNITS |
| 097u | Sample lag time units | s | UNITS |
| 098 | Process fluid velocity |  |  |
| 098u | Process fluid velocity units | ft/s | UNITS |
| 098u | Process fluid velocity units | m/s | UNITS |
| 099 | Wake/natural freq ratio |  |  |
| 100a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 1 data |  | DEFINABLE ATTRIBUTE VALUE |
| 100u | Defined attribute 1 units | NA | UNITS |
| 101 | PROCESS DESIGN CONDITIONS | SECTION TITLE |  |
| 103a | Minimum process pressure |  |  |
| 103au | Min process pressure units | atm | UNITS |
| 103au | Min process pressure units | bar | UNITS |
| 103au | Min process pressure units | bar(g) | UNITS |
| 103au | Min process pressure units | ftH2O | UNITS |
| 103au | Min process pressure units | inH2O | UNITS |
| 103au | Min process pressure units | inHg | UNITS |
| 103au | Min process pressure units | kPa | UNITS |
| 103au | Min process pressure units | kPa(g) | UNITS |
| 103au | Min process pressure units | lbf/ft2 | UNITS |
| 103au | Min process pressure units | lbf/in2 | UNITS |
| 103au | Min process pressure units | mmH2O | UNITS |
| 103au | Min process pressure units | mmHg | UNITS |
| 103au | Min process pressure units | Pa | UNITS |
| 103au | Min process pressure units | Pa(g) | UNITS |
| 103au | Min process pressure units | psia | UNITS |
| 103au | Min process pressure units | psig | UNITS |
| 103b | Maximum process pressure |  |  |
| 103bu | Max process pressure units | atm | UNITS |
| 103bu | Max process pressure units | bar | UNITS |
| 103bu | Max process pressure units | bar(g) | UNITS |
| 103bu | Max process pressure units | ftH2O | UNITS |
| 103bu | Max process pressure units | inH2O | UNITS |
| 103bu | Max process pressure units | inHg | UNITS |
| 103bu | Max process pressure units | kPa | UNITS |
| 103bu | Max process pressure units | kPa(g) | UNITS |
| 103bu | Max process pressure units | lbf/ft2 | UNITS |
| 103bu | Max process pressure units | lbf/in2 | UNITS |
| 103bu | Max process pressure units | mmH2O | UNITS |
| 103bu | Max process pressure units | mmHg | UNITS |
| 103bu | Max process pressure units | Pa | UNITS |
| 103bu | Max process pressure units | Pa(g) | UNITS |
| 103bu | Max process pressure units | psia | UNITS |
| 103bu | Max process pressure units | psig | UNITS |
| 104a | Minimum process temperature |  |  |
| 104au | Min process temp units | °C | UNITS |
| 104au | Min process temp units | °F | UNITS |
| 104au | Min process temp units | C | UNITS |
| 104au | Min process temp units | F | UNITS |
| 104b | Maximum process temperature |  |  |
| 104bu | Max process temp units | °C | UNITS |
| 104bu | Max process temp units | °F | UNITS |
| 104bu | Max process temp units | C | UNITS |
| 104bu | Max process temp units | F | UNITS |
| 109a | Minimum process liquid density |  |  |
| 109au | Min process liq density units | g/cm3 | UNITS |
| 109au | Min process liq density units | lb/ft3 | UNITS |
| 109au | Min process liq density units | lb/galUS | UNITS |
| 109b | Maximum process liquid density |  |  |
| 109bu | Max process liq density units | g/cm3 | UNITS |
| 109bu | Max process liq density units | lb/ft3 | UNITS |
| 109bu | Max process liq density units | lb/galUS | UNITS |
| 111b | Maximum process viscosity |  |  |
| 111bu | Maximum viscosity units | cP | UNITS |
| 111bu | Maximum viscosity units | cSt | UNITS |
| 111bu | Maximum viscosity units | m2/s | UNITS |
| 111bu | Maximum viscosity units | m³/s | UNITS |
| 111bu | Maximum viscosity units | Pa.s | UNITS |
| 112a | Minimum sample return pressure |  |  |
| 112au | Min sample return pressure units | atm | UNITS |
| 112au | Min sample return pressure units | bar | UNITS |
| 112au | Min sample return pressure units | bar(g) | UNITS |
| 112au | Min sample return pressure units | ftH2O | UNITS |
| 112au | Min sample return pressure units | inH2O | UNITS |
| 112au | Min sample return pressure units | inHg | UNITS |
| 112au | Min sample return pressure units | kPa | UNITS |
| 112au | Min sample return pressure units | kPa(g) | UNITS |
| 112au | Min sample return pressure units | lbf/ft2 | UNITS |
| 112au | Min sample return pressure units | lbf/in2 | UNITS |
| 112au | Min sample return pressure units | mmH2O | UNITS |
| 112au | Min sample return pressure units | mmHg | UNITS |
| 112au | Min sample return pressure units | Pa | UNITS |
| 112au | Min sample return pressure units | Pa(g) | UNITS |
| 112au | Min sample return pressure units | psia | UNITS |
| 112au | Min sample return pressure units | psig | UNITS |
| 112b | Maximum sample return pressure |  |  |
| 112bu | Max sample return pressure units | atm | UNITS |
| 112bu | Max sample return pressure units | bar | UNITS |
| 112bu | Max sample return pressure units | bar(g) | UNITS |
| 112bu | Max sample return pressure units | ftH2O | UNITS |
| 112bu | Max sample return pressure units | inH2O | UNITS |
| 112bu | Max sample return pressure units | inHg | UNITS |
| 112bu | Max sample return pressure units | kPa | UNITS |
| 112bu | Max sample return pressure units | kPa(g) | UNITS |
| 112bu | Max sample return pressure units | lbf/ft2 | UNITS |
| 112bu | Max sample return pressure units | lbf/in2 | UNITS |
| 112bu | Max sample return pressure units | mmH2O | UNITS |
| 112bu | Max sample return pressure units | mmHg | UNITS |
| 112bu | Max sample return pressure units | Pa | UNITS |
| 112bu | Max sample return pressure units | Pa(g) | UNITS |
| 112bu | Max sample return pressure units | psia | UNITS |
| 112bu | Max sample return pressure units | psig | UNITS |
| 113a | Min sample vent/drain press |  |  |
| 113au | Min sample vent press units | atm | UNITS |
| 113au | Min sample vent press units | bar | UNITS |
| 113au | Min sample vent press units | bar(g) | UNITS |
| 113au | Min sample vent press units | ftH2O | UNITS |
| 113au | Min sample vent press units | inH2O | UNITS |
| 113au | Min sample vent press units | inHg | UNITS |
| 113au | Min sample vent press units | kPa | UNITS |
| 113au | Min sample vent press units | kPa(g) | UNITS |
| 113au | Min sample vent press units | lbf/ft2 | UNITS |
| 113au | Min sample vent press units | lbf/in2 | UNITS |
| 113au | Min sample vent press units | mmH2O | UNITS |
| 113au | Min sample vent press units | mmHg | UNITS |
| 113au | Min sample vent press units | Pa | UNITS |
| 113au | Min sample vent press units | Pa(g) | UNITS |
| 113au | Min sample vent press units | psia | UNITS |
| 113au | Min sample vent press units | psig | UNITS |
| 113b | Max sample vent/drain press |  |  |
| 113bu | Max sample vent press units | atm | UNITS |
| 113bu | Max sample vent press units | bar | UNITS |
| 113bu | Max sample vent press units | bar(g) | UNITS |
| 113bu | Max sample vent press units | ftH2O | UNITS |
| 113bu | Max sample vent press units | inH2O | UNITS |
| 113bu | Max sample vent press units | inHg | UNITS |
| 113bu | Max sample vent press units | kPa | UNITS |
| 113bu | Max sample vent press units | kPa(g) | UNITS |
| 113bu | Max sample vent press units | lbf/ft2 | UNITS |
| 113bu | Max sample vent press units | lbf/in2 | UNITS |
| 113bu | Max sample vent press units | mmH2O | UNITS |
| 113bu | Max sample vent press units | mmHg | UNITS |
| 113bu | Max sample vent press units | Pa | UNITS |
| 113bu | Max sample vent press units | Pa(g) | UNITS |
| 113bu | Max sample vent press units | psia | UNITS |
| 113bu | Max sample vent press units | psig | UNITS |
| 114a | Min sample temperature |  |  |
| 114au | Min sample temperature units | °C | UNITS |
| 114au | Min sample temperature units | °F | UNITS |
| 114au | Min sample temperature units | C | UNITS |
| 114au | Min sample temperature units | F | UNITS |
| 114b | Max sample temperature |  |  |
| 114bu | Max sample temperature units | °C | UNITS |
| 114bu | Max sample temperature units | °F | UNITS |
| 114bu | Max sample temperature units | C | UNITS |
| 114bu | Max sample temperature units | F | UNITS |
| 120a | Min conductivity/Resistivity |  |  |
| 120au | Min cond/Resistivity units | kohm.cm | UNITS |
| 120au | Min cond/Resistivity units | Mohm.cm | UNITS |
| 120au | Min cond/Resistivity units | mS/cm | UNITS |
| 120au | Min cond/Resistivity units | mS/m | UNITS |
| 120au | Min cond/Resistivity units | S/m | UNITS |
| 120au | Min cond/Resistivity units | uS/cm | UNITS |
| 120b | Max conductivity/Resistivity |  |  |
| 120bu | Max cond/Resistivity units | kohm.cm | UNITS |
| 120bu | Max cond/Resistivity units | Mohm.cm | UNITS |
| 120bu | Max cond/Resistivity units | mS/cm | UNITS |
| 120bu | Max cond/Resistivity units | mS/m | UNITS |
| 120bu | Max cond/Resistivity units | S/m | UNITS |
| 120bu | Max cond/Resistivity units | uS/cm | UNITS |
| 121a | Minimum pH/ORP |  |  |
| 121au | Minimum pH/ORP units | mV | UNITS |
| 121au | Minimum pH/ORP units | pH | UNITS |
| 121b | Maximum pH/ORP |  |  |
| 121bu | Maximum pH/ORP units | mV | UNITS |
| 121bu | Maximum pH/ORP units | pH | UNITS |
| 122a | Min RH/Dewpoint |  |  |
| 122au | Min RH/Dewpoint units | % | UNITS |
| 122au | Min RH/Dewpoint units | °C | UNITS |
| 122au | Min RH/Dewpoint units | °F | UNITS |
| 122au | Min RH/Dewpoint units | C | UNITS |
| 122au | Min RH/Dewpoint units | F | UNITS |
| 122b | Max RH/Dewpoint |  |  |
| 122bu | Max RH/Dewpoint units | % | UNITS |
| 122bu | Max RH/Dewpoint units | °C | UNITS |
| 122bu | Max RH/Dewpoint units | °F | UNITS |
| 122bu | Max RH/Dewpoint units | C | UNITS |
| 122bu | Max RH/Dewpoint units | F | UNITS |
| 123a | Min turbidity/Opacity |  |  |
| 123au | Min turbidity/Opacity units | % | UNITS |
| 123b | Max turbidity/Opacity |  |  |
| 123bu | Max turbidity/Opacity units | % | UNITS |
| 124a | Min dissolved oxygen |  |  |
| 124au | Min dissolved oxygen units | % sat | UNITS |
| 124au | Min dissolved oxygen units | ppm | UNITS |
| 124b | Max dissolved oxygen |  |  |
| 124bu | Max dissolved oxygen units | % sat | UNITS |
| 124bu | Max dissolved oxygen units | ppm | UNITS |
| 125a | Minimum corrosivity |  |  |
| 125au | Minimum corrosivity units | in/a or mm/a | UNITS |
| 125b | Maximum corrosivity |  |  |
| 125bu | Maximum corrosivity units | in/a or mm/a | UNITS |
| 126a | Minimum particle size |  |  |
| 126au | Minimum particle size units | um | UNITS |
| 126b | Maximum particle size |  |  |
| 126bu | Maximum particle size units | um | UNITS |
| 127a | Defined attribute 1 min |  |  |
| 127au | Defined attr 1 min units |  | UNITS |
| 127b | Defined attribute 1 max |  |  |
| 127bu | Defined attr 1 max units |  | UNITS |
| 131b | Max wake/freq ratio | .8 |  |
| 133 | MATERIAL PROPERTIES | SECTION TITLE | MATERIAL |
| 134 | Name |  |  |
| 135a | Density at ref temp |  |  |
| 135au | Density units | g/cm3 | UNITS |
| 135au | Density units | kg/m3 | UNITS |
| 135au | Density units | lb/ft3 | UNITS |
| 135au | Density units | lb/galUS | UNITS |
| 135b | Density ref temperature |  |  |
| 135bu | Density ref temp units | °C | UNITS |
| 135bu | Density ref temp units | °F | UNITS |
| 135bu | Density ref temp units | C | UNITS |
| 135bu | Density ref temp units | F | UNITS |
| 136a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 136b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 138a | NFPA health hazard | 0 | HEALTH HAZARD RATING |
| 138a | NFPA health hazard | 1 | HEALTH HAZARD RATING |
| 138a | NFPA health hazard | 2 | HEALTH HAZARD RATING |
| 138a | NFPA health hazard | 3 | HEALTH HAZARD RATING |
| 138a | NFPA health hazard | 4 | HEALTH HAZARD RATING |
| 138b | NFPA flammability | 0 | FLAMMABILITY HAZARD RATING |
| 138b | NFPA flammability | 1 | FLAMMABILITY HAZARD RATING |
| 138b | NFPA flammability | 2 | FLAMMABILITY HAZARD RATING |
| 138b | NFPA flammability | 3 | FLAMMABILITY HAZARD RATING |
| 138b | NFPA flammability | 4 | FLAMMABILITY HAZARD RATING |
| 138c | NFPA reactivity | 0 | REACTIVITY HAZARD RATING |
| 138c | NFPA reactivity | 1 | REACTIVITY HAZARD RATING |
| 138c | NFPA reactivity | 2 | REACTIVITY HAZARD RATING |
| 138c | NFPA reactivity | 3 | REACTIVITY HAZARD RATING |
| 138c | NFPA reactivity | 4 | REACTIVITY HAZARD RATING |
| 139a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 139b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 140a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 140b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |