| Pick List 20A2381 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | BODY HOLDER OR FITTING | SECTION TITLE |  |
| 012 | Body/Fitting type | bushing w/ locking cap |  |
| 012 | Body/Fitting type | flange w/hex-head bushing |  |
| 012 | Body/Fitting type | flow through chamber |  |
| 012 | Body/Fitting type | flow through pipe section |  |
| 012 | Body/Fitting type | insertion assembly |  |
| 012 | Body/Fitting type | NA |  |
| 012 | Body/Fitting type | sanitary bushing |  |
| 012 | Body/Fitting type | submersion adapter |  |
| 012 | Body/Fitting type | threaded receptacle |  |
| 012 | Body/Fitting type | twist lock receptacle |  |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 10 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 100 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 150 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 20 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 25 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 40 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 50 | NOMINAL SIZE |
| 013a | Process conn nominal size | DN 80 | NOMINAL SIZE |
| 013a | Process conn nominal size | G 1 1/2 | NOMINAL SIZE |
| 013a | Process conn nominal size | R 1 1/2 | NOMINAL SIZE |
| 013a | Process conn nominal size | R 2 | NOMINAL SIZE |
| 013a | Process conn nominal size | Rc 1/ 2 | NOMINAL SIZE |
| 013a | Process conn nominal size | Rc 2 | NOMINAL SIZE |
| 013a | Process conn nominal size | SMS 2 in | NOMINAL SIZE |
| 013b | Process conn nom rating | 10 bar | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 150LW | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | PN 10 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | PN 16 | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 014a | Process conn termn type | compression | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | hose | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | 5/8 in -11 UNC | END CONNECTION TYPE |
| 014b | Process conn termn style | APV | END CONNECTION TYPE |
| 014b | Process conn termn style | APV | END CONNECTION TYPE |
| 014b | Process conn termn style | barbed | END CONNECTION TYPE |
| 014b | Process conn termn style | dairy | END CONNECTION TYPE |
| 014b | Process conn termn style | FF | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | perlink | END CONNECTION TYPE |
| 014b | Process conn termn style | RF | END CONNECTION TYPE |
| 014b | Process conn termn style | tri-clamp | END CONNECTION TYPE |
| 014b | Process conn termn style | tubing | END CONNECTION TYPE |
| 014b | Process conn termn style | twist-lock | END CONNECTION TYPE |
| 015 | Body/Fitting material | 316 SST | MATERIAL |
| 015 | Body/Fitting material | 316 Ti SST | MATERIAL |
| 015 | Body/Fitting material | 316L SST | MATERIAL |
| 015 | Body/Fitting material | carpenter 20 Cb | MATERIAL |
| 015 | Body/Fitting material | CPVC | MATERIAL |
| 015 | Body/Fitting material | CPVC | MATERIAL |
| 015 | Body/Fitting material | epoxy | MATERIAL |
| 015 | Body/Fitting material | fluorocarbon | MATERIAL |
| 015 | Body/Fitting material | glass-filled Noryl | MATERIAL |
| 015 | Body/Fitting material | glass-filled PEEK | MATERIAL |
| 015 | Body/Fitting material | kynar | MATERIAL |
| 015 | Body/Fitting material | kynar | MATERIAL |
| 015 | Body/Fitting material | PEEK | MATERIAL |
| 015 | Body/Fitting material | PEEK | MATERIAL |
| 015 | Body/Fitting material | PVC | MATERIAL |
| 015 | Body/Fitting material | ryton (PPS) | MATERIAL |
| 015 | Body/Fitting material | sygef | MATERIAL |
| 015 | Body/Fitting material | teflon lined carbon steel | MATERIAL |
| 015 | Body/Fitting material | teflon-S coated 300 SST | MATERIAL |
| 015 | Body/Fitting material | titanium | MATERIAL |
| 015 | Body/Fitting material | virgin PEEK | MATERIAL |
| 015 | Body/Fitting material | virgin PVDF | MATERIAL |
| 016 | Flange material | 316 SST | MATERIAL |
| 016 | Flange material | carbon steel | MATERIAL |
| 016 | Flange material | carpenter 20 CB3 | MATERIAL |
| 016 | Flange material | hastelloy C276 | MATERIAL |
| 016 | Flange material | NA | MATERIAL |
| 017 | Seal/O ring material | Chemraz | MATERIAL |
| 017 | Seal/O ring material | Chemraz | MATERIAL |
| 017 | Seal/O ring material | EPDM | MATERIAL |
| 017 | Seal/O ring material | EPR | MATERIAL |
| 017 | Seal/O ring material | ethylene propylene | MATERIAL |
| 017 | Seal/O ring material | kalrez | MATERIAL |
| 017 | Seal/O ring material | kalrez | MATERIAL |
| 017 | Seal/O ring material | NA | MATERIAL |
| 017 | Seal/O ring material | teflon-coated EPDM | MATERIAL |
| 017 | Seal/O ring material | viton | MATERIAL |
| 017 | Seal/O ring material | viton | MATERIAL |
| 018a | Defined attribute 1 name | Flange protector matl | DEFINABLE ATTRIBUTE NAME |
| 018a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018b | Defined attribute 1 data | PTFE disk | DEFINABLE ATTRIBUTE VALUE |
| 019a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 020a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021 | SENSING ELEMENT | SECTION TITLE |  |
| 022 | Sensor type | four-electrode |  |
| 022 | Sensor type | inductive toroid |  |
| 022 | Sensor type | single electrode |  |
| 022 | Sensor type | two-electrode |  |
| 023 | Construction style | concentric cylinder |  |
| 023 | Construction style | extended face |  |
| 023 | Construction style | flush face |  |
| 023 | Construction style | large bore |  |
| 023 | Construction style | small bore |  |
| 024 | Nominal cell constant | 0.01cm-1 |  |
| 024 | Nominal cell constant | 0.1cm-1 |  |
| 024 | Nominal cell constant | 0.2 cm-1 |  |
| 024 | Nominal cell constant | 0.85cm-1 |  |
| 024 | Nominal cell constant | 1.0 cm-1 |  |
| 024 | Nominal cell constant | 10 cm-1 |  |
| 024 | Nominal cell constant | 2.49 cm-1 |  |
| 024 | Nominal cell constant | 3.0 cm-1 |  |
| 024 | Nominal cell constant | 4.0 cm-1 |  |
| 024 | Nominal cell constant | 5.9 cm-1 |  |
| 024 | Nominal cell constant | 6.0 cm-1 |  |
| 025 | Temperature sensor type | 10 kOhm thermister |  |
| 025 | Temperature sensor type | 100 kOhm thermister |  |
| 025 | Temperature sensor type | 3 kOhm Balco RTD |  |
| 025 | Temperature sensor type | 4.75 kOhm |  |
| 025 | Temperature sensor type | class A pt 1000 Ohm RTD |  |
| 025 | Temperature sensor type | class B pt 1000 Ohm RTD |  |
| 025 | Temperature sensor type | NA |  |
| 025 | Temperature sensor type | pt 100 kOhm RTD |  |
| 026 | Bore diameter |  | BORE |
| 026u | Bore diameter units | in | UNITS |
| 026u | Bore diameter units | mm | UNITS |
| 026u | Bore diameter units | NA | UNITS |
| 027 | Insertion/Immersion lg | 100 |  |
| 027 | Insertion/Immersion lg | 150 |  |
| 027 | Insertion/Immersion lg | 2 |  |
| 027 | Insertion/Immersion lg | 200 |  |
| 027 | Insertion/Immersion lg | 4 |  |
| 027 | Insertion/Immersion lg | 5.5 |  |
| 027 | Insertion/Immersion lg | 50 |  |
| 027 | Insertion/Immersion lg | 6 |  |
| 027 | Insertion/Immersion lg | 70 |  |
| 027u | Insertion/Immersion length units | in | UNITS |
| 027u | Insertion/Immersion length units | mm | UNITS |
| 027u | Insertion/Immersion length units | NA | UNITS |
| 028 | Temp sensor location | external of sensor |  |
| 028 | Temp sensor location | integral with sensor |  |
| 028 | Temp sensor location | NA |  |
| 029 | Insulator material | borosilicate glass | MATERIAL |
| 029 | Insulator material | CPVC | MATERIAL |
| 029 | Insulator material | CPVC | MATERIAL |
| 029 | Insulator material | EPDM | MATERIAL |
| 029 | Insulator material | epoxy | MATERIAL |
| 029 | Insulator material | glass-filled Noryl | MATERIAL |
| 029 | Insulator material | glass-filled PEEK | MATERIAL |
| 029 | Insulator material | glass-filled teflon | MATERIAL |
| 029 | Insulator material | Kel-F | MATERIAL |
| 029 | Insulator material | Kel-F | MATERIAL |
| 029 | Insulator material | NA | MATERIAL |
| 029 | Insulator material | pctfe | MATERIAL |
| 029 | Insulator material | PFA | MATERIAL |
| 029 | Insulator material | polyether sulphone | MATERIAL |
| 029 | Insulator material | polypropylene | MATERIAL |
| 029 | Insulator material | ryton | MATERIAL |
| 029 | Insulator material | ryton | MATERIAL |
| 029 | Insulator material | synthetic sapphire | MATERIAL |
| 029 | Insulator material | unfilled PEEK | MATERIAL |
| 029 | Insulator material | virgin PEEK | MATERIAL |
| 029 | Insulator material | virgin PVDF | MATERIAL |
| 030 | Electrode material | 316 SST | MATERIAL |
| 030 | Electrode material | graphite | MATERIAL |
| 030 | Electrode material | monel | MATERIAL |
| 030 | Electrode material | monel | MATERIAL |
| 030 | Electrode material | NA | MATERIAL |
| 030 | Electrode material | titanium | MATERIAL |
| 031 | Ext shaft/support matl | 304 SST | MATERIAL |
| 031 | Ext shaft/support matl | 316 SST | MATERIAL |
| 031 | Ext shaft/support matl | carpenter 20 Cb | MATERIAL |
| 031 | Ext shaft/support matl | hastelloy C276 | MATERIAL |
| 031 | Ext shaft/support matl | monel | MATERIAL |
| 031 | Ext shaft/support matl | monel | MATERIAL |
| 031 | Ext shaft/support matl | NA | MATERIAL |
| 031 | Ext shaft/support matl | PEEK | MATERIAL |
| 031 | Ext shaft/support matl | PEEK | MATERIAL |
| 031 | Ext shaft/support matl | PVDF | MATERIAL |
| 031 | Ext shaft/support matl | titanium | MATERIAL |
| 032 | Sheath material | NA | MATERIAL |
| 032 | Sheath material | ptfe | MATERIAL |
| 032 | Sheath material | teflon and titanium | MATERIAL |
| 033a | Defined attribute 1 name | Conduit fitting | DEFINABLE ATTRIBUTE NAME |
| 033a | Defined attribute 1 name | Current limiters | DEFINABLE ATTRIBUTE NAME |
| 033a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 033b | Defined attribute 1 data | 1/2 NPT | DEFINABLE ATTRIBUTE VALUE |
| 033b | Defined attribute 1 data | diodes | DEFINABLE ATTRIBUTE VALUE |
| 033b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 034a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 034b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 035a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 035b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 036 | LEAD WIRE and EXTENSION | SECTION TITLE |  |
| 037 | Extension type | integral cable |  |
| 037 | Extension type | lead wires |  |
| 037 | Extension type | NA |  |
| 037 | Extension type | patch cord |  |
| 038 | Cable length | 0 |  |
| 038 | Cable length | 10 |  |
| 038 | Cable length | 12 |  |
| 038 | Cable length | 15 |  |
| 038 | Cable length | 18 |  |
| 038 | Cable length | 20 |  |
| 038 | Cable length | 24 |  |
| 038 | Cable length | 30 |  |
| 038 | Cable length | 40 |  |
| 038 | Cable length | 5 |  |
| 038 | Cable length | 6 |  |
| 038 | Cable length | 60 |  |
| 038 | Cable length | 80 |  |
| 038 | Cable length | 9 |  |
| 038u | Cable length units | ft | UNITS |
| 038u | Cable length units | m | UNITS |
| 038u | Cable length units | NA | UNITS |
| 039 | Max cable operating temp | 105 |  |
| 039 | Max cable operating temp | 150 |  |
| 039 | Max cable operating temp | 176 |  |
| 039 | Max cable operating temp | 200 |  |
| 039 | Max cable operating temp | 220 |  |
| 039 | Max cable operating temp | 300 |  |
| 039 | Max cable operating temp | 392 |  |
| 039 | Max cable operating temp | 80 |  |
| 039u | Max cable operating temp units | C | UNITS |
| 039u | Max cable operating temp units | F | UNITS |
| 039u | Max cable operating temp units | NA | UNITS |
| 040 | Signal termination type | cable with cord connector | END CONNECTION TYPE |
| 040 | Signal termination type | cable with spade lugs | END CONNECTION TYPE |
| 040 | Signal termination type | cable with stripped leads | END CONNECTION TYPE |
| 040 | Signal termination type | Integral connector | END CONNECTION TYPE |
| 040 | Signal termination type | NA | END CONNECTION TYPE |
| 041 | Cable jacket material | irradiated polyolefin | MATERIAL |
| 041 | Cable jacket material | NA | MATERIAL |
| 041 | Cable jacket material | ptfe | MATERIAL |
| 041 | Cable jacket material | PVC | MATERIAL |
| 041 | Cable jacket material | teflon | MATERIAL |
| 041 | Cable jacket material | teflon | MATERIAL |
| 041 | Cable jacket material | tefzel | MATERIAL |
| 041 | Cable jacket material | tefzel | MATERIAL |
| 042a | User defined attribute name | NA |  |
| 042b | User defined attribute value | NA |  |
| 043 | CONNECTION HEAD | SECTION TITLE |  |
| 044 | Housing type | EP enclosure | HOUSING |
| 044 | Housing type | junction box | HOUSING |
| 044 | Housing type | NA | HOUSING |
| 044 | Housing type | wp enclosure | HOUSING |
| 045 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 045 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 045 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 045 | Enclosure type no/class | 6P | ENCLOSURE TYPE NO/CLASS |
| 045 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 045 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 045 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 046 | Signal termination type | NA | END CONNECTION TYPE |
| 046 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 047 | Cert/Approval type | CENELEC intrinsic safe | CERTIFICATION |
| 047 | Cert/Approval type | CSA hazardous | CERTIFICATION |
| 047 | Cert/Approval type | CSA intrinsic safe | CERTIFICATION |
| 047 | Cert/Approval type | CSA non-hazardous | CERTIFICATION |
| 047 | Cert/Approval type | CSA non-incendive | CERTIFICATION |
| 047 | Cert/Approval type | european non-incendive | CERTIFICATION |
| 047 | Cert/Approval type | FM intrinsic safe | CERTIFICATION |
| 047 | Cert/Approval type | FM non-hazardous | CERTIFICATION |
| 047 | Cert/Approval type | FM non-incendive | CERTIFICATION |
| 047 | Cert/Approval type | NA | CERTIFICATION |
| 047 | Cert/Approval type | SAA intrinsic safe | CERTIFICATION |
| 048 | Mounting location/type | conduit mounted | MOUNTING POSITION |
| 048 | Mounting location/type | integral to sensor | MOUNTING POSITION |
| 048 | Mounting location/type | NA | MOUNTING POSITION |
| 048 | Mounting location/type | surface | MOUNTING POSITION |
| 049 | Enclosure material | aluminum | MATERIAL |
| 049 | Enclosure material | epoxy coated carbon steel | MATERIAL |
| 049 | Enclosure material | NA | MATERIAL |
| 050a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 050b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 051 | INSERTION ASSEMBLY | SECTION TITLE |  |
| 052 | Assembly type | high pressure hot tap |  |
| 052 | Assembly type | low pressure hot tap |  |
| 052 | Assembly type | manual insertion |  |
| 052 | Assembly type | mechanical insertion |  |
| 052 | Assembly type | NA |  |
| 053 | Isolation valve style | full port ball valve |  |
| 053 | Isolation valve style | gate valve |  |
| 053 | Isolation valve style | NA |  |
| 054a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 054a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 054a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 054a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 054a | Process conn nominal size | NA | NOMINAL SIZE |
| 054b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 054b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 054b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 055a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 055a | Process conn termn type | Threaded | END CONNECTION CATEGORY |
| 055b | Process conn style | NA |  |
| 055b | Process conn style | NPT(F) |  |
| 055b | Process conn style | RF |  |
| 056a | Purge conn nominal size | 1/4 in | NOMINAL SIZE |
| 056a | Purge conn nominal size | NA | NOMINAL SIZE |
| 056b | Purge conn style | NA |  |
| 056b | Purge conn style | NPT(F) |  |
| 057 | Insertion/Immersion length | 100 |  |
| 057 | Insertion/Immersion length | 2 |  |
| 057 | Insertion/Immersion length | 4 |  |
| 057 | Insertion/Immersion length | 50 |  |
| 057u | Insertion/Immersion length units | in | UNITS |
| 057u | Insertion/Immersion length units | mm | UNITS |
| 057u | Insertion/Immersion length units | NA | UNITS |
| 058 | Valve body material | 316 SST | MATERIAL |
| 058 | Valve body material | NA | MATERIAL |
| 058 | Valve body material | polypropylene | MATERIAL |
| 058 | Valve body material | titanium | MATERIAL |
| 058 | Valve body material | virgin PVDF | MATERIAL |
| 059 | Valve seat material | NA | MATERIAL |
| 059 | Valve seat material | ptfe | MATERIAL |
| 061 | Chamber wetted material | 316 SST | MATERIAL |
| 061 | Chamber wetted material | NA | MATERIAL |
| 062 | Compression ferrule matl | NA | MATERIAL |
| 062 | Compression ferrule matl | nylon | MATERIAL |
| 062 | Compression ferrule matl | PVDF | MATERIAL |
| 062 | Compression ferrule matl | teflon | MATERIAL |
| 062 | Compression ferrule matl | teflon | MATERIAL |
| 063a | Defined attribute 1 name | Compression fitting type | DEFINABLE ATTRIBUTE NAME |
| 063a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 063b | Defined attribute 1 data | hand tight | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | wrench type | DEFINABLE ATTRIBUTE VALUE |
| 064a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 065 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 066a | Max press at design temp | 150 | PRESSURE |
| 066a | Max press at design temp | 250 | PRESSURE |
| 066au | Design pressure units | bar (g) | UNITS |
| 066au | Design pressure units | psig | UNITS |
| 066b | Max design temperature | 121 | DESIGN TEMPERATURE |
| 066b | Max design temperature | 175 | DESIGN TEMPERATURE |
| 066b | Max design temperature | 24 | DESIGN TEMPERATURE |
| 066b | Max design temperature | 250 | DESIGN TEMPERATURE |
| 066b | Max design temperature | 27 | DESIGN TEMPERATURE |
| 066b | Max design temperature | 350 | DESIGN TEMPERATURE |
| 066b | Max design temperature | 75 | DESIGN TEMPERATURE |
| 066b | Max design temperature | 80 | DESIGN TEMPERATURE |
| 066bu | Design temperature units | °C | UNITS |
| 066bu | Design temperature units | °F | UNITS |
| 066bu | Design temperature units | C | UNITS |
| 066bu | Design temperature units | F | UNITS |
| 067a | Min working temperature |  | WORKING TEMPERATURE |
| 067au | Min working temperature units | °C | UNITS |
| 067au | Min working temperature units | °F | UNITS |
| 067au | Min working temperature units | C | UNITS |
| 067au | Min working temperature units | F | UNITS |
| 067b | Max working temperature |  | WORKING TEMPERATURE |
| 067bu | Max working temp units | °C | UNITS |
| 067bu | Max working temp units | °F | UNITS |
| 067bu | Max working temp units | C | UNITS |
| 067bu | Max working temp units | F | UNITS |
| 068a | Cell constant accuracy | .000101 |  |
| 068a | Cell constant accuracy | .0031 |  |
| 068a | Cell constant accuracy | 1 |  |
| 068a | Cell constant accuracy | 2 |  |
| 068a | Cell constant accuracy | 5 |  |
| 068b | Accuracy rating ref base | % nom value | ACCURACY REFERENCE |
| 068b | Accuracy rating ref base | actual value | ACCURACY REFERENCE |
| 069a | Measurement LRL | 0.02 | LOWER RANGE-LIMIT |
| 069a | Measurement LRL | 0.2 | LOWER RANGE-LIMIT |
| 069a | Measurement LRL | 10 | LOWER RANGE-LIMIT |
| 069a | Measurement LRL | 2 | LOWER RANGE-LIMIT |
| 069a | Measurement LRL | 200 | LOWER RANGE-LIMIT |
| 069a | Measurement LRL | 50 | LOWER RANGE-LIMIT |
| 069a | Measurement LRL | 500 | LOWER RANGE-LIMIT |
| 069au | Measurement LRL units | kohm.cm | UNITS |
| 069au | Measurement LRL units | Mohm.cm | UNITS |
| 069au | Measurement LRL units | mS/cm | UNITS |
| 069au | Measurement LRL units | mS/m | UNITS |
| 069au | Measurement LRL units | S/m | UNITS |
| 069au | Measurement LRL units | uS/cm | UNITS |
| 069b | Measurement URL | 2 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 0.2 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 0.5 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 1 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 10 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 100 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 1000 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 15 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 20 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 200 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 2000 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 5 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 50 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 500 | UPPER RANGE-LIMIT |
| 069b | Measurement URL | 5000 | UPPER RANGE-LIMIT |
| 069bu | Measurement URL units | kohm.cm | UNITS |
| 069bu | Measurement URL units | Mohm.cm | UNITS |
| 069bu | Measurement URL units | mS/cm | UNITS |
| 069bu | Measurement URL units | mS/m | UNITS |
| 069bu | Measurement URL units | S/m | UNITS |
| 069bu | Measurement URL units | uS/cm | UNITS |
| 070a | Temp compensation LRL |  | LOWER RANGE-LIMIT |
| 070au | Temp comp LRL units | °C | UNITS |
| 070au | Temp comp LRL units | °F | UNITS |
| 070au | Temp comp LRL units | C | UNITS |
| 070au | Temp comp LRL units | F | UNITS |
| 070b | Temp compensation URL |  | UPPER RANGE-LIMIT |
| 070bu | Temp comp URL units | °C | UNITS |
| 070bu | Temp comp URL units | °F | UNITS |
| 070bu | Temp comp URL units | C | UNITS |
| 070bu | Temp comp URL units | F | UNITS |
| 071 | Max temp response time | 17 |  |
| 071 | Max temp response time | 5 |  |
| 071u | Response time units | s | UNITS |
| 072 | Max sensor to receiver lg | 100 |  |
| 072 | Max sensor to receiver lg | 30.5 |  |
| 072 | Max sensor to receiver lg | 55 |  |
| 072u | Length units | ft | UNITS |
| 072u | Length units | m | UNITS |
| 073a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | ACCESSORIES | SECTION TITLE |  |
| 086 | Conductivity standard | 1000 uS/cm @25 C |  |
| 086 | Conductivity standard | 200 uS/cm @25 C |  |
| 086 | Conductivity standard | 5000 uS/cm @25 C |  |
| 086 | Conductivity standard | NA |  |
| 087a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 4 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 4 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 5 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 5 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 093 | Custom tag | fiber tag |  |
| 093 | Custom tag | mylar tag |  |
| 093 | Custom tag | NA |  |
| 093 | Custom tag | sst permanent attached |  |
| 093 | Custom tag | sst wired-on |  |
| 094 | Reference specification | NA | REFERENCE SPECIFICATION |
| 095 | Compliance standard | 3-A sanitary standard | NACE STANDARD |
| 095 | Compliance standard | NA | NACE STANDARD |
| 095 | Compliance standard | USP23 | NACE STANDARD |
| 096 | Calibration report | manufacturer standard |  |
| 096 | Calibration report | NA |  |
| 096 | Calibration report | NIST traceable |  |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/8 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | connector | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag no/Functional ident |  |  |
| 112b | Measurement-Output signal | CALIBRATION/TEST DESC |  |
| 112c | Measurement LRV |  | LOWER RANGE-VALUE |
| 112cu | Measurement LRV units | kohm.cm | UNITS |
| 112cu | Measurement LRV units | Mohm.cm | UNITS |
| 112cu | Measurement LRV units | mS/cm | UNITS |
| 112cu | Measurement LRV units | mS/m | UNITS |
| 112cu | Measurement LRV units | S/m | UNITS |
| 112cu | Measurement LRV units | uS/cm | UNITS |
| 112d | Measurement URV |  | UPPER RANGE-VALUE |
| 112du | Measurement URV units | kohm.cm | UNITS |
| 112du | Measurement URV units | Mohm.cm | UNITS |
| 112du | Measurement URV units | mS/cm | UNITS |
| 112du | Measurement URV units | mS/m | UNITS |
| 112du | Measurement URV units | S/m | UNITS |
| 112du | Measurement URV units | uS/cm | UNITS |
| 112f | Measurement output LRV |  | LOWER RANGE-VALUE |
| 112fu | Measurement output LRV units |  | UNITS |
| 112g | Measurement output URV |  | UPPER RANGE-VALUE |
| 112gu | Measurement output URV units |  | UNITS |
| 113a | Temperature tag number |  |  |
| 113b | Temp-Output signal | CALIBRATION/TEST DESC |  |
| 113c | Temperature LRV |  | LOWER RANGE-VALUE |
| 113cu | Temperature LRV units | °C | UNITS |
| 113cu | Temperature LRV units | °F | UNITS |
| 113cu | Temperature LRV units | C | UNITS |
| 113cu | Temperature LRV units | F | UNITS |
| 113d | Temperature URV |  | UPPER RANGE-VALUE |
| 113du | Temperature URV units | °C | UNITS |
| 113du | Temperature URV units | °F | UNITS |
| 113du | Temperature URV units | C | UNITS |
| 113du | Temperature URV units | F | UNITS |
| 113f | Temperature output LRV |  | LOWER RANGE-VALUE |
| 113fu | Temperature output LRV units | Ohm | UNITS |
| 113g | Temperature output URV |  | UPPER RANGE-VALUE |
| 113gu | Temperature output URV units | Ohm | UNITS |
| 114a | Attribute tag no |  |  |
| 114b | Attribute cal/test descp |  |  |
| 114c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 114cu | Attr cal/test LRV units |  | UNITS |
| 114d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 114du | Attr cal/test URV units |  | UNITS |
| 114f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 114fu | Attr output LRV units |  | UNITS |
| 114g | Attribute output URV |  | UPPER RANGE-VALUE |
| 114gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | conductivity sensor |  |
| 120a | Component type | resistivity sensor |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type |  |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 122a | Component type |  |  |
| 122b | Manufacturer |  | MANUFACTURER |
| 122c | Model number |  | MODEL NUMBER |
| 123a | Component type |  |  |
| 123b | Manufacturer |  | MANUFACTURER |
| 123c | Model number |  | MODEL NUMBER |