| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | ADMINISTRATIVE IDENTIFICATIONS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017a | Defined attribute 1 name | contact | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | equipment module |  |
| 017a | Defined attribute 1 name | production line |  |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | SERVICE IDENTIFICATIONS | SECTION TITLE |  |
| 020 | Related equipment |  |  |
| 021 | Service |  |  |
| 023 | P&ID/Reference dwg number |  |  |
| 024 | Upstr line/nozzle number | NA |  |
| 025 | Upstr line pipe spec | NA |  |
| 026a | Upstr line nominal size | 1/8 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 1/4 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 3/8 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 1/2 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 3/4 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 1 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 1 1/4 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 1 1/2 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 2 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 2 1/2 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 3 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 4 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 6 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 8 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 10 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 12 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 14 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 16 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 18 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 20 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 22 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 24 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 26 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 28 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 30 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 32 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 34 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 36 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 38 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 40 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 42 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 44 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 46 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 48 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 50 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 52 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 54 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 56 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 58 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | 60 in | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 10 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 15 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 20 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 25 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 32 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 40 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 50 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 65 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 80 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 100 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 125 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 150 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 200 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 250 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 300 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 350 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 400 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 450 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 500 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 550 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 600 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 700 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 800 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 900 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 1000 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 1200 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 1400 | NOMINAL SIZE |
| 026a | Upstr line nominal size | DN 1500 | NOMINAL SIZE |
| 026b | Upstr line nom rating | cl 125 |  |
| 026b | Upstr line nom rating | cl 150 |  |
| 026b | Upstr line nom rating | cl 1500 |  |
| 026b | Upstr line nom rating | cl 25 |  |
| 026b | Upstr line nom rating | cl 250 |  |
| 026b | Upstr line nom rating | cl 2500 |  |
| 026b | Upstr line nom rating | cl 300 |  |
| 026b | Upstr line nom rating | cl 400 |  |
| 026b | Upstr line nom rating | cl 4500 |  |
| 026b | Upstr line nom rating | cl 600 |  |
| 026b | Upstr line nom rating | cl 75 |  |
| 026b | Upstr line nom rating | cl 800 |  |
| 026b | Upstr line nom rating | cl 900 |  |
| 026b | Upstr line nom rating | PN 10 |  |
| 026b | Upstr line nom rating | PN 100 |  |
| 026b | Upstr line nom rating | PN 150 |  |
| 026b | Upstr line nom rating | PN 16 |  |
| 026b | Upstr line nom rating | PN 2.5 |  |
| 026b | Upstr line nom rating | PN 20 |  |
| 026b | Upstr line nom rating | PN 25 |  |
| 026b | Upstr line nom rating | PN 250 |  |
| 026b | Upstr line nom rating | PN 40 |  |
| 026b | Upstr line nom rating | PN 420 |  |
| 026b | Upstr line nom rating | PN 50 |  |
| 026b | Upstr line nom rating | PN 6 |  |
| 027a | Upstr line conn type | clamped |  |
| 027a | Upstr line conn type | flanged |  |
| 027a | Upstr line conn type | flangeless |  |
| 027a | Upstr line conn type | flg adptr |  |
| 027a | Upstr line conn type | plain |  |
| 027a | Upstr line conn type | sep flg |  |
| 027a | Upstr line conn type | threaded |  |
| 027a | Upstr line conn type | welded |  |
| 027b | Upstr line termn style | 16A |  |
| 027b | Upstr line termn style | 16A w/nut |  |
| 027b | Upstr line termn style | 16AMP |  |
| 027b | Upstr line termn style | beveled |  |
| 027b | Upstr line termn style | boss |  |
| 027b | Upstr line termn style | BSP(F) |  |
| 027b | Upstr line termn style | BSPP |  |
| 027b | Upstr line termn style | bw |  |
| 027b | Upstr line termn style | cameron |  |
| 027b | Upstr line termn style | chiksan |  |
| 027b | Upstr line termn style | ff |  |
| 027b | Upstr line termn style | grayloc |  |
| 027b | Upstr line termn style | grooved |  |
| 027b | Upstr line termn style | hub |  |
| 027b | Upstr line termn style | LGE F |  |
| 027b | Upstr line termn style | LGE M |  |
| 027b | Upstr line termn style | LGE M&F |  |
| 027b | Upstr line termn style | lj |  |
| 027b | Upstr line termn style | NPT(F) |  |
| 027b | Upstr line termn style | NPT(M) |  |
| 027b | Upstr line termn style | NPT-LH |  |
| 027b | Upstr line termn style | pancake |  |
| 027b | Upstr line termn style | rf |  |
| 027b | Upstr line termn style | rtj |  |
| 027b | Upstr line termn style | SW(F) |  |
| 027b | Upstr line termn style | SW(M) |  |
| 027b | Upstr line termn style | T&G |  |
| 027b | Upstr line termn style | tri-Clamp |  |
| 027b | Upstr line termn style | vs |  |
| 027b | Upstr line termn style | weld-in |  |
| 027b | Upstr line termn style | wn |  |
| 027b | Upstr line termn style | NA |  |
| 028a | Upstr line schedule no | 10 |  |
| 028a | Upstr line schedule no | 100 |  |
| 028a | Upstr line schedule no | 10S |  |
| 028a | Upstr line schedule no | 120 |  |
| 028a | Upstr line schedule no | 140 |  |
| 028a | Upstr line schedule no | 160 |  |
| 028a | Upstr line schedule no | 20 |  |
| 028a | Upstr line schedule no | 30 |  |
| 028a | Upstr line schedule no | 40 |  |
| 028a | Upstr line schedule no | 40S |  |
| 028a | Upstr line schedule no | 5 |  |
| 028a | Upstr line schedule no | 5S |  |
| 028a | Upstr line schedule no | 60 |  |
| 028a | Upstr line schedule no | 80 |  |
| 028a | Upstr line schedule no | 80S |  |
| 028a | Upstr line schedule no | std |  |
| 028a | Upstr line schedule no | XS |  |
| 028a | Upstr line schedule no | XXS |  |
| 028b | Upstr line wall thickness |  |  |
| 028bu | Upstr line thkns units | in | UNITS |
| 028bu | Upstr line thkns units | mm | UNITS |
| 029 | Upstr conn orientation | horizontal |  |
| 029 | Upstr conn orientation | inclined |  |
| 029 | Upstr conn orientation | vertical |  |
| 029 | Upstr conn orientation | NA |  |
| 030 | Upstr line material type | alloy steel | MATERIAL |
| 030 | Upstr line material type | aluminum | MATERIAL |
| 030 | Upstr line material type | carbon steel | MATERIAL |
| 030 | Upstr line material type | cobalt Alloy | MATERIAL |
| 030 | Upstr line material type | copper Alloy | MATERIAL |
| 030 | Upstr line material type | ductile Iron | MATERIAL |
| 030 | Upstr line material type | FRP | MATERIAL |
| 030 | Upstr line material type | iron (Cast) | MATERIAL |
| 030 | Upstr line material type | low temp Carbon steel | MATERIAL |
| 030 | Upstr line material type | monel | MATERIAL |
| 030 | Upstr line material type | nickel Alloy | MATERIAL |
| 030 | Upstr line material type | stainless Steel | MATERIAL |
| 030 | Upstr line material type | titanium | MATERIAL |
| 030 | Upstr line material type | zinc Alloy | MATERIAL |
| 030 | Upstr line material type | NA | MATERIAL |
| 031 | Connection design code | ANSI B31.1 |  |
| 031 | Connection design code | ANSI B31.3 |  |
| 031 | Connection design code | NA |  |
| 032 | Dnstr line/nozzle number |  |  |
| 033 | Downstream line pipe spec | NA |  |
| 034a | Dnstr line nominal size | 1/8 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 1/4 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 3/8 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 1/2 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 3/4 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 1 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 1 1/4 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 1 1/2 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 2 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 2 1/2 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 3 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 4 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 6 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 8 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 10 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 12 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 14 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 16 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 18 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 20 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 22 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 24 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 26 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 28 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 30 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 32 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 34 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 36 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 38 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 40 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 42 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 44 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 46 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 48 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 50 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 52 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 54 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 56 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 58 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | 60 in | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 10 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 15 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 20 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 25 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 32 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 40 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 50 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 65 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 80 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 100 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 125 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 150 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 200 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 250 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 300 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 350 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 400 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 450 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 500 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 550 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 600 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 700 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 800 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 900 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 1000 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 1200 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 1400 | NOMINAL SIZE |
| 034a | Dnstr line nominal size | DN 1500 | NOMINAL SIZE |
| 034b | Dnstr line nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 25 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 75 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 800 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 150 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 20 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 250 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 420 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 50 | NOMINAL PRESSURE/RATING |
| 034b | Dnstr line nominal rating | PN 6 | NOMINAL PRESSURE/RATING |
| 035a | Dnstr line conn type | clamped |  |
| 035a | Dnstr line conn type | flanged |  |
| 035a | Dnstr line conn type | flangeless |  |
| 035a | Dnstr line conn type | flg adptr |  |
| 035a | Dnstr line conn type | plain |  |
| 035a | Dnstr line conn type | sep flg |  |
| 035a | Dnstr line conn type | threaded |  |
| 035a | Dnstr line conn type | welded |  |
| 035b | Dnstr line termn style | 16A |  |
| 035b | Dnstr line termn style | 16A w/nut |  |
| 035b | Dnstr line termn style | 16AMP |  |
| 035b | Dnstr line termn style | beveled |  |
| 035b | Dnstr line termn style | boss |  |
| 035b | Dnstr line termn style | BSP(F) |  |
| 035b | Dnstr line termn style | BSPP |  |
| 035b | Dnstr line termn style | bw |  |
| 035b | Dnstr line termn style | cameron |  |
| 035b | Dnstr line termn style | chiksan |  |
| 035b | Dnstr line termn style | ff |  |
| 035b | Dnstr line termn style | grayloc |  |
| 035b | Dnstr line termn style | grooved |  |
| 035b | Dnstr line termn style | hub |  |
| 035b | Dnstr line termn style | LGE F |  |
| 035b | Dnstr line termn style | LGE M |  |
| 035b | Dnstr line termn style | LGE M&F |  |
| 035b | Dnstr line termn style | lj |  |
| 035b | Dnstr line termn style | NPT(F) |  |
| 035b | Dnstr line termn style | NPT(M) |  |
| 035b | Dnstr line termn style | NPT-LH |  |
| 035b | Dnstr line termn style | pancake |  |
| 035b | Dnstr line termn style | rf |  |
| 035b | Dnstr line termn style | rtj |  |
| 035b | Dnstr line termn style | SW(F) |  |
| 035b | Dnstr line termn style | SW(M) |  |
| 035b | Dnstr line termn style | T&G |  |
| 035b | Dnstr line termn style | tri-Clamp |  |
| 035b | Dnstr line termn style | vs |  |
| 035b | Dnstr line termn style | weld-in |  |
| 035b | Dnstr line termn style | wn |  |
| 035b | Dnstr line termn style | NA |  |
| 036a | Dnstr line schedule no | 10 |  |
| 036a | Dnstr line schedule no | 100 |  |
| 036a | Dnstr line schedule no | 10S |  |
| 036a | Dnstr line schedule no | 120 |  |
| 036a | Dnstr line schedule no | 140 |  |
| 036a | Dnstr line schedule no | 160 |  |
| 036a | Dnstr line schedule no | 20 |  |
| 036a | Dnstr line schedule no | 30 |  |
| 036a | Dnstr line schedule no | 40 |  |
| 036a | Dnstr line schedule no | 40S |  |
| 036a | Dnstr line schedule no | 5 |  |
| 036a | Dnstr line schedule no | 5S |  |
| 036a | Dnstr line schedule no | 60 |  |
| 036a | Dnstr line schedule no | 80 |  |
| 036a | Dnstr line schedule no | 80S |  |
| 036a | Dnstr line schedule no | std |  |
| 036a | Dnstr line schedule no | XS |  |
| 036a | Dnstr line schedule no | XXS |  |
| 036b | Dnstr line wall thickness |  |  |
| 036bu | Dnstr line thkns units | in | UNITS |
| 036bu | Dnstr line thkns units | mm | UNITS |
| 037 | Dnstr conn orientation | horizontal |  |
| 037 | Dnstr conn orientation | inclined |  |
| 037 | Dnstr conn orientation | vertical |  |
| 037 | Dnstr conn orientation | NA |  |
| 038 | Dnstr line material type | alloy steel | MATERIAL |
| 038 | Dnstr line material type | aluminum | MATERIAL |
| 038 | Dnstr line material type | carbon steel | MATERIAL |
| 038 | Dnstr line material type | cobalt Alloy | MATERIAL |
| 038 | Dnstr line material type | copper Alloy | MATERIAL |
| 038 | Dnstr line material type | ductile Iron | MATERIAL |
| 038 | Dnstr line material type | FRP | MATERIAL |
| 038 | Dnstr line material type | iron (Cast) | MATERIAL |
| 038 | Dnstr line material type | low temp Carbon steel | MATERIAL |
| 038 | Dnstr line material type | monel | MATERIAL |
| 038 | Dnstr line material type | nickel Alloy | MATERIAL |
| 038 | Dnstr line material type | stainless Steel | MATERIAL |
| 038 | Dnstr line material type | titanium | MATERIAL |
| 038 | Dnstr line material type | zinc Alloy | MATERIAL |
| 038 | Dnstr line material type | NA | MATERIAL |
| 039 | Dnstr insulation atten |  |  |
| 041a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 041a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 041a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 041b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 041b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 041b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 041c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 042a | Inline area min ign temp |  |  |
| 042au | Inline area min ign temp units | °C | UNITS |
| 042au | Inline area min ign temp units | °F | UNITS |
| 042au | Inline area min ign temp units | C | UNITS |
| 042au | Inline area min ign temp units | F | UNITS |
| 042b | Inline ign temp ident no | T1 |  |
| 042b | Inline ign temp ident no | T2 |  |
| 042b | Inline ign temp ident no | T3 |  |
| 042b | Inline ign temp ident no | T4 |  |
| 042b | Inline ign temp ident no | T5 |  |
| 042b | Inline ign temp ident no | T6 |  |
| 043a | Remote hazardous area cl | I |  |
| 043a | Remote hazardous area cl | II |  |
| 043a | Remote hazardous area cl | III |  |
| 043b | Remote hazardous Div/Zone | 0 |  |
| 043b | Remote hazardous Div/Zone | 1 |  |
| 043b | Remote hazardous Div/Zone | 2 |  |
| 043c | Remote hazardous area gr | A |  |
| 043c | Remote hazardous area gr | B |  |
| 043c | Remote hazardous area gr | C |  |
| 043c | Remote hazardous area gr | D |  |
| 043c | Remote hazardous area gr | E |  |
| 043c | Remote hazardous area gr | F |  |
| 043c | Remote hazardous area gr | IIA |  |
| 043c | Remote hazardous area gr | IIB |  |
| 043c | Remote hazardous area gr | IIC |  |
| 044a | Remote min ignition temp |  |  |
| 044au | Remote min ign temp units | °C | UNITS |
| 044au | Remote min ign temp units | °F | UNITS |
| 044au | Remote min ign temp units | C | UNITS |
| 044au | Remote min ign temp units | F | UNITS |
| 044b | Remote ign temp ident no | T1 |  |
| 044b | Remote ign temp ident no | T2 |  |
| 044b | Remote ign temp ident no | T3 |  |
| 044b | Remote ign temp ident no | T4 |  |
| 044b | Remote ign temp ident no | T5 |  |
| 044b | Remote ign temp ident no | T6 |  |
| 045a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 045b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 045bu | Defined attribute 1 units |  |  |
| 046a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 046bu | Defined attribute 2 units |  |  |
| 047 | COMPONENT DESIGN CRITERIA | SECTION TITLE |  |
| 048 | Component Type | control valve- nuclear |  |
| 048 | Component Type | desuperheater valve |  |
| 048 | Component Type | excess flow valve |  |
| 048 | Component Type | flow regulator |  |
| 048 | Component Type | isolation valve |  |
| 048 | Component Type | level regulator (mech) |  |
| 048 | Component Type | linear mtn control valve |  |
| 048 | Component Type | manual block valve |  |
| 048 | Component Type | manual regulating valve |  |
| 048 | Component Type | motor operated valve |  |
| 048 | Component Type | pilot regulator |  |
| 048 | Component Type | pressure relief valve |  |
| 048 | Component Type | pwr actuated block valve |  |
| 048 | Component Type | ram type valve |  |
| 048 | Component Type | recirc control valve |  |
| 048 | Component Type | rest orifice-drill valve |  |
| 048 | Component Type | rotary mtn control valve |  |
| 048 | Component Type | servo-valve |  |
| 048 | Component Type | severe service cont valve |  |
| 048 | Component Type | solenoid valve-nuclear |  |
| 048 | Component Type | solenoid valve-process |  |
| 048 | Component Type | temperature rglt valve |  |
| 049 | Component style | angle globe valve | INSTRUMENT TYPE |
| 049 | Component style | ball valve | INSTRUMENT TYPE |
| 049 | Component style | butterfly valve | INSTRUMENT TYPE |
| 049 | Component style | diaphragm valve | INSTRUMENT TYPE |
| 049 | Component style | disk valve | INSTRUMENT TYPE |
| 049 | Component style | gate valve | INSTRUMENT TYPE |
| 049 | Component style | globe valve | INSTRUMENT TYPE |
| 049 | Component style | lined body | INSTRUMENT TYPE |
| 049 | Component style | manufacturer standard | INSTRUMENT TYPE |
| 049 | Component style | multiported valve | INSTRUMENT TYPE |
| 049 | Component style | needle valve | INSTRUMENT TYPE |
| 049 | Component style | pinch valve | INSTRUMENT TYPE |
| 049 | Component style | plug valve | INSTRUMENT TYPE |
| 049 | Component style | weir valve | INSTRUMENT TYPE |
| 050 | Input signal type | analog current |  |
| 050 | Input signal type | analog current & relays |  |
| 050 | Input signal type | analog pneumatic |  |
| 050 | Input signal type | analog voltage |  |
| 050 | Input signal type | binary pneumatic |  |
| 050 | Input signal type | digital multi-variable |  |
| 050 | Input signal type | digital single-variable |  |
| 050 | Input signal type | dry contact |  |
| 050 | Input signal type | relay |  |
| 050 | Input signal type | smart multivariable |  |
| 050 | Input signal type | smart,single variable |  |
| 050 | Input signal type | NA |  |
| 051 | Flow characteristic | characterized | INHERENT FLOW CHARACTERISTIC |
| 051 | Flow characteristic | equal percentage | INHERENT FLOW CHARACTERISTIC |
| 051 | Flow characteristic | linear | INHERENT FLOW CHARACTERISTIC |
| 051 | Flow characteristic | quick opening | INHERENT FLOW CHARACTERISTIC |
| 051 | Flow characteristic | NA | INHERENT FLOW CHARACTERISTIC |
| 052 | Min seat leakage class | I |  |
| 052 | Min seat leakage class | II |  |
| 052 | Min seat leakage class | III |  |
| 052 | Min seat leakage class | IV |  |
| 052 | Min seat leakage class | V |  |
| 052 | Min seat leakage class | NA |  |
| 053 | Max stem leakage rate | 50 |  |
| 053 | Max stem leakage rate | 100 |  |
| 053 | Max stem leakage rate | 500 |  |
| 053u | Leakage rate units | ppm | UNITS |
| 054 | Type of protection | continuous dilution | TYPE OF PROTECTION |
| 054 | Type of protection | encapsulation | TYPE OF PROTECTION |
| 054 | Type of protection | explosion proof enclosure | TYPE OF PROTECTION |
| 054 | Type of protection | flameproof | TYPE OF PROTECTION |
| 054 | Type of protection | increased safety | TYPE OF PROTECTION |
| 054 | Type of protection | intrinsic safety | TYPE OF PROTECTION |
| 054 | Type of protection | nonincendive equipment | TYPE OF PROTECTION |
| 054 | Type of protection | pressurization | TYPE OF PROTECTION |
| 054 | Type of protection | restricted breathing | TYPE OF PROTECTION |
| 054 | Type of protection | special protection | TYPE OF PROTECTION |
| 054 | Type of protection | NA | TYPE OF PROTECTION |
| 055 | Criticality code | 1 | CRITICALITY CODE |
| 055 | Criticality code | 2 | CRITICALITY CODE |
| 055 | Criticality code | 3 | CRITICALITY CODE |
| 056a | Max EMI susceptibility | 1-a:0.1 |  |
| 056a | Max EMI susceptibility | 1-b:0.1 |  |
| 056a | Max EMI susceptibility | 1-c:0.1 |  |
| 056a | Max EMI susceptibility | 2-a:0.1 |  |
| 056a | Max EMI susceptibility | 2-b:0.1 |  |
| 056a | Max EMI susceptibility | 2-c:0.1 |  |
| 056a | Max EMI susceptibility | 3-a:0.1 |  |
| 056a | Max EMI susceptibility | 3-b:0.1 |  |
| 056a | Max EMI susceptibility | 3-c:0.1 |  |
| 056b | Ref base susceptibility | % reading |  |
| 056b | Ref base susceptibility | % span |  |
| 056b | Ref base susceptibility | % Span@30 V/m |  |
| 057a | Min xdcr reqd accuracy | .1 |  |
| 057a | Min xdcr reqd accuracy | .2 |  |
| 057b | Xdcr accuracy ref base | % input span |  |
| 057b | Xdcr accuracy ref base | % scale |  |
| 057b | Xdcr accuracy ref base | % URV |  |
| 058 | Max offset/propn band | 10 |  |
| 058 | Max offset/propn band | 20 |  |
| 058 | Max offset/propn band | 25 |  |
| 058 | Max offset/propn band |  |  |
| 058u | Max dead band units | % | UNITS |
| 058u | Max dead band units | bar(g) | UNITS |
| 058u | Max dead band units | inH2O | UNITS |
| 058u | Max dead band units | inHg | UNITS |
| 058u | Max dead band units | kPa(g) | UNITS |
| 058u | Max dead band units | psi | UNITS |
| 058u | Max dead band units | psig | UNITS |
| 059 | Actuator sizing factor | 1.0 |  |
| 059 | Actuator sizing factor | 1.10 |  |
| 059 | Actuator sizing factor | 1.25 |  |
| 059 | Actuator sizing factor |  |  |
| 060a | Avail nom power supply | 12 |  |
| 060a | Avail nom power supply | 20 |  |
| 060a | Avail nom power supply | 24 |  |
| 060a | Avail nom power supply | 32 |  |
| 060a | Avail nom power supply | 110 |  |
| 060a | Avail nom power supply | 115 |  |
| 060a | Avail nom power supply | 120 |  |
| 060a | Avail nom power supply | 220 |  |
| 060a | Avail nom power supply | 230 |  |
| 060a | Avail nom power supply | 240 |  |
| 060a | Avail nom power supply | 250 |  |
| 060a | Avail nom power supply |  |  |
| 060au | Power supply units | bar(g) | UNITS |
| 060au | Power supply units | kPa(g) | UNITS |
| 060au | Power supply units | psig | UNITS |
| 060au | Power supply units | V(ac) | UNITS |
| 060au | Power supply units | V(dc) | UNITS |
| 060b | Number wires | 2 |  |
| 060b | Number wires | 3 |  |
| 060b | Number wires | 4 |  |
| 060b | Number wires | NA |  |
| 061 | Available nom air supply | 20 |  |
| 061 | Available nom air supply | 60 |  |
| 061 | Available nom air supply | 80 |  |
| 061 | Available nom air supply | 100 |  |
| 061u | Nominal air supply units | bar(g) | UNITS |
| 061u | Nominal air supply units | kPa(g) | UNITS |
| 061u | Nominal air supply units | psig | UNITS |
| 062 | Testing/Listing agency | BASEEFA |  |
| 062 | Testing/Listing agency | CENELEC |  |
| 062 | Testing/Listing agency | CSA |  |
| 062 | Testing/Listing agency | FM |  |
| 062 | Testing/Listing agency | ISSEP |  |
| 062 | Testing/Listing agency | JIS/RIIS |  |
| 062 | Testing/Listing agency | LCIE |  |
| 062 | Testing/Listing agency | SAA |  |
| 062 | Testing/Listing agency | UL |  |
| 062 | Testing/Listing agency | VNIIVE |  |
| 062 | Testing/Listing agency | NA |  |
| 063 | Test requirements | hydrostatic press test |  |
| 063 | Test requirements | NA |  |
| 064 | Supply loss failure mode | fail closed |  |
| 064 | Supply loss failure mode | fail locked position |  |
| 064 | Supply loss failure mode | fail open |  |
| 064 | Supply loss failure mode | NA |  |
| 065 | Signal loss failure mode | fail closed |  |
| 065 | Signal loss failure mode | fail locked position |  |
| 065 | Signal loss failure mode | fail open |  |
| 065 | Signal loss failure mode | NA |  |
| 066a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 066b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066bu | Defined attribute 1 units |  | UNITS |
| 067a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 067bu | Defined attribute 2 units |  | UNITS |
| 068a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068c | Defined attribute 3 units |  | UNITS |
| 069 | MATERIAL FLOW CONDITIONS | SECTION TITLE | MATERIAL |
| 070a | Flow Case Identification | min flow |  |
| 070b | Flow Case Identification | norm flow |  |
| 070c | Flow Case Identification | max flow |  |
| 071 | Inlet pressure |  |  |
| 071u | Inlet pressure units | atm | UNITS |
| 071u | Inlet pressure units | bar | UNITS |
| 071u | Inlet pressure units | bar(g) | UNITS |
| 071u | Inlet pressure units | ftH2O | UNITS |
| 071u | Inlet pressure units | inH2O | UNITS |
| 071u | Inlet pressure units | inHg | UNITS |
| 071u | Inlet pressure units | kPa | UNITS |
| 071u | Inlet pressure units | kPa(g) | UNITS |
| 071u | Inlet pressure units | lbf/ft2 | UNITS |
| 071u | Inlet pressure units | lbf/in2 | UNITS |
| 071u | Inlet pressure units | mmH2O | UNITS |
| 071u | Inlet pressure units | mmHg | UNITS |
| 071u | Inlet pressure units | Pa | UNITS |
| 071u | Inlet pressure units | Pa(g) | UNITS |
| 071u | Inlet pressure units | psia | UNITS |
| 071u | Inlet pressure units | psig | UNITS |
| 072 | Outlet pressure |  | OUTLET PRESSURE |
| 072u | Outlet pressure units | atm | UNITS |
| 072u | Outlet pressure units | bar | UNITS |
| 072u | Outlet pressure units | bar(g) | UNITS |
| 072u | Outlet pressure units | ftH2O | UNITS |
| 072u | Outlet pressure units | inH2O | UNITS |
| 072u | Outlet pressure units | inHg | UNITS |
| 072u | Outlet pressure units | kPa | UNITS |
| 072u | Outlet pressure units | kPa(g) | UNITS |
| 072u | Outlet pressure units | lbf/ft2 | UNITS |
| 072u | Outlet pressure units | lbf/in2 | UNITS |
| 072u | Outlet pressure units | mmH2O | UNITS |
| 072u | Outlet pressure units | mmHg | UNITS |
| 072u | Outlet pressure units | Pa | UNITS |
| 072u | Outlet pressure units | Pa(g) | UNITS |
| 072u | Outlet pressure units | psia | UNITS |
| 072u | Outlet pressure units | psig | UNITS |
| 073 | Inlet temperature |  | INLET TEMPERATURE |
| 073u | Inlet temperature units | °C | UNITS |
| 073u | Inlet temperature units | °F | UNITS |
| 073u | Inlet temperature units | C | UNITS |
| 073u | Inlet temperature units | F | UNITS |
| 074 | Inlet phase type | liquid |  |
| 074 | Inlet phase type | mixed |  |
| 074 | Inlet phase type | solid |  |
| 074 | Inlet phase type | vapor |  |
| 075 | Mass fraction vapor |  |  |
| 076 | Total mass flow rate |  |  |
| 076u | Total mass flow units | kg/d | UNITS |
| 076u | Total mass flow units | kg/h | UNITS |
| 076u | Total mass flow units | kg/s | UNITS |
| 076u | Total mass flow units | lb/h | UNITS |
| 077 | Liquid mass flow rate |  |  |
| 077u | Liquid mass flow units | kg/d | UNITS |
| 077u | Liquid mass flow units | kg/h | UNITS |
| 077u | Liquid mass flow units | kg/s | UNITS |
| 077u | Liquid mass flow units | lb/h | UNITS |
| 078 | Liquid actual flow rate |  |  |
| 078u | Liquid actual flow units | galUS/h | UNITS |
| 078u | Liquid actual flow units | galUS/min | UNITS |
| 078u | Liquid actual flow units | L/s | UNITS |
| 078u | Liquid actual flow units | m3/h | UNITS |
| 078u | Liquid actual flow units | m3/s | UNITS |
| 079 | Liquid standard flow rate |  |  |
| 079u | Liquid std flow units | bbl/d | UNITS |
| 079u | Liquid std flow units | L/d(std) | UNITS |
| 079u | Liquid std flow units | L/s(std) | UNITS |
| 080 | Liquid density |  |  |
| 080u | Liquid density units | g/cm3 | UNITS |
| 080u | Liquid density units | lb/ft3 | UNITS |
| 080u | Liquid density units | lb/galUS | UNITS |
| 081 | Liquid specific gravity |  |  |
| 082 | Liquid viscosity |  |  |
| 082u | Liquid viscosity units | cP | UNITS |
| 082u | Liquid viscosity units | cSt | UNITS |
| 082u | Liquid viscosity units | m2/s | UNITS |
| 082u | Liquid viscosity units | m³/s | UNITS |
| 082u | Liquid viscosity units | Pa.s | UNITS |
| 083 | Absolute vapor pressure |  | ABSOLUTE VAPOR PRESSURE |
| 083u | Abs vapor press units | atm | UNITS |
| 083u | Abs vapor press units | bar | UNITS |
| 083u | Abs vapor press units | kPa | UNITS |
| 083u | Abs vapor press units | Pa | UNITS |
| 083u | Abs vapor press units | psia | UNITS |
| 084 | Vapor mass flow rate |  |  |
| 084u | Vapor mass flow units | kg/d | UNITS |
| 084u | Vapor mass flow units | kg/h | UNITS |
| 084u | Vapor mass flow units | kg/s | UNITS |
| 084u | Vapor mass flow units | lb/h | UNITS |
| 085 | Vapor actual flow rate |  |  |
| 085u | Vapor actual flow units | ft3ACT/h | UNITS |
| 085u | Vapor actual flow units | ft3ACT/min | UNITS |
| 085u | Vapor actual flow units | m3/h(N) | UNITS |
| 085u | Vapor actual flow units | m3/s(N) | UNITS |
| 086 | Vapor standard flow rate |  |  |
| 086u | Vapor std flow units | ft3STD/h | UNITS |
| 086u | Vapor std flow units | ft3STD/min | UNITS |
| 086u | Vapor std flow units | ft3STD/s | UNITS |
| 086u | Vapor std flow units | L/s(std) | UNITS |
| 086u | Vapor std flow units | m3/h(std) | UNITS |
| 086u | Vapor std flow units | m3/s(std) | UNITS |
| 087 | Vapor density |  |  |
| 087u | Vapor density units | g/cm3 | UNITS |
| 087u | Vapor density units | kg/m3 | UNITS |
| 087u | Vapor density units | lb/ft3 | UNITS |
| 088 | Vapor specific gravity |  |  |
| 089 | Vapor molecular weight |  |  |
| 089u | Molecular weight units | u | UNITS |
| 090 | Vapor viscosity |  |  |
| 090u | Vapor viscosity units | cP | UNITS |
| 090u | Vapor viscosity units | cSt | UNITS |
| 090u | Vapor viscosity units | m2/s | UNITS |
| 090u | Vapor viscosity units | m³/s | UNITS |
| 090u | Vapor viscosity units | Pa.s | UNITS |
| 091 | Inlet compressibility |  |  |
| 092 | Defined attribute 1 name | solids concentration | DEFINABLE ATTRIBUTE NAME |
| 092 | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092a | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092au | Defined attribute 1 units |  | UNITS |
| 093 | CALCULATED VARIABLES | SECTION TITLE |  |
| 094 | Pressure differential |  |  |
| 094u | Press differential units | atm | UNITS |
| 094u | Press differential units | bar | UNITS |
| 094u | Press differential units | ftH2O | UNITS |
| 094u | Press differential units | inH2O | UNITS |
| 094u | Press differential units | inHg | UNITS |
| 094u | Press differential units | kPa | UNITS |
| 094u | Press differential units | lbf/ft2 | UNITS |
| 094u | Press differential units | lbf/in2 | UNITS |
| 094u | Press differential units | mmH2O | UNITS |
| 094u | Press differential units | mmHg | UNITS |
| 094u | Press differential units | Pa | UNITS |
| 094u | Press differential units | psi | UNITS |
| 095 | Total system press drop |  | TOTAL SYSTEM PRESSURE DROP |
| 095u | System press drop units | atm | UNITS |
| 095u | System press drop units | bar | UNITS |
| 095u | System press drop units | ftH2O | UNITS |
| 095u | System press drop units | inH2O | UNITS |
| 095u | System press drop units | inHg | UNITS |
| 095u | System press drop units | kPa | UNITS |
| 095u | System press drop units | lbf/ft2 | UNITS |
| 095u | System press drop units | lbf/in2 | UNITS |
| 095u | System press drop units | mmH2O | UNITS |
| 095u | System press drop units | mmHg | UNITS |
| 095u | System press drop units | Pa | UNITS |
| 095u | System press drop units | psi | UNITS |
| 096 | Calculated flow coef |  |  |
| 096u | Flow coefficient units |  | UNITS |
| 097 | Calculated travel |  |  |
| 097u | Travel units | % | UNITS |
| 097u | Travel units | cm | UNITS |
| 097u | Travel units | deg | UNITS |
| 097u | Travel units | in | UNITS |
| 097u | Travel units | mm | UNITS |
| 098 | Calculated travel time |  |  |
| 098u | Travel time units | s | UNITS |
| 099 | Calculated SPL |  |  |
| 099u | Sound press level units | dB | UNITS |
| 100 | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100a | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100au | Defined attribute 1 units |  | UNITS |
| 101 | PROCESS DESIGN CONDITIONS | SECTION TITLE |  |
| 103a | Minimum inlet pressure |  |  |
| 103au | Min inlet press units |  | UNITS |
| 103b | Maximum inlet pressure |  |  |
| 103bu | Max inlet press units | atm | UNITS |
| 103bu | Max inlet press units | bar | UNITS |
| 103bu | Max inlet press units | bar(g) | UNITS |
| 103bu | Max inlet press units | ftH2O | UNITS |
| 103bu | Max inlet press units | inH2O | UNITS |
| 103bu | Max inlet press units | inHg | UNITS |
| 103bu | Max inlet press units | kPa | UNITS |
| 103bu | Max inlet press units | kPa(g) | UNITS |
| 103bu | Max inlet press units | lbf/ft2 | UNITS |
| 103bu | Max inlet press units | lbf/in2 | UNITS |
| 103bu | Max inlet press units | mmH2O | UNITS |
| 103bu | Max inlet press units | mmHg | UNITS |
| 103bu | Max inlet press units | Pa | UNITS |
| 103bu | Max inlet press units | Pa(g) | UNITS |
| 103bu | Max inlet press units | psia | UNITS |
| 103bu | Max inlet press units | psig | UNITS |
| 104a | Minimum outlet pressure |  |  |
| 104au | Min outlet press units |  |  |
| 104b | Maximum outlet pressure |  |  |
| 104bu | Max outlet press units | atm | UNITS |
| 104bu | Max outlet press units | bar | UNITS |
| 104bu | Max outlet press units | bar(g) | UNITS |
| 104bu | Max outlet press units | ftH2O | UNITS |
| 104bu | Max outlet press units | inH2O | UNITS |
| 104bu | Max outlet press units | inHg | UNITS |
| 104bu | Max outlet press units | kPa | UNITS |
| 104bu | Max outlet press units | kPa(g) | UNITS |
| 104bu | Max outlet press units | lbf/ft2 | UNITS |
| 104bu | Max outlet press units | lbf/in2 | UNITS |
| 104bu | Max outlet press units | mmH2O | UNITS |
| 104bu | Max outlet press units | mmHg | UNITS |
| 104bu | Max outlet press units | Pa | UNITS |
| 104bu | Max outlet press units | Pa(g) | UNITS |
| 104bu | Max outlet press units | psia | UNITS |
| 104bu | Max outlet press units | psig | UNITS |
| 105a | Minimum inlet temperature |  |  |
| 105au | Min inlet temp units |  |  |
| 105b | Maximum inlet temperature |  |  |
| 105bu | Max inlet temp units | °C | UNITS |
| 105bu | Max inlet temp units | °F | UNITS |
| 105bu | Max inlet temp units | C | UNITS |
| 105bu | Max inlet temp units | F | UNITS |
| 114b | Maximum liquid viscosity |  |  |
| 114bu | Max liquid visc units | cP | UNITS |
| 114bu | Max liquid visc units | cSt | UNITS |
| 114bu | Max liquid visc units | m2/s | UNITS |
| 114bu | Max liquid visc units | m³/s | UNITS |
| 114bu | Max liquid visc units | Pa.s | UNITS |
| 124a | Defined attribute 1 min |  |  |
| 124b | Defined attribute 1 max |  |  |
| 124c | Defined attribute 1 units |  | UNITS |
| 126b | Maximum pressure diff |  |  |
| 126bu | Max press diff units | atm | UNITS |
| 126bu | Max press diff units | bar | UNITS |
| 126bu | Max press diff units | ftH2O | UNITS |
| 126bu | Max press diff units | inH2O | UNITS |
| 126bu | Max press diff units | inHg | UNITS |
| 126bu | Max press diff units | kPa | UNITS |
| 126bu | Max press diff units | lbf/ft2 | UNITS |
| 126bu | Max press diff units | lbf/in2 | UNITS |
| 126bu | Max press diff units | mmH2O | UNITS |
| 126bu | Max press diff units | mmHg | UNITS |
| 126bu | Max press diff units | Pa | UNITS |
| 126bu | Max press diff units | psi | UNITS |
| 126bu | Max press diff units | psia | UNITS |
| 126bu | Max press diff units | psig | UNITS |
| 127a | Min system press drop |  |  |
| 127au | Min sys press drop units |  |  |
| 127b | Max system press drop |  |  |
| 127bu | Max sys press drop units | atm | UNITS |
| 127bu | Max sys press drop units | bar | UNITS |
| 127bu | Max sys press drop units | ftH2O | UNITS |
| 127bu | Max sys press drop units | inH2O | UNITS |
| 127bu | Max sys press drop units | inHg | UNITS |
| 127bu | Max sys press drop units | kPa | UNITS |
| 127bu | Max sys press drop units | lbf/ft2 | UNITS |
| 127bu | Max sys press drop units | lbf/in2 | UNITS |
| 127bu | Max sys press drop units | mmH2O | UNITS |
| 127bu | Max sys press drop units | mmHg | UNITS |
| 127bu | Max sys press drop units | Pa | UNITS |
| 127bu | Max sys press drop units | psi | UNITS |
| 127bu | Max sys press drop units | psia | UNITS |
| 127bu | Max sys press drop units | psig | UNITS |
| 129a | Min calculated travel | 10 |  |
| 129au | Min travel units |  |  |
| 129b | Max calculated travel | 80 |  |
| 129bu | Max travel units | % | UNITS |
| 129bu | Max travel units | cm | UNITS |
| 129bu | Max travel units | deg | UNITS |
| 129bu | Max travel units | in | UNITS |
| 129bu | Max travel units | mm | UNITS |
| 130a | Min calc travel time |  |  |
| 130au | Min travel time units | s |  |
| 130b | Max calc travel time |  |  |
| 130bu | Max travel time units | s |  |
| 131b | Max calculated SPL | 80 |  |
| 131b | Max calculated SPL | 85 |  |
| 131b | Max calculated SPL | 90 |  |
| 131bu | Max flow SPL units | dB | UNITS |
| 132a | Defined attribute 2 min |  |  |
| 132b | Defined attribute 2 max |  |  |
| 132c | Defined attribute 2 units |  | UNITS |
| 133 | MATERIAL PROPERTIES | SECTION TITLE | MATERIAL |
| 134 | Name |  |  |
| 134 | Material name | NA | MATERIAL |
| 135 | Composition |  |  |
| 135 | Material composition |  | MATERIAL |
| 136 | Material density @ ref temp |  | MATERIAL |
| 136a | Density at ref temp |  |  |
| 136au | Density units | g/cm3 | UNITS |
| 136au | Density units | kg/m3 | UNITS |
| 136au | Density units | lb/ft3 | UNITS |
| 136au | Density units | lb/galUS | UNITS |
| 136b | Density ref temperature | 4 |  |
| 136b | Density ref temperature | 25 |  |
| 136b | Density ref temperature | 60 |  |
| 136b | Density ref temperature | 75 |  |
| 136b | Density ref temperature | 77 |  |
| 136bu | Density ref temp units | °C | UNITS |
| 136bu | Density ref temp units | °F | UNITS |
| 136bu | Density ref temp units | C | UNITS |
| 136bu | Density ref temp units | F | UNITS |
| 137 | Ratio sp heat capacity |  | RATIO OF SPECIF HEAT CAPACITY |
| 139 | Abs critical pressure |  | ABSOLUTE CRITICAL PRESSURE |
| 139u | Abs critical press units | atm | UNITS |
| 139u | Abs critical press units | bar | UNITS |
| 139u | Abs critical press units | kPa | UNITS |
| 139u | Abs critical press units | Pa | UNITS |
| 139u | Abs critical press units | psia | UNITS |
| 140 | Critical temperature |  | CRITICAL TEMPERATURE |
| 140u | Critical temperature units | °C | UNITS |
| 140u | Critical temperature units | °F | UNITS |
| 140u | Critical temperature units | C | UNITS |
| 140u | Critical temperature units | F | UNITS |
| 141a | NFPA health hazard | 0 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 1 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 2 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 3 | HEALTH HAZARD RATING |
| 141a | NFPA health hazard | 4 | HEALTH HAZARD RATING |
| 141b | NFPA flammability | 0 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 1 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 2 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 3 | FLAMMABILITY HAZARD RATING |
| 141b | NFPA flammability | 4 | FLAMMABILITY HAZARD RATING |
| 141c | NFPA reactivity | 0 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 1 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 2 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 3 | REACTIVITY HAZARD RATING |
| 141c | NFPA reactivity | 4 | REACTIVITY HAZARD RATING |
| 142a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 142b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 142bu | Defined attribute 1 units |  | UNITS |