| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | BODY OR TUBE | SECTION TITLE |  |
| 012 | Tube form | 90 deg elbow |  |
| 012 | Tube form | ASME venturi long form |  |
| 012 | Tube form | ASME venturi short form |  |
| 012 | Tube form | flow tube |  |
| 012 | Tube form | ISO Venturi nozzle |  |
| 012 | Tube form | low loss venturi |  |
| 012 | Tube form | propriety |  |
| 013 | Fabrication style | cast w/annular chamber |  |
| 013 | Fabrication style | fabricated convergent |  |
| 013 | Fabrication style | insertion |  |
| 013 | Fabrication style | machined convergent |  |
| 013 | Fabrication style | pipe shell |  |
| 013 | Fabrication style | plastic Insert |  |
| 013 | Fabrication style | rough cast convergent |  |
| 014a | Inlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 3 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 4 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 6 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 8 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 10 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 12 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 14 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 16 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 18 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 20 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 24 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 30 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 36 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 42 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 48 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 60 in | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 152 mm | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 203 mm | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 254 mm | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 305 mm | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 356 mm | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 406 mm | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 508 mm | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 610 mm | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 762 mm | NOMINAL SIZE |
| 014a | Inlet conn nominal size | 914 mm | NOMINAL SIZE |
| 014b | Inlet conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 014b | Inlet conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 015a | Outlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 3 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 4 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 5 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 6 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 8 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 10 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 12 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 14 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 16 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 18 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 20 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 24 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 30 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 36 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 42 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 48 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 60 in | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 152 mm | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 203 mm | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 254 mm | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 305 mm | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 356 mm | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 406 mm | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 508 mm | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 610 mm | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 762 mm | NOMINAL SIZE |
| 015a | Outlet conn nominal size | 914 mm | NOMINAL SIZE |
| 015b | Outlet conn nom rating | cl 125 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 250 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 400 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 015b | Outlet conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 016a | End conn termn type | flanged | END CONNECTION TYPE |
| 016a | End conn termn type | plain | END CONNECTION TYPE |
| 016a | End conn termn type | soldered | END CONNECTION TYPE |
| 016a | End conn termn type | threaded | END CONNECTION TYPE |
| 016a | End conn termn type | wafer | END CONNECTION TYPE |
| 016a | End conn termn type | welded | END CONNECTION TYPE |
| 016b | End conn termn style | bw | END CONNECTION TYPE |
| 016b | End conn termn style | ff | END CONNECTION TYPE |
| 016b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 016b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 016b | End conn termn style | rf | END CONNECTION TYPE |
| 016b | End conn termn style | rtj | END CONNECTION TYPE |
| 016b | End conn termn style | SW(F) | END CONNECTION TYPE |
| 016b | End conn termn style | vs | END CONNECTION TYPE |
| 017 | Flange facing finish | 125-250 Ra | FLANGE FACING FINISH |
| 017 | Flange facing finish | 250-500 Ra | FLANGE FACING FINISH |
| 017 | Flange facing finish | ANSI B16.5 | FLANGE FACING FINISH |
| 017 | Flange facing finish | manufacturer standard | FLANGE FACING FINISH |
| 017 | Flange facing finish | NA | FLANGE FACING FINISH |
| 018 | Press tap quantity | 2 |  |
| 018 | Press tap quantity | 4 |  |
| 018 | Press tap quantity | 8 |  |
| 019a | Press tap conn nom size | 1/8 in | NOMINAL SIZE |
| 019a | Press tap conn nom size | 1/4 in | NOMINAL SIZE |
| 019a | Press tap conn nom size | 1/2 in | NOMINAL SIZE |
| 019a | Press tap conn nom size | 3/4 in | NOMINAL SIZE |
| 019b | Pressure tap nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 019b | Pressure tap nom rating | cl 3000 | NOMINAL PRESSURE/RATING |
| 019b | Pressure tap nom rating | NA | NOMINAL PRESSURE/RATING |
| 020 | Press tap conn type | threaded | NOMINAL PRESSURE/RATING |
| 020 | Press tap conn type | welded | NOMINAL PRESSURE/RATING |
| 020b | Press tap conn style | NPT(F) | PRESSURE TAP |
| 020b | Press tap conn style | SW(F) | PRESSURE TAP |
| 021 | Press tap orientation | 180 deg apart horizontal |  |
| 021 | Press tap orientation | 45 deg offset |  |
| 021 | Press tap orientation | 90 deg apart |  |
| 021 | Press tap orientation | on-center |  |
| 022 | Body/Tube material | 304 SST | MATERIAL |
| 022 | Body/Tube material | 316 SST | MATERIAL |
| 022 | Body/Tube material | brass | MATERIAL |
| 022 | Body/Tube material | carbon steel | MATERIAL |
| 022 | Body/Tube material | cast iron | MATERIAL |
| 022 | Body/Tube material | chrome moly | MATERIAL |
| 022 | Body/Tube material | ductile iron | MATERIAL |
| 022 | Body/Tube material | hastelloy B | MATERIAL |
| 022 | Body/Tube material | hastelloy C | MATERIAL |
| 022 | Body/Tube material | inconel | MATERIAL |
| 022 | Body/Tube material | monel 400 | MATERIAL |
| 022 | Body/Tube material | nickel | MATERIAL |
| 022 | Body/Tube material | Ni-Hard | MATERIAL |
| 022 | Body/Tube material | tantalum | MATERIAL |
| 022 | Body/Tube material | titanium | MATERIAL |
| 022 | Body/Tube material | zirconium | MATERIAL |
| 023 | Bolting material | ASTM A193 B7 | BOLTING |
| 023 | Bolting material | ASTM A193 B8 | BOLTING |
| 023 | Bolting material | manufacturer standard | BOLTING |
| 023 | Bolting material | NA | BOLTING |
| 024 | Exterior coating material | bitumastic paint | MATERIAL |
| 024 | Exterior coating material | coal tar | MATERIAL |
| 024 | Exterior coating material | epoxy paint | MATERIAL |
| 024 | Exterior coating material | NA | MATERIAL |
| 025 | End termination material | 304 SST | MATERIAL |
| 025 | End termination material | carbon steel | MATERIAL |
| 025 | End termination material | NA | MATERIAL |
| 026 | Gasket material | asbestos | MATERIAL |
| 026 | Gasket material | graphite | MATERIAL |
| 026 | Gasket material | NA | MATERIAL |
| 027a | Defined attribute 1 name | vent or drain conn | DEFINABLE ATTRIBUTE NAME |
| 027b | Defined attribute 1 data | 2-3/4 NPT(F) | DEFINABLE ATTRIBUTE VALUE |
| 027b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 028a | Defined attribute 2 name | tap plug type | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 2 data | hex head | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 2 data | hollow head | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029a | Defined attribute 3 name | cleanout port | DEFINABLE ATTRIBUTE NAME |
| 029a | Defined attribute 3 name | lifting hardware | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 3 data | lugs | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 3 data | removable cover | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030 | THROAT | SECTION TITLE |  |
| 031 | Mounting type | clamped in body |  |
| 031 | Mounting type | holding flange |  |
| 031 | Mounting type | holding ring |  |
| 031 | Mounting type | integral with body |  |
| 032 | Diameter ratio (Beta d/D) | .35 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .375 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .400 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .43 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .450 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .490 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .600 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .62 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .630 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .725 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .750 | BETA RATIO |
| 032 | Diameter ratio (Beta d/D) | .81 | BETA RATIO |
| 033 | Throat diameter |  |  |
| 033u | Throat diameter units | in | UNITS |
| 033u | Throat diameter units | mm | UNITS |
| 034 | Cone material | reinforced plastic | MATERIAL |
| 034 | Cone material | NA | MATERIAL |
| 035 | Throat material | 304 SST | MATERIAL |
| 035 | Throat material | 316 SST | MATERIAL |
| 035 | Throat material | bronze | MATERIAL |
| 035 | Throat material | carbon steel | MATERIAL |
| 036a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 036b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 037a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 037b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 038a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 039 | METER TUBE | SECTION TITLE |  |
| 040 | Bore type | honed | BORE |
| 040 | Bore type | standard pipe | BORE |
| 040 | Bore type | NA | BORE |
| 041a | End conn nominal size | 1/2 in | NOMINAL SIZE |
| 041a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 041a | End conn nominal size | 1 in | NOMINAL SIZE |
| 041a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 041a | End conn nominal size | 2 in | NOMINAL SIZE |
| 041a | End conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 041a | End conn nominal size | 3 in | NOMINAL SIZE |
| 041a | End conn nominal size | 4 in | NOMINAL SIZE |
| 041a | End conn nominal size | 6 in | NOMINAL SIZE |
| 041a | End conn nominal size | 8 in | NOMINAL SIZE |
| 041a | End conn nominal size | 10 in | NOMINAL SIZE |
| 041a | End conn nominal size | 12 in | NOMINAL SIZE |
| 041a | End conn nominal size | 14 in | NOMINAL SIZE |
| 041a | End conn nominal size | 16 in | NOMINAL SIZE |
| 041a | End conn nominal size | NA | NOMINAL SIZE |
| 041b | End conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 041b | End conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 041b | End conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 041b | End conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 041b | End conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 041b | End conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 041b | End conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 041b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 042a | End conn termn type | flanged | END CONNECTION TYPE |
| 042a | End conn termn type | plain | END CONNECTION TYPE |
| 042a | End conn termn type | threaded | END CONNECTION TYPE |
| 042a | End conn termn type | welded | END CONNECTION TYPE |
| 042a | End conn termn type | NA | END CONNECTION TYPE |
| 042b | End conn termn style |  | END CONNECTION TYPE |
| 042b | End conn termn style | bw | END CONNECTION TYPE |
| 042b | End conn termn style | ff | END CONNECTION TYPE |
| 042b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 042b | End conn termn style | rf | END CONNECTION TYPE |
| 042b | End conn termn style | rtj | END CONNECTION TYPE |
| 042b | End conn termn style | vs | END CONNECTION TYPE |
| 042b | End conn termn style | NA | END CONNECTION TYPE |
| 043 | Flange facing finish | ANSI B16.5 | FLANGE FACING FINISH |
| 043 | Flange facing finish | NA | FLANGE FACING FINISH |
| 044 | Upstream length | 5 |  |
| 044 | Upstream length | 6 |  |
| 044 | Upstream length | 8 |  |
| 044 | Upstream length | 12 |  |
| 044 | Upstream length | 14 |  |
| 044 | Upstream length | 18 |  |
| 044 | Upstream length | 20 |  |
| 044 | Upstream length | 24 |  |
| 044 | Upstream length | 28 |  |
| 044u | Upstream length units | ft | UNITS |
| 044u | Upstream length units | in | UNITS |
| 044u | Upstream length units | m | UNITS |
| 045 | Pipe schedule no | 160 | NOMINAL WALL THICKNESS |
| 045 | Pipe schedule no | 40 | NOMINAL WALL THICKNESS |
| 045 | Pipe schedule no | 80 | NOMINAL WALL THICKNESS |
| 045 | Pipe schedule no | XXS | NOMINAL WALL THICKNESS |
| 045 | Pipe schedule no | NA | NOMINAL WALL THICKNESS |
| 046 | Downstream length | 3 |  |
| 046 | Downstream length | 4 |  |
| 046 | Downstream length | 5 |  |
| 046 | Downstream length | 6 |  |
| 046 | Downstream length | 9 |  |
| 046 | Downstream length | 12 |  |
| 046u | Downstream length units | ft | UNITS |
| 046u | Downstream length units | in | UNITS |
| 046u | Downstream length units | m | UNITS |
| 047 | Coupling quantity | 0 |  |
| 047 | Coupling quantity | 1 |  |
| 047 | Coupling quantity | 2 |  |
| 048a | Coupling nominal size | 1/2 in | NOMINAL SIZE |
| 048a | Coupling nominal size | 3/4 in | NOMINAL SIZE |
| 048a | Coupling nominal size | 1 in | NOMINAL SIZE |
| 048a | Coupling nominal size | NA | NOMINAL SIZE |
| 048b | Coupling nom rating | cl 300 |  |
| 048b | Coupling nom rating | cl 3000 |  |
| 048b | Coupling nom rating | NA |  |
| 049 | Coupling locations | 6 in from downstream end |  |
| 049 | Coupling locations | D and D/2 |  |
| 049 | Coupling locations | NA |  |
| 050 | Internal bore diameter | .290 | BORE |
| 050 | Internal bore diameter | .475 | BORE |
| 050 | Internal bore diameter | .495 | BORE |
| 050 | Internal bore diameter | .546 | BORE |
| 050 | Internal bore diameter | .570 | BORE |
| 050 | Internal bore diameter | .622 | BORE |
| 050 | Internal bore diameter | .640 | BORE |
| 050 | Internal bore diameter | .645 | BORE |
| 050 | Internal bore diameter | .742 | BORE |
| 050 | Internal bore diameter | .765 | BORE |
| 050 | Internal bore diameter | .824 | BORE |
| 050 | Internal bore diameter | .850 | BORE |
| 050 | Internal bore diameter | .945 | BORE |
| 050 | Internal bore diameter | .957 | BORE |
| 050 | Internal bore diameter | .985 | BORE |
| 050 | Internal bore diameter | 1.049 | BORE |
| 050 | Internal bore diameter | 1.150 | BORE |
| 050 | Internal bore diameter | 1.195 | BORE |
| 050 | Internal bore diameter | 1.308 | BORE |
| 050 | Internal bore diameter | 1.376 | BORE |
| 050 | Internal bore diameter | 1.500 | BORE |
| 050 | Internal bore diameter | 1.530 | BORE |
| 050 | Internal bore diameter | 1.610 | BORE |
| 050 | Internal bore diameter | 2.067 | BORE |
| 050 | Internal bore diameter | 3.068 | BORE |
| 050 | Internal bore diameter | 4.026 | BORE |
| 050 | Internal bore diameter | 6.068 | BORE |
| 050 | Internal bore diameter | 8.071 | BORE |
| 050 | Internal bore diameter | 10.136 | BORE |
| 050 | Internal bore diameter | 12.090 | BORE |
| 050u | Bore diameter units | in | UNITS |
| 050u | Bore diameter units | mm | UNITS |
| 051 | Flow straightener type | sprenkle straightener | FLOW STRAIGHTENER |
| 051 | Flow straightener type | tube bundle conditioner | FLOW STRAIGHTENER |
| 051 | Flow straightener type | zanker straightener | FLOW STRAIGHTENER |
| 051 | Flow straightener type | NA | FLOW STRAIGHTENER |
| 052 | Pipe/Tube material | 316 SST | MATERIAL |
| 052 | Pipe/Tube material | 316L SST | MATERIAL |
| 052 | Pipe/Tube material | carbon steel | MATERIAL |
| 052 | Pipe/Tube material | NA | MATERIAL |
| 053 | Bolting material | ASTM A193 B7 | BOLTING |
| 053 | Bolting material | ASTM A193 B7M | BOLTING |
| 053 | Bolting material | ASTM A193 B8 | BOLTING |
| 053 | Bolting material | NA | BOLTING |
| 054 | Exterior coating material | coal tar | MATERIAL |
| 054 | Exterior coating material | primer paint only | MATERIAL |
| 054 | Exterior coating material | NA | MATERIAL |
| 055 | End termination material | 316 SST | MATERIAL |
| 055 | End termination material | 316L SST | MATERIAL |
| 055 | End termination material | carbon steel | MATERIAL |
| 056 | Gasket material | asbestos | MATERIAL |
| 056 | Gasket material | asbestos free gasket | MATERIAL |
| 056 | Gasket material | NA | MATERIAL |
| 057a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 058a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 058b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 059a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp |  | PRESSURE |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature | 100 | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Min working temperature |  | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature |  | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063a | Uncalibrated accuracy |  | ACCURACY RATING |
| 063b | Accuracy rating ref base | % rate | ACCURACY REFERENCE |
| 064 | Perm head loss at URL |  | HEAD LOSS |
| 064u | Head loss units | % | UNITS |
| 064u | Head loss units | inH2O | UNITS |
| 065a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066a | Definable attribute name | NA | DEFINABLE ATTRIBUTE NAME |
| 066b | Definable attribute value | NA | DEFINABLE ATTRIBUTE VALUE |
| 067a | Definable attribute name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Definable attribute value | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | ACCESSORIES | SECTION TITLE |  |
| 086 | Purge system | NA |  |
| 087 | Cleaner style | hydraulic |  |
| 087 | Cleaner style | manual |  |
| 087 | Cleaner style | NA |  |
| 088 | Valve style | needle valve SAE(M) |  |
| 088 | Valve style | NA |  |
| 089 | Valve and nipple material | brass | MATERIAL |
| 089 | Valve and nipple material | NA | MATERIAL |
| 090a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 093 | Custom tag | aluminum wired-on |  |
| 093 | Custom tag | fiber tag |  |
| 093 | Custom tag | sst permanent attached |  |
| 093 | Custom tag | sst wired-on |  |
| 093 | Custom tag | NA |  |
| 094 | Reference specification | NA | REFERENCE SPECIFICATION |
| 095 | Special preparation | NA |  |
| 096 | Compliance standard | ASME MFC-3M | NACE STANDARD |
| 096 | Compliance standard | ISO 5167 | NACE STANDARD |
| 096 | Compliance standard | NA | NACE STANDARD |
| 097 | Construction code | ANSI B31.1 |  |
| 097 | Construction code | ANSI B31.3 |  |
| 097 | Construction code | ASME sect I |  |
| 097 | Construction code | ASME sect VIII |  |
| 097 | Construction code | CSA Z299.4 |  |
| 097 | Construction code | NA |  |
| 098 | Calibration report | flow calibration report |  |
| 098 | Calibration report | NA |  |
| 099 | Weld radiographs | full radiograph |  |
| 099 | Weld radiographs | NA |  |
| 100a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 101 | PHYSICAL DATA | SECTION TITLE |  |
| 102 | Estimated weight |  |  |
| 102u | Weight units | kg | UNITS |
| 102u | Weight units | lb | UNITS |
| 103 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 103u | Face-to-face dim units | in | UNITS |
| 103u | Face-to-face dim units | mm | UNITS |
| 104 | Removal clearance |  |  |
| 104u | Removal clearance units | in | UNITS |
| 104u | Removal clearance units | mm | UNITS |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag number |  |  |
| 112b | Flow rate-Diff pressure | CALIBRATION/TEST DESC |  |
| 112c | Flow rate LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Flow rate LRV units | bbl/d | UNITS |
| 112cu | Flow rate LRV units | galUS/h | UNITS |
| 112cu | Flow rate LRV units | galUS/min | UNITS |
| 112cu | Flow rate LRV units | kg/d | UNITS |
| 112cu | Flow rate LRV units | kg/h | UNITS |
| 112cu | Flow rate LRV units | kg/s | UNITS |
| 112cu | Flow rate LRV units | L/d(std) | UNITS |
| 112cu | Flow rate LRV units | L/s | UNITS |
| 112cu | Flow rate LRV units | L/s(std) | UNITS |
| 112cu | Flow rate LRV units | lb/h | UNITS |
| 112cu | Flow rate LRV units | m3/h | UNITS |
| 112cu | Flow rate LRV units | m3/s | UNITS |
| 112d | Flow rate URV |  | UPPER RANGE-VALUE |
| 112du | Flow rate URV units | bbl/d | UNITS |
| 112du | Flow rate URV units | galUS/h | UNITS |
| 112du | Flow rate URV units | galUS/min | UNITS |
| 112du | Flow rate URV units | kg/d | UNITS |
| 112du | Flow rate URV units | kg/h | UNITS |
| 112du | Flow rate URV units | kg/s | UNITS |
| 112du | Flow rate URV units | L/d(std) | UNITS |
| 112du | Flow rate URV units | L/s | UNITS |
| 112du | Flow rate URV units | L/s(std) | UNITS |
| 112du | Flow rate URV units | lb/h | UNITS |
| 112du | Flow rate URV units | m3/h | UNITS |
| 112du | Flow rate URV units | m3/s | UNITS |
| 112f | Diff pressure LRV | 0 |  |
| 112fu | Diff pressure LRV units | inH2O | UNITS |
| 112fu | Diff pressure LRV units | mmH2O | UNITS |
| 112fu | Diff pressure LRV units | Pa | UNITS |
| 112g | Diff pressure URV | 10 |  |
| 112g | Diff pressure URV | 25 |  |
| 112g | Diff pressure URV | 100 |  |
| 112gu | Diff pressure URV units | inH2O | UNITS |
| 112gu | Diff pressure URV units | mmH2O | UNITS |
| 112gu | Diff pressure URV units | Pa | UNITS |
| 113b | Test pressure | CALIBRATION/TEST DESC |  |
| 113d | Test pressure URV |  |  |
| 113du | Test pressure URV units | bar(g) | UNITS |
| 113du | Test pressure URV units | psig | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | flow tube |  |
| 120a | Component type | flow tube-meter tube |  |
| 120a | Component type | venturi |  |
| 120a | Component type | venturi-meter tube |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |