| Pick List 20F2341 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | PRIMARY HEAD OR TUBE | SECTION TITLE |  |
| 012 | Primary head/Tube type | in-line flanged |  |
| 012 | Primary head/Tube type | NA (process pipe) |  |
| 012 | Primary head/Tube type | straight flowtube |  |
| 013a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1/16 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1/8 in | NOMINAL SIZE |
| 013a | End conn nominal size | 10 in | NOMINAL SIZE |
| 013a | End conn nominal size | 104 in | NOMINAL SIZE |
| 013a | End conn nominal size | 112 in | NOMINAL SIZE |
| 013a | End conn nominal size | 12 in | NOMINAL SIZE |
| 013a | End conn nominal size | 120 in | NOMINAL SIZE |
| 013a | End conn nominal size | 14 in | NOMINAL SIZE |
| 013a | End conn nominal size | 16 in | NOMINAL SIZE |
| 013a | End conn nominal size | 18 in | NOMINAL SIZE |
| 013a | End conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 20 in | NOMINAL SIZE |
| 013a | End conn nominal size | 22 in | NOMINAL SIZE |
| 013a | End conn nominal size | 24 in | NOMINAL SIZE |
| 013a | End conn nominal size | 28 in | NOMINAL SIZE |
| 013a | End conn nominal size | 3 in | NOMINAL SIZE |
| 013a | End conn nominal size | 30 in | NOMINAL SIZE |
| 013a | End conn nominal size | 32 in | NOMINAL SIZE |
| 013a | End conn nominal size | 34 in | NOMINAL SIZE |
| 013a | End conn nominal size | 36 in | NOMINAL SIZE |
| 013a | End conn nominal size | 38 in | NOMINAL SIZE |
| 013a | End conn nominal size | 4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 40 in | NOMINAL SIZE |
| 013a | End conn nominal size | 48 in | NOMINAL SIZE |
| 013a | End conn nominal size | 5 in | NOMINAL SIZE |
| 013a | End conn nominal size | 56 in | NOMINAL SIZE |
| 013a | End conn nominal size | 6 in | NOMINAL SIZE |
| 013a | End conn nominal size | 64 in | NOMINAL SIZE |
| 013a | End conn nominal size | 72 in | NOMINAL SIZE |
| 013a | End conn nominal size | 8 in | NOMINAL SIZE |
| 013a | End conn nominal size | 80 in | NOMINAL SIZE |
| 013a | End conn nominal size | 88 in | NOMINAL SIZE |
| 013a | End conn nominal size | 96 in | NOMINAL SIZE |
| 013a | End conn nominal size | DN 100 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 1000 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 1200 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 125 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 1400 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 150 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 1600 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 1800 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 200 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 2000 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 2200 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 2400 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 25 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 250 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 2600 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 2800 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 300 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 3000 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 32 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 350 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 40 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 400 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 450 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 50 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 500 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 550 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 600 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 65 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 650 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 700 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 750 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 80 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 800 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 850 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 900 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 950 | NOMINAL SIZE |
| 013a | End conn nominal size | NA | NOMINAL SIZE |
| 013b | End conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | class B | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | JIS 10K | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | JIS 20K | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 2.5 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 6 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 64 | NOMINAL PRESSURE/RATING |
| 014a | End conn termn type | flanged | END CONNECTION TYPE |
| 014a | End conn termn type | plain | END CONNECTION TYPE |
| 014b | End conn termn style | NA | END CONNECTION TYPE |
| 014b | End conn termn style | RF | END CONNECTION TYPE |
| 014b | End conn termn style | RTJ | END CONNECTION TYPE |
| 015 | Transducer conn type | clamp on |  |
| 015 | Transducer conn type | flanged |  |
| 015 | Transducer conn type | threaded |  |
| 015 | Transducer conn type | Union with O ring |  |
| 015 | Transducer conn type | welded mount |  |
| 015 | Transducer conn type | weld-in mount fitting |  |
| 016 | Head/Tube material | 304 SST | MATERIAL |
| 016 | Head/Tube material | 316 SST | MATERIAL |
| 016 | Head/Tube material | 316 Ti SST | MATERIAL |
| 016 | Head/Tube material | 316L SST | MATERIAL |
| 016 | Head/Tube material | carbon steel | MATERIAL |
| 016 | Head/Tube material | NA | MATERIAL |
| 016 | Head/Tube material | PFA | MATERIAL |
| 017 | Flange material | 304L SST | MATERIAL |
| 017 | Flange material | 316 SST | MATERIAL |
| 017 | Flange material | 316L SST | MATERIAL |
| 017 | Flange material | A105 CS | MATERIAL |
| 017 | Flange material | carbon steel | MATERIAL |
| 017 | Flange material | NA | MATERIAL |
| 018 | Gasket/O ring material | aluminum | MATERIAL |
| 018 | Gasket/O ring material | NA | MATERIAL |
| 018 | Gasket/O ring material | stainless steel | MATERIAL |
| 019a | Defined attribute 1 name | External finish | DEFINABLE ATTRIBUTE NAME |
| 019a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 1 data | blue | DEFINABLE ATTRIBUTE VALUE |
| 019b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 019b | Defined attribute 1 data | silver (blasted) | DEFINABLE ATTRIBUTE VALUE |
| 020a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021 | TRANSDUCER | SECTION TITLE |  |
| 022 | Measurement type | doppler effect |  |
| 022 | Measurement type | dual frequency |  |
| 022 | Measurement type | dual mode |  |
| 022 | Measurement type | transit time |  |
| 023 | Beam/Sound track style | 1-track |  |
| 023 | Beam/Sound track style | 2-track |  |
| 023 | Beam/Sound track style | 3-beam |  |
| 023 | Beam/Sound track style | 4-track |  |
| 023 | Beam/Sound track style | 5-beam |  |
| 023 | Beam/Sound track style | dual-beam |  |
| 023 | Beam/Sound track style | single-beam |  |
| 023 | Beam/Sound track style | single-beam 2 traverses |  |
| 023 | Beam/Sound track style | single-beam 4 traverses |  |
| 023 | Beam/Sound track style | single-beam reflex mode |  |
| 023 | Beam/Sound track style | single-head |  |
| 024 | Nominal range size | 0.5 in to 3.5 in pipe ID |  |
| 024 | Nominal range size | 1/2 in to 4 in pipe |  |
| 024 | Nominal range size | 10 mm to 400 mm pipe |  |
| 024 | Nominal range size | 12 in to 80 in pipe ID |  |
| 024 | Nominal range size | 14 in to 24 in pipe |  |
| 024 | Nominal range size | 2 in to 12 in pipe |  |
| 024 | Nominal range size | 2 in to 160 in pipe |  |
| 024 | Nominal range size | 2 in to 72 in pipe |  |
| 024 | Nominal range size | 26 in to 36 in pipe |  |
| 024 | Nominal range size | 3.5 in to 40 in pipe ID |  |
| 024 | Nominal range size | 38 in to 100 in pipe |  |
| 024 | Nominal range size | 4 in to 160 in pipe |  |
| 024 | Nominal range size | 40 in to 200 in pipe ID |  |
| 024 | Nominal range size | 50 mm to 300 mm pipe |  |
| 024 | Nominal range size | 650 mm to 900 mm pipe |  |
| 024 | Nominal range size | 8 in to 235 in pipe |  |
| 024 | Nominal range size | 950 mm to 2540 mm pipe |  |
| 024 | Nominal range size | DN 15 to DN 100 pipe |  |
| 024 | Nominal range size | DN 50 to DN 4000 pipe |  |
| 024 | Nominal range size | NA |  |
| 025a | Temperature LRL | 32 |  |
| 025a | Temperature LRL | -40 |  |
| 025au | Temperature LRL units | °C | UNITS |
| 025au | Temperature LRL units | °F | UNITS |
| 025au | Temperature LRL units | C | UNITS |
| 025au | Temperature LRL units | F | UNITS |
| 025b | Temperature URL | 175 |  |
| 025b | Temperature URL | 340 |  |
| 025bu | Temperature URL units | °C | UNITS |
| 025bu | Temperature URL units | °F | UNITS |
| 025bu | Temperature URL units | C | UNITS |
| 025bu | Temperature URL units | F | UNITS |
| 026 | Mounting hardware | 2 in to 8 in pipe clamp |  |
| 026 | Mounting hardware | 24 to 80 in pipe clamp |  |
| 026 | Mounting hardware | 8 to 24 in pipe clamp |  |
| 026 | Mounting hardware | 80 to 160 in pipe clamp |  |
| 026 | Mounting hardware | chain |  |
| 026 | Mounting hardware | magnets |  |
| 026 | Mounting hardware | NA |  |
| 026 | Mounting hardware | positioning rail |  |
| 026 | Mounting hardware | webbing |  |
| 027 | Housing material | 304 SST | MATERIAL |
| 027 | Housing material | 316 SST | MATERIAL |
| 027 | Housing material | 316L SST | MATERIAL |
| 027 | Housing material | aluminum | MATERIAL |
| 027 | Housing material | brass nickel-plated | MATERIAL |
| 027 | Housing material | CPVC | MATERIAL |
| 027 | Housing material | PEEK | MATERIAL |
| 027 | Housing material | titanium | MATERIAL |
| 028a | Defined attribute 1 name | Integral sensor | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | pipe wall temperature | DEFINABLE ATTRIBUTE VALUE |
| 029a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030 | CONNECTION HEAD | SECTION TITLE |  |
| 031 | Housing type | explosion proof enclosure | HOUSING |
| 031 | Housing type | general purpose | HOUSING |
| 031 | Housing type | NA | HOUSING |
| 031 | Housing type | submersible | HOUSING |
| 031 | Housing type | weatherproof enclosure | HOUSING |
| 032 | Enclosure type no/class | 6P | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP 54 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP 68 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 033 | Signal conn termn style | 2 x 1/2 NPT | END CONNECTION TYPE |
| 033 | Signal conn termn style | 2 x M20 x 1.5 | END CONNECTION TYPE |
| 033 | Signal conn termn style | 2 x PF 1/2 IN | END CONNECTION TYPE |
| 033 | Signal conn termn style | 2 x PG 13.5 | END CONNECTION TYPE |
| 033 | Signal conn termn style | BNC adapter plug | END CONNECTION TYPE |
| 033 | Signal conn termn style | lemo connector | END CONNECTION TYPE |
| 033 | Signal conn termn style | NA | END CONNECTION TYPE |
| 033 | Signal conn termn style | SMB coax connector | END CONNECTION TYPE |
| 034 | Cert/Approval type | ATEX hazardous | CERTIFICATION |
| 034 | Cert/Approval type | CE marked | CERTIFICATION |
| 034 | Cert/Approval type | CENELEC hazardous | CERTIFICATION |
| 034 | Cert/Approval type | CENELEC intrinsic safe | CERTIFICATION |
| 034 | Cert/Approval type | CSA hazardous | CERTIFICATION |
| 034 | Cert/Approval type | CSA intrinsic safe | CERTIFICATION |
| 034 | Cert/Approval type | CSA non-incendive | CERTIFICATION |
| 034 | Cert/Approval type | FM hazardous | CERTIFICATION |
| 034 | Cert/Approval type | FM intrinsic safe | CERTIFICATION |
| 034 | Cert/Approval type | FM non-incendive | CERTIFICATION |
| 034 | Cert/Approval type | NA | CERTIFICATION |
| 034 | Cert/Approval type | TIIS | CERTIFICATION |
| 035 | Enclosure material | NA | MATERIAL |
| 035 | Enclosure material | plastic | MATERIAL |
| 035 | Enclosure material | polyurethane finish zinc | MATERIAL |
| 035 | Enclosure material | powder-coated aluminum | MATERIAL |
| 036a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 036b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 037 | LEAD WIRE AND EXTENSION | SECTION TITLE |  |
| 038 | Extension type | cordset |  |
| 038 | Extension type | extension cable |  |
| 038 | Extension type | integral cable |  |
| 038 | Extension type | lead wires |  |
| 038 | Extension type | NA |  |
| 039 | Cable length | 0 |  |
| 039 | Cable length | 10 |  |
| 039 | Cable length | 100 |  |
| 039 | Cable length | 15 |  |
| 039 | Cable length | 16 |  |
| 039 | Cable length | 20 |  |
| 039 | Cable length | 25 |  |
| 039 | Cable length | 30 |  |
| 039 | Cable length | 45 |  |
| 039 | Cable length | 5 |  |
| 039 | Cable length | 50 |  |
| 039 | Cable length | 65 |  |
| 039 | Cable length | 80 |  |
| 039 | Cable length | 90 |  |
| 039 | Cable length | 95 |  |
| 039u | Cable length units | ft | UNITS |
| 039u | Cable length units | in | UNITS |
| 039u | Cable length units | m | UNITS |
| 040a | Min cable operating temp | 0 |  |
| 040a | Min cable operating temp | -10 |  |
| 040a | Min cable operating temp | -200 |  |
| 040a | Min cable operating temp | -4 |  |
| 040a | Min cable operating temp | -40 |  |
| 040a | Min cable operating temp | -50 |  |
| 040au | Min cable operating temp units | °C | UNITS |
| 040au | Min cable operating temp units | °F | UNITS |
| 040au | Min cable operating temp units | C | UNITS |
| 040au | Min cable operating temp units | F | UNITS |
| 040b | Max cable operating temp | 100 |  |
| 040b | Max cable operating temp | 175 |  |
| 040b | Max cable operating temp | 200 |  |
| 040b | Max cable operating temp | 340 |  |
| 040b | Max cable operating temp | 70 |  |
| 040bu | Max cable operating temp units | °C | UNITS |
| 040bu | Max cable operating temp units | °F | UNITS |
| 040bu | Max cable operating temp units | C | UNITS |
| 040bu | Max cable operating temp units | F | UNITS |
| 041 | Signal termination type | BNC connector | END CONNECTION TYPE |
| 041 | Signal termination type | coaxial connector | END CONNECTION TYPE |
| 041 | Signal termination type | cut cable | END CONNECTION TYPE |
| 041 | Signal termination type | female conn x cut cable | END CONNECTION TYPE |
| 041 | Signal termination type | female conn x male conn | END CONNECTION TYPE |
| 041 | Signal termination type | flying leads | END CONNECTION TYPE |
| 041 | Signal termination type | NA | END CONNECTION TYPE |
| 042 | Cable jacket material | FEP | MATERIAL |
| 042 | Cable jacket material | NA | MATERIAL |
| 042 | Cable jacket material | polyethylene | MATERIAL |
| 042 | Cable jacket material | PTFE | MATERIAL |
| 042 | Cable jacket material | PVC | MATERIAL |
| 043a | Defined attribute 1 name | Adapter | DEFINABLE ATTRIBUTE NAME |
| 043a | Defined attribute 1 name | Cable glands | DEFINABLE ATTRIBUTE NAME |
| 043a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 043b | Defined attribute 1 data | 1/2 NPT threaded | DEFINABLE ATTRIBUTE VALUE |
| 043b | Defined attribute 1 data | BNC | DEFINABLE ATTRIBUTE VALUE |
| 043b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 044 | TRANSMITTER OR TOTALIZER w/wo SWITCHES | SECTION TITLE |  |
| 045 | Configuration type | 1 channel transmitter |  |
| 045 | Configuration type | 2 channel transmitter |  |
| 045 | Configuration type | batch controller |  |
| 045 | Configuration type | data logger |  |
| 045 | Configuration type | signal converter |  |
| 045 | Configuration type | totalizer |  |
| 046 | Aux input signal type | four 0-12 V |  |
| 046 | Aux input signal type | four 4-20 mA |  |
| 046 | Aux input signal type | frequency 0-1 kHz |  |
| 046 | Aux input signal type | frequency 0-10 kHz |  |
| 046 | Aux input signal type | NA |  |
| 046 | Aux input signal type | one 4-20 mA |  |
| 046 | Aux input signal type | open collector |  |
| 046 | Aux input signal type | relay |  |
| 046 | Aux input signal type | RTD Pt 100 ohm |  |
| 046 | Aux input signal type | two 4-20 mA, one 0-32 V |  |
| 046 | Aux input signal type | two frequency 0-5 kHz |  |
| 046 | Aux input signal type | two RTD Pt 100 ohm |  |
| 046 | Aux input signal type | voltage 0-1 kHz |  |
| 046 | Aux input signal type | voltage 0-10 kHz |  |
| 047 | Output signal type | 1 current,1 freq,1 relay | SIGNAL |
| 047 | Output signal type | 2 analog current | SIGNAL |
| 047 | Output signal type | 3 current,2 freq,2 relay | SIGNAL |
| 047 | Output signal type | current, 4 relay | SIGNAL |
| 047 | Output signal type | current, frequency | SIGNAL |
| 047 | Output signal type | current, TTL | SIGNAL |
| 047 | Output signal type | NA | SIGNAL |
| 047 | Output signal type | two frequency 0-1kHz | SIGNAL |
| 047 | Output signal type | voltage | SIGNAL |
| 048 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 2 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | 7/9 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | IP 20 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | IP 50 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | IP 52 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | IP 55 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 048 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 049 | Local operator interface | hand-held bar magnet |  |
| 049 | Local operator interface | infrared communication |  |
| 049 | Local operator interface | keypad |  |
| 049 | Local operator interface | NA |  |
| 049 | Local operator interface | push button |  |
| 049 | Local operator interface | touch control |  |
| 050 | Digital communication std | Foundation Fieldbus |  |
| 050 | Digital communication std | HART |  |
| 050 | Digital communication std | NA |  |
| 050 | Digital communication std | Profibus DP |  |
| 050 | Digital communication std | Profibus PA |  |
| 050 | Digital communication std | RS 232 |  |
| 050 | Digital communication std | RS 422 |  |
| 050 | Digital communication std | RS 485 |  |
| 051 | Signal power source | 100 Vac, 47-63 Hz |  |
| 051 | Signal power source | 100-240 Vac, 48-63 Hz |  |
| 051 | Signal power source | 115 Vac, 47-63 Hz |  |
| 051 | Signal power source | 115/230 Vac, 50-60 Hz |  |
| 051 | Signal power source | 12 Vdc |  |
| 051 | Signal power source | 16-62 Vdc |  |
| 051 | Signal power source | 18-35 Vdc |  |
| 051 | Signal power source | 18-36 Vdc |  |
| 051 | Signal power source | 200 Vac, 47-63 Hz |  |
| 051 | Signal power source | 200-260 Vac, 50-60 Hz |  |
| 051 | Signal power source | 20-55 Vac, 45 to 65 Hz |  |
| 051 | Signal power source | 230 Vac, 47-63 Hz |  |
| 051 | Signal power source | 24 Vac, 48-63 Hz |  |
| 051 | Signal power source | 24 Vac/dc |  |
| 051 | Signal power source | 36-72 Vdc |  |
| 051 | Signal power source | 48 Vac |  |
| 051 | Signal power source | 85-26 Vac, 45 to 65 Hz |  |
| 051 | Signal power source | 90-260 Vac |  |
| 051 | Signal power source | 9-18 Vdc |  |
| 051 | Signal power source | bus powered |  |
| 052 | Measurement type | average |  |
| 052 | Measurement type | difference |  |
| 052 | Measurement type | energy calculation |  |
| 052 | Measurement type | sum |  |
| 053a | Contacts arrangement | NA |  |
| 053a | Contacts arrangement | SPDT |  |
| 053a | Contacts arrangement | SPST |  |
| 053b | Contacts quantity | 0 |  |
| 053b | Contacts quantity | 1 |  |
| 053b | Contacts quantity | 2 |  |
| 053b | Contacts quantity | 3 |  |
| 053b | Contacts quantity | 4 |  |
| 054 | Integral indicator style | 2 line 16 character |  |
| 054 | Integral indicator style | 2 line 20 character |  |
| 054 | Integral indicator style | 2 line LCD |  |
| 054 | Integral indicator style | 3 1/2 digit LCD |  |
| 054 | Integral indicator style | 3 line LCD |  |
| 054 | Integral indicator style | 4 digit LCD |  |
| 054 | Integral indicator style | 4 line 16 character LCD |  |
| 054 | Integral indicator style | 7 digit LCD |  |
| 054 | Integral indicator style | 8 digit LCD |  |
| 054 | Integral indicator style | graphic display 240X320 |  |
| 054 | Integral indicator style | graphic display 240X60 |  |
| 054 | Integral indicator style | NA |  |
| 055 | Signal termination type | coaxial connector | END CONNECTION TYPE |
| 055 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 055 | Signal termination type | spade terminals | END CONNECTION TYPE |
| 055 | Signal termination type | terminal block | END CONNECTION TYPE |
| 057 | Cert/Approval type | CENELEC non-classified | CERTIFICATION |
| 057 | Cert/Approval type | CSA general purpose | CERTIFICATION |
| 057 | Cert/Approval type | CSA hazardous | CERTIFICATION |
| 057 | Cert/Approval type | FM general purpose | CERTIFICATION |
| 057 | Cert/Approval type | FM hazardous | CERTIFICATION |
| 057 | Cert/Approval type | NA | CERTIFICATION |
| 058 | Mounting location/type | 19 in rack insert | MOUNTING POSITION |
| 058 | Mounting location/type | directly mounted | MOUNTING POSITION |
| 058 | Mounting location/type | panel mount | MOUNTING POSITION |
| 058 | Mounting location/type | portable system | MOUNTING POSITION |
| 058 | Mounting location/type | wall mount | MOUNTING POSITION |
| 059 | Failure/Diagnostic action | de-energize relay |  |
| 059 | Failure/Diagnostic action | drive output high |  |
| 059 | Failure/Diagnostic action | drive output low |  |
| 059 | Failure/Diagnostic action | drive output to zero |  |
| 059 | Failure/Diagnostic action | hold last value |  |
| 059 | Failure/Diagnostic action | NA |  |
| 060 | Calibration mode | 4 in pipe calibration |  |
| 060 | Calibration mode | auto calibration |  |
| 060 | Calibration mode | dry calibration |  |
| 060 | Calibration mode | NA |  |
| 060 | Calibration mode | wet calibration |  |
| 061 | Data logger points | 10,000 |  |
| 061 | Data logger points | 100,000 |  |
| 061 | Data logger points | 27,000 |  |
| 061 | Data logger points | 40,000 |  |
| 061 | Data logger points | 50,000 |  |
| 061 | Data logger points | 90,000 |  |
| 061 | Data logger points | NA |  |
| 062 | Measurement compensation | density |  |
| 062 | Measurement compensation | NA |  |
| 062 | Measurement compensation | temperature |  |
| 062 | Measurement compensation | temperature & pressure |  |
| 063 | Enclosure material | 316 SST | MATERIAL |
| 063 | Enclosure material | ABS | MATERIAL |
| 063 | Enclosure material | FRP | MATERIAL |
| 063 | Enclosure material | NA | MATERIAL |
| 063 | Enclosure material | polyamid PA6 | MATERIAL |
| 063 | Enclosure material | polycarbonate | MATERIAL |
| 063 | Enclosure material | polyurethane | MATERIAL |
| 063 | Enclosure material | powder-coated aluminum | MATERIAL |
| 063 | Enclosure material | stainless steel | MATERIAL |
| 064a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 064a | Defined attribute 1 name | Readout language | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 1 data | Czech | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | Danish | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | Dutch | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | English | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | French | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | German | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | Japanese | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | Norwegian | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | Polish | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | Spanish | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 1 data | Turkish | DEFINABLE ATTRIBUTE VALUE |
| 065a | Defined attribute 2 name | Battery duration | DEFINABLE ATTRIBUTE NAME |
| 065a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 2 data | 16 hours | DEFINABLE ATTRIBUTE VALUE |
| 065b | Defined attribute 2 data | 8 hours | DEFINABLE ATTRIBUTE VALUE |
| 065b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 067a | Max press at design temp |  | PRESSURE |
| 067au | Design pressure units | bar(g) | UNITS |
| 067au | Design pressure units | kPa | UNITS |
| 067au | Design pressure units | psig | UNITS |
| 067b | Max design temperature |  | DESIGN TEMPERATURE |
| 067bu | Design temperature units | °C | UNITS |
| 067bu | Design temperature units | °F | UNITS |
| 067bu | Design temperature units | C | UNITS |
| 067bu | Design temperature units | F | UNITS |
| 068a | Min working temperature |  | WORKING TEMPERATURE |
| 068au | Min working temp units | °C | UNITS |
| 068au | Min working temp units | °F | UNITS |
| 068au | Min working temp units | C | UNITS |
| 068au | Min working temp units | F | UNITS |
| 068b | Max working temperature |  | WORKING TEMPERATURE |
| 068u | Max working temp units | °C | UNITS |
| 068u | Max working temp units | °F | UNITS |
| 068u | Max working temp units | C | UNITS |
| 068u | Max working temp units | F | UNITS |
| 069 | Flow accuracy rating | 0.1 |  |
| 069 | Flow accuracy rating | 0.4 |  |
| 069 | Flow accuracy rating | 0.5 |  |
| 069 | Flow accuracy rating | 1.0 |  |
| 069 | Flow accuracy rating | 1.5 |  |
| 069 | Flow accuracy rating | 2.0 |  |
| 069 | Flow accuracy rating | 2.5 |  |
| 069 | Flow accuracy rating | 3.0 |  |
| 069 | Flow accuracy rating | 5.0 |  |
| 069b | Accuracy rating ref base | % full scale | ACCURACY REFERENCE |
| 069b | Accuracy rating ref base | % full scale | ACCURACY REFERENCE |
| 069b | Accuracy rating ref base | % reading | ACCURACY REFERENCE |
| 069b | Accuracy rating ref base | % value | ACCURACY REFERENCE |
| 069b | Accuracy rating ref base | % velocity | ACCURACY REFERENCE |
| 069b | Accuracy rating ref base | cm/s | ACCURACY REFERENCE |
| 069b | Accuracy rating ref base | ft/s | ACCURACY REFERENCE |
| 069b | Accuracy rating ref base | in/s | ACCURACY REFERENCE |
| 069b | Accuracy rating ref base | m/s | ACCURACY REFERENCE |
| 070a | Min flow/velocity URL | 0.018 |  |
| 070a | Min flow/velocity URL | 0.06 |  |
| 070a | Min flow/velocity URL | 0.2 |  |
| 070a | Min flow/velocity URL | 0.3 |  |
| 070a | Min flow/velocity URL | 0.5 |  |
| 070a | Min flow/velocity URL | 0.9 |  |
| 070a | Min flow/velocity URL | 1.0 |  |
| 070a | Min flow/velocity URL | 1.5 |  |
| 070a | Min flow/velocity URL | 14 |  |
| 070a | Min flow/velocity URL | 2 |  |
| 070au | Min flow/velocity URL units | ft/s | UNITS |
| 070au | Min flow/velocity URL units | galUS/min | UNITS |
| 070au | Min flow/velocity URL units | m/s | UNITS |
| 070au | Min flow/velocity URL units | m3/h | UNITS |
| 070au | Min flow/velocity URL units | ml/min | UNITS |
| 070b | Max flow/Velocity URL | 10 |  |
| 070b | Max flow/Velocity URL | 105 |  |
| 070b | Max flow/Velocity URL | 15 |  |
| 070b | Max flow/Velocity URL | 20 |  |
| 070b | Max flow/Velocity URL | 25 |  |
| 070b | Max flow/Velocity URL | 32 |  |
| 070b | Max flow/Velocity URL | 35 |  |
| 070b | Max flow/Velocity URL | 40 |  |
| 070b | Max flow/Velocity URL | 4000 |  |
| 070b | Max flow/Velocity URL | 50 |  |
| 070b | Max flow/Velocity URL | 66 |  |
| 070bu | Max flow/Velocity URL units | ft/s | UNITS |
| 070bu | Max flow/Velocity URL units | galUS/min | UNITS |
| 070bu | Max flow/Velocity URL units | m/s | UNITS |
| 070bu | Max flow/Velocity URL units | m3/h | UNITS |
| 070bu | Max flow/Velocity URL units | ml/min | UNITS |
| 071a | Minimum gas content |  |  |
| 071au | Minimum gas content units | % vol | UNITS |
| 071b | Maximum gas content | 1 |  |
| 071b | Maximum gas content | 10 |  |
| 071b | Maximum gas content | 2 |  |
| 071b | Maximum gas content | 40 |  |
| 071bu | Maximum gas content units | % vol | UNITS |
| 072a | Minimum solids content | 25 |  |
| 072au | Minimum solids content units | ppm | UNITS |
| 072b | Maximum solids content | 40 |  |
| 072b | Maximum solids content | 5 |  |
| 072b | Maximum solids content | 75 |  |
| 072bu | Maximum solids content units | % | UNITS |
| 072bu | Maximum solids content units | ppm | UNITS |
| 073a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 073au | Min amb temperature units | °C | UNITS |
| 073au | Min amb temperature units | °F | UNITS |
| 073au | Min amb temperature units | C | UNITS |
| 073au | Min amb temperature units | F | UNITS |
| 073b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 073bu | Max amb temperature units | °C | UNITS |
| 073bu | Max amb temperature units | °F | UNITS |
| 073bu | Max amb temperature units | C | UNITS |
| 073bu | Max amb temperature units | F | UNITS |
| 074a | Contacts ac rating | 0.5 | DEVICE RATING |
| 074a | Contacts ac rating | 1 | DEVICE RATING |
| 074a | Contacts ac rating | 3 | DEVICE RATING |
| 074a | Contacts ac rating | 5 | DEVICE RATING |
| 074au | AC rating current units | A | UNITS |
| 074b | AC rating max voltage | 125 | DEVICE RATING |
| 074b | AC rating max voltage | 130 | DEVICE RATING |
| 074b | AC rating max voltage | 250 | DEVICE RATING |
| 074bu | AC max voltage units | V | UNITS |
| 075a | Contacts dc rating | 0.2 | DEVICE RATING |
| 075a | Contacts dc rating | 1.0 | DEVICE RATING |
| 075a | Contacts dc rating | 10 | DEVICE RATING |
| 075a | Contacts dc rating | 3.0 | DEVICE RATING |
| 075au | DC rating current units | A | UNITS |
| 075au | DC rating current units | W | UNITS |
| 075b | DC rating max voltage | 30 | DEVICE RATING |
| 075bu | DC max voltage units | V | UNITS |
| 076 | Max sensor to receiver lg | 100 |  |
| 076 | Max sensor to receiver lg | 1000 |  |
| 076 | Max sensor to receiver lg | 300 |  |
| 076 | Max sensor to receiver lg | 500 |  |
| 076u | Length units | ft | UNITS |
| 076u | Length units | m | UNITS |
| 077a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 077b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 078a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 078b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 079 | ACCESSORIES | SECTION TITLE |  |
| 080 | Acoustic coupling matl | adhesive | MATERIAL |
| 080 | Acoustic coupling matl | medium | MATERIAL |
| 080 | Acoustic coupling matl | medium -40 to 175 °F | MATERIAL |
| 080 | Acoustic coupling matl | NA | MATERIAL |
| 080 | Acoustic coupling matl | RTV | MATERIAL |
| 080 | Acoustic coupling matl | Silgel | MATERIAL |
| 080 | Acoustic coupling matl | Silicon | MATERIAL |
| 080 | Acoustic coupling matl | water soluble | MATERIAL |
| 081 | Sound velocity sensor | 32 to 340 F rated |  |
| 081 | Sound velocity sensor | -40 to 175 F rated |  |
| 081 | Sound velocity sensor | NA |  |
| 082 | Wall thickness sensor | 32 to 140 F rated |  |
| 082 | Wall thickness sensor | NA |  |
| 083 | Mounting kit | 2 in pipe mounting kit |  |
| 083 | Mounting kit | NA |  |
| 083 | Mounting kit | nylon mounting strap |  |
| 083 | Mounting kit | spacing ruler 4-24 in |  |
| 083 | Mounting kit | SST mounting strap |  |
| 083 | Mounting kit | strapping band 1/2-4 in |  |
| 083 | Mounting kit | strapping band 2-59 in |  |
| 083 | Mounting kit | strapping band 40-160 in |  |
| 083 | Mounting kit | wall-mount housing |  |
| 084 | Tools | alignment |  |
| 084 | Tools | angle measurement |  |
| 084 | Tools | extraction tool |  |
| 084 | Tools | hot-tap drilling |  |
| 084 | Tools | NA |  |
| 085a | Defined attribute 1 name | Barrier | DEFINABLE ATTRIBUTE NAME |
| 085a | Defined attribute 1 name | Battery charger | DEFINABLE ATTRIBUTE NAME |
| 085a | Defined attribute 1 name | Enclosure heater | DEFINABLE ATTRIBUTE NAME |
| 085a | Defined attribute 1 name | Hot tapping assembly | DEFINABLE ATTRIBUTE NAME |
| 085a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 085b | Defined attribute 1 data | 120 Vac | DEFINABLE ATTRIBUTE VALUE |
| 085b | Defined attribute 1 data | IS barrier CENELEC style | DEFINABLE ATTRIBUTE VALUE |
| 085b | Defined attribute 1 data | IS barrier CSA style | DEFINABLE ATTRIBUTE VALUE |
| 085b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 087 | Custom tag | fiber tag |  |
| 087 | Custom tag | NA |  |
| 087 | Custom tag | sst permanent attached |  |
| 087 | Custom tag | sst wired-on |  |
| 088 | Reference specification | NA | REFERENCE SPECIFICATION |
| 089 | Compliance standard | NA |  |
| 089 | Compliance standard | OIML R-117 |  |
| 090 | Certificates | conformity certificate |  |
| 090 | Certificates | Material certificate |  |
| 090 | Certificates | NA |  |
| 090 | Certificates | welding inspection |  |
| 091 | Software configuration | manufacturer standard |  |
| 091 | Software configuration | NA |  |
| 092a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093 | PHYSICAL DATA | SECTION TITLE |  |
| 094 | Estimated weight |  |  |
| 094u | Weight units | kg | UNITS |
| 094u | Weight units | lb | UNITS |
| 095 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 095u | Face-to-face dim units | in | UNITS |
| 095u | Face-to-face dim units | mm | UNITS |
| 096 | Overall height |  |  |
| 096u | Overall height units | in | UNITS |
| 096u | Overall height units | mm | UNITS |
| 097 | Removal clearance |  |  |
| 097u | Removal clearance units | in | UNITS |
| 097u | Removal clearance units | mm | UNITS |
| 098a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 098a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 098b | Signal conn termn style | BNC | END CONNECTION TYPE |
| 098b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 098b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 098b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 099 | Mfr reference dwg | NA |  |
| 100a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog measurement tag 1 |  |  |
| 112b | Meas-Analog output 1 | Actl flow volume-Output 1 |  |
| 112b | Meas-Analog output 1 | Mass flow-Output 1 |  |
| 112b | Meas-Analog output 1 | Meas-Analog output 1 |  |
| 112b | Meas-Analog output 1 | Std flow volume-Output 1 |  |
| 112c | Analog meas 1 LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Analog meas 1 LRV units | bbl/h | UNITS |
| 112cu | Analog meas 1 LRV units | g/s | UNITS |
| 112cu | Analog meas 1 LRV units | galUS/h | UNITS |
| 112cu | Analog meas 1 LRV units | galUS/min | UNITS |
| 112cu | Analog meas 1 LRV units | kg/h | UNITS |
| 112cu | Analog meas 1 LRV units | kg/min | UNITS |
| 112cu | Analog meas 1 LRV units | L/h | UNITS |
| 112cu | Analog meas 1 LRV units | L/min | UNITS |
| 112cu | Analog meas 1 LRV units | L/s | UNITS |
| 112cu | Analog meas 1 LRV units | lb/h | UNITS |
| 112cu | Analog meas 1 LRV units | lb/min | UNITS |
| 112cu | Analog meas 1 LRV units | lb/s | UNITS |
| 112cu | Analog meas 1 LRV units | m3/h | UNITS |
| 112cu | Analog meas 1 LRV units | m3/min | UNITS |
| 112cu | Analog meas 1 LRV units | m3/s | UNITS |
| 112cu | Analog meas 1 LRV units | ml/min | UNITS |
| 112cu | Analog meas 1 LRV units | t/h | UNITS |
| 112d | Analog meas 1 URV |  | UPPER RANGE-VALUE |
| 112du | Analog meas 1 URV units | bbl/h | UNITS |
| 112du | Analog meas 1 URV units | g/s | UNITS |
| 112du | Analog meas 1 URV units | galUS/h | UNITS |
| 112du | Analog meas 1 URV units | galUS/min | UNITS |
| 112du | Analog meas 1 URV units | kg/h | UNITS |
| 112du | Analog meas 1 URV units | kg/min | UNITS |
| 112du | Analog meas 1 URV units | L/h | UNITS |
| 112du | Analog meas 1 URV units | L/min | UNITS |
| 112du | Analog meas 1 URV units | L/s | UNITS |
| 112du | Analog meas 1 URV units | lb/h | UNITS |
| 112du | Analog meas 1 URV units | lb/min | UNITS |
| 112du | Analog meas 1 URV units | lb/s | UNITS |
| 112du | Analog meas 1 URV units | m3/h | UNITS |
| 112du | Analog meas 1 URV units | m3/min | UNITS |
| 112du | Analog meas 1 URV units | m3/s | UNITS |
| 112du | Analog meas 1 URV units | ml/min | UNITS |
| 112du | Analog meas 1 URV units | t/h | UNITS |
| 112e | Analog meas 1 signal action | direct |  |
| 112e | Analog meas 1 signal action | reverse |  |
| 112f | Analog meas 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112f | Analog meas 1 output LRV | 4 | LOWER RANGE-VALUE |
| 112fu | Anlg meas 1 output LRV units | kHz | UNITS |
| 112fu | Anlg meas 1 output LRV units | mA | UNITS |
| 112fu | Anlg meas 1 output LRV units | V | UNITS |
| 112g | Analog meas 1 output URV | 1 | UPPER RANGE-VALUE |
| 112g | Analog meas 1 output URV | 10 | UPPER RANGE-VALUE |
| 112g | Analog meas 1 output URV | 20 | UPPER RANGE-VALUE |
| 112gu | Anlg meas 1 output URV units | kHz | UNITS |
| 112gu | Anlg meas 1 output URV units | mA | UNITS |
| 112gu | Anlg meas 1 output URV units | V | UNITS |
| 113a | Analog measurement tag 2 |  |  |
| 113b | Meas-Analog output 2 | Actl flow volume-Output 2 |  |
| 113b | Meas-Analog output 2 | Correction-Output 2 |  |
| 113b | Meas-Analog output 2 | Flow direction-Output 2 |  |
| 113b | Meas-Analog output 2 | Mass flow-Output 2 |  |
| 113b | Meas-Analog output 2 | Meas-Analog output 2 |  |
| 113b | Meas-Analog output 2 | Sound velocity-Output 2 |  |
| 113b | Meas-Analog output 2 | Std flow volume-Output 2 |  |
| 113b | Meas-Analog output 2 | Total actl vol-Output 2 |  |
| 113b | Meas-Analog output 2 | Total mass-Output 2 |  |
| 113b | Meas-Analog output 2 | Total std vol-Output 2 |  |
| 113b | Meas-Analog output 2 | Xdcr signal-Output 2 |  |
| 113c | Analog meas 2 LRV | 0 | LOWER RANGE-VALUE |
| 113cu | Analog meas 2 LRV units | bbl/h | UNITS |
| 113cu | Analog meas 2 LRV units | ft/s | UNITS |
| 113cu | Analog meas 2 LRV units | g/s | UNITS |
| 113cu | Analog meas 2 LRV units | galUS/h | UNITS |
| 113cu | Analog meas 2 LRV units | galUS/min | UNITS |
| 113cu | Analog meas 2 LRV units | kg/h | UNITS |
| 113cu | Analog meas 2 LRV units | kg/min | UNITS |
| 113cu | Analog meas 2 LRV units | L/h | UNITS |
| 113cu | Analog meas 2 LRV units | L/min | UNITS |
| 113cu | Analog meas 2 LRV units | L/s | UNITS |
| 113cu | Analog meas 2 LRV units | lb/h | UNITS |
| 113cu | Analog meas 2 LRV units | lb/min | UNITS |
| 113cu | Analog meas 2 LRV units | lb/s | UNITS |
| 113cu | Analog meas 2 LRV units | m/s | UNITS |
| 113cu | Analog meas 2 LRV units | m3/h | UNITS |
| 113cu | Analog meas 2 LRV units | m3/min | UNITS |
| 113cu | Analog meas 2 LRV units | m3/s | UNITS |
| 113cu | Analog meas 2 LRV units | ml/min | UNITS |
| 113cu | Analog meas 2 LRV units | t/h | UNITS |
| 113d | Analog meas 2 URV |  | UPPER RANGE-VALUE |
| 113du | Analog meas 2 URV units | bbl/h | UNITS |
| 113du | Analog meas 2 URV units | ft/s | UNITS |
| 113du | Analog meas 2 URV units | g/s | UNITS |
| 113du | Analog meas 2 URV units | galUS/h | UNITS |
| 113du | Analog meas 2 URV units | galUS/min | UNITS |
| 113du | Analog meas 2 URV units | kg/h | UNITS |
| 113du | Analog meas 2 URV units | kg/min | UNITS |
| 113du | Analog meas 2 URV units | L/h | UNITS |
| 113du | Analog meas 2 URV units | L/min | UNITS |
| 113du | Analog meas 2 URV units | L/s | UNITS |
| 113du | Analog meas 2 URV units | lb/h | UNITS |
| 113du | Analog meas 2 URV units | lb/min | UNITS |
| 113du | Analog meas 2 URV units | lb/s | UNITS |
| 113du | Analog meas 2 URV units | m/s | UNITS |
| 113du | Analog meas 2 URV units | m3/h | UNITS |
| 113du | Analog meas 2 URV units | m3/min | UNITS |
| 113du | Analog meas 2 URV units | m3/s | UNITS |
| 113du | Analog meas 2 URV units | ml/min | UNITS |
| 113du | Analog meas 2 URV units | t/h | UNITS |
| 113e | Analog meas 2 signal action | direct |  |
| 113e | Analog meas 2 signal action | reverse |  |
| 113f | Analog meas 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113f | Analog meas 2 output LRV | 4 | LOWER RANGE-VALUE |
| 113fu | Anlg meas 2 output LRV units | kHz | UNITS |
| 113fu | Anlg meas 2 output LRV units | mA | UNITS |
| 113fu | Anlg meas 2 output LRV units | V | UNITS |
| 113g | Analog meas 2 output URV | 1 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 10 | UPPER RANGE-VALUE |
| 113g | Analog meas 2 output URV | 20 | UPPER RANGE-VALUE |
| 113gu | Anlg meas 2 output URV units | kHz | UNITS |
| 113gu | Anlg meas 2 output URV units | ma | UNITS |
| 113gu | Anlg meas 2 output URV units | V | UNITS |
| 114a | Analog measurement tag 3 |  |  |
| 114b | Meas-Analog output 3 | Actl flow volume-Output 3 |  |
| 114b | Meas-Analog output 3 | Correction-Output 3 |  |
| 114b | Meas-Analog output 3 | Flow direction-Output 3 |  |
| 114b | Meas-Analog output 3 | Mass flow-Output 3 |  |
| 114b | Meas-Analog output 3 | Meas-Analog output 3 |  |
| 114b | Meas-Analog output 3 | Sound velocity-Output 3 |  |
| 114b | Meas-Analog output 3 | Std flow volume-Output 3 |  |
| 114b | Meas-Analog output 3 | Total actl vol-Output 3 |  |
| 114b | Meas-Analog output 3 | Total mass-Output 3 |  |
| 114b | Meas-Analog output 3 | Total std vol-Output 3 |  |
| 114b | Meas-Analog output 3 | Xdcr signal-Output 3 |  |
| 114c | Analog meas 3 LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Analog meas 3 LRV units | bbl/h | UNITS |
| 114cu | Analog meas 3 LRV units | ft/s | UNITS |
| 114cu | Analog meas 3 LRV units | g/s | UNITS |
| 114cu | Analog meas 3 LRV units | galUS/h | UNITS |
| 114cu | Analog meas 3 LRV units | galUS/min | UNITS |
| 114cu | Analog meas 3 LRV units | kg/h | UNITS |
| 114cu | Analog meas 3 LRV units | kg/min | UNITS |
| 114cu | Analog meas 3 LRV units | L/h | UNITS |
| 114cu | Analog meas 3 LRV units | L/min | UNITS |
| 114cu | Analog meas 3 LRV units | L/s | UNITS |
| 114cu | Analog meas 3 LRV units | lb/h | UNITS |
| 114cu | Analog meas 3 LRV units | lb/min | UNITS |
| 114cu | Analog meas 3 LRV units | lb/s | UNITS |
| 114cu | Analog meas 3 LRV units | m/s | UNITS |
| 114cu | Analog meas 3 LRV units | m3/h | UNITS |
| 114cu | Analog meas 3 LRV units | m3/min | UNITS |
| 114cu | Analog meas 3 LRV units | m3/s | UNITS |
| 114cu | Analog meas 3 LRV units | ml/min | UNITS |
| 114cu | Analog meas 3 LRV units | t/h | UNITS |
| 114d | Analog meas 3 URV |  | UPPER RANGE-VALUE |
| 114du | Analog meas 3 URV units | bbl/h | UNITS |
| 114du | Analog meas 3 URV units | ft/s | UNITS |
| 114du | Analog meas 3 URV units | g/s | UNITS |
| 114du | Analog meas 3 URV units | galUS/h | UNITS |
| 114du | Analog meas 3 URV units | galUS/min | UNITS |
| 114du | Analog meas 3 URV units | kg/h | UNITS |
| 114du | Analog meas 3 URV units | kg/min | UNITS |
| 114du | Analog meas 3 URV units | L/h | UNITS |
| 114du | Analog meas 3 URV units | L/min | UNITS |
| 114du | Analog meas 3 URV units | L/s | UNITS |
| 114du | Analog meas 3 URV units | lb/h | UNITS |
| 114du | Analog meas 3 URV units | lb/min | UNITS |
| 114du | Analog meas 3 URV units | lb/s | UNITS |
| 114du | Analog meas 3 URV units | m/s | UNITS |
| 114du | Analog meas 3 URV units | m3/h | UNITS |
| 114du | Analog meas 3 URV units | m3/min | UNITS |
| 114du | Analog meas 3 URV units | m3/s | UNITS |
| 114du | Analog meas 3 URV units | ml/min | UNITS |
| 114du | Analog meas 3 URV units | t/h | UNITS |
| 114e | Analog meas 3 signal action | direct |  |
| 114e | Analog meas 3 signal action | reverse |  |
| 114f | Analog meas 3 output LRV | 0 | LOWER RANGE-VALUE |
| 114f | Analog meas 3 output LRV | 4 | LOWER RANGE-VALUE |
| 114fu | Anlg meas 3 output LRV units | kHz | UNITS |
| 114fu | Anlg meas 3 output LRV units | mA | UNITS |
| 114fu | Anlg meas 3 output LRV units | V | UNITS |
| 114g | Analog meas 3 output URV | 1 | UPPER RANGE-VALUE |
| 114g | Analog meas 3 output URV | 10 | UPPER RANGE-VALUE |
| 114g | Analog meas 3 output URV | 20 | UPPER RANGE-VALUE |
| 114gu | Anlg meas 3 output URV units | kHz | UNITS |
| 114gu | Anlg meas 3 output URV units | mA | UNITS |
| 114gu | Anlg meas 3 output URV units | V | UNITS |
| 115a | Analog measurement tag 4 |  |  |
| 115b | Meas-Analog output 4 | Actl flow volume-Output 4 |  |
| 115b | Meas-Analog output 4 | Correction-Output 4 |  |
| 115b | Meas-Analog output 4 | Flow direction-Output 4 |  |
| 115b | Meas-Analog output 4 | Mass flow-Output 4 |  |
| 115b | Meas-Analog output 4 | Meas-Analog output 4 |  |
| 115b | Meas-Analog output 4 | Sound velocity-Output 4 |  |
| 115b | Meas-Analog output 4 | Std flow volume-Output 4 |  |
| 115b | Meas-Analog output 4 | Total actl vol-Output 4 |  |
| 115b | Meas-Analog output 4 | Total mass-Output 4 |  |
| 115b | Meas-Analog output 4 | Total std vol-Output 4 |  |
| 115b | Meas-Analog output 4 | Xdcr signal-Output 4 |  |
| 115c | Analog meas 4 LRV | 0 | LOWER RANGE-VALUE |
| 115cu | Analog meas 4 LRV units | bbl/h | UNITS |
| 115cu | Analog meas 4 LRV units | ft/s | UNITS |
| 115cu | Analog meas 4 LRV units | g/s | UNITS |
| 115cu | Analog meas 4 LRV units | galUS/h | UNITS |
| 115cu | Analog meas 4 LRV units | galUS/min | UNITS |
| 115cu | Analog meas 4 LRV units | kg/h | UNITS |
| 115cu | Analog meas 4 LRV units | kg/min | UNITS |
| 115cu | Analog meas 4 LRV units | L/h | UNITS |
| 115cu | Analog meas 4 LRV units | L/min | UNITS |
| 115cu | Analog meas 4 LRV units | L/s | UNITS |
| 115cu | Analog meas 4 LRV units | lb/h | UNITS |
| 115cu | Analog meas 4 LRV units | lb/min | UNITS |
| 115cu | Analog meas 4 LRV units | lb/s | UNITS |
| 115cu | Analog meas 4 LRV units | m/s | UNITS |
| 115cu | Analog meas 4 LRV units | m3/h | UNITS |
| 115cu | Analog meas 4 LRV units | m3/min | UNITS |
| 115cu | Analog meas 4 LRV units | m3/s | UNITS |
| 115cu | Analog meas 4 LRV units | ml/min | UNITS |
| 115cu | Analog meas 4 LRV units | t/h | UNITS |
| 115d | Analog meas 4 URV |  | UPPER RANGE-VALUE |
| 115du | Analog meas 4 URV units | bbl/h | UNITS |
| 115du | Analog meas 4 URV units | ft/s | UNITS |
| 115du | Analog meas 4 URV units | g/s | UNITS |
| 115du | Analog meas 4 URV units | galUS/h | UNITS |
| 115du | Analog meas 4 URV units | galUS/min | UNITS |
| 115du | Analog meas 4 URV units | kg/h | UNITS |
| 115du | Analog meas 4 URV units | kg/min | UNITS |
| 115du | Analog meas 4 URV units | L/h | UNITS |
| 115du | Analog meas 4 URV units | L/min | UNITS |
| 115du | Analog meas 4 URV units | L/s | UNITS |
| 115du | Analog meas 4 URV units | lb/h | UNITS |
| 115du | Analog meas 4 URV units | lb/min | UNITS |
| 115du | Analog meas 4 URV units | lb/s | UNITS |
| 115du | Analog meas 4 URV units | m/s | UNITS |
| 115du | Analog meas 4 URV units | m3/h | UNITS |
| 115du | Analog meas 4 URV units | m3/min | UNITS |
| 115du | Analog meas 4 URV units | m3/s | UNITS |
| 115du | Analog meas 4 URV units | ml/min | UNITS |
| 115du | Analog meas 4 URV units | t/h | UNITS |
| 115e | Analog meas 4 signal action | direct |  |
| 115e | Analog meas 4 signal action | reverse |  |
| 115f | Analog meas 4 output LRV | 0 | LOWER RANGE-VALUE |
| 115f | Analog meas 4 output LRV | 4 | LOWER RANGE-VALUE |
| 115fu | Anlg meas 4 output LRV units | kHz | UNITS |
| 115fu | Anlg meas 4 output LRV units | mA | UNITS |
| 115fu | Anlg meas 4 output LRV units | V | UNITS |
| 115g | Analog meas 4 output URV | 1 | UPPER RANGE-VALUE |
| 115g | Analog meas 4 output URV | 10 | UPPER RANGE-VALUE |
| 115g | Analog meas 4 output URV | 20 | UPPER RANGE-VALUE |
| 115gu | Anlg meas 4 output URV units | kHz | UNITS |
| 115gu | Anlg meas 4 output URV units | mA | UNITS |
| 115gu | Anlg meas 4 output URV units | V | UNITS |
| 116a | Meas 1 scale tag no |  |  |
| 116b | Meas-Scale 1 | Actl flow volume-Scale 1 |  |
| 116b | Meas-Scale 1 | Mass flow-Scale 1 |  |
| 116b | Meas-Scale 1 | Meas-Scale 1 |  |
| 116b | Meas-Scale 1 | Std flow volume-Scale 1 |  |
| 116c | Scale meas 1 LRV |  | LOWER RANGE-VALUE |
| 116cu | Scale meas 1 LRV units | bbl/h | UNITS |
| 116cu | Scale meas 1 LRV units | g/s | UNITS |
| 116cu | Scale meas 1 LRV units | galUS/h | UNITS |
| 116cu | Scale meas 1 LRV units | galUS/min | UNITS |
| 116cu | Scale meas 1 LRV units | kg/h | UNITS |
| 116cu | Scale meas 1 LRV units | kg/min | UNITS |
| 116cu | Scale meas 1 LRV units | L/h | UNITS |
| 116cu | Scale meas 1 LRV units | L/min | UNITS |
| 116cu | Scale meas 1 LRV units | L/s | UNITS |
| 116cu | Scale meas 1 LRV units | lb/h | UNITS |
| 116cu | Scale meas 1 LRV units | lb/min | UNITS |
| 116cu | Scale meas 1 LRV units | lb/s | UNITS |
| 116cu | Scale meas 1 LRV units | m3/h | UNITS |
| 116cu | Scale meas 1 LRV units | m3/min | UNITS |
| 116cu | Scale meas 1 LRV units | m3/s | UNITS |
| 116cu | Scale meas 1 LRV units | ml/min | UNITS |
| 116cu | Scale meas 1 LRV units | t/h | UNITS |
| 116d | Scale meas 1 URV |  | UPPER RANGE-VALUE |
| 116du | Scale meas 1 URV units | bbl/h | UNITS |
| 116du | Scale meas 1 URV units | g/s | UNITS |
| 116du | Scale meas 1 URV units | galUS/h | UNITS |
| 116du | Scale meas 1 URV units | galUS/min | UNITS |
| 116du | Scale meas 1 URV units | kg/h | UNITS |
| 116du | Scale meas 1 URV units | kg/min | UNITS |
| 116du | Scale meas 1 URV units | L/h | UNITS |
| 116du | Scale meas 1 URV units | L/min | UNITS |
| 116du | Scale meas 1 URV units | L/s | UNITS |
| 116du | Scale meas 1 URV units | lb/h | UNITS |
| 116du | Scale meas 1 URV units | lb/min | UNITS |
| 116du | Scale meas 1 URV units | lb/s | UNITS |
| 116du | Scale meas 1 URV units | m3/h | UNITS |
| 116du | Scale meas 1 URV units | m3/min | UNITS |
| 116du | Scale meas 1 URV units | m3/s | UNITS |
| 116du | Scale meas 1 URV units | ml/min | UNITS |
| 116du | Scale meas 1 URV units | t/h | UNITS |
| 116e | Scale meas 1 signal action | direct |  |
| 116e | Scale meas 1 signal action | reverse |  |
| 116f | Scale meas 1 scale LRV | 0 | LOWER RANGE-VALUE |
| 116fu | Scale meas 1 scale LRV units | % | UNITS |
| 116fu | Scale meas 1 scale LRV units | bbl/h | UNITS |
| 116fu | Scale meas 1 scale LRV units | g/s | UNITS |
| 116fu | Scale meas 1 scale LRV units | galUS/h | UNITS |
| 116fu | Scale meas 1 scale LRV units | galUS/min | UNITS |
| 116fu | Scale meas 1 scale LRV units | kg/h | UNITS |
| 116fu | Scale meas 1 scale LRV units | kg/min | UNITS |
| 116fu | Scale meas 1 scale LRV units | L/h | UNITS |
| 116fu | Scale meas 1 scale LRV units | L/min | UNITS |
| 116fu | Scale meas 1 scale LRV units | L/s | UNITS |
| 116fu | Scale meas 1 scale LRV units | lb/h | UNITS |
| 116fu | Scale meas 1 scale LRV units | lb/min | UNITS |
| 116fu | Scale meas 1 scale LRV units | lb/s | UNITS |
| 116fu | Scale meas 1 scale LRV units | m3/h | UNITS |
| 116fu | Scale meas 1 scale LRV units | m3/min | UNITS |
| 116fu | Scale meas 1 scale LRV units | m3/s | UNITS |
| 116fu | Scale meas 1 scale LRV units | ml/min | UNITS |
| 116fu | Scale meas 1 scale LRV units | t/h | UNITS |
| 116g | Scale meas 1 scale URV |  | UPPER RANGE-VALUE |
| 116gu | Scale meas 1 scale URV units | % | UNITS |
| 116gu | Scale meas 1 scale URV units | bbl/h | UNITS |
| 116gu | Scale meas 1 scale URV units | g/s | UNITS |
| 116gu | Scale meas 1 scale URV units | galUS/h | UNITS |
| 116gu | Scale meas 1 scale URV units | galUS/min | UNITS |
| 116gu | Scale meas 1 scale URV units | kg/h | UNITS |
| 116gu | Scale meas 1 scale URV units | kg/min | UNITS |
| 116gu | Scale meas 1 scale URV units | L/h | UNITS |
| 116gu | Scale meas 1 scale URV units | L/min | UNITS |
| 116gu | Scale meas 1 scale URV units | L/s | UNITS |
| 116gu | Scale meas 1 scale URV units | lb/h | UNITS |
| 116gu | Scale meas 1 scale URV units | lb/min | UNITS |
| 116gu | Scale meas 1 scale URV units | lb/s | UNITS |
| 116gu | Scale meas 1 scale URV units | m3/h | UNITS |
| 116gu | Scale meas 1 scale URV units | m3/min | UNITS |
| 116gu | Scale meas 1 scale URV units | m3/s | UNITS |
| 116gu | Scale meas 1 scale URV units | ml/min | UNITS |
| 116gu | Scale meas 1 scale URV units | t/h | UNITS |
| 117a | Meas 2 scale tag no |  |  |
| 117b | Meas-Scale 2 | Actl flow volume-Scale 2 |  |
| 117b | Meas-Scale 2 | Mass flow-Scale 2 |  |
| 117b | Meas-Scale 2 | Meas-Scale 2 |  |
| 117b | Meas-Scale 2 | Sound velocity-Scale 2 |  |
| 117b | Meas-Scale 2 | Std flow volume-Scale 2 |  |
| 117b | Meas-Scale 2 | Total actl vol-Scale 2 |  |
| 117b | Meas-Scale 2 | Total mass-Scale 2 |  |
| 117b | Meas-Scale 2 | Total std vol-Scale 2 |  |
| 117c | Scale meas 2 LRV |  | LOWER RANGE-VALUE |
| 117cu | Scale meas 2 LRV units | bbl/h | UNITS |
| 117cu | Scale meas 2 LRV units | ft/s | UNITS |
| 117cu | Scale meas 2 LRV units | g/s | UNITS |
| 117cu | Scale meas 2 LRV units | galUS/h | UNITS |
| 117cu | Scale meas 2 LRV units | galUS/min | UNITS |
| 117cu | Scale meas 2 LRV units | kg/h | UNITS |
| 117cu | Scale meas 2 LRV units | kg/min | UNITS |
| 117cu | Scale meas 2 LRV units | L/h | UNITS |
| 117cu | Scale meas 2 LRV units | L/min | UNITS |
| 117cu | Scale meas 2 LRV units | L/s | UNITS |
| 117cu | Scale meas 2 LRV units | lb/h | UNITS |
| 117cu | Scale meas 2 LRV units | lb/min | UNITS |
| 117cu | Scale meas 2 LRV units | lb/s | UNITS |
| 117cu | Scale meas 2 LRV units | m/s | UNITS |
| 117cu | Scale meas 2 LRV units | m3/h | UNITS |
| 117cu | Scale meas 2 LRV units | m3/min | UNITS |
| 117cu | Scale meas 2 LRV units | m3/s | UNITS |
| 117cu | Scale meas 2 LRV units | ml/min | UNITS |
| 117cu | Scale meas 2 LRV units | t/h | UNITS |
| 117d | Scale meas 2 URV |  | UPPER RANGE-VALUE |
| 117du | Scale meas 2 URV units | bbl/h | UNITS |
| 117du | Scale meas 2 URV units | ft/s | UNITS |
| 117du | Scale meas 2 URV units | g/s | UNITS |
| 117du | Scale meas 2 URV units | galUS/h | UNITS |
| 117du | Scale meas 2 URV units | galUS/min | UNITS |
| 117du | Scale meas 2 URV units | kg/h | UNITS |
| 117du | Scale meas 2 URV units | kg/min | UNITS |
| 117du | Scale meas 2 URV units | L/h | UNITS |
| 117du | Scale meas 2 URV units | L/min | UNITS |
| 117du | Scale meas 2 URV units | L/s | UNITS |
| 117du | Scale meas 2 URV units | lb/h | UNITS |
| 117du | Scale meas 2 URV units | lb/min | UNITS |
| 117du | Scale meas 2 URV units | lb/s | UNITS |
| 117du | Scale meas 2 URV units | m/s | UNITS |
| 117du | Scale meas 2 URV units | m3/h | UNITS |
| 117du | Scale meas 2 URV units | m3/min | UNITS |
| 117du | Scale meas 2 URV units | m3/s | UNITS |
| 117du | Scale meas 2 URV units | ml/min | UNITS |
| 117du | Scale meas 2 URV units | t/h | UNITS |
| 117e | Scale meas 2 signal action | direct |  |
| 117e | Scale meas 2 signal action | reverse |  |
| 117f | Scale meas 2 scale LRV | 0 | LOWER RANGE-VALUE |
| 117fu | Scale meas 2 scale LRV units | % | UNITS |
| 117fu | Scale meas 2 scale LRV units | bbl/h | UNITS |
| 117fu | Scale meas 2 scale LRV units | g/s | UNITS |
| 117fu | Scale meas 2 scale LRV units | galUS/h | UNITS |
| 117fu | Scale meas 2 scale LRV units | galUS/min | UNITS |
| 117fu | Scale meas 2 scale LRV units | kg/h | UNITS |
| 117fu | Scale meas 2 scale LRV units | kg/min | UNITS |
| 117fu | Scale meas 2 scale LRV units | L/h | UNITS |
| 117fu | Scale meas 2 scale LRV units | L/min | UNITS |
| 117fu | Scale meas 2 scale LRV units | L/s | UNITS |
| 117fu | Scale meas 2 scale LRV units | lb/h | UNITS |
| 117fu | Scale meas 2 scale LRV units | lb/min | UNITS |
| 117fu | Scale meas 2 scale LRV units | lb/s | UNITS |
| 117fu | Scale meas 2 scale LRV units | m3/h | UNITS |
| 117fu | Scale meas 2 scale LRV units | m3/min | UNITS |
| 117fu | Scale meas 2 scale LRV units | m3/s | UNITS |
| 117fu | Scale meas 2 scale LRV units | ml/min | UNITS |
| 117fu | Scale meas 2 scale LRV units | t/h | UNITS |
| 117g | Scale meas 2 scale URV |  | UPPER RANGE-VALUE |
| 117gu | Scale meas 2 scale URV units | % | UNITS |
| 117gu | Scale meas 2 scale URV units | bbl/h | UNITS |
| 117gu | Scale meas 2 scale URV units | g/s | UNITS |
| 117gu | Scale meas 2 scale URV units | galUS/h | UNITS |
| 117gu | Scale meas 2 scale URV units | galUS/min | UNITS |
| 117gu | Scale meas 2 scale URV units | kg/h | UNITS |
| 117gu | Scale meas 2 scale URV units | kg/min | UNITS |
| 117gu | Scale meas 2 scale URV units | L/h | UNITS |
| 117gu | Scale meas 2 scale URV units | L/min | UNITS |
| 117gu | Scale meas 2 scale URV units | L/s | UNITS |
| 117gu | Scale meas 2 scale URV units | lb/h | UNITS |
| 117gu | Scale meas 2 scale URV units | lb/min | UNITS |
| 117gu | Scale meas 2 scale URV units | lb/s | UNITS |
| 117gu | Scale meas 2 scale URV units | m3/h | UNITS |
| 117gu | Scale meas 2 scale URV units | m3/min | UNITS |
| 117gu | Scale meas 2 scale URV units | m3/s | UNITS |
| 117gu | Scale meas 2 scale URV units | ml/min | UNITS |
| 117gu | Scale meas 2 scale URV units | t/h | UNITS |
| 118a | Setpoint 1 tag no |  |  |
| 118b | Meas setpoint 1-Output | Flow direction 1-Output |  |
| 118b | Meas setpoint 1-Output | Flow setpoint 1-Output |  |
| 118b | Meas setpoint 1-Output | Meas setpoint 1-Output |  |
| 118b | Meas setpoint 1-Output | Sound limit 1-Output |  |
| 118b | Meas setpoint 1-Output | Total mass sp 1-Output |  |
| 118b | Meas setpoint 1-Output | Total volume sp 1-Output |  |
| 118b | Meas setpoint 1-Output | Warning alarm 1-Output |  |
| 118c | Setpoint 1 LRV |  | LOWER RANGE-VALUE |
| 118cu | Setpoint 1 LRV units | bbl/h | UNITS |
| 118cu | Setpoint 1 LRV units | ft/s | UNITS |
| 118cu | Setpoint 1 LRV units | g/s | UNITS |
| 118cu | Setpoint 1 LRV units | galUS | UNITS |
| 118cu | Setpoint 1 LRV units | galUS/h | UNITS |
| 118cu | Setpoint 1 LRV units | galUS/min | UNITS |
| 118cu | Setpoint 1 LRV units | kg/h | UNITS |
| 118cu | Setpoint 1 LRV units | kg/min | UNITS |
| 118cu | Setpoint 1 LRV units | L | UNITS |
| 118cu | Setpoint 1 LRV units | L/h | UNITS |
| 118cu | Setpoint 1 LRV units | L/min | UNITS |
| 118cu | Setpoint 1 LRV units | L/s | UNITS |
| 118cu | Setpoint 1 LRV units | lb/h | UNITS |
| 118cu | Setpoint 1 LRV units | lb/min | UNITS |
| 118cu | Setpoint 1 LRV units | lb/s | UNITS |
| 118cu | Setpoint 1 LRV units | m/s | UNITS |
| 118cu | Setpoint 1 LRV units | m3 | UNITS |
| 118cu | Setpoint 1 LRV units | m3/h | UNITS |
| 118cu | Setpoint 1 LRV units | m3/min | UNITS |
| 118cu | Setpoint 1 LRV units | m3/s | UNITS |
| 118cu | Setpoint 1 LRV units | ml/min | UNITS |
| 118cu | Setpoint 1 LRV units | t/h | UNITS |
| 118d | Setpoint 1 URV |  | UPPER RANGE-VALUE |
| 118du | Setpoint 1 URV units | bbl/h | UNITS |
| 118du | Setpoint 1 URV units | ft/s | UNITS |
| 118du | Setpoint 1 URV units | g/s | UNITS |
| 118du | Setpoint 1 URV units | galUS | UNITS |
| 118du | Setpoint 1 URV units | galUS/h | UNITS |
| 118du | Setpoint 1 URV units | galUS/min | UNITS |
| 118du | Setpoint 1 URV units | kg/h | UNITS |
| 118du | Setpoint 1 URV units | kg/min | UNITS |
| 118du | Setpoint 1 URV units | L | UNITS |
| 118du | Setpoint 1 URV units | L/h | UNITS |
| 118du | Setpoint 1 URV units | L/min | UNITS |
| 118du | Setpoint 1 URV units | L/s | UNITS |
| 118du | Setpoint 1 URV units | lb/h | UNITS |
| 118du | Setpoint 1 URV units | lb/min | UNITS |
| 118du | Setpoint 1 URV units | lb/s | UNITS |
| 118du | Setpoint 1 URV units | m/s | UNITS |
| 118du | Setpoint 1 URV units | m3 | UNITS |
| 118du | Setpoint 1 URV units | m3/h | UNITS |
| 118du | Setpoint 1 URV units | m3/min | UNITS |
| 118du | Setpoint 1 URV units | m3/s | UNITS |
| 118du | Setpoint 1 URV units | ml/min | UNITS |
| 118du | Setpoint 1 URV units | t/h | UNITS |
| 118e | Setpoint 1 signal action | NC |  |
| 118e | Setpoint 1 signal action | NO |  |
| 118f | Setpoint 1 output LRV | 0 | LOWER RANGE-VALUE |
| 118fu | Setpoint 1 output LRV units | V | UNITS |
| 118g | Setpoint 1 output URV | 120 | UPPER RANGE-VALUE |
| 118g | Setpoint 1 output URV | 24 | UPPER RANGE-VALUE |
| 118gu | Setpoint 1 output URV units | V | UNITS |
| 119a | Setpoint 2 tag no |  |  |
| 119b | Meas setpoint 2-Output | Flow direction 2-Output |  |
| 119b | Meas setpoint 2-Output | Flow setpoint 2-Output |  |
| 119b | Meas setpoint 2-Output | Meas setpoint 2-Output |  |
| 119b | Meas setpoint 2-Output | Meas setpoint 2-Output |  |
| 119b | Meas setpoint 2-Output | Sound limit 2-Output |  |
| 119b | Meas setpoint 2-Output | Total mass sp 2-Output |  |
| 119b | Meas setpoint 2-Output | Total volume sp 2-Output |  |
| 119b | Meas setpoint 2-Output | Warning alarm 2-Output |  |
| 119c | Setpoint 2 LRV |  | LOWER RANGE-VALUE |
| 119cu | Setpoint 2 LRV units | bbl/h | UNITS |
| 119cu | Setpoint 2 LRV units | ft/s | UNITS |
| 119cu | Setpoint 2 LRV units | g/s | UNITS |
| 119cu | Setpoint 2 LRV units | galUS | UNITS |
| 119cu | Setpoint 2 LRV units | galUS/h | UNITS |
| 119cu | Setpoint 2 LRV units | galUS/min | UNITS |
| 119cu | Setpoint 2 LRV units | kg/h | UNITS |
| 119cu | Setpoint 2 LRV units | kg/min | UNITS |
| 119cu | Setpoint 2 LRV units | L | UNITS |
| 119cu | Setpoint 2 LRV units | L/h | UNITS |
| 119cu | Setpoint 2 LRV units | L/min | UNITS |
| 119cu | Setpoint 2 LRV units | L/s | UNITS |
| 119cu | Setpoint 2 LRV units | lb/h | UNITS |
| 119cu | Setpoint 2 LRV units | lb/min | UNITS |
| 119cu | Setpoint 2 LRV units | lb/s | UNITS |
| 119cu | Setpoint 2 LRV units | m/s | UNITS |
| 119cu | Setpoint 2 LRV units | m3 | UNITS |
| 119cu | Setpoint 2 LRV units | m3/h | UNITS |
| 119cu | Setpoint 2 LRV units | m3/min | UNITS |
| 119cu | Setpoint 2 LRV units | m3/s | UNITS |
| 119cu | Setpoint 2 LRV units | ml/min | UNITS |
| 119cu | Setpoint 2 LRV units | t/h | UNITS |
| 119d | Setpoint 2 URV |  | UPPER RANGE-VALUE |
| 119du | Setpoint 2 URV units | bbl/h | UNITS |
| 119du | Setpoint 2 URV units | ft/s | UNITS |
| 119du | Setpoint 2 URV units | g/s | UNITS |
| 119du | Setpoint 2 URV units | galUS | UNITS |
| 119du | Setpoint 2 URV units | galUS/h | UNITS |
| 119du | Setpoint 2 URV units | galUS/min | UNITS |
| 119du | Setpoint 2 URV units | kg/h | UNITS |
| 119du | Setpoint 2 URV units | kg/min | UNITS |
| 119du | Setpoint 2 URV units | L | UNITS |
| 119du | Setpoint 2 URV units | L/h | UNITS |
| 119du | Setpoint 2 URV units | L/min | UNITS |
| 119du | Setpoint 2 URV units | L/s | UNITS |
| 119du | Setpoint 2 URV units | lb/h | UNITS |
| 119du | Setpoint 2 URV units | lb/min | UNITS |
| 119du | Setpoint 2 URV units | lb/s | UNITS |
| 119du | Setpoint 2 URV units | m/s | UNITS |
| 119du | Setpoint 2 URV units | m3 | UNITS |
| 119du | Setpoint 2 URV units | m3/h | UNITS |
| 119du | Setpoint 2 URV units | m3/min | UNITS |
| 119du | Setpoint 2 URV units | m3/s | UNITS |
| 119du | Setpoint 2 URV units | ml/min | UNITS |
| 119du | Setpoint 2 URV units | t/h | UNITS |
| 119e | Setpoint 2 signal action | NC |  |
| 119e | Setpoint 2 signal action | NO |  |
| 119f | Setpoint 2 output LRV | 0 | LOWER RANGE-VALUE |
| 119fu | Setpoint 2 output LRV units | V | UNITS |
| 119g | Setpoint 2 output URV | 120 | UPPER RANGE-VALUE |
| 119g | Setpoint 2 output URV | 24 | UPPER RANGE-VALUE |
| 119gu | Setpoint 2 output URV units | V | UNITS |
| 120a | Setpoint 3 tag no |  |  |
| 120b | Meas setpoint 3-Output | Flow direction 3-Output |  |
| 120b | Meas setpoint 3-Output | Flow setpoint 3-Output |  |
| 120b | Meas setpoint 3-Output | Meas setpoint 3-Output |  |
| 120b | Meas setpoint 3-Output | Sound limit 3-Output |  |
| 120b | Meas setpoint 3-Output | Total mass sp 3-Output |  |
| 120b | Meas setpoint 3-Output | Total volume sp 3-Output |  |
| 120b | Meas setpoint 3-Output | Warning alarm 3-Output |  |
| 120c | Setpoint 3 LRV |  | LOWER RANGE-VALUE |
| 120cu | Setpoint 3 LRV units | bbl/h | UNITS |
| 120cu | Setpoint 3 LRV units | ft/s | UNITS |
| 120cu | Setpoint 3 LRV units | g/s | UNITS |
| 120cu | Setpoint 3 LRV units | galUS | UNITS |
| 120cu | Setpoint 3 LRV units | galUS/h | UNITS |
| 120cu | Setpoint 3 LRV units | galUS/min | UNITS |
| 120cu | Setpoint 3 LRV units | kg/h | UNITS |
| 120cu | Setpoint 3 LRV units | kg/min | UNITS |
| 120cu | Setpoint 3 LRV units | L | UNITS |
| 120cu | Setpoint 3 LRV units | L/h | UNITS |
| 120cu | Setpoint 3 LRV units | L/min | UNITS |
| 120cu | Setpoint 3 LRV units | L/s | UNITS |
| 120cu | Setpoint 3 LRV units | lb/h | UNITS |
| 120cu | Setpoint 3 LRV units | lb/min | UNITS |
| 120cu | Setpoint 3 LRV units | lb/s | UNITS |
| 120cu | Setpoint 3 LRV units | m/s | UNITS |
| 120cu | Setpoint 3 LRV units | m3 | UNITS |
| 120cu | Setpoint 3 LRV units | m3/h | UNITS |
| 120cu | Setpoint 3 LRV units | m3/min | UNITS |
| 120cu | Setpoint 3 LRV units | m3/s | UNITS |
| 120cu | Setpoint 3 LRV units | ml/min | UNITS |
| 120cu | Setpoint 3 LRV units | t/h | UNITS |
| 120d | Setpoint 3 URV |  | UPPER RANGE-VALUE |
| 120du | Setpoint 3 URV units | bbl/h | UNITS |
| 120du | Setpoint 3 URV units | ft/s | UNITS |
| 120du | Setpoint 3 URV units | g/s | UNITS |
| 120du | Setpoint 3 URV units | galUS | UNITS |
| 120du | Setpoint 3 URV units | galUS/h | UNITS |
| 120du | Setpoint 3 URV units | galUS/min | UNITS |
| 120du | Setpoint 3 URV units | kg/h | UNITS |
| 120du | Setpoint 3 URV units | kg/min | UNITS |
| 120du | Setpoint 3 URV units | L | UNITS |
| 120du | Setpoint 3 URV units | L/h | UNITS |
| 120du | Setpoint 3 URV units | L/min | UNITS |
| 120du | Setpoint 3 URV units | L/s | UNITS |
| 120du | Setpoint 3 URV units | lb/h | UNITS |
| 120du | Setpoint 3 URV units | lb/min | UNITS |
| 120du | Setpoint 3 URV units | lb/s | UNITS |
| 120du | Setpoint 3 URV units | m/s | UNITS |
| 120du | Setpoint 3 URV units | m3 | UNITS |
| 120du | Setpoint 3 URV units | m3/h | UNITS |
| 120du | Setpoint 3 URV units | m3/min | UNITS |
| 120du | Setpoint 3 URV units | m3/s | UNITS |
| 120du | Setpoint 3 URV units | ml/min | UNITS |
| 120du | Setpoint 3 URV units | t/h | UNITS |
| 120e | Setpoint 3 signal action | NC |  |
| 120e | Setpoint 3 signal action | NO |  |
| 120f | Setpoint 3 output LRV | 0 | LOWER RANGE-VALUE |
| 120fu | Setpoint 3 output LRV units | V | UNITS |
| 120g | Setpoint 3 output URV | 120 | UPPER RANGE-VALUE |
| 120g | Setpoint 3 output URV | 24 | UPPER RANGE-VALUE |
| 120gu | Setpoint 3 output URV units | V | UNITS |
| 121a | Setpoint 4 tag no |  |  |
| 121b | Meas setpoint 4-Output | Flow direction 4-Output |  |
| 121b | Meas setpoint 4-Output | Flow setpoint 4-Output |  |
| 121b | Meas setpoint 4-Output | Meas setpoint 4-Output |  |
| 121b | Meas setpoint 4-Output | Sound limit 4-Output |  |
| 121b | Meas setpoint 4-Output | Total mass sp 4-Output |  |
| 121b | Meas setpoint 4-Output | Total volume sp 4-Output |  |
| 121b | Meas setpoint 4-Output | Warning alarm 4-Output |  |
| 121c | Setpoint 4 LRV |  | LOWER RANGE-VALUE |
| 121cu | Setpoint 4 LRV units | bbl/h | UNITS |
| 121cu | Setpoint 4 LRV units | ft/s | UNITS |
| 121cu | Setpoint 4 LRV units | g/s | UNITS |
| 121cu | Setpoint 4 LRV units | galUS | UNITS |
| 121cu | Setpoint 4 LRV units | galUS/h | UNITS |
| 121cu | Setpoint 4 LRV units | galUS/min | UNITS |
| 121cu | Setpoint 4 LRV units | kg/h | UNITS |
| 121cu | Setpoint 4 LRV units | kg/min | UNITS |
| 121cu | Setpoint 4 LRV units | L | UNITS |
| 121cu | Setpoint 4 LRV units | L/h | UNITS |
| 121cu | Setpoint 4 LRV units | L/min | UNITS |
| 121cu | Setpoint 4 LRV units | L/s | UNITS |
| 121cu | Setpoint 4 LRV units | lb/h | UNITS |
| 121cu | Setpoint 4 LRV units | lb/min | UNITS |
| 121cu | Setpoint 4 LRV units | lb/s | UNITS |
| 121cu | Setpoint 4 LRV units | m/s | UNITS |
| 121cu | Setpoint 4 LRV units | m3 | UNITS |
| 121cu | Setpoint 4 LRV units | m3/h | UNITS |
| 121cu | Setpoint 4 LRV units | m3/min | UNITS |
| 121cu | Setpoint 4 LRV units | m3/s | UNITS |
| 121cu | Setpoint 4 LRV units | ml/min | UNITS |
| 121cu | Setpoint 4 LRV units | t/h | UNITS |
| 121d | Setpoint 4 URV |  | UPPER RANGE-VALUE |
| 121du | Setpoint 4 URV units | bbl/h | UNITS |
| 121du | Setpoint 4 URV units | ft/s | UNITS |
| 121du | Setpoint 4 URV units | g/s | UNITS |
| 121du | Setpoint 4 URV units | galUS | UNITS |
| 121du | Setpoint 4 URV units | galUS/h | UNITS |
| 121du | Setpoint 4 URV units | galUS/min | UNITS |
| 121du | Setpoint 4 URV units | kg/h | UNITS |
| 121du | Setpoint 4 URV units | kg/min | UNITS |
| 121du | Setpoint 4 URV units | L | UNITS |
| 121du | Setpoint 4 URV units | L/h | UNITS |
| 121du | Setpoint 4 URV units | L/min | UNITS |
| 121du | Setpoint 4 URV units | L/s | UNITS |
| 121du | Setpoint 4 URV units | lb/h | UNITS |
| 121du | Setpoint 4 URV units | lb/min | UNITS |
| 121du | Setpoint 4 URV units | lb/s | UNITS |
| 121du | Setpoint 4 URV units | m/s | UNITS |
| 121du | Setpoint 4 URV units | m3 | UNITS |
| 121du | Setpoint 4 URV units | m3/h | UNITS |
| 121du | Setpoint 4 URV units | m3/min | UNITS |
| 121du | Setpoint 4 URV units | m3/s | UNITS |
| 121du | Setpoint 4 URV units | ml/min | UNITS |
| 121du | Setpoint 4 URV units | t/h | UNITS |
| 121e | Setpoint 4 signal action | NC |  |
| 121e | Setpoint 4 signal action | NO |  |
| 121f | Setpoint 4 output LRV | 0 | LOWER RANGE-VALUE |
| 121fu | Setpoint 4 output LRV units | V | UNITS |
| 121g | Setpoint 4 output URV | 120 |  |
| 121g | Setpoint 4 output URV | 24 | UPPER RANGE-VALUE |
| 121gu | Setpoint 4 output URV units | V | UNITS |
| 122a | Failure tag no |  |  |
| 122b | Failure signal-Output | Failure signal-Output |  |
| 122e | Failure action | NC |  |
| 122e | Failure action | NO |  |
| 122f | Failure output LRV | 0 | LOWER RANGE-VALUE |
| 122fu | Failure output LRV units | V | UNITS |
| 122g | Failure output URV | 120 |  |
| 122g | Failure output URV | 24 | UPPER RANGE-VALUE |
| 122gu | Failure output URV units | V | UNITS |
| 123a | Attribute tag no |  |  |
| 123b | Attribute cal/test descp |  |  |
| 123c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 123cu | Attr cal/test LRV units |  | UNITS |
| 123d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 123du | Attr cal/test URV units |  | UNITS |
| 123e | Attribute cal/test action | direct |  |
| 123e | Attribute cal/test action | NC |  |
| 123e | Attribute cal/test action | NO |  |
| 123e | Attribute cal/test action | reverse |  |
| 123f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 123fu | Attr output LRV units |  | UNITS |
| 123g | Attribute output URV |  | UPPER RANGE-VALUE |
| 123gu | Attr output URV units |  | UNITS |
| 124 | COMPONENT IDENTIFICATIONS |  |  |
| 126a | Component type | ultrasonic sensor |  |
| 126a | Component type | ultrasonic transducer |  |
| 126a | Component type | ultrasonic transmitter |  |
| 126b | Manufacturer |  | MANUFACTURER |
| 126c | Model number |  | MODEL NUMBER |
| 127a | Component type | ultrasonic converter |  |
| 127a | Component type | ultrasonic data logger |  |
| 127a | Component type | ultrasonic portable meter |  |
| 127a | Component type | ultrasonic transmitter |  |
| 127b | Manufacturer |  | MANUFACTURER |
| 127c | Model number |  | MODEL NUMBER |
| 128a | Component type |  |  |
| 128b | Manufacturer |  | MANUFACTURER |
| 128c | Model number |  | MODEL NUMBER |
| 129a | Component type |  |  |
| 129b | Manufacturer |  | MANUFACTURER |
| 129c | Model number |  | MODEL NUMBER |