| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | FLOWMETER BODY | SECTION TITLE |  |
| 012 | Body type | flanged | VALVE BODY TYPE |
| 012 | Body type | flanged dual sensor | VALVE BODY TYPE |
| 012 | Body type | insertion type | VALVE BODY TYPE |
| 012 | Body type | sanitary | VALVE BODY TYPE |
| 012 | Body type | wafer | VALVE BODY TYPE |
| 013a | End conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 3 in | NOMINAL SIZE |
| 013a | End conn nominal size | 4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 6 in | NOMINAL SIZE |
| 013a | End conn nominal size | 8 in | NOMINAL SIZE |
| 013a | End conn nominal size | 10 in | NOMINAL SIZE |
| 013a | End conn nominal size | 12 in | NOMINAL SIZE |
| 013a | End conn nominal size | 15 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 16 in | NOMINAL SIZE |
| 013a | End conn nominal size | 25 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 40 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 50 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 80 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 100 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 150 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 200 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 250 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 300 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 400 mm | NOMINAL SIZE |
| 013b | End conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 64 | NOMINAL PRESSURE/RATING |
| 014a | End conn termn type | clamped | END CONNECTION TYPE |
| 014a | End conn termn type | flanged | END CONNECTION TYPE |
| 014a | End conn termn type | flangeless | END CONNECTION TYPE |
| 014a | End conn termn type | threaded | END CONNECTION TYPE |
| 014b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | End conn termn style | rf | END CONNECTION TYPE |
| 014b | End conn termn style | rtj | END CONNECTION TYPE |
| 014b | End conn termn style | tri-clover | END CONNECTION TYPE |
| 015 | Seal type | compression fitting |  |
| 015 | Seal type | diaphragm |  |
| 015 | Seal type | packing gland |  |
| 016 | Mounting hardware | for CL 150 flanges |  |
| 016 | Mounting hardware | for CL 300 flanges |  |
| 016 | Mounting hardware | for CL 600 flanges |  |
| 016 | Mounting hardware | for PN 100 flanges |  |
| 016 | Mounting hardware | for PN 16 flanges |  |
| 016 | Mounting hardware | for PN 40 flanges |  |
| 016 | Mounting hardware | for PN 64 flanges |  |
| 016 | Mounting hardware | NA |  |
| 017 | Body wetted material | 304 SST | MATERIAL |
| 017 | Body wetted material | 316 SST | MATERIAL |
| 017 | Body wetted material | 316L SST | MATERIAL |
| 017 | Body wetted material | carbon steel | MATERIAL |
| 017 | Body wetted material | hastelloy C-22 | MATERIAL |
| 017 | Body wetted material | hastelloy C4 | MATERIAL |
| 018 | End termination material | 304 SST | MATERIAL |
| 018 | End termination material | 316 SST | MATERIAL |
| 018 | End termination material | 316L SST | MATERIAL |
| 018 | End termination material | carbon steel | MATERIAL |
| 018 | End termination material | NA | MATERIAL |
| 019 | Gasket/Seal material | graphite | MATERIAL |
| 019 | Gasket/Seal material | hastelloy C | MATERIAL |
| 019 | Gasket/Seal material | PTFE (Teflon) | MATERIAL |
| 019 | Gasket/Seal material | stainless steel | MATERIAL |
| 019 | Gasket/Seal material | NA | MATERIAL |
| 020a | Defined attribute 1 name | flange facing finish | DEFINABLE ATTRIBUTE NAME |
| 020a | Defined attribute 1 name | pressure tap | DEFINABLE ATTRIBUTE NAME |
| 020a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 1 data | 1/2 NPT(F) | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 1 data | 125 rms | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021a | Defined attribute 2 name | insertion assembly | DEFINABLE ATTRIBUTE NAME |
| 021a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 021b | Defined attribute 2 data | acme thread,non-rising | DEFINABLE ATTRIBUTE VALUE |
| 021b | Defined attribute 2 name | manual rising stem | DEFINABLE ATTRIBUTE NAME |
| 021b | Defined attribute 2 data | screw thread,rising stem | DEFINABLE ATTRIBUTE VALUE |
| 021b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 022a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 022b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 023 | SENSING ELEMENT | SECTION TITLE |  |
| 024 | Sensor type | non-replaceable on-line |  |
| 024 | Sensor type | replaceable on-line |  |
| 025 | Sensor wetted material | 316 SST | MATERIAL |
| 025 | Sensor wetted material | 321 SST | MATERIAL |
| 025 | Sensor wetted material | gold plated | MATERIAL |
| 025 | Sensor wetted material | hastelloy C22 | MATERIAL |
| 025 | Sensor wetted material | hastelloy C276 | MATERIAL |
| 026 | Fill fluid material | fluorolube | MATERIAL |
| 026 | Fill fluid material | silicone | MATERIAL |
| 026 | Fill fluid material | unfilled | MATERIAL |
| 026 | Fill fluid material | NA | MATERIAL |
| 027a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 027b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 028a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030 | CONNECTION HEAD | SECTION TITLE |  |
| 031 | Housing type | explosion proof enclosure | HOUSING |
| 031 | Housing type | manufacturer standard | HOUSING |
| 031 | Housing type | NA | HOUSING |
| 032 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 033 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 034 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 034 | Cert/Approval type | CSA Hazardous | CERTIFICATION |
| 034 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 034 | Cert/Approval type | NA | CERTIFICATION |
| 035 | Enclosure material | low-copper aluminum | MATERIAL |
| 035 | Enclosure material | NA | MATERIAL |
| 036a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 036b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 037a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 037b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 038 | TRANSMITTER OR COMPUTER | SECTION TITLE |  |
| 039 | Housing type | explosion proof enclosure | HOUSING |
| 039 | Housing type | general purpose enclosure | HOUSING |
| 039 | Housing type | NEMA-type enclosure | HOUSING |
| 039 | Housing type | surface mtd enclosure | HOUSING |
| 039 | Housing type | wp enclosure | HOUSING |
| 040 | Measurement compensation | density |  |
| 040 | Measurement compensation | temp correction K-factor |  |
| 041 | Output signal type | 1 Analog current | SIGNAL |
| 041 | Output signal type | 3 Analog current | SIGNAL |
| 041 | Output signal type | analog current & digital | SIGNAL |
| 041 | Output signal type | analog current & freq | SIGNAL |
| 041 | Output signal type | analog current & pulse | SIGNAL |
| 041 | Output signal type | analog,freq,digital | SIGNAL |
| 041 | Output signal type | digital multi-variable | SIGNAL |
| 041 | Output signal type | digital single-variable | SIGNAL |
| 041 | Output signal type | frequency/pulse | SIGNAL |
| 042 | Enclosure type no/class | 3R | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | NEMA 4X | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | IEC 529 | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | IP 23 | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | IP 66 | ENCLOSURE TYPE NO/CLASS |
| 043 | Zero-span adjust type | hand held interface |  |
| 043 | Zero-span adjust type | hand-held communicator |  |
| 043 | Zero-span adjust type | keypad |  |
| 043 | Zero-span adjust type | magnetic sensors |  |
| 043 | Zero-span adjust type | magnetic wand |  |
| 043 | Zero-span adjust type | RS-485 remote comcm |  |
| 044 | Characteristic curve | linear volumetric flow | CHARACTERISTIC CURVE |
| 044 | Characteristic curve | linear with ave flow rate | CHARACTERISTIC CURVE |
| 044 | Characteristic curve | linear with flow rate | CHARACTERISTIC CURVE |
| 044 | Characteristic curve | linear with mass flow | CHARACTERISTIC CURVE |
| 045 | Digital communication std | DE protocol |  |
| 045 | Digital communication std | foundation fieldbus |  |
| 045 | Digital communication std | HART protocol |  |
| 045 | Digital communication std | modbus |  |
| 045 | Digital communication std | NA |  |
| 046 | Signal power source | line 115 V(ac) 60 Hz |  |
| 046 | Signal power source | line 120 V(ac) 60 Hz |  |
| 046 | Signal power source | line 220 V(ac) 60 Hz |  |
| 046 | Signal power source | line 240 V(ac) 60 Hz |  |
| 046 | Signal power source | line 30 V(dc) |  |
| 046 | Signal power source | loop 10.5-50 V(dc) |  |
| 046 | Signal power source | loop 12-42 V(dc) |  |
| 046 | Signal power source | loop 13-49 V(dc) |  |
| 046 | Signal power source | loop 14-46 V(dc) |  |
| 046 | Signal power source | loop 18-40 V(dc) |  |
| 047 | Failsafe style | failsafe fixed |  |
| 047 | Failsafe style | failsafe selectable |  |
| 047 | Failsafe style | NA |  |
| 048 | Integral indicator style | analog meter |  |
| 048 | Integral indicator style | LCD 1 line 16 character |  |
| 048 | Integral indicator style | LCD 2 line 16 character |  |
| 048 | Integral indicator style | LCD 2 line 8 character |  |
| 048 | Integral indicator style | NA |  |
| 049 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 050 | Cert/Approval type | BASEEFA Type N | CERTIFICATION |
| 050 | Cert/Approval type | BASEEFA/CENELEC IS | CERTIFICATION |
| 050 | Cert/Approval type | CENELEC Flameproof | CERTIFICATION |
| 050 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 050 | Cert/Approval type | CSA Intrinsic safety | CERTIFICATION |
| 050 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 050 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 050 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 050 | Cert/Approval type | INIEX/CENELEC flameproof | CERTIFICATION |
| 050 | Cert/Approval type | PTB Intrinsic safety | CERTIFICATION |
| 050 | Cert/Approval type | SAA Flameproof | CERTIFICATION |
| 050 | Cert/Approval type | SAA Intrinsic safety | CERTIFICATION |
| 050 | Cert/Approval type | SAA Type N | CERTIFICATION |
| 050 | Cert/Approval type | NA | CERTIFICATION |
| 051 | Mounting location/type | 2 in pipe mount | MOUNTING POSITION |
| 051 | Mounting location/type | integral to body | MOUNTING POSITION |
| 051 | Mounting location/type | wall mount | MOUNTING POSITION |
| 052 | Calibration type | custom |  |
| 052 | Calibration type | dry |  |
| 052 | Calibration type | water |  |
| 053 | Failure/Diagnostic action | activate alarm relay |  |
| 053 | Failure/Diagnostic action | drive output high |  |
| 053 | Failure/Diagnostic action | drive output low |  |
| 053 | Failure/Diagnostic action | NA |  |
| 054 | Enclosure material | glassed filled polyester | MATERIAL |
| 054 | Enclosure material | low-copper aluminum | MATERIAL |
| 055a | Defined attribute 1 name | transient protection | DEFINABLE ATTRIBUTE NAME |
| 055b | Defined attribute 1 data | integral termn block | DEFINABLE ATTRIBUTE VALUE |
| 056a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 056b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 057a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 058 | TOTALIZER INDICATOR | SECTION TITLE |  |
| 059 | Totalizer type |  |  |
| 060 | Enclosure type no/class | NEMA 1 | ENCLOSURE TYPE NO/CLASS |
| 060 | Enclosure type no/class | NEMA 7,4X | ENCLOSURE TYPE NO/CLASS |
| 061 | Signal power source | line 115 V(ac) 60 Hz |  |
| 061 | Signal power source | line 230 V(ac) 60 Hz |  |
| 061 | Signal power source | line 24 V(ac) 60 Hz |  |
| 061 | Signal power source | line 24 V(dc) |  |
| 061 | Signal power source | line 48 V(ac) 60 Hz |  |
| 061 | Signal power source | line 48 V(dc) |  |
| 062a | Contact arrangement | SPST |  |
| 062a | Contact arrangement | NA |  |
| 062b | Contacts quantity | 1 |  |
| 063 | Totalizer reset style | external |  |
| 063 | Totalizer reset style | local internal |  |
| 063 | Totalizer reset style | non-resetable |  |
| 064 | Integral indicator style | 1 line 16 character LCD |  |
| 064 | Integral indicator style | 2 line 16 character LCD |  |
| 064 | Integral indicator style | 7 Digit counter |  |
| 065 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 066 | Mounting location/type | 19 in rack mount | MOUNTING POSITION |
| 066 | Mounting location/type | 2 in pipe | MOUNTING POSITION |
| 066 | Mounting location/type | integral with transmitter | MOUNTING POSITION |
| 066 | Mounting location/type | wall mount | MOUNTING POSITION |
| 067 | Enclosure material | low-copper aluminum |  |
| 067 | Enclosure material | NA |  |
| 068a | Definable attribute1 name | output signal type | DEFINABLE ATTRIBUTE NAME |
| 068a | Definable attribute1 name | totalizer back-up | DEFINABLE ATTRIBUTE NAME |
| 068b | Definable attribute1 data | dry contact | DEFINABLE ATTRIBUTE VALUE |
| 069 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 070a | Max press at design temp |  | PRESSURE |
| 070au | Design pressure units | bar(g) | UNITS |
| 070au | Design pressure units | psig | UNITS |
| 070b | Max design temperature |  | DESIGN TEMPERATURE |
| 070bu | Design temperature units | °C | UNITS |
| 070bu | Design temperature units | °F | UNITS |
| 070bu | Design temperature units | C | UNITS |
| 070bu | Design temperature units | F | UNITS |
| 071a | Min working temperature | 0 | WORKING TEMPERATURE |
| 071a | Min working temperature | -18 | WORKING TEMPERATURE |
| 071a | Min working temperature | -20 | WORKING TEMPERATURE |
| 071a | Min working temperature | -40 | WORKING TEMPERATURE |
| 071a | Min working temperature | -330 | WORKING TEMPERATURE |
| 071au | Min working temp units | °C | UNITS |
| 071au | Min working temp units | °F | UNITS |
| 071au | Min working temp units | C | UNITS |
| 071au | Min working temp units | F | UNITS |
| 071b | Max working temperature | 95 | WORKING TEMPERATURE |
| 071b | Max working temperature | 204 | WORKING TEMPERATURE |
| 071b | Max working temperature | 232 | WORKING TEMPERATURE |
| 071b | Max working temperature | 400 | WORKING TEMPERATURE |
| 071b | Max working temperature | 427 | WORKING TEMPERATURE |
| 071b | Max working temperature | 430 | WORKING TEMPERATURE |
| 071b | Max working temperature | 450 | WORKING TEMPERATURE |
| 071b | Max working temperature | 750 | WORKING TEMPERATURE |
| 071b | Max working temperature | 800 | WORKING TEMPERATURE |
| 071bu | Max working temp units | °C | UNITS |
| 071bu | Max working temp units | °F | UNITS |
| 071bu | Max working temp units | C | UNITS |
| 071bu | Max working temp units | F | UNITS |
| 072a | Flow rate accuracy rating | .5 |  |
| 072a | Flow rate accuracy rating | .65 |  |
| 072a | Flow rate accuracy rating | .7 |  |
| 072a | Flow rate accuracy rating | .75 |  |
| 072a | Flow rate accuracy rating | 1.0 |  |
| 072a | Flow rate accuracy rating | 1.25 |  |
| 072a | Flow rate accuracy rating | 1.35 |  |
| 072a | Flow rate accuracy rating | 1.5 |  |
| 072b | Flow accuracy ref base | % rate |  |
| 073a | Density accuracy rating | .3 |  |
| 073a | Density accuracy rating | .5 |  |
| 073b | Density accuracy ref base | % reading |  |
| 074a | Min velocity URL |  |  |
| 074au | Min velocity URL units | ft/s | UNITS |
| 074b | Max velocity URL |  |  |
| 074bu | Max velocity URL units | ft/s | UNITS |
| 075a | Density Lower Range-Limit |  | LOWER RANGE-LIMIT |
| 075au | Density LRL units | lb/ft3 | UNITS |
| 075b | Density Upper Range-Limit |  |  |
| 075bu | Density URL units | lb/ft3 | UNITS |
| 076 | Min required back press |  |  |
| 076u | Back pressure units | kPa | UNITS |
| 076u | Back pressure units | psia | UNITS |
| 077 | Pressure drop at URL |  |  |
| 077u | Pressure drop URL units | kPa | UNITS |
| 077u | Pressure drop URL units | psi | UNITS |
| 078a | Min ambient working temp | -4 | AMBIENT TEMPERATURE |
| 078a | Min ambient working temp | -10 | AMBIENT TEMPERATURE |
| 078a | Min ambient working temp | -25 | AMBIENT TEMPERATURE |
| 078a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 078au | Min amb working temp units | °C | UNITS |
| 078au | Min amb working temp units | °F | UNITS |
| 078au | Min amb working temp units | C | UNITS |
| 078au | Min amb working temp units | F | UNITS |
| 078b | Max ambient working temp | 60 | MAX AMBIENT TEMPERATURE |
| 078b | Max ambient working temp | 85 | MAX AMBIENT TEMPERATURE |
| 078b | Max ambient working temp | 140 | MAX AMBIENT TEMPERATURE |
| 078b | Max ambient working temp | 185 | MAX AMBIENT TEMPERATURE |
| 078bu | Max amb temperature units | °C | UNITS |
| 078bu | Max amb temperature units | °F | UNITS |
| 078bu | Max amb temperature units | C | UNITS |
| 078bu | Max amb temperature units | F | UNITS |
| 079a | Contacts ac rating |  | DEVICE RATING |
| 079au | AC rating current units | A | UNITS |
| 079b | AC rating max voltage |  | DEVICE RATING |
| 079bu | AC max voltage units | V | UNITS |
| 080a | Contacts dc rating |  | DEVICE RATING |
| 080au | DC rating current units | A | UNITS |
| 080b | DC rating max voltage |  | DEVICE RATING |
| 080bu | DC max voltage units | V | UNITS |
| 081 | Max sensor to receiver lg | 50 |  |
| 081 | Max sensor to receiver lg | 150 |  |
| 081 | Max sensor to receiver lg | 500 |  |
| 081u | Max length units | ft | UNITS |
| 081u | Max length units | m | UNITS |
| 082a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083 | ACCESSORIES | SECTION TITLE |  |
| 084 | Connecting cables length | 3.0 |  |
| 084 | Connecting cables length | 6.1 |  |
| 084 | Connecting cables length | 9.1 |  |
| 084 | Connecting cables length | 10 |  |
| 084 | Connecting cables length | 15 |  |
| 084 | Connecting cables length | 20 |  |
| 084 | Connecting cables length | 30 |  |
| 084 | Connecting cables length | 40 |  |
| 084 | Connecting cables length | 50 |  |
| 084u | Cable length units | ft | UNITS |
| 084u | Cable length units | m | UNITS |
| 085 | Isolation manifold | glass-filled seat |  |
| 085 | Isolation manifold | graphite seat |  |
| 085 | Isolation manifold | NA |  |
| 086 | Remote indicator style | NA |  |
| 087 | Calibrator adapter | NA |  |
| 088a | Defined attribute 1 name | cable gland | DEFINABLE ATTRIBUTE NAME |
| 088a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 1 data | hawke | DEFINABLE ATTRIBUTE VALUE |
| 088b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 090 | Custom tag | fiber tag |  |
| 090 | Custom tag | sst permanent attached |  |
| 090 | Custom tag | sst wired-on |  |
| 090 | Custom tag | NA |  |
| 091 | Reference specification | NA | REFERENCE SPECIFICATION |
| 092 | Special preparation | chlorine service |  |
| 092 | Special preparation | oxygen service |  |
| 092 | Special preparation | NA |  |
| 093 | Compliance standard | 3-A Sanitary | NACE STANDARD |
| 093 | Compliance standard | ASME sect IX | NACE STANDARD |
| 093 | Compliance standard | ASME sect VIII | NACE STANDARD |
| 093 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 094 | Calibration report | flow calibration |  |
| 095 | Software configuration | NA |  |
| 096a | Defined attribute 1 name | certifications | DEFINABLE ATTRIBUTE NAME |
| 096a | Defined attribute 1 name | display language | DEFINABLE ATTRIBUTE NAME |
| 096a | Defined attribute 1 name | radiograph inspection | DEFINABLE ATTRIBUTE NAME |
| 096b | Defined attribute 1 data | english | DEFINABLE ATTRIBUTE VALUE |
| 096b | Defined attribute 1 data | ISO 9001 certificate | DEFINABLE ATTRIBUTE VALUE |
| 096b | Defined attribute 1 data | material certifications | DEFINABLE ATTRIBUTE VALUE |
| 096b | Defined attribute 1 data | weld examination | DEFINABLE ATTRIBUTE VALUE |
| 097 | PHYSICAL DATA | SECTION TITLE |  |
| 098 | Estimated weight |  |  |
| 098u | Weight units | kg | UNITS |
| 098u | Weight units | lb | UNITS |
| 099 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 099u | Face-to-face dim units | in | UNITS |
| 099u | Face-to-face dim units | mm | UNITS |
| 100 | Overall height |  |  |
| 100u | Overall height units | in | UNITS |
| 100u | Overall height units | mm | UNITS |
| 101 | Removal clearance |  |  |
| 101u | Removal clearance units | in | UNITS |
| 101u | Removal clearance units | mm | UNITS |
| 102a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 102a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 102b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 102b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 102b | Signal conn termn style | pg 11 | END CONNECTION TYPE |
| 102b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 103 | Mfr reference dwg | NA |  |
| 104a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 104b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog flow rate tag no |  |  |
| 112b | Flow rate-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog flow rate LRV | 0 |  |
| 112cu | Analog flow rate LRV units | bbl/d | UNITS |
| 112cu | Analog flow rate LRV units | ft3ACT/h | UNITS |
| 112cu | Analog flow rate LRV units | ft3ACT/min | UNITS |
| 112cu | Analog flow rate LRV units | galUS/min | UNITS |
| 112cu | Analog flow rate LRV units | L/s | UNITS |
| 112cu | Analog flow rate LRV units | m3/h | UNITS |
| 112cu | Analog flow rate LRV units | m3/h(N) | UNITS |
| 112cu | Analog flow rate LRV units | m3/s | UNITS |
| 112cu | Analog flow rate LRV units | m3/s(N) | UNITS |
| 112cu | Analog flow rate LRV units | scfh | UNITS |
| 112d | Analog flow rate URV |  |  |
| 112du | Analog flow rate URV units | bbl/d | UNITS |
| 112du | Analog flow rate URV units | ft3ACT/h | UNITS |
| 112du | Analog flow rate URV units | ft3ACT/min | UNITS |
| 112du | Analog flow rate URV units | galUS/min | UNITS |
| 112du | Analog flow rate URV units | L/s | UNITS |
| 112du | Analog flow rate URV units | m3/h(N) | UNITS |
| 112du | Analog flow rate URV units | m3/s | UNITS |
| 112du | Analog flow rate URV units | m3/s(N) | UNITS |
| 112du | Analog flow rate URV units | scfh | UNITS |
| 112e | Analog flow rate action | direct |  |
| 112e | Analog flow rate action | reverse |  |
| 112f | Anlg flow rate output LRV | 0 |  |
| 112f | Anlg flow rate output LRV | 1 |  |
| 112f | Anlg flow rate output LRV | 2 |  |
| 112f | Anlg flow rate output LRV | 4 |  |
| 112f | Anlg flow rate output LRV | 10 |  |
| 112fu | Anlg flow output LRV units | mA | UNITS |
| 112fu | Anlg flow output LRV units | V(dc) | UNITS |
| 112g | Anlg flow rate output URV | 5 |  |
| 112g | Anlg flow rate output URV | 20 |  |
| 112g | Anlg flow rate output URV | 50 |  |
| 112gu | Anlg flow output URV units | mA | UNITS |
| 112gu | Anlg flow output URV units | V(dc) | UNITS |
| 113a | Analog flow rate tag no |  |  |
| 113b | Flow rate-Analog output | CALIBRATION/TEST DESC |  |
| 113c | Mass flow rate LRV | 0 |  |
| 113cu | Mass flow rate LRV units | kg/d | UNITS |
| 113cu | Mass flow rate LRV units | kg/h | UNITS |
| 113cu | Mass flow rate LRV units | kg/min | UNITS |
| 113cu | Mass flow rate LRV units | kg/s | UNITS |
| 113cu | Mass flow rate LRV units | lb/d | UNITS |
| 113cu | Mass flow rate LRV units | lb/h | UNITS |
| 113cu | Mass flow rate LRV units | lb/min | UNITS |
| 113cu | Mass flow rate LRV units | lb/s | UNITS |
| 113d | Mass flow rate URV |  |  |
| 113du | Mass flow rate URV units | kg/d | UNITS |
| 113du | Mass flow rate URV units | kg/h | UNITS |
| 113du | Mass flow rate URV units | kg/min | UNITS |
| 113du | Mass flow rate URV units | kg/s | UNITS |
| 113du | Mass flow rate URV units | lb/d | UNITS |
| 113du | Mass flow rate URV units | lb/h | UNITS |
| 113du | Mass flow rate URV units | lb/min | UNITS |
| 113du | Mass flow rate URV units | lb/s | UNITS |
| 113e | Mass flow rate action | direct |  |
| 113e | Mass flow rate action | reverse |  |
| 113f | Mass flow rate output LRV | 0 |  |
| 113f | Mass flow rate output LRV | 1 |  |
| 113f | Mass flow rate output LRV | 2 |  |
| 113f | Mass flow rate output LRV | 4 |  |
| 113f | Mass flow rate output LRV | 10 |  |
| 113fu | Mass flow output LRV units | mA | UNITS |
| 113fu | Mass flow output LRV units | V(dc) | UNITS |
| 113g | Mass flow rate output URV | 5 |  |
| 113g | Mass flow rate output URV | 20 |  |
| 113g | Mass flow rate output URV | 50 |  |
| 113gu | Mass flow output URV units | mA | UNITS |
| 113gu | Mass flow output URV units | V(dc) | UNITS |
| 114a | Analog meas 3 tag no |  |  |
| 114b | Meas-Analog output 3 | CALIBRATION/TEST DESC |  |
| 114c | Analog meas 3 LRV | 0 |  |
| 114cu | Analog meas 3 LRV units | % | UNITS |
| 114cu | Analog meas 3 LRV units | °C | UNITS |
| 114cu | Analog meas 3 LRV units | °F | UNITS |
| 114cu | Analog meas 3 LRV units | C | UNITS |
| 114cu | Analog meas 3 LRV units | F | UNITS |
| 114cu | Analog meas 3 LRV units | g/cm3 | UNITS |
| 114cu | Analog meas 3 LRV units | lb/ft3 | UNITS |
| 114d | Analog meas 3 URV |  |  |
| 114du | Analog meas 3 URV units | % | UNITS |
| 114du | Analog meas 3 URV units | °C | UNITS |
| 114du | Analog meas 3 URV units | °F | UNITS |
| 114du | Analog meas 3 URV units | C | UNITS |
| 114du | Analog meas 3 URV units | F | UNITS |
| 114du | Analog meas 3 URV units | g/cm3 | UNITS |
| 114du | Analog meas 3 URV units | lb/ft3 | UNITS |
| 114e | Analog meas 3 action | direct |  |
| 114e | Analog meas 3 action | reverse |  |
| 114f | Anlg meas 3 output LRV | 0 |  |
| 114f | Anlg meas 3 output LRV | 1 |  |
| 114f | Anlg meas 3 output LRV | 2 |  |
| 114f | Anlg meas 3 output LRV | 4 |  |
| 114f | Anlg meas 3 output LRV | 10 |  |
| 114fu | Anlg meas 3 output LRV units | mA | UNITS |
| 114fu | Anlg meas 3 output LRV units | V(dc) | UNITS |
| 114g | Anlg meas 3 output URV | 5 |  |
| 114g | Anlg meas 3 output URV | 10 |  |
| 114g | Anlg meas 3 output URV | 20 |  |
| 114g | Anlg meas 3 output URV | 50 |  |
| 114gu | Anlg meas 3 output URV units | mA | UNITS |
| 114gu | Anlg meas 3 output URV units | V(dc) | UNITS |
| 115a | Freq meas 1 tag no |  |  |
| 115b | Meas-Frequency output 1 | CALIBRATION/TEST DESC |  |
| 115c | Freq meas 1 LRV | 0 |  |
| 115cu | Freq meas 1 LRV units | kg/d | UNITS |
| 115cu | Freq meas 1 LRV units | kg/h | UNITS |
| 115cu | Freq meas 1 LRV units | kg/min | UNITS |
| 115cu | Freq meas 1 LRV units | kg/s | UNITS |
| 115cu | Freq meas 1 LRV units | lb/d | UNITS |
| 115cu | Freq meas 1 LRV units | lb/h | UNITS |
| 115cu | Freq meas 1 LRV units | lb/min | UNITS |
| 115cu | Freq meas 1 LRV units | lb/s | UNITS |
| 115d | Freq meas 1 URV |  |  |
| 115du | Freq meas 1 URV units | kg/d | UNITS |
| 115du | Freq meas 1 URV units | kg/h | UNITS |
| 115du | Freq meas 1 URV units | kg/min | UNITS |
| 115du | Freq meas 1 URV units | kg/s | UNITS |
| 115du | Freq meas 1 URV units | lb/d | UNITS |
| 115du | Freq meas 1 URV units | lb/h | UNITS |
| 115du | Freq meas 1 URV units | lb/min | UNITS |
| 115du | Freq meas 1 URV units | lb/s | UNITS |
| 115e | Freq meas 1 action | direct |  |
| 115e | Freq meas 1 action | reverse |  |
| 115f | Freq meas 1 output LRV | 0 |  |
| 115f | Action | direct | INSTRUMENT ACTION |
| 115f | Action | reverse | INSTRUMENT ACTION |
| 115fu | Freq meas 1 output LRV units | Hz | UNITS |
| 115g | Freq meas 1 output URV |  |  |
| 115gu | Freq meas 1 output URV units | Hz | UNITS |
| 116a | Freq meas 2 tag no |  |  |
| 116b | Meas-Frequency output 2 | CALIBRATION/TEST DESC |  |
| 116c | Freq meas 2 LRV | 0 |  |
| 116cu | Freq meas 2 LRV units | % | UNITS |
| 116cu | Freq meas 2 LRV units | °C | UNITS |
| 116cu | Freq meas 2 LRV units | °F | UNITS |
| 116cu | Freq meas 2 LRV units | C | UNITS |
| 116cu | Freq meas 2 LRV units | F | UNITS |
| 116cu | Freq meas 2 LRV units | g/cm3 | UNITS |
| 116cu | Freq meas 2 LRV units | lb/ft3 | UNITS |
| 116d | Freq meas 2 URV |  |  |
| 116du | Freq meas 2 URV units | % | UNITS |
| 116du | Freq meas 2 URV units | °C | UNITS |
| 116du | Freq meas 2 URV units | °F | UNITS |
| 116du | Freq meas 2 URV units | C | UNITS |
| 116du | Freq meas 2 URV units | F | UNITS |
| 116du | Freq meas 2 URV units | g/cm3 | UNITS |
| 116du | Freq meas 2 URV units | lb/ft3 | UNITS |
| 116e | Freq meas 2 action | direct |  |
| 116e | Freq meas 2 action | reverse |  |
| 116f | Freq meas 2 output LRV | 0 |  |
| 116fu | Freq meas 2 output LRV units | Hz | UNITS |
| 116g | Freq meas 2 output URV |  |  |
| 116gu | Freq meas 2 output URV units | Hz | UNITS |
| 117a | Scale tag no |  |  |
| 117b | Measurement-Scale | CALIBRATION/TEST DESC |  |
| 117c | Scale measurement LRV | 0 |  |
| 117cu | Scale meas LRV units | kg/d | UNITS |
| 117cu | Scale meas LRV units | kg/h | UNITS |
| 117cu | Scale meas LRV units | kg/min | UNITS |
| 117cu | Scale meas LRV units | kg/s | UNITS |
| 117cu | Scale meas LRV units | lb/d | UNITS |
| 117cu | Scale meas LRV units | lb/h | UNITS |
| 117cu | Scale meas LRV units | lb/min | UNITS |
| 117cu | Scale meas LRV units | lb/s | UNITS |
| 117d | Scale measurement URV | 0 |  |
| 117du | Scale meas URV units | kg/d | UNITS |
| 117du | Scale meas URV units | kg/h | UNITS |
| 117du | Scale meas URV units | kg/min | UNITS |
| 117du | Scale meas URV units | kg/s | UNITS |
| 117du | Scale meas URV units | lb/d | UNITS |
| 117du | Scale meas URV units | lb/h | UNITS |
| 117du | Scale meas URV units | lb/min | UNITS |
| 117du | Scale meas URV units | lb/s | UNITS |
| 117e | Scale meas signal action | direct |  |
| 117e | Scale meas signal action | reverse |  |
| 117f | Scale Lower Range-Value | 0 |  |
| 117fu | Scale LRV units | % | UNITS |
| 117fu | Scale LRV units | kg/d | UNITS |
| 117fu | Scale LRV units | kg/h | UNITS |
| 117fu | Scale LRV units | kg/min | UNITS |
| 117fu | Scale LRV units | kg/s | UNITS |
| 117fu | Scale LRV units | lb/d | UNITS |
| 117fu | Scale LRV units | lb/h | UNITS |
| 117fu | Scale LRV units | lb/min | UNITS |
| 117fu | Scale LRV units | lb/s | UNITS |
| 117g | Scale Upper Range-Value | 100 |  |
| 117gu | Scale URV units | % | UNITS |
| 117gu | Scale URV units | kg/d | UNITS |
| 117gu | Scale URV units | kg/h | UNITS |
| 117gu | Scale URV units | kg/min | UNITS |
| 117gu | Scale URV units | kg/s | UNITS |
| 117gu | Scale URV units | lb/d | UNITS |
| 117gu | Scale URV units | lb/h | UNITS |
| 117gu | Scale URV units | lb/min | UNITS |
| 117gu | Scale URV units | lb/s | UNITS |
| 118a | Digital temp tag no |  |  |
| 118b | Temp-Digital output | CALIBRATION/TEST DESC |  |
| 118c | Digital temp LRV | 0 | LOWER RANGE-VALUE |
| 118cu | Digital temp LRV units | °C | UNITS |
| 118cu | Digital temp LRV units | °F | UNITS |
| 118cu | Digital temp LRV units | C | UNITS |
| 118cu | Digital temp LRV units | F | UNITS |
| 118d | Digital temp URV |  | UPPER RANGE-VALUE |
| 118du | Digital temp URV units | °C | UNITS |
| 118du | Digital temp URV units | °F | UNITS |
| 118du | Digital temp URV units | C | UNITS |
| 118du | Digital temp URV units | F | UNITS |
| 118e | Digital temp signal action | direct |  |
| 118e | Digital temp signal action | reverse |  |
| 118f | Digital temp output LRV | 0 |  |
| 118fu | Dgtl temp output LRV unit | °C | UNITS |
| 118fu | Dgtl temp output LRV unit | °F | UNITS |
| 118fu | Dgtl temp output LRV unit | C | UNITS |
| 118fu | Dgtl temp output LRV unit | F | UNITS |
| 118g | Digital temp output URV |  |  |
| 118gu | Dgtl temp output URV unit | °C | UNITS |
| 118gu | Dgtl temp output URV unit | °F | UNITS |
| 118gu | Dgtl temp output URV unit | C | UNITS |
| 118gu | Dgtl temp output URV unit | F | UNITS |
| 119a | Digital meas tag no |  |  |
| 119b | Meas-Digital output | CALIBRATION/TEST DESC |  |
| 119c | Digital meas LRV | 0 |  |
| 119cu | Digital meas LRV units | % | UNITS |
| 119cu | Digital meas LRV units | kg/d | UNITS |
| 119cu | Digital meas LRV units | kg/h | UNITS |
| 119cu | Digital meas LRV units | kg/min | UNITS |
| 119cu | Digital meas LRV units | kg/s | UNITS |
| 119cu | Digital meas LRV units | lb/d | UNITS |
| 119cu | Digital meas LRV units | lb/h | UNITS |
| 119cu | Digital meas LRV units | lb/min | UNITS |
| 119cu | Digital meas LRV units | lb/s | UNITS |
| 119d | Digital meas URV |  |  |
| 119du | Digital meas URV units | % | UNITS |
| 119du | Digital meas URV units | kg/d | UNITS |
| 119du | Digital meas URV units | kg/h | UNITS |
| 119du | Digital meas URV units | kg/min | UNITS |
| 119du | Digital meas URV units | kg/s | UNITS |
| 119du | Digital meas URV units | lb/d | UNITS |
| 119du | Digital meas URV units | lb/h | UNITS |
| 119du | Digital meas URV units | lb/min | UNITS |
| 119du | Digital meas URV units | lb/s | UNITS |
| 119e | Digital meas signal action | direct |  |
| 119e | Digital meas signal action | reverse |  |
| 119f | Digital meas output LRV | 0 |  |
| 119fu | Dgtl meas output LRV unit | % | UNITS |
| 119fu | Dgtl meas output LRV unit | kg/d | UNITS |
| 119fu | Dgtl meas output LRV unit | kg/h | UNITS |
| 119fu | Dgtl meas output LRV unit | kg/min | UNITS |
| 119fu | Dgtl meas output LRV unit | kg/s | UNITS |
| 119fu | Dgtl meas output LRV unit | lb/d | UNITS |
| 119fu | Dgtl meas output LRV unit | lb/h | UNITS |
| 119fu | Dgtl meas output LRV unit | lb/min | UNITS |
| 119fu | Dgtl meas output LRV unit | lb/s | UNITS |
| 119g | Digital meas output URV |  |  |
| 119gu | Dgtl meas output URV unit | % | UNITS |
| 119gu | Dgtl meas output URV unit | kg/d | UNITS |
| 119gu | Dgtl meas output URV unit | kg/h | UNITS |
| 119gu | Dgtl meas output URV unit | kg/min | UNITS |
| 119gu | Dgtl meas output URV unit | kg/s | UNITS |
| 119gu | Dgtl meas output URV unit | lb/d | UNITS |
| 119gu | Dgtl meas output URV unit | lb/h | UNITS |
| 119gu | Dgtl meas output URV unit | lb/min | UNITS |
| 119gu | Dgtl meas output URV unit | lb/s | UNITS |
| 120a | Digital density tag no |  |  |
| 120b | Density-Digital output | CALIBRATION/TEST DESC |  |
| 120c | Digital density LRV |  |  |
| 120cu | Digital Density LRV units | g/cm3 | UNITS |
| 120cu | Digital Density LRV units | lb/ft3 | UNITS |
| 120d | Digital Density URV |  |  |
| 120du | Digital Density URV units | g/cm3 | UNITS |
| 120du | Digital Density URV units | lb/ft3 | UNITS |
| 120e | Digital Density action | direct |  |
| 120e | Digital Density action | reverse |  |
| 120f | Digital Density output LRV |  |  |
| 120fu | Dgtl density output LRV unit | g/cm3 | UNITS |
| 120fu | Dgtl density output LRV unit | lb/ft3 | UNITS |
| 120g | Digital Density output URV |  |  |
| 120gu | Dgtl density output URV unit | g/cm3 | UNITS |
| 120gu | Dgtl density output URV unit | lb/ft3 | UNITS |
| 121b | Test pressure | CALIBRATION/TEST DESC |  |
| 121d | Test pressure URV |  |  |
| 121du | Test pressure URV units | psig | UNITS |
| 122 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 124a | Component type | swirl flowmeter |  |
| 124a | Component type | vortex flowmeter |  |
| 124b | Manufacturer |  | MANUFACTURER |
| 124c | Model number |  | MODEL NUMBER |
| 125a | Component type | swirl flow transmitter |  |
| 125a | Component type | vortex flow transmitter |  |
| 126a | Component type | totalizer indicator |  |