| Picklist 20F2411 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | OPERATING PARAMETERS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017 | Related equipment |  |  |
| 018 | Service |  |  |
| 020 | P&ID/Reference dwg number |  |  |
| 021 | Upstr line/nozzle number | NA |  |
| 022 | Upstr line pipe spec | NA |  |
| 023a | Upstr line nominal size | 1 1/2 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 1 1/4 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 1 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 1/2 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 1/4 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 1/8 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 10 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 2 1/2 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 2 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 3 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 3/4 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 3/8 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 4 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 6 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | 8 in | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 10 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 100 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 125 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 15 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 150 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 20 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 200 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 25 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 250 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 32 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 40 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 50 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 65 | NOMINAL SIZE |
| 023a | Upstr line nominal size | DN 80 | NOMINAL SIZE |
| 023b | Upstr line nom rating | cl 125 |  |
| 023b | Upstr line nom rating | cl 150 |  |
| 023b | Upstr line nom rating | cl 25 |  |
| 023b | Upstr line nom rating | cl 250 |  |
| 023b | Upstr line nom rating | cl 300 |  |
| 023b | Upstr line nom rating | cl 400 |  |
| 023b | Upstr line nom rating | cl 600 |  |
| 023b | Upstr line nom rating | cl 75 |  |
| 023b | Upstr line nom rating | PN 10 |  |
| 023b | Upstr line nom rating | PN 100 |  |
| 023b | Upstr line nom rating | PN 150 |  |
| 023b | Upstr line nom rating | PN 16 |  |
| 023b | Upstr line nom rating | PN 2.5 |  |
| 023b | Upstr line nom rating | PN 20 |  |
| 023b | Upstr line nom rating | PN 25 |  |
| 023b | Upstr line nom rating | PN 250 |  |
| 023b | Upstr line nom rating | PN 40 |  |
| 023b | Upstr line nom rating | PN 50 |  |
| 023b | Upstr line nom rating | PN 6 |  |
| 024a | Upstr line conn type | clamped |  |
| 024a | Upstr line conn type | flanged |  |
| 024a | Upstr line conn type | flangeless |  |
| 024a | Upstr line conn type | flg adptr |  |
| 024a | Upstr line conn type | plain |  |
| 024a | Upstr line conn type | sep flg |  |
| 024a | Upstr line conn type | threaded |  |
| 024a | Upstr line conn type | welded |  |
| 024b | Upstr line termn style | 16A |  |
| 024b | Upstr line termn style | 16A w/nut |  |
| 024b | Upstr line termn style | 16AMP |  |
| 024b | Upstr line termn style | beveled |  |
| 024b | Upstr line termn style | boss |  |
| 024b | Upstr line termn style | BSP(F) |  |
| 024b | Upstr line termn style | BSPP |  |
| 024b | Upstr line termn style | bw |  |
| 024b | Upstr line termn style | cameron |  |
| 024b | Upstr line termn style | chiksan |  |
| 024b | Upstr line termn style | chiksan |  |
| 024b | Upstr line termn style | FF |  |
| 024b | Upstr line termn style | grayloc |  |
| 024b | Upstr line termn style | grooved |  |
| 024b | Upstr line termn style | hub |  |
| 024b | Upstr line termn style | LGE F |  |
| 024b | Upstr line termn style | LGE M |  |
| 024b | Upstr line termn style | LGE M&F |  |
| 024b | Upstr line termn style | LJ |  |
| 024b | Upstr line termn style | NA |  |
| 024b | Upstr line termn style | NPT(F) |  |
| 024b | Upstr line termn style | NPT(M) |  |
| 024b | Upstr line termn style | NPT-LH |  |
| 024b | Upstr line termn style | pancake |  |
| 024b | Upstr line termn style | RF |  |
| 024b | Upstr line termn style | RTJ |  |
| 024b | Upstr line termn style | SW(F) |  |
| 024b | Upstr line termn style | SW(M) |  |
| 024b | Upstr line termn style | T&G |  |
| 024b | Upstr line termn style | tri-Clamp |  |
| 024b | Upstr line termn style | VS |  |
| 024b | Upstr line termn style | weld-in |  |
| 024b | Upstr line termn style | WN |  |
| 025 | Upstr line material type | alloy steel | MATERIAL |
| 025 | Upstr line material type | aluminum | MATERIAL |
| 025 | Upstr line material type | carbon steel | MATERIAL |
| 025 | Upstr line material type | cobalt Alloy | MATERIAL |
| 025 | Upstr line material type | copper Alloy | MATERIAL |
| 025 | Upstr line material type | ductile Iron | MATERIAL |
| 025 | Upstr line material type | FRP | MATERIAL |
| 025 | Upstr line material type | iron (Cast) | MATERIAL |
| 025 | Upstr line material type | low temp Carbon steel | MATERIAL |
| 025 | Upstr line material type | monel | MATERIAL |
| 025 | Upstr line material type | monel | MATERIAL |
| 025 | Upstr line material type | NA | MATERIAL |
| 025 | Upstr line material type | nickel Alloy | MATERIAL |
| 025 | Upstr line material type | stainless Steel | MATERIAL |
| 025 | Upstr line material type | titanium | MATERIAL |
| 025 | Upstr line material type | zinc Alloy | MATERIAL |
| 026a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 026a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 026a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 026b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 026b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 026b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 026c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 026c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 026c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 026c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 026c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 026c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 026c | Inline hazardous area gr | G | AREA CLASSIFICATION (GROUP) |
| 026c | Inline hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 026c | Inline hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 026c | Inline hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 027a | Inline area min ign temp |  |  |
| 027au | Inline ign temp units | °C | UNITS |
| 027au | Inline ign temp units | °F | UNITS |
| 027au | Inline ign temp units | C | UNITS |
| 027au | Inline ign temp units | F | UNITS |
| 027b | Inline ign temp ident no | T1 |  |
| 027b | Inline ign temp ident no | T2 |  |
| 027b | Inline ign temp ident no | T2A |  |
| 027b | Inline ign temp ident no | T2B |  |
| 027b | Inline ign temp ident no | T2C |  |
| 027b | Inline ign temp ident no | T2D |  |
| 027b | Inline ign temp ident no | T3 |  |
| 027b | Inline ign temp ident no | T3A |  |
| 027b | Inline ign temp ident no | T3B |  |
| 027b | Inline ign temp ident no | T3C |  |
| 027b | Inline ign temp ident no | T4 |  |
| 027b | Inline ign temp ident no | T4A |  |
| 027b | Inline ign temp ident no | T5 |  |
| 027b | Inline ign temp ident no | T6 |  |
| 028 | Minimum inlet pressure |  |  |
| 028u | Max inlet pressure units | atm | UNITS |
| 028u | Max inlet pressure units | bar | UNITS |
| 028u | Max inlet pressure units | bar(g) | UNITS |
| 028u | Max inlet pressure units | ftH2O | UNITS |
| 028u | Max inlet pressure units | inH2O | UNITS |
| 028u | Max inlet pressure units | inHg | UNITS |
| 028u | Max inlet pressure units | kPa | UNITS |
| 028u | Max inlet pressure units | kPa(g) | UNITS |
| 028u | Max inlet pressure units | mmHg | UNITS |
| 028u | Max inlet pressure units | Pa | UNITS |
| 028u | Max inlet pressure units | Pa(g) | UNITS |
| 028u | Max inlet pressure units | psia | UNITS |
| 028u | Max inlet pressure units | psig | UNITS |
| 028u | Max inlet pressure units | psig | UNITS |
| 029 | Maximum inlet pressure |  |  |
| 029u | Max inlet pressure units | atm | UNITS |
| 029u | Max inlet pressure units | bar | UNITS |
| 029u | Max inlet pressure units | bar(g) | UNITS |
| 029u | Max inlet pressure units | ftH2O | UNITS |
| 029u | Max inlet pressure units | inH2O | UNITS |
| 029u | Max inlet pressure units | inHg | UNITS |
| 029u | Max inlet pressure units | kPa | UNITS |
| 029u | Max inlet pressure units | kPa(g) | UNITS |
| 029u | Max inlet pressure units | mmHg | UNITS |
| 029u | Max inlet pressure units | Pa | UNITS |
| 029u | Max inlet pressure units | Pa(g) | UNITS |
| 029u | Max inlet pressure units | psia | UNITS |
| 029u | Max inlet pressure units | psig | UNITS |
| 029u | Max inlet pressure units | psig | UNITS |
| 030 | Minimum temperature |  |  |
| 030u | Minimum temperature units | °C | UNITS |
| 030u | Minimum temperature units | °F | UNITS |
| 030u | Minimum temperature units | C | UNITS |
| 030u | Minimum temperature units | F | UNITS |
| 031 | Maximum temperature |  |  |
| 031u | Maximum temperature units | °C | UNITS |
| 031u | Maximum temperature units | °F | UNITS |
| 031u | Maximum temperature units | C | UNITS |
| 031u | Maximum temperature units | F | UNITS |
| 032 | Min liquid std flow rate |  |  |
| 032u | Min liquid std flow units | bbl/d | UNITS |
| 032u | Min liquid std flow units | galUS/h | UNITS |
| 032u | Min liquid std flow units | galUS/min | UNITS |
| 032u | Min liquid std flow units | L/d(std) | UNITS |
| 032u | Min liquid std flow units | L/s(std) | UNITS |
| 032u | Min liquid std flow units | m3/h | UNITS |
| 032u | Min liquid std flow units | m3/s | UNITS |
| 033 | Max liquid std flow rate |  |  |
| 033u | Max liquid std flow units | bbl/d | UNITS |
| 033u | Max liquid std flow units | galUS/h | UNITS |
| 033u | Max liquid std flow units | galUS/min | UNITS |
| 033u | Max liquid std flow units | L/d(std) | UNITS |
| 033u | Max liquid std flow units | L/s(std) | UNITS |
| 033u | Max liquid std flow units | m3/h | UNITS |
| 033u | Max liquid std flow units | m3/s | UNITS |
| 034 | Minimum liquid viscosity |  |  |
| 034u | Minimum viscosity units | cP | UNITS |
| 034u | Minimum viscosity units | cSt | UNITS |
| 034u | Minimum viscosity units | m2/s | UNITS |
| 034u | Minimum viscosity units | m³/s | UNITS |
| 034u | Minimum viscosity units | Pa.s | UNITS |
| 035 | Maximum liquid viscosity |  |  |
| 035u | Maximum viscosity units | cP | UNITS |
| 035u | Maximum viscosity units | cSt | UNITS |
| 035u | Maximum viscosity units | m2/s | UNITS |
| 035u | Maximum viscosity units | m³/s | UNITS |
| 035u | Maximum viscosity units | Pa.s | UNITS |
| 036 | Max pressure diff |  |  |
| 036u | Max pressure diff units | bar | UNITS |
| 036u | Max pressure diff units | ftH2O | UNITS |
| 036u | Max pressure diff units | inH2O | UNITS |
| 036u | Max pressure diff units | inHg | UNITS |
| 036u | Max pressure diff units | kPa | UNITS |
| 036u | Max pressure diff units | mmHg | UNITS |
| 036u | Max pressure diff units | Pa | UNITS |
| 036u | Max pressure diff units | psi | UNITS |
| 036u | Max pressure diff units | psia | UNITS |
| 036u | Max pressure diff units | psig | UNITS |
| 037 | Material name |  | MATERIAL |
| 038a | Matl density at ref temp |  |  |
| 038au | Density units | g/cm3 | UNITS |
| 038au | Density units | kg/m3 | UNITS |
| 038au | Density units | lb/ft3 | UNITS |
| 038au | Density units | lb/galUS | UNITS |
| 038b | Density ref temp |  |  |
| 038bu | Density ref temp units | °C | UNITS |
| 038bu | Density ref temp units | °F | UNITS |
| 038bu | Density ref temp units | C | UNITS |
| 038bu | Density ref temp units | F | UNITS |
| 039a | NFPA health hazard | 0 | HEALTH HAZARD RATING |
| 039a | NFPA health hazard | 1 | HEALTH HAZARD RATING |
| 039a | NFPA health hazard | 2 | HEALTH HAZARD RATING |
| 039a | NFPA health hazard | 3 | HEALTH HAZARD RATING |
| 039a | NFPA health hazard | 4 | HEALTH HAZARD RATING |
| 039b | NFPA flammability | 0 | FLAMMABILITY HAZARD RATING |
| 039b | NFPA flammability | 1 | FLAMMABILITY HAZARD RATING |
| 039b | NFPA flammability | 2 | FLAMMABILITY HAZARD RATING |
| 039b | NFPA flammability | 3 | FLAMMABILITY HAZARD RATING |
| 039b | NFPA flammability | 4 | FLAMMABILITY HAZARD RATING |
| 039c | NFPA reactivity | 0 | REACTIVITY HAZARD RATING |
| 039c | NFPA reactivity | 1 | REACTIVITY HAZARD RATING |
| 039c | NFPA reactivity | 2 | REACTIVITY HAZARD RATING |
| 039c | NFPA reactivity | 3 | REACTIVITY HAZARD RATING |
| 039c | NFPA reactivity | 4 | REACTIVITY HAZARD RATING |
| 040a | Defined attribute 1 name | contact | DEFINABLE ATTRIBUTE NAME |
| 040a | Defined attribute 1 name | equipment module | DEFINABLE ATTRIBUTE NAME |
| 040a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 040a | Defined attribute 1 name | production line | DEFINABLE ATTRIBUTE NAME |
| 040b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 041a | User defined attribute 1 name | NA |  |
| 041b | User defined attribute 1 value | NA |  |
| 042a | User defined attribute 2 name | NA |  |
| 042b | User defined attribute 2 value | NA |  |
| 043 | FLOWMETER BODY | SECTION TITLE |  |
| 044 | Body/Housing type | cast case design |  |
| 044 | Body/Housing type | double case |  |
| 044 | Body/Housing type | gauge taps housing |  |
| 044 | Body/Housing type | high pressure design |  |
| 044 | Body/Housing type | jacketed housing |  |
| 044 | Body/Housing type | jacketed housing & cover |  |
| 044 | Body/Housing type | sanitary |  |
| 044 | Body/Housing type | standard |  |
| 044 | Body/Housing type | steel case design |  |
| 044 | Body/Housing type | thermowell housing |  |
| 044 | Body/Housing type | thermowell jacket housing |  |
| 045a | Inlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 1 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 1/8 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 2 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 3 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 3/8 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 4 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 5/8 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 6 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | 8 in | NOMINAL SIZE |
| 045a | Inlet conn nominal size | DN 100 | NOMINAL SIZE |
| 045a | Inlet conn nominal size | DN 15 | NOMINAL SIZE |
| 045a | Inlet conn nominal size | DN 150 | NOMINAL SIZE |
| 045a | Inlet conn nominal size | DN 20 | NOMINAL SIZE |
| 045a | Inlet conn nominal size | DN 25 | NOMINAL SIZE |
| 045a | Inlet conn nominal size | DN 40 | NOMINAL SIZE |
| 045a | Inlet conn nominal size | DN 50 | NOMINAL SIZE |
| 045a | Inlet conn nominal size | DN 80 | NOMINAL SIZE |
| 045b | Inlet conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | PN 300 | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | PN 320 | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | PN 52 | NOMINAL PRESSURE/RATING |
| 045b | Inlet conn nominal rating | PN 64 | NOMINAL PRESSURE/RATING |
| 046a | Outlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 1 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 1/8 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 2 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 3 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 3/8 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 4 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 5/8 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 6 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | 8 in | NOMINAL SIZE |
| 046a | Outlet conn nominal size | DN 100 | NOMINAL SIZE |
| 046a | Outlet conn nominal size | DN 15 | NOMINAL SIZE |
| 046a | Outlet conn nominal size | DN 150 | NOMINAL SIZE |
| 046a | Outlet conn nominal size | DN 20 | NOMINAL SIZE |
| 046a | Outlet conn nominal size | DN 25 | NOMINAL SIZE |
| 046a | Outlet conn nominal size | DN 40 | NOMINAL SIZE |
| 046a | Outlet conn nominal size | DN 50 | NOMINAL SIZE |
| 046a | Outlet conn nominal size | DN 80 | NOMINAL SIZE |
| 046b | Outlet conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | PN 300 | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | PN 320 | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | PN 52 | NOMINAL PRESSURE/RATING |
| 046b | Outlet conn nominal rating | PN 64 | NOMINAL PRESSURE/RATING |
| 047a | End conn termn type | clamped | END CONNECTION TYPE |
| 047a | End conn termn type | flanged | END CONNECTION TYPE |
| 047a | End conn termn type | threaded | END CONNECTION TYPE |
| 047b | End conn termn style | brodie | END CONNECTION TYPE |
| 047b | End conn termn style | BSP(F) | END CONNECTION TYPE |
| 047b | End conn termn style | BSPP(F) | END CONNECTION TYPE |
| 047b | End conn termn style | companion | END CONNECTION TYPE |
| 047b | End conn termn style | coupling | END CONNECTION TYPE |
| 047b | End conn termn style | DIN 2501 | END CONNECTION TYPE |
| 047b | End conn termn style | DIN 2526 | END CONNECTION TYPE |
| 047b | End conn termn style | FF | END CONNECTION TYPE |
| 047b | End conn termn style | IMDA | END CONNECTION TYPE |
| 047b | End conn termn style | JIS | END CONNECTION TYPE |
| 047b | End conn termn style | LJ | END CONNECTION TYPE |
| 047b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 047b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 047b | End conn termn style | RF | END CONNECTION TYPE |
| 047b | End conn termn style | Tri-clamp | END CONNECTION TYPE |
| 047b | End conn termn style | Tri-clover | END CONNECTION TYPE |
| 048 | Flow direction/Mounting | bottom-to-top |  |
| 048 | Flow direction/Mounting | bottom-to-top, left conn |  |
| 048 | Flow direction/Mounting | bottom-to-top, right conn |  |
| 048 | Flow direction/Mounting | left-to-right |  |
| 048 | Flow direction/Mounting | left-to-right, lower conn |  |
| 048 | Flow direction/Mounting | left-to-right, upper conn |  |
| 048 | Flow direction/Mounting | right-to-left |  |
| 048 | Flow direction/Mounting | right-to-left, lower conn |  |
| 048 | Flow direction/Mounting | right-to-left, upper conn |  |
| 048 | Flow direction/Mounting | top-to-bottom |  |
| 048 | Flow direction/Mounting | top-to-bottom, left conn |  |
| 048 | Flow direction/Mounting | top-to-bottom, right conn |  |
| 049 | Body/Housing material | 316 SST | MATERIAL |
| 049 | Body/Housing material | 316L SST | MATERIAL |
| 049 | Body/Housing material | aluminum | MATERIAL |
| 049 | Body/Housing material | bronze | MATERIAL |
| 049 | Body/Housing material | carbon steel | MATERIAL |
| 049 | Body/Housing material | carbon steel,epoxy coated | MATERIAL |
| 049 | Body/Housing material | ductile iron | MATERIAL |
| 049 | Body/Housing material | epoxy coated steel | MATERIAL |
| 049 | Body/Housing material | PPS | MATERIAL |
| 049 | Body/Housing material | thermoplastic | MATERIAL |
| 050 | Cap/End cover material | 316 SST | MATERIAL |
| 050 | Cap/End cover material | aluminum | MATERIAL |
| 050 | Cap/End cover material | bronze | MATERIAL |
| 050 | Cap/End cover material | NA | MATERIAL |
| 050 | Cap/End cover material | PPS | MATERIAL |
| 051 | Seal/O ring material | buna N | MATERIAL |
| 051 | Seal/O ring material | EPDM | MATERIAL |
| 051 | Seal/O ring material | EPR | MATERIAL |
| 051 | Seal/O ring material | Kalrez | MATERIAL |
| 051 | Seal/O ring material | NA | MATERIAL |
| 051 | Seal/O ring material | nitrile | MATERIAL |
| 051 | Seal/O ring material | silicone | MATERIAL |
| 051 | Seal/O ring material | teflon encapsulated viton | MATERIAL |
| 051 | Seal/O ring material | Teflon | MATERIAL |
| 051 | Seal/O ring material | Viton | MATERIAL |
| 051 | Seal/O ring material | Viton /PFA | MATERIAL |
| 052a | Defined attribute 1 name | Coupling tailpiece | DEFINABLE ATTRIBUTE NAME |
| 052a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 052b | Defined attribute 1 data | 1 1/4 in x 1 in | DEFINABLE ATTRIBUTE VALUE |
| 052b | Defined attribute 1 data | 1 in x 3/4 in | DEFINABLE ATTRIBUTE VALUE |
| 052b | Defined attribute 1 data | 3/4 in x 1/2 in | DEFINABLE ATTRIBUTE VALUE |
| 052b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 053a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 053a | Defined attribute 2 name | Partition material | DEFINABLE ATTRIBUTE NAME |
| 053b | Defined attribute 2 data | 316L SST | DEFINABLE ATTRIBUTE VALUE |
| 053b | Defined attribute 2 data | ceramic | DEFINABLE ATTRIBUTE VALUE |
| 053b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 054 | MEASURING CHAMBER | SECTION TITLE |  |
| 055 | Displacement element type | double helical impellers |  |
| 055 | Displacement element type | multi-piston |  |
| 055 | Displacement element type | nutating disc |  |
| 055 | Displacement element type | oscillating piston |  |
| 055 | Displacement element type | oval gear |  |
| 055 | Displacement element type | roots |  |
| 055 | Displacement element type | rotating impellers |  |
| 055 | Displacement element type | sliding vanes |  |
| 055 | Displacement element type | spiral fluted rotors |  |
| 055 | Displacement element type | tri-rotors |  |
| 056 | Construction style | high temp, high viscosity |  |
| 056 | Construction style | high temperature |  |
| 056 | Construction style | high viscosity |  |
| 056 | Construction style | low temperature |  |
| 056 | Construction style | standard |  |
| 057 | Nominal meter size | 1 1/2 inch |  |
| 057 | Nominal meter size | 1 inch |  |
| 057 | Nominal meter size | 1/2 inch |  |
| 057 | Nominal meter size | 100 gpm |  |
| 057 | Nominal meter size | 1000 gpm |  |
| 057 | Nominal meter size | 1325 L/min |  |
| 057 | Nominal meter size | 150 gpm |  |
| 057 | Nominal meter size | 1700 L/min |  |
| 057 | Nominal meter size | 2 inch |  |
| 057 | Nominal meter size | 200 gpm |  |
| 057 | Nominal meter size | 2271 L/min |  |
| 057 | Nominal meter size | 2650 L/min |  |
| 057 | Nominal meter size | 2650 L/min |  |
| 057 | Nominal meter size | 30 gpm |  |
| 057 | Nominal meter size | 300 gpm |  |
| 057 | Nominal meter size | 3000 L/min |  |
| 057 | Nominal meter size | 350 gpm |  |
| 057 | Nominal meter size | 3785 L/min |  |
| 057 | Nominal meter size | 3785 L/min |  |
| 057 | Nominal meter size | 380 L/min |  |
| 057 | Nominal meter size | 450 gpm |  |
| 057 | Nominal meter size | 60 gpm |  |
| 057 | Nominal meter size | 600 gpm |  |
| 057 | Nominal meter size | 700 gpm |  |
| 057 | Nominal meter size | 760 L/min |  |
| 057 | Nominal meter size | 800 gpm |  |
| 058 | Sensor style | hall effect switch |  |
| 058 | Sensor style | NA |  |
| 058 | Sensor style | proximity switch |  |
| 058 | Sensor style | reed switch |  |
| 058 | Sensor style | slot initiator DIN 19234 |  |
| 059 | Displacement element matl | 316 SST | MATERIAL |
| 059 | Displacement element matl | aliminum | MATERIAL |
| 059 | Displacement element matl | carbon-filled teflon | MATERIAL |
| 059 | Displacement element matl | cast iron | MATERIAL |
| 059 | Displacement element matl | Kynar | MATERIAL |
| 059 | Displacement element matl | liquid crystal polymer | MATERIAL |
| 059 | Displacement element matl | PEEK | MATERIAL |
| 059 | Displacement element matl | PPS | MATERIAL |
| 059 | Displacement element matl | Ryton | MATERIAL |
| 059 | Displacement element matl | SAN | MATERIAL |
| 059 | Displacement element matl | ultem | MATERIAL |
| 059 | Displacement element matl | Ultem | MATERIAL |
| 060 | Measuring chamber matl | alloy 20 | MATERIAL |
| 060 | Measuring chamber matl | aluminum | MATERIAL |
| 060 | Measuring chamber matl | liquid crystal polymer | MATERIAL |
| 060 | Measuring chamber matl | NA | MATERIAL |
| 060 | Measuring chamber matl | Noryl | MATERIAL |
| 061 | Bearing/Bushing matl | black rulon | MATERIAL |
| 061 | Bearing/Bushing matl | carbon | MATERIAL |
| 061 | Bearing/Bushing matl | carbon filled teflon | MATERIAL |
| 061 | Bearing/Bushing matl | carbon/ceramic | MATERIAL |
| 061 | Bearing/Bushing matl | NA | MATERIAL |
| 061 | Bearing/Bushing matl | Ni-Resist | MATERIAL |
| 061 | Bearing/Bushing matl | PEEK | MATERIAL |
| 061 | Bearing/Bushing matl | PPS | MATERIAL |
| 061 | Bearing/Bushing matl | Waukesha | MATERIAL |
| 061 | Bearing/Bushing matl | white rulon | MATERIAL |
| 062 | Shaft material | 316 SST | MATERIAL |
| 062 | Shaft material | chrome plated | MATERIAL |
| 062 | Shaft material | ETD 150 | MATERIAL |
| 062 | Shaft material | hastelloy C | MATERIAL |
| 062 | Shaft material | NA | MATERIAL |
| 063a | Defined attribute 1 name | Integral screen | DEFINABLE ATTRIBUTE NAME |
| 063a | Defined attribute 1 name | Magnet casing | DEFINABLE ATTRIBUTE NAME |
| 063a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 063b | Defined attribute 1 data | alloy 20 | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | Nylon | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | polypropylene material | DEFINABLE ATTRIBUTE VALUE |
| 063a | Defined attribute 1 name | Control roller | DEFINABLE ATTRIBUTE NAME |
| 063a | Defined attribute 1name | NA | DEFINABLE ATTRIBUTE NAME |
| 063b | Defined attribute 1 data | alloy 20 | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 064 | DRIVE TRAIN AND ADJUSTER | SECTION TITLE |  |
| 065 | Drive type | gear train |  |
| 065 | Drive type | magnetic transmission |  |
| 065 | Drive type | NA |  |
| 066 | Accuracy adjuster type | calibration constants |  |
| 066 | Accuracy adjuster type | change gears |  |
| 066 | Accuracy adjuster type | mechanical adjuster |  |
| 066 | Accuracy adjuster type | NA |  |
| 067 | Temp compensation type | automatic |  |
| 067 | Temp compensation type | fluid-filled capillary |  |
| 067 | Temp compensation type | NA |  |
| 068a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070 | REGISTER OR TOTALIZER | SECTION TITLE |  |
| 071 | Register/Totalizer type | electronic register |  |
| 071 | Register/Totalizer type | mechanical register |  |
| 072 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 072 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 072 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 072 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 072 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 072 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 073 | Signal power source | 10-30 V(dc) |  |
| 073 | Signal power source | 12-24 V(dc) |  |
| 073 | Signal power source | 5-24 V(dc) |  |
| 073 | Signal power source | 8-30 V(dc) |  |
| 073 | Signal power source | lithium battery |  |
| 073 | Signal power source | NA |  |
| 074 | Totalizer reset style | NA |  |
| 074 | Totalizer reset style | non-resetable total |  |
| 074 | Totalizer reset style | resetable total |  |
| 075 | Integral indicator style | 5 digit LCD |  |
| 075 | Integral indicator style | 6 & 7 digit LCD |  |
| 075 | Integral indicator style | 6 digit LCD |  |
| 075 | Integral indicator style | 6 wheels & sweep hand |  |
| 075 | Integral indicator style | 7 & 11 digit LCD |  |
| 075 | Integral indicator style | 7 digit LCD |  |
| 075 | Integral indicator style | 8 digit LCD |  |
| 075 | Integral indicator style | large dial w/ 1/10 units |  |
| 075 | Integral indicator style | large dial whole units |  |
| 075 | Integral indicator style | NA |  |
| 076 | Cert/Approval type | CE marked | CERTIFICATION |
| 076 | Cert/Approval type | NA | CERTIFICATION |
| 077 | Mounting location/type | integral | MOUNTING POSITION |
| 077 | Mounting location/type | panel mount | MOUNTING POSITION |
| 077 | Mounting location/type | pipe mount | MOUNTING POSITION |
| 077 | Mounting location/type | wall mount | MOUNTING POSITION |
| 078 | Enclosure material | glass filled nylon | MATERIAL |
| 078 | Enclosure material | thermoplastic | MATERIAL |
| 079a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 079a | Defined attribute 1 name | Resister extension | DEFINABLE ATTRIBUTE NAME |
| 079b | Defined attribute 1 data | 7.5 in | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 080a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 080b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 081 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 082 | Max press at design temp |  | PRESSURE |
| 082au | Design pressure units | bar(g) | UNITS |
| 082au | Design pressure units | kPa | UNITS |
| 082au | Design pressure units | psig | UNITS |
| 082b | Max design temperature |  | DESIGN TEMPERATURE |
| 082bu | Design temperature units | °C | UNITS |
| 082bu | Design temperature units | °F | UNITS |
| 082bu | Design temperature units | C | UNITS |
| 082bu | Design temperature units | F | UNITS |
| 083a | Min working temperature |  | WORKING TEMPERATURE |
| 083au | Min working temp units | °C | UNITS |
| 083au | Min working temp units | °F | UNITS |
| 083au | Min working temp units | C | UNITS |
| 083au | Min working temp units | F | UNITS |
| 083b | Max working temperature |  | WORKING TEMPERATURE |
| 083bu | Max working temp units | °C | UNITS |
| 083bu | Max working temp units | °F | UNITS |
| 083bu | Max working temp units | C | UNITS |
| 083bu | Max working temp units | F | UNITS |
| 084 | Max viscosity limit | 1000 |  |
| 084 | Max viscosity limit | 10000 |  |
| 084 | Max viscosity limit | 1000000 |  |
| 084u | Max viscosity limit units | cP | UNITS |
| 085a | Accuracy rating | 0.15 | ACCURACY RATING |
| 085a | Accuracy rating | 0.25 | ACCURACY RATING |
| 085a | Accuracy rating | 0.3 | ACCURACY RATING |
| 085a | Accuracy rating | 0.5 | ACCURACY RATING |
| 085a | Accuracy rating | 1.0 | ACCURACY RATING |
| 085a | Accuracy rating | 1.5 | ACCURACY RATING |
| 085b | Accuracy rating ref base | % actual value | ACCURACY REFERENCE |
| 085b | Accuracy rating ref base | % rate | ACCURACY REFERENCE |
| 085b | Accuracy rating ref base | % reading | ACCURACY REFERENCE |
| 086a | Repeatability | 0.03 |  |
| 086a | Repeatability | 0.05 |  |
| 086a | Repeatability | 0.1 |  |
| 086a | Repeatability | 0.2 |  |
| 086a | Repeatability | 0.24 |  |
| 086a | Repeatability | 0.5 |  |
| 086b | Repeatability ref | % |  |
| 087a | Flow rate LRL |  | LOWER RANGE-LIMIT |
| 087au | Flow rate LRL units | bbl/h | UNITS |
| 087au | Flow rate LRL units | galUS/h | UNITS |
| 087au | Flow rate LRL units | galUS/min | UNITS |
| 087au | Flow rate LRL units | l/h | UNITS |
| 087au | Flow rate LRL units | l/min | UNITS |
| 087au | Flow rate LRL units | m3/h | UNITS |
| 087au | Flow rate LRL units | m3/s | UNITS |
| 087b | Flow rate URL |  |  |
| 087bu | Flow rate URL units | bbl/h | UNITS |
| 087bu | Flow rate URL units | galUS/h | UNITS |
| 087bu | Flow rate URL units | galUS/min | UNITS |
| 087bu | Flow rate URL units | l/h | UNITS |
| 087bu | Flow rate URL units | l/min | UNITS |
| 087bu | Flow rate URL units | m3/h | UNITS |
| 087bu | Flow rate URL units | m3/s | UNITS |
| 088 | Recommended filter size | 0.05 mm |  |
| 088 | Recommended filter size | 0.100 mm |  |
| 088 | Recommended filter size | 0.250 mm |  |
| 088 | Recommended filter size | 0.400 mm |  |
| 088 | Recommended filter size | 0.600 mm |  |
| 088 | Recommended filter size | 100 mesh |  |
| 088 | Recommended filter size | 150 micron |  |
| 088 | Recommended filter size | 200 mesh |  |
| 088 | Recommended filter size | 250 micron |  |
| 088 | Recommended filter size | 280 mesh |  |
| 088 | Recommended filter size | 40 mesh |  |
| 088 | Recommended filter size | 50 mesh |  |
| 088 | Recommended filter size | 60 mesh |  |
| 088 | Recommended filter size | 80 mesh |  |
| 089 | Pressure drop at URL |  |  |
| 089u | Pressure drop units | bar | UNITS |
| 089u | Pressure drop units | psi | UNITS |
| 090a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 090au | Min amb temperature units | °C | UNITS |
| 090au | Min amb temperature units | °F | UNITS |
| 090au | Min amb temperature units | C | UNITS |
| 090au | Min amb temperature units | F | UNITS |
| 090b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 090bu | Max amb temperature units | °C | UNITS |
| 090bu | Max amb temperature units | °F | UNITS |
| 090bu | Max amb temperature units | C | UNITS |
| 090bu | Max amb temperature units | F | UNITS |
| 091 | Max sensor to receiver lg | 5000 |  |
| 091u | Sensor to receiver lg units | ft | UNITS |
| 091u | Sensor to receiver lg units | m | UNITS |
| 092a | Defined attribute 1 name | Minimum back pressure | DEFINABLE ATTRIBUTE NAME |
| 092a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093a | Defined attribute 2 name | Max press diff limit | DEFINABLE ATTRIBUTE NAME |
| 093a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 093b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 094 | ACCESSORIES | SECTION TITLE |  |
| 095 | Strainer | 60 mesh |  |
| 095 | Strainer | NA |  |
| 096 | Air/Vapor eliminator | bulk plant, carbon steel |  |
| 096 | Air/Vapor eliminator | integral, aluminum |  |
| 096 | Air/Vapor eliminator | integral, aluminum HP |  |
| 096 | Air/Vapor eliminator | integral, carbon steel |  |
| 096 | Air/Vapor eliminator | integral, cast iron |  |
| 096 | Air/Vapor eliminator | integral, stainless steel |  |
| 096 | Air/Vapor eliminator | NA |  |
| 097a | Defined attribute 1 name | Air/Vapor eliminator |  |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 100 | Custom tag | fiber tag |  |
| 100 | Custom tag | NA |  |
| 100 | Custom tag | sst permanent attached |  |
| 100 | Custom tag | sst wired-on |  |
| 101 | Reference specification | NA | REFERENCE SPECIFICATION |
| 102 | Compliance standard | 3-A sanitary standard | NACE STANDARD |
| 102 | Compliance standard | ANSI/NSF Standard 61 | NACE STANDARD |
| 102 | Compliance standard | AWWA C700-90 | NACE STANDARD |
| 102 | Compliance standard | AWWA C710-90 | NACE STANDARD |
| 102 | Compliance standard | NA | NACE STANDARD |
| 102 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 102 | Compliance standard | NFPA 58, UL 25 | NACE STANDARD |
| 102 | Compliance standard | NIST handbook 44 | NACE STANDARD |
| 102 | Compliance standard | NTEP (USA) | NACE STANDARD |
| 102 | Compliance standard | USDA standard | NACE STANDARD |
| 102 | Compliance standard | USPHS standard | NACE STANDARD |
| 103 | Calibration report | custody transfer |  |
| 103 | Calibration report | NA |  |
| 103 | Calibration report | standard factory accuracy |  |
| 104 | Material certificate | NA | MATERIAL |
| 105 | Service design | acid pH liquids |  |
| 105 | Service design | aviation anf jet fuel |  |
| 105 | Service design | chlorinated solvents |  |
| 105 | Service design | clean-in-place |  |
| 105 | Service design | crude oil |  |
| 105 | Service design | differential measurement |  |
| 105 | Service design | general solvents |  |
| 105 | Service design | liquid propane gas |  |
| 105 | Service design | NA |  |
| 105 | Service design | petroleum products |  |
| 105 | Service design | sodium hydroxide solution |  |
| 105 | Service design | truck meter |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108 | PHYSICAL DATA | SECTION TITLE |  |
| 109 | Estimated weight |  |  |
| 109u | Weight units | kg | UNITS |
| 109u | Weight units | lb | UNITS |
| 110 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 110u | Face-to-face dim units | in | UNITS |
| 110u | Face-to-face dim units | mm | UNITS |
| 111 | Overall height |  |  |
| 111u | Overall height units | in | UNITS |
| 111u | Overall height units | mm | UNITS |
| 112 | Removal clearance |  |  |
| 112u | Removal clearance units | in | UNITS |
| 112u | Removal clearance units | mm | UNITS |
| 113a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 113a | Signal conn nominal size | M20 | NOMINAL SIZE |
| 113b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 114 | Mfr reference dwg | NA |  |
| 115a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 115b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 116a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 116b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 117 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 119a | Accum total flow tag |  |  |
| 119b | Volume-Accum total scale | CALIBRATION/TEST DESC |  |
| 119c | Volume Lower Range-Value | 0 |  |
| 119cu | Volume LRV units | bbl | UNITS |
| 119cu | Volume LRV units | ft3 | UNITS |
| 119cu | Volume LRV units | gal | UNITS |
| 119cu | Volume LRV units | galUK | UNITS |
| 119cu | Volume LRV units | galUS | UNITS |
| 119cu | Volume LRV units | kg | UNITS |
| 119cu | Volume LRV units | l | UNITS |
| 119cu | Volume LRV units | lb | UNITS |
| 119cu | Volume LRV units | m3 | UNITS |
| 119cu | Volume LRV units | ml | UNITS |
| 119cu | Volume LRV units | pint | UNITS |
| 119cu | Volume LRV units | quart | UNITS |
| 119cu | Volume LRV units | ug | UNITS |
| 119d | Volume Upper Range-Value |  |  |
| 119du | Volume URV units | bbl | UNITS |
| 119du | Volume URV units | ft3 | UNITS |
| 119du | Volume URV units | gal | UNITS |
| 119du | Volume URV units | galUK | UNITS |
| 119du | Volume URV units | galUS | UNITS |
| 119du | Volume URV units | kg | UNITS |
| 119du | Volume URV units | l | UNITS |
| 119du | Volume URV units | lb | UNITS |
| 119du | Volume URV units | m3 | UNITS |
| 119du | Volume URV units | ml | UNITS |
| 119du | Volume URV units | pint | UNITS |
| 119du | Volume URV units | quart | UNITS |
| 119du | Volume URV units | ug | UNITS |
| 119e | Accum totalized LRV | 0 | LOWER RANGE-VALUE |
| 119eu | Accum totalized LRV units | bbl | UNITS |
| 119eu | Accum totalized LRV units | ft3 | UNITS |
| 119eu | Accum totalized LRV units | gal | UNITS |
| 119eu | Accum totalized LRV units | galUK | UNITS |
| 119eu | Accum totalized LRV units | galUS | UNITS |
| 119eu | Accum totalized LRV units | kg | UNITS |
| 119eu | Accum totalized LRV units | l | UNITS |
| 119eu | Accum totalized LRV units | lb | UNITS |
| 119eu | Accum totalized LRV units | m3 | UNITS |
| 119f | Accum totalized URV |  | UPPER RANGE-VALUE |
| 119fu | Accum totalized URV units | bbl | UNITS |
| 119fu | Accum totalized URV units | ft3 | UNITS |
| 119fu | Accum totalized URV units | gal | UNITS |
| 119fu | Accum totalized URV units | galUK | UNITS |
| 119fu | Accum totalized URV units | galUS | UNITS |
| 119fu | Accum totalized URV units | kg | UNITS |
| 119fu | Accum totalized URV units | l | UNITS |
| 119fu | Accum totalized URV units | lb | UNITS |
| 119fu | Accum totalized URV units | m3 | UNITS |
| 119g | Accum totalized factor | 1 |  |
| 119g | Accum totalized factor | 10 |  |
| 120a | Totalized flow tag |  |  |
| 120b | Volume-Totalized scale | CALIBRATION/TEST DESC |  |
| 120c | Volume Lower Range-Value | 0 |  |
| 120cu | Volume LRV units |  | UNITS |
| 120cu | Volume LRV units | ft3 | UNITS |
| 120cu | Volume LRV units | gal | UNITS |
| 120cu | Volume LRV units | galUK | UNITS |
| 120cu | Volume LRV units | galUS | UNITS |
| 120cu | Volume LRV units | kg | UNITS |
| 120cu | Volume LRV units | l | UNITS |
| 120cu | Volume LRV units | lb | UNITS |
| 120cu | Volume LRV units | m3 | UNITS |
| 120cu | Volume LRV units | ml | UNITS |
| 120cu | Volume LRV units | pint | UNITS |
| 120cu | Volume LRV units | quart | UNITS |
| 120cu | Volume LRV units | ug | UNITS |
| 120d | Volume Upper Range-Value |  |  |
| 120du | Volume URV units |  | UNITS |
| 120du | Volume URV units | bbl | UNITS |
| 120du | Volume URV units | ft3 | UNITS |
| 120du | Volume URV units | gal | UNITS |
| 120du | Volume URV units | galUK | UNITS |
| 120du | Volume URV units | galUS | UNITS |
| 120du | Volume URV units | kg | UNITS |
| 120du | Volume URV units | l | UNITS |
| 120du | Volume URV units | lb | UNITS |
| 120du | Volume URV units | m3 | UNITS |
| 120du | Volume URV units | ml | UNITS |
| 120du | Volume URV units | pint | UNITS |
| 120du | Volume URV units | quart | UNITS |
| 120du | Volume URV units | ug | UNITS |
| 120e | Totalized LRV |  | LOWER RANGE-VALUE |
| 120eu | Totalized LRV units | bbl | UNITS |
| 120eu | Totalized LRV units | ft3 | UNITS |
| 120eu | Totalized LRV units | gal | UNITS |
| 120eu | Totalized LRV units | galUK | UNITS |
| 120eu | Totalized LRV units | galUS | UNITS |
| 120eu | Totalized LRV units | kg | UNITS |
| 120eu | Totalized LRV units | l | UNITS |
| 120eu | Totalized LRV units | lb | UNITS |
| 120eu | Totalized LRV units | m3 | UNITS |
| 120eu | Totalized LRV units | ml | UNITS |
| 120eu | Totalized LRV units | pint | UNITS |
| 120eu | Totalized LRV units | quart | UNITS |
| 120eu | Totalized LRV units | ug | UNITS |
| 120f | Totalized URV |  | UPPER RANGE-VALUE |
| 120fu | Totalized URV units | bbl | UNITS |
| 120fu | Totalized URV units | ft3 | UNITS |
| 120fu | Totalized URV units | gal | UNITS |
| 120fu | Totalized URV units | galUK | UNITS |
| 120fu | Totalized URV units | galUS | UNITS |
| 120fu | Totalized URV units | kg | UNITS |
| 120fu | Totalized URV units | l | UNITS |
| 120fu | Totalized URV units | lb | UNITS |
| 120fu | Totalized URV units | m3 | UNITS |
| 120fu | Totalized URV units | ml | UNITS |
| 120fu | Totalized URV units | pint | UNITS |
| 120fu | Totalized URV units | quart | UNITS |
| 120fu | Totalized URV units | ug | UNITS |
| 120g | Totalized factor | 1 |  |
| 120g | Totalized factor | 10 |  |
| 121a | Flow rate tag |  |  |
| 121b | Flow rate-scale | CALIBRATION/TEST DESC |  |
| 121c | Flow rate Lower Range-Value |  |  |
| 121cu | Flow rate LRL units | bbl/h | UNITS |
| 121cu | Flow rate LRL units | galUS/h | UNITS |
| 121cu | Flow rate LRL units | galUS/min | UNITS |
| 121cu | Flow rate LRL units | l/h | UNITS |
| 121cu | Flow rate LRL units | l/min | UNITS |
| 121cu | Flow rate LRL units | m3/h | UNITS |
| 121d | Flow rate Upper Range-Value |  |  |
| 121du | Flow rate URV units | bbl/h | UNITS |
| 121du | Flow rate URV units | galUS/h | UNITS |
| 121du | Flow rate URV units | galUS/min | UNITS |
| 121du | Flow rate URV units | l/h | UNITS |
| 121du | Flow rate URV units | l/min | UNITS |
| 121du | Flow rate URV units | m3/h | UNITS |
| 121e | Flow scale Lower Range-Value |  |  |
| 121eu | Flow scale LRV units | bbl/h | UNITS |
| 121eu | Flow scale LRV units | galUS/h | UNITS |
| 121eu | Flow scale LRV units | galUS/min | UNITS |
| 121eu | Flow scale LRV units | l/h | UNITS |
| 121eu | Flow scale LRV units | l/min | UNITS |
| 121eu | Flow scale LRV units | m3/h | UNITS |
| 121f | Flow scale Upper Range-Value |  |  |
| 121fu | Flow scale URV units | bbl/h | UNITS |
| 121fu | Flow scale URV units | galUS/h | UNITS |
| 121fu | Flow scale URV units | galUS/min | UNITS |
| 121fu | Flow scale URV units | l/h | UNITS |
| 121fu | Flow scale URV units | l/min | UNITS |
| 121fu | Flow scale URV units | m3/h | UNITS |
| 122a | Attribute tag no |  |  |
| 122b | Attribute cal/test descp | CALIBRATION/TEST DESC |  |
| 122c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 122cu | Attr cal/test LRV units |  | UNITS |
| 122d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 122du | Attr cal/test URV units |  | UNITS |
| 122e | Attribute output LRV |  | LOWER RANGE-VALUE |
| 122eu | Attr output LRV units |  | UNITS |
| 122f | Attribute output URV |  | UPPER RANGE-VALUE |
| 122fu | Attr output URV units |  | UNITS |
| 123 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 125a | Component type | nutating disc meter |  |
| 125a | Component type | oscillating piston meter |  |
| 125a | Component type | oval gear flowmeter |  |
| 125a | Component type | sliding vane flow meter |  |
| 125b | Manufacturer |  | MANUFACTURER |
| 125c | Model number |  | MODEL NUMBER |
| 126a | Component type |  |  |
| 126b | Manufacturer |  | MANUFACTURER |
| 126c | Model number |  | MODEL NUMBER |
| 126c | Model number |  | MODEL NUMBER |
| 127a | Component type |  |  |
| 127b | Manufacturer |  | MANUFACTURER |
| 127c | Model number |  | MODEL NUMBER |
| 128a | Component type |  |  |
| 128b | Manufacturer |  | MANUFACTURER |