| Pick list 20F2081 Segmental Wedge Flow Element |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | BODY OR TUBE | SECTION TITLE |  |
| 012 | Body/Tube type | chemical tee tube |  |
| 012 | Body/Tube type | pipe tap body |  |
| 012 | Body/Tube type | tube with presure taps |  |
| 013a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 10 in | NOMINAL SIZE |
| 013a | End conn nominal size | 12 in | NOMINAL SIZE |
| 013a | End conn nominal size | 14 in | NOMINAL SIZE |
| 013a | End conn nominal size | 16 in | NOMINAL SIZE |
| 013a | End conn nominal size | 18 in | NOMINAL SIZE |
| 013a | End conn nominal size | 2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 20 in | NOMINAL SIZE |
| 013a | End conn nominal size | 24 in | NOMINAL SIZE |
| 013a | End conn nominal size | 26 in | NOMINAL SIZE |
| 013a | End conn nominal size | 28 in | NOMINAL SIZE |
| 013a | End conn nominal size | 3 in | NOMINAL SIZE |
| 013a | End conn nominal size | 30 in | NOMINAL SIZE |
| 013a | End conn nominal size | 32 in | NOMINAL SIZE |
| 013a | End conn nominal size | 34 in | NOMINAL SIZE |
| 013a | End conn nominal size | 36 in | NOMINAL SIZE |
| 013a | End conn nominal size | 38 in | NOMINAL SIZE |
| 013a | End conn nominal size | 4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 40 in | NOMINAL SIZE |
| 013a | End conn nominal size | 42 in | NOMINAL SIZE |
| 013a | End conn nominal size | 44 in | NOMINAL SIZE |
| 013a | End conn nominal size | 46 in | NOMINAL SIZE |
| 013a | End conn nominal size | 48 in | NOMINAL SIZE |
| 013a | End conn nominal size | 6 in | NOMINAL SIZE |
| 013a | End conn nominal size | 8 in | NOMINAL SIZE |
| 013b | End conn nominal rating | CL 150 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | CL 300 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | CL 600 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | CL 900 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 014a | End conn termn type | SO flanged | END CONNECTION TYPE |
| 014a | End conn termn type | threaded | END CONNECTION TYPE |
| 014a | End conn termn type | wafer | END CONNECTION TYPE |
| 014a | End conn termn type | welded | END CONNECTION TYPE |
| 014a | End conn termn type | WN flanged | END CONNECTION TYPE |
| 014b | End conn termn style | BW | END CONNECTION TYPE |
| 014b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | End conn termn style | RF | END CONNECTION TYPE |
| 015 | Pipe schedule no | 10 | NOMINAL WALL THICKNESS |
| 015 | Pipe schedule no | 40 | NOMINAL WALL THICKNESS |
| 015 | Pipe schedule no | 60 | NOMINAL WALL THICKNESS |
| 015 | Pipe schedule no | 80 | NOMINAL WALL THICKNESS |
| 015 | Pipe schedule no | STD | NOMINAL WALL THICKNESS |
| 015 | Pipe schedule no | XS | NOMINAL WALL THICKNESS |
| 016 | Pressure tap quantity | 2 |  |
| 016 | Pressure tap quantity | 4 |  |
| 016a | Press tap conn nom size | 1/4 in | NOMINAL SIZE |
| 017a | Press tap conn nom size | 1/2 in | NOMINAL SIZE |
| 017a | Press tap conn nom size | 3 in | NOMINAL SIZE |
| 017a | Press tap conn nom size | 3/8 in | NOMINAL SIZE |
| 017b | Press tap conn nom rating | cl 150 |  |
| 017b | Press tap conn nom rating | cl 300 |  |
| 017b | Press tap conn nom rating | cl 600 |  |
| 017b | Press tap conn nom rating | cl 900 |  |
| 017b | Press tap conn nom rating | NA |  |
| 018a | Press tap conn term type | threaded |  |
| 018a | Press tap conn term type | WN flanged |  |
| 018b | Press tap conn style | chem tee | PRESSURE TAP |
| 018b | Press tap conn style | NPT(F) | PRESSURE TAP |
| 018b | Press tap conn style | RF | PRESSURE TAP |
| 019a | Temp tap conn nom size | 1/2 in |  |
| 019a | Temp tap conn nom size | 3/4 in |  |
| 019a | Temp tap conn nom size | 3/4 in |  |
| 019b | Temp tap conn nom rating | CL 150 | NOMINAL PRESSURE/RATING |
| 019b | Temp tap conn nom rating | CL 300 | NOMINAL PRESSURE/RATING |
| 019b | Temp tap conn nom rating | CL 600 | NOMINAL PRESSURE/RATING |
| 019b | Temp tap conn nom rating | CL 900 | NOMINAL PRESSURE/RATING |
| 019b | Temp tap conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 020a | Temp tap conn termn type | flanged |  |
| 020a | Temp tap conn termn type | threaded |  |
| 020b | Temp tap conn termn style | NPT(F) |  |
| 020b | Temp tap conn termn style | RF |  |
| 021 | Tube material | 316 SST | MATERIAL |
| 021 | Tube material | 316L SST | MATERIAL |
| 021 | Tube material | carbon steel | MATERIAL |
| 021 | Tube material | hastelloy C | MATERIAL |
| 021 | Tube material | monel | MATERIAL |
| 021 | Tube material | Monel® | MATERIAL |
| 022 | Flange material | 316 SST | MATERIAL |
| 022 | Flange material | 316L SST | MATERIAL |
| 022 | Flange material | carbon steel | MATERIAL |
| 022 | Flange material | hastelloy C | MATERIAL |
| 022 | Flange material | monel | MATERIAL |
| 022 | Flange material | Monel® | MATERIAL |
| 023 | Gasket material | graphite | MATERIAL |
| 023 | Gasket material | NA | MATERIAL |
| 024a | Defined attribute 1 name | Lifting lugs material | DEFINABLE ATTRIBUTE NAME |
| 024a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 1 data | 316 SST | DEFINABLE ATTRIBUTE VALUE |
| 024b | Defined attribute 1 data | carbon steel | DEFINABLE ATTRIBUTE VALUE |
| 024b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 025a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 025b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 026b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 027 | INTERNAL COMPONENTS | SECTION TITLE |  |
| 028 | Element type | solid welge |  |
| 028 | Element type | wedge plates |  |
| 029 | H/D ratio | 0.2 | BETA RATIO |
| 029 | H/D ratio | 0.3 | BETA RATIO |
| 029 | H/D ratio | 0.4 | BETA RATIO |
| 029 | H/D ratio | 0.5 | BETA RATIO |
| 029 | H/D ratio | 0.6 | BETA RATIO |
| 029 | H/D ratio | 0.7 | BETA RATIO |
| 030 | Wedge restrictor matl | 316 SST | MATERIAL |
| 030 | Wedge restrictor matl | 316L SST | MATERIAL |
| 030 | Wedge restrictor matl | carbon steel | MATERIAL |
| 030 | Wedge restrictor matl | hastelloy C276 | MATERIAL |
| 030 | Wedge restrictor matl | monel | MATERIAL |
| 030 | Wedge restrictor matl | Monel® | MATERIAL |
| 030 | Wedge restrictor matl | NA | MATERIAL |
| 031a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 032a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 032b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 033a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 033b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp |  | PRESSURE |
| 061a | Max press at design temp | 1000 | PRESSURE |
| 061a | Max press at design temp | 1500 | PRESSURE |
| 061a | Max press at design temp | 300 | PRESSURE |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature |  | DESIGN TEMPERATURE |
| 061b | Max design temperature | 200 | DESIGN TEMPERATURE |
| 061b | Max design temperature | 300 | DESIGN TEMPERATURE |
| 061b | Max design temperature | 400 | DESIGN TEMPERATURE |
| 061b | Max design temperature | 800 | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Min working temperature |  | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature |  | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063a | Uncalibrated accuracy | 3.0 | ACCURACY RATING |
| 063a | Uncalibrated accuracy | 5.0 | ACCURACY RATING |
| 063b | Uncalibrated accuray ref base | % actual value |  |
| 063b | Uncalibrated accuray ref base | % reading |  |
| 064a | Calibrated accuracy | 0.5 |  |
| 064a | Calibrated accuracy | 0.75 |  |
| 064b | Calibrated accuracy ref base | % actual value |  |
| 064b | Calibrated accuracy ref base | % reading |  |
| 065a | Repeatability | 0.2 |  |
| 065b | Repeatability ref base | % actual value |  |
| 065b | Repeatability ref base | % of reading |  |
| 066 | Rated flow coefficient |  | RATED FLOW COEFF |
| 067 | Perm head loss at URL |  | HEAD LOSS |
| 067u | Head loss units | inH2O | UNITS |
| 068a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 081 | ACCESSORIES | SECTION TITLE |  |
| 082 | Mounting hardware | NA |  |
| 082 | Mounting hardware | support bracket only |  |
| 083 | Manifold valve | 3 valve manifold |  |
| 083 | Manifold valve | 5 valve manifold |  |
| 083 | Manifold valve | NA |  |
| 084 | Isolation valve | CS valves |  |
| 084 | Isolation valve | NA |  |
| 084 | Isolation valve | SST valves |  |
| 085 | Impulse line material |  |  |
| 085 | Impulse line material | 316 SST |  |
| 085 | Impulse line material | NA |  |
| 086a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 090 | Custom tag | fiber tag |  |
| 090 | Custom tag | NA |  |
| 090 | Custom tag | sst permanent attached |  |
| 090 | Custom tag | sst wired-on |  |
| 091 | Reference specification | NA | REFERENCE SPECIFICATION |
| 092 | Compliance standard | CSA-Z299.3 | NACE STANDARD |
| 092 | Compliance standard | NA | NACE STANDARD |
| 092 | Compliance standard | NACE MR-0175 | NACE STANDARD |
| 093 | Construction code | ANSI B31.3 cat D service |  |
| 093 | Construction code | ANSI B31.3 cat M service |  |
| 093 | Construction code | ANSI B31.3 cyclic service |  |
| 093 | Construction code | ANSI B31.3 normal service |  |
| 093 | Construction code | ASME sect VIII |  |
| 093 | Construction code | NA |  |
| 093 | Construction code | PED B3.1 SEP cat I mod A |  |
| 093 | Construction code | PED B3.1 SEP level |  |
| 094 | Calibration report | air calibration fluid |  |
| 094 | Calibration report | NA |  |
| 094 | Calibration report | oil calibration fluid |  |
| 094 | Calibration report | water calibration fluid |  |
| 095 | Material certificate | material certificate | MATERIAL |
| 095 | Material certificate | material certificate, PMI | MATERIAL |
| 095 | Material certificate | NA | MATERIAL |
| 095 | Material certificate | PMI | MATERIAL |
| 096 | Special inspection | NA |  |
| 096 | Special inspection | X-ray/DYE pent 100% |  |
| 096 | Special inspection | X-ray/DYE pent random |  |
| 096 | Special inspection | X-ray-DYE pent or Mag |  |
| 097 | Hydro static testing | NA |  |
| 097 | Hydro static testing | standard |  |
| 097 | Hydro static testing | test certificate |  |
| 098a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 101 | PHYSICAL DATA | SECTION TITLE |  |
| 102 | Estimated weight |  |  |
| 102u | Weight units | kg | UNITS |
| 102u | Weight units | lb | UNITS |
| 103 | Overall length |  |  |
| 103u | Overall length units | in | UNITS |
| 103u | Overall length units | mm | UNITS |
| 104 | Overall height |  |  |
| 104u | Overall height units | in | UNITS |
| 104u | Overall height units | mm | UNITS |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag number | NA |  |
| 112b | Flow rate-Diff pressure | CALIBRATION/TEST DESC |  |
| 112c | Flow rate LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Flow rate LRV units | bbl/d | UNITS |
| 112cu | Flow rate LRV units | galUS/h | UNITS |
| 112cu | Flow rate LRV units | galUS/min | UNITS |
| 112cu | Flow rate LRV units | kg/d | UNITS |
| 112cu | Flow rate LRV units | kg/h | UNITS |
| 112cu | Flow rate LRV units | kg/s | UNITS |
| 112cu | Flow rate LRV units | L/d(std) | UNITS |
| 112cu | Flow rate LRV units | L/s | UNITS |
| 112cu | Flow rate LRV units | L/s(std) | UNITS |
| 112cu | Flow rate LRV units | lb/h | UNITS |
| 112cu | Flow rate LRV units | m3/h | UNITS |
| 112cu | Flow rate LRV units | m3/s | UNITS |
| 112d | Flow rate URV |  | UPPER RANGE-VALUE |
| 112du | Flow rate URV units | bbl/d | UNITS |
| 112du | Flow rate URV units | galUS/h | UNITS |
| 112du | Flow rate URV units | galUS/min | UNITS |
| 112du | Flow rate URV units | kg/d | UNITS |
| 112du | Flow rate URV units | kg/h | UNITS |
| 112du | Flow rate URV units | kg/s | UNITS |
| 112du | Flow rate URV units | L/d(std) | UNITS |
| 112du | Flow rate URV units | L/s | UNITS |
| 112du | Flow rate URV units | L/s(std) | UNITS |
| 112du | Flow rate URV units | lb/h | UNITS |
| 112du | Flow rate URV units | m3/h | UNITS |
| 112du | Flow rate URV units | m3/s | UNITS |
| 112f | Diff pressure LRV | 0 | LOWER RANGE-VALUE |
| 112fu | Diff pressure LRV units | inH2O | UNITS |
| 112fu | Diff pressure LRV units | mmH2O | UNITS |
| 112fu | Diff pressure LRV units | Pa | UNITS |
| 112g | Diff pressure URV |  | UPPER RANGE-VALUE |
| 112g | Diff pressure URV | 10 | UPPER RANGE-VALUE |
| 112g | Diff pressure URV | 100 | UPPER RANGE-VALUE |
| 112gu | Diff pressure URV units | inH2O | UNITS |
| 112gu | Diff pressure URV units | mmH2O | UNITS |
| 112gu | Diff pressure URV units | Pa | UNITS |
| 113b | Test pressure | CALIBRATION/TEST DESC |  |
| 113d | Test pressure URV |  | UPPER RANGE-VALUE |
| 113du | Test pressure URV units | bar(g) | UNITS |
| 113du | Test pressure URV units | psig | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | segmental wedge flowmeter |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type |  |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 122a | Component type |  |  |
| 122b | Manufacturer |  | MANUFACTURER |
| 122c | Model number |  | MODEL NUMBER |
| 123a | Component type |  |  |
| 123b | Manufacturer |  | MANUFACTURER |
| 123c | Model number |  | MODEL NUMBER |
| 124a | Component type |  |  |
| 124b | Manufacturer |  | MANUFACTURER |
| 124c | Model number |  | MODEL NUMBER |
| 125a | Component type |  |  |
| 125b | Manufacturer |  | MANUFACTURER |
| 125c | Model number |  | MODEL NUMBER |