| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | ORIFICE FLANGE OR FITTING | SECTION TITLE |  |
| 012 | Flange/Fitting type | annular orifice |  |
| 012 | Flange/Fitting type | double chamber fitting |  |
| 012 | Flange/Fitting type | integral orifice assembly |  |
| 012 | Flange/Fitting type | orifice flange union |  |
| 012 | Flange/Fitting type | orifice holding blocks |  |
| 012 | Flange/Fitting type | single chamber fitting |  |
| 012 | Flange/Fitting type | slip-on orifice flange |  |
| 012 | Flange/Fitting type | threaded orifice flange |  |
| 012 | Flange/Fitting type | threaded orifice union |  |
| 012 | Flange/Fitting type | weld neck orifice flange |  |
| 013 | Pressure tap style | corner taps |  |
| 013 | Pressure tap style | D and D/2 taps |  |
| 013 | Pressure tap style | flange taps |  |
| 013 | Pressure tap style | pipe taps (2 1/2D and 8D) |  |
| 013 | Pressure tap style | radius taps |  |
| 013 | Pressure tap style | vena contracta taps |  |
| 013 | Pressure tap style | NA |  |
| 014a | End conn nominal size | 1/4 in | NOMINAL SIZE |
| 014a | End conn nominal size | 1/2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 014a | End conn nominal size | 1 in | NOMINAL SIZE |
| 014a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 014a | End conn nominal size | 3 in | NOMINAL SIZE |
| 014a | End conn nominal size | 4 in | NOMINAL SIZE |
| 014a | End conn nominal size | 6 in | NOMINAL SIZE |
| 014a | End conn nominal size | 8 in | NOMINAL SIZE |
| 014a | End conn nominal size | 10 in | NOMINAL SIZE |
| 014a | End conn nominal size | 12 in | NOMINAL SIZE |
| 014a | End conn nominal size | 14 in | NOMINAL SIZE |
| 014a | End conn nominal size | 16 in | NOMINAL SIZE |
| 014a | End conn nominal size | 18 in | NOMINAL SIZE |
| 014a | End conn nominal size | 20 in | NOMINAL SIZE |
| 014a | End conn nominal size | 24 in | NOMINAL SIZE |
| 014a | End conn nominal size | 26 in | NOMINAL SIZE |
| 014a | End conn nominal size | 30 in | NOMINAL SIZE |
| 014a | End conn nominal size | 34 in | NOMINAL SIZE |
| 014a | End conn nominal size | 36 in | NOMINAL SIZE |
| 014a | End conn nominal size | 42 in | NOMINAL SIZE |
| 014b | End conn nominal rating | cl 125 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 250 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 400 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 014b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 015a | End conn termn type | flanged | END CONNECTION TYPE |
| 015a | End conn termn type | plain | END CONNECTION TYPE |
| 015a | End conn termn type | threaded | END CONNECTION TYPE |
| 015a | End conn termn type | welded | END CONNECTION TYPE |
| 015b | End conn termn style | bw | END CONNECTION TYPE |
| 015b | End conn termn style | ff | END CONNECTION TYPE |
| 015b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 015b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 015b | End conn termn style | rf | END CONNECTION TYPE |
| 015b | End conn termn style | rtj | END CONNECTION TYPE |
| 015b | End conn termn style | SW(F) | END CONNECTION TYPE |
| 016 | Flange facing finish | 125-250 Ra | FLANGE FACING FINISH |
| 016 | Flange facing finish | 250-500 Ra | FLANGE FACING FINISH |
| 016 | Flange facing finish | ANSI B16.5 | FLANGE FACING FINISH |
| 016 | Flange facing finish | NA | FLANGE FACING FINISH |
| 017 | End conn schedule no | 160 | NOMINAL WALL THICKNESS |
| 017 | End conn schedule no | 40 | NOMINAL WALL THICKNESS |
| 017 | End conn schedule no | 80 | NOMINAL WALL THICKNESS |
| 017 | End conn schedule no | NA | NOMINAL WALL THICKNESS |
| 018a | Press tap conn nom size | 1/4 in | NOMINAL SIZE |
| 018a | Press tap conn nom size | 3/8 in | NOMINAL SIZE |
| 018a | Press tap conn nom size | 1/2 in | NOMINAL SIZE |
| 018a | Press tap conn nom size | NA | NOMINAL SIZE |
| 018b | Press tap conn style | NPT(F) | PRESSURE TAP |
| 018b | Press tap conn style | SW(F) | PRESSURE TAP |
| 018b | Press tap conn style | NA | PRESSURE TAP |
| 019 | Press tap orientation | on-center |  |
| 019 | Press tap orientation | staggered |  |
| 019 | Press tap orientation | NA |  |
| 020 | Tap connection plug type | hex head pipe plug |  |
| 020 | Tap connection plug type | hollow head |  |
| 020 | Tap connection plug type | NA |  |
| 021 | Centering/Dowel pins | alignment dowel pins | DOWEL |
| 021 | Centering/Dowel pins | centering pin | DOWEL |
| 021 | Centering/Dowel pins | NA | DOWEL |
| 022 | Jack screw material | aluminum | BOLTING |
| 022 | Jack screw material | brass | BOLTING |
| 022 | Jack screw material | high strength | BOLTING |
| 022 | Jack screw material | low strength | BOLTING |
| 022 | Jack screw material | stainless steel | BOLTING |
| 022 | Jack screw material | NA | BOLTING |
| 023 | Flange/Fitting material | 316 SST | MATERIAL |
| 023 | Flange/Fitting material | 316L SST | MATERIAL |
| 023 | Flange/Fitting material | aluminum | MATERIAL |
| 023 | Flange/Fitting material | brass | MATERIAL |
| 023 | Flange/Fitting material | bronze | MATERIAL |
| 023 | Flange/Fitting material | carbon steel,cast | MATERIAL |
| 023 | Flange/Fitting material | hastelloy C | MATERIAL |
| 023 | Flange/Fitting material | iron (Cast) | MATERIAL |
| 023 | Flange/Fitting material | monel | MATERIAL |
| 023 | Flange/Fitting material | monel 400 | MATERIAL |
| 023 | Flange/Fitting material | PVC | MATERIAL |
| 023 | Flange/Fitting material | teflon | MATERIAL |
| 023 | Flange/Fitting material | titanium | MATERIAL |
| 023 | Flange/Fitting material | NA | MATERIAL |
| 024 | Trim material | 316 SST | MATERIAL |
| 024 | Trim material | bronze | MATERIAL |
| 024 | Trim material | cobalt Alloy 6B | MATERIAL |
| 024 | Trim material | forged steel | MATERIAL |
| 024 | Trim material | gray Iron | MATERIAL |
| 024 | Trim material | iron (Cast) | MATERIAL |
| 024 | Trim material | nickel alloy | MATERIAL |
| 024 | Trim material | teflon | MATERIAL |
| 024 | Trim material | viton | MATERIAL |
| 024 | Trim material | VTC ceramic | MATERIAL |
| 024 | Trim material | NA | MATERIAL |
| 025 | Bolting material | 316 SST | BOLTING |
| 025 | Bolting material | alloy steel | BOLTING |
| 025 | Bolting material | low temp Carbon steel | BOLTING |
| 025 | Bolting material | nickel alloy | BOLTING |
| 025 | Bolting material | NA | BOLTING |
| 026 | Gasket material | asbestos | MATERIAL |
| 026 | Gasket material | glass-filled PTFE | MATERIAL |
| 026 | Gasket material | graphite | MATERIAL |
| 026 | Gasket material | kel-F | MATERIAL |
| 026 | Gasket material | monel | MATERIAL |
| 026 | Gasket material | N04400/PTFE-coated | MATERIAL |
| 026 | Gasket material | sprl wnd 304 SST/Asbestos | MATERIAL |
| 026 | Gasket material | sprl wnd 316 SST/Asbestos | MATERIAL |
| 026 | Gasket material | sprl wnd 316 SST/Grafoil | MATERIAL |
| 026 | Gasket material | sprl wnd 316 SST/TFE | MATERIAL |
| 026 | Gasket material | teflon | MATERIAL |
| 026 | Gasket material | teflon FEP | MATERIAL |
| 026 | Gasket material | NA | MATERIAL |
| 027 | Lubrication material | aerosol grease | MATERIAL |
| 027 | Lubrication material | garlock luball | MATERIAL |
| 027 | Lubrication material | gp 460 | MATERIAL |
| 027 | Lubrication material | krytox 206 | MATERIAL |
| 027 | Lubrication material | NA | MATERIAL |
| 028a | Defined attribute 1 name | flange adapter | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 1 data | 2 bolt threaded | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031 | ORIFICE PLATE AND HOLDER | SECTION TITLE |  |
| 032 | Plate type | annular | ORIFICE PLATE |
| 032 | Plate type | hand type-Ring joint | ORIFICE PLATE |
| 032 | Plate type | paddle type | ORIFICE PLATE |
| 032 | Plate type | universal size | ORIFICE PLATE |
| 033 | Holder/Seal unit style | dual seal | ORIFICE FITTING |
| 033 | Holder/Seal unit style | integral plate holder | ORIFICE FITTING |
| 033 | Holder/Seal unit style | metal seal clip-ring | ORIFICE FITTING |
| 033 | Holder/Seal unit style | screwed plate holder | ORIFICE FITTING |
| 033 | Holder/Seal unit style | snap ring plate seal | ORIFICE FITTING |
| 033 | Holder/Seal unit style | soft seal clip-ring | ORIFICE FITTING |
| 033 | Holder/Seal unit style | NA | ORIFICE FITTING |
| 034a | API ring number | R11 | API RING NO |
| 034a | API ring number | R12 | API RING NO |
| 034a | API ring number | R13 | API RING NO |
| 034a | API ring number | R14 | API RING NO |
| 034a | API ring number | R15 | API RING NO |
| 034a | API ring number | R16 | API RING NO |
| 034a | API ring number | R17 | API RING NO |
| 034a | API ring number | R18 | API RING NO |
| 034a | API ring number | R19 | API RING NO |
| 034a | API ring number | R20 | API RING NO |
| 034a | API ring number | R22 | API RING NO |
| 034a | API ring number | R23 | API RING NO |
| 034a | API ring number | R24 | API RING NO |
| 034a | API ring number | R25 | API RING NO |
| 034a | API ring number | R26 | API RING NO |
| 034a | API ring number | R27 | API RING NO |
| 034a | API ring number | R28 | API RING NO |
| 034a | API ring number | R29 | API RING NO |
| 034a | API ring number | R31 | API RING NO |
| 034a | API ring number | R32 | API RING NO |
| 034a | API ring number | R33 | API RING NO |
| 034a | API ring number | R34 | API RING NO |
| 034a | API ring number | R35 | API RING NO |
| 034a | API ring number | R36 | API RING NO |
| 034a | API ring number | R37 | API RING NO |
| 034a | API ring number | R38 | API RING NO |
| 034a | API ring number | R39 | API RING NO |
| 034a | API ring number | R40 | API RING NO |
| 034a | API ring number | R41 | API RING NO |
| 034a | API ring number | R42 | API RING NO |
| 034a | API ring number | R43 | API RING NO |
| 034a | API ring number | R44 | API RING NO |
| 034a | API ring number | R45 | API RING NO |
| 034a | API ring number | R46 | API RING NO |
| 034a | API ring number | R47 | API RING NO |
| 034a | API ring number | R48 | API RING NO |
| 034a | API ring number | R49 | API RING NO |
| 034a | API ring number | R50 | API RING NO |
| 034a | API ring number | R51 | API RING NO |
| 034a | API ring number | R52 | API RING NO |
| 034a | API ring number | R53 | API RING NO |
| 034a | API ring number | R54 | API RING NO |
| 034a | API ring number | R55 | API RING NO |
| 034a | API ring number | R56 | API RING NO |
| 034a | API ring number | R57 | API RING NO |
| 034a | API ring number | R58 | API RING NO |
| 034a | API ring number | R59 | API RING NO |
| 034a | API ring number | R60 | API RING NO |
| 034a | API ring number | R61 | API RING NO |
| 034a | API ring number | R62 | API RING NO |
| 034a | API ring number | R63 | API RING NO |
| 034a | API ring number | R64 | API RING NO |
| 034a | API ring number | R65 | API RING NO |
| 034a | API ring number | R66 | API RING NO |
| 034a | API ring number | R67 | API RING NO |
| 034a | API ring number | R68 | API RING NO |
| 034a | API ring number | R69 | API RING NO |
| 034a | API ring number | R70 | API RING NO |
| 034a | API ring number | R71 | API RING NO |
| 034a | API ring number | R72 | API RING NO |
| 034a | API ring number | R73 | API RING NO |
| 034a | API ring number | R74 | API RING NO |
| 034a | API ring number | R75 | API RING NO |
| 034a | API ring number | R76 | API RING NO |
| 034a | API ring number | R77 | API RING NO |
| 034a | API ring number | R78 | API RING NO |
| 034a | API ring number | R79 | API RING NO |
| 034a | API ring number | NA | API RING NO |
| 034b | API ring nom rating | cl 150 |  |
| 034b | API ring nom rating | cl 1500 |  |
| 034b | API ring nom rating | cl 2500 |  |
| 034b | API ring nom rating | cl 300 |  |
| 034b | API ring nom rating | cl 400 |  |
| 034b | API ring nom rating | cl 600 |  |
| 034b | API ring nom rating | cl 900 |  |
| 035 | Orifice bore type | bore and Bevel | BORE |
| 035 | Orifice bore type | bore and counterbore | BORE |
| 035 | Orifice bore type | concentric | BORE |
| 035 | Orifice bore type | eccentric | BORE |
| 035 | Orifice bore type | segmental | BORE |
| 035 | Orifice bore type | NA | BORE |
| 036 | Orifice inlet edge style | conical edge |  |
| 036 | Orifice inlet edge style | quadrant edge |  |
| 036 | Orifice inlet edge style | square edge |  |
| 036 | Orifice inlet edge style | NA |  |
| 037 | Diameter ratio (Beta d/D) |  | BETA RATIO |
| 038 | Orifice bore diameter |  | BORE |
| 038u | Bore diameter units | in | UNITS |
| 039 | Plate outside diameter |  | OUTSIDE DIAMETER |
| 039u | Plate outside dia units | in | UNITS |
| 040 | Plate thickness | .125 | THICKNESS |
| 040 | Plate thickness | .250 | THICKNESS |
| 040 | Plate thickness | .375 | THICKNESS |
| 040u | Plate thickness units | in | UNITS |
| 041 | Vent/Drain hole size | .094 | VENT |
| 041 | Vent/Drain hole size | .125 | VENT |
| 041 | Vent/Drain hole size | .156 | VENT |
| 041 | Vent/Drain hole size | .187 | VENT |
| 041 | Vent/Drain hole size | .219 | VENT |
| 041 | Vent/Drain hole size | .250 | VENT |
| 041 | Vent/Drain hole size | .281 | VENT |
| 041 | Vent/Drain hole size | .321 | VENT |
| 041 | Vent/Drain hole size | .344 | VENT |
| 041 | Vent/Drain hole size | .375 | VENT |
| 041 | Vent/Drain hole size | .406 | VENT |
| 041 | Vent/Drain hole size | .437 | VENT |
| 041 | Vent/Drain hole size | .469 | VENT |
| 041 | Vent/Drain hole size | .500 | VENT |
| 041u | Hole size units | in | UNITS |
| 042 | Vent/Drain hole location | bottom | VENT |
| 042 | Vent/Drain hole location | top | VENT |
| 042 | Vent/Drain hole location | NA | VENT |
| 043 | Stampings | matl,Size,Rtg,Bore,Tag |  |
| 043 | Stampings | matl,Size,Rtg,Inlet,Bore |  |
| 043 | Stampings | NA |  |
| 044 | Plate material | 304 SST | MATERIAL |
| 044 | Plate material | 316 SST | MATERIAL |
| 044 | Plate material | carbon steel | MATERIAL |
| 044 | Plate material | hastelloy C276 | MATERIAL |
| 044 | Plate material | monel | MATERIAL |
| 044 | Plate material | NA | MATERIAL |
| 045 | Seal material | nitrile synthetic rubber | MATERIAL |
| 045 | Seal material | teflon | MATERIAL |
| 045 | Seal material | viton | MATERIAL |
| 045 | Seal material | NA | MATERIAL |
| 046 | Holder/Ring material | 304 SST | MATERIAL |
| 046 | Holder/Ring material | 316 SST | MATERIAL |
| 046 | Holder/Ring material | carbon steel,Cd plated | MATERIAL |
| 046 | Holder/Ring material | monel | MATERIAL |
| 046 | Holder/Ring material | NA | MATERIAL |
| 047a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 048a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 048b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 049a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 049b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 050 | METER TUBE | SECTION TITLE |  |
| 051 | Bore type | honed | BORE |
| 051 | Bore type | standard pipe | BORE |
| 051 | Bore type | NA | BORE |
| 052a | End conn nominal size | 1/2 in | NOMINAL SIZE |
| 052a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 052a | End conn nominal size | 1 in | NOMINAL SIZE |
| 052a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 052a | End conn nominal size | 2 in | NOMINAL SIZE |
| 052a | End conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 052a | End conn nominal size | 3 in | NOMINAL SIZE |
| 052a | End conn nominal size | 4 in | NOMINAL SIZE |
| 052a | End conn nominal size | 6 in | NOMINAL SIZE |
| 052a | End conn nominal size | 8 in | NOMINAL SIZE |
| 052a | End conn nominal size | 10 in | NOMINAL SIZE |
| 052a | End conn nominal size | 12 in | NOMINAL SIZE |
| 052a | End conn nominal size | 14 in | NOMINAL SIZE |
| 052a | End conn nominal size | 16 in | NOMINAL SIZE |
| 052a | End conn nominal size | NA | NOMINAL SIZE |
| 052b | End conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 052b | End conn nominal rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 052b | End conn nominal rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 052b | End conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 052b | End conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 052b | End conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 052b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 053a | End conn termn type | flanged | END CONNECTION TYPE |
| 053a | End conn termn type | threaded | END CONNECTION TYPE |
| 053a | End conn termn type | welded | END CONNECTION TYPE |
| 053a | End conn termn type | NA | END CONNECTION TYPE |
| 053b | End conn termn style | beveled | END CONNECTION TYPE |
| 053b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 053b | End conn termn style | rf | END CONNECTION TYPE |
| 053b | End conn termn style | NA | END CONNECTION TYPE |
| 054 | Flange facing finish | ANSI B16.5 | FLANGE FACING FINISH |
| 054 | Flange facing finish | NA | FLANGE FACING FINISH |
| 055 | Upstream length | 5 |  |
| 055 | Upstream length | 6 |  |
| 055 | Upstream length | 8 |  |
| 055 | Upstream length | 12 |  |
| 055 | Upstream length | 14 |  |
| 055 | Upstream length | 18 |  |
| 055 | Upstream length | 20 |  |
| 055 | Upstream length | 24 |  |
| 055 | Upstream length | 28 |  |
| 055u | Upstream length units | ft | UNITS |
| 055u | Upstream length units | in | UNITS |
| 056 | Pipe schedule no | 160 | NOMINAL WALL THICKNESS |
| 056 | Pipe schedule no | 40 | NOMINAL WALL THICKNESS |
| 056 | Pipe schedule no | 80 | NOMINAL WALL THICKNESS |
| 056 | Pipe schedule no | XXS | NOMINAL WALL THICKNESS |
| 056 | Pipe schedule no | NA | NOMINAL WALL THICKNESS |
| 057 | Downstream length | 3 |  |
| 057 | Downstream length | 4 |  |
| 057 | Downstream length | 5 |  |
| 057 | Downstream length | 6 |  |
| 057 | Downstream length | 9 |  |
| 057 | Downstream length | 12 |  |
| 057u | Downstream length units | ft | UNITS |
| 057u | Downstream length units | in | UNITS |
| 058 | Coupling quantity | 0 |  |
| 058 | Coupling quantity | 1 |  |
| 058 | Coupling quantity | 2 |  |
| 059a | Coupling nominal size | 1/2 in | NOMINAL SIZE |
| 059a | Coupling nominal size | 3/4 in | NOMINAL SIZE |
| 059b | Coupling nom rating | cl 3000 |  |
| 061 | Coupling locations | 6 in of downstream end |  |
| 061 | Coupling locations | D and D/2 |  |
| 061 | Coupling locations | NA |  |
| 062 | Internal bore diameter | .290 | BORE |
| 062 | Internal bore diameter | .475 | BORE |
| 062 | Internal bore diameter | .495 | BORE |
| 062 | Internal bore diameter | .546 | BORE |
| 062 | Internal bore diameter | .570 | BORE |
| 062 | Internal bore diameter | .622 | BORE |
| 062 | Internal bore diameter | .640 | BORE |
| 062 | Internal bore diameter | .645 | BORE |
| 062 | Internal bore diameter | .742 | BORE |
| 062 | Internal bore diameter | .765 | BORE |
| 062 | Internal bore diameter | .824 | BORE |
| 062 | Internal bore diameter | .850 | BORE |
| 062 | Internal bore diameter | .945 | BORE |
| 062 | Internal bore diameter | .957 | BORE |
| 062 | Internal bore diameter | .985 | BORE |
| 062 | Internal bore diameter | 1.049 | BORE |
| 062 | Internal bore diameter | 1.150 | BORE |
| 062 | Internal bore diameter | 1.195 | BORE |
| 062 | Internal bore diameter | 1.308 | BORE |
| 062 | Internal bore diameter | 1.376 | BORE |
| 062 | Internal bore diameter | 1.500 | BORE |
| 062 | Internal bore diameter | 1.530 | BORE |
| 062 | Internal bore diameter | 1.610 | BORE |
| 062 | Internal bore diameter | 2.067 | BORE |
| 062 | Internal bore diameter | 3.068 | BORE |
| 062 | Internal bore diameter | 4.026 | BORE |
| 062 | Internal bore diameter | 6.068 | BORE |
| 062 | Internal bore diameter | 8.071 | BORE |
| 062 | Internal bore diameter | 10.136 | BORE |
| 062 | Internal bore diameter | 12.090 | BORE |
| 062u | Bore diameter units | in | UNITS |
| 063 | Flow straightener type | sprenkle straightener | FLOW STRAIGHTENER |
| 063 | Flow straightener type | tube bundle conditioner | FLOW STRAIGHTENER |
| 063 | Flow straightener type | zanker straightener | FLOW STRAIGHTENER |
| 063 | Flow straightener type | NA | FLOW STRAIGHTENER |
| 064 | Pipe/Tube material | 316 SST | MATERIAL |
| 064 | Pipe/Tube material | 316L SST | MATERIAL |
| 064 | Pipe/Tube material | carbon steel,A106 | MATERIAL |
| 064 | Pipe/Tube material | NA | MATERIAL |
| 065 | Bolting material | ASTM A193 B7 | BOLTING |
| 065 | Bolting material | ASTM A193 B7M | BOLTING |
| 065 | Bolting material | ASTM A193 B8 | BOLTING |
| 065 | Bolting material | NA | BOLTING |
| 066 | Exterior coating material | primer paint only | MATERIAL |
| 066 | Exterior coating material | NA | MATERIAL |
| 067 | End termination material | carbon steel | MATERIAL |
| 067 | End termination material | NA | MATERIAL |
| 068 | Gasket material | asbestos | MATERIAL |
| 068 | Gasket material | asbestos free gasket | MATERIAL |
| 068 | Gasket material | NA | MATERIAL |
| 069a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 071a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 072 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 073a | Max press at design temp |  | PRESSURE |
| 073au | Design pressure units | psig | UNITS |
| 073b | Max design temperature | 100 | DESIGN TEMPERATURE |
| 073bu | Design temperature units | °C | UNITS |
| 073bu | Design temperature units | °F | UNITS |
| 073bu | Design temperature units | C | UNITS |
| 073bu | Design temperature units | F | UNITS |
| 074a | Min working temperature |  | WORKING TEMPERATURE |
| 074au | Min working temp units | °C | UNITS |
| 074au | Min working temp units | °F | UNITS |
| 074au | Min working temp units | C | UNITS |
| 074au | Min working temp units | F | UNITS |
| 074b | Max working temperature |  | WORKING TEMPERATURE |
| 074bu | Max working temp units | °C | UNITS |
| 074bu | Max working temp units | °F | UNITS |
| 074bu | Max working temp units | C | UNITS |
| 074bu | Max working temp units | F | UNITS |
| 075a | Defined attribute 1 name | flow coef uncertainty | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 1 data | .5 % | DEFINABLE ATTRIBUTE VALUE |
| 075b | Defined attribute 1 data | .75% | DEFINABLE ATTRIBUTE VALUE |
| 075b | Defined attribute 1 data | 1.25% | DEFINABLE ATTRIBUTE VALUE |
| 075b | Defined attribute 1 data | 1.5% | DEFINABLE ATTRIBUTE VALUE |
| 075b | Defined attribute 1 data | 2.5% | DEFINABLE ATTRIBUTE VALUE |
| 075b | Defined attribute 1 data | 3.0% | DEFINABLE ATTRIBUTE VALUE |
| 075b | Defined attribute 1 data | 5 % | DEFINABLE ATTRIBUTE VALUE |
| 076a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 076b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 077a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 077b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084 | ACCESSORIES | SECTION TITLE |  |
| 085 | Orifice holding blocks | NA |  |
| 086a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 4 name | NA |  |
| 089b | Defined attribute 4 data | NA |  |
| 090a | Defined attribute 5 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 5 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 092 | Custom tag | fiber tag |  |
| 092 | Custom tag | sst permanent attached |  |
| 092 | Custom tag | sst wired-on |  |
| 092 | Custom tag | NA |  |
| 093 | Reference specification | NA | REFERENCE SPECIFICATION |
| 094 | Special preparation | NA |  |
| 095 | Compliance standard | AGA No 3 | NACE STANDARD |
| 095 | Compliance standard | ANSI 2530 | NACE STANDARD |
| 095 | Compliance standard | NA | NACE STANDARD |
| 096 | Construction code | ANSI B31.1 |  |
| 096 | Construction code | ANSI B31.3 |  |
| 096 | Construction code | ASME sect VIII |  |
| 096 | Construction code | NA |  |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 102u | Face-to-face dim units | in | UNITS |
| 102u | Face-to-face dim units | mm | UNITS |
| 103 | Overall height |  |  |
| 103u | Overall height units | in | UNITS |
| 103u | Overall height units | mm | UNITS |
| 104 | Removal clearance |  |  |
| 104u | Removal clearance units | in | UNITS |
| 104u | Removal clearance units | mm | UNITS |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag number |  |  |
| 112b | Flow rate-Diff pressure | CALIBRATION/TEST DESC |  |
| 112c | Flow rate LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Flow rate LRV units | bbl/d | UNITS |
| 112cu | Flow rate LRV units | galUS/h | UNITS |
| 112cu | Flow rate LRV units | galUS/min | UNITS |
| 112cu | Flow rate LRV units | kg/d | UNITS |
| 112cu | Flow rate LRV units | kg/h | UNITS |
| 112cu | Flow rate LRV units | kg/s | UNITS |
| 112cu | Flow rate LRV units | L/d(std) | UNITS |
| 112cu | Flow rate LRV units | L/s | UNITS |
| 112cu | Flow rate LRV units | L/s(std) | UNITS |
| 112cu | Flow rate LRV units | lb/h | UNITS |
| 112cu | Flow rate LRV units | m3/h | UNITS |
| 112cu | Flow rate LRV units | m3/s | UNITS |
| 112d | Flow rate URV |  | UPPER RANGE-VALUE |
| 112du | Flow rate URV units | bbl/d | UNITS |
| 112du | Flow rate URV units | galUS/h | UNITS |
| 112du | Flow rate URV units | galUS/min | UNITS |
| 112du | Flow rate URV units | kg/d | UNITS |
| 112du | Flow rate URV units | kg/h | UNITS |
| 112du | Flow rate URV units | kg/s | UNITS |
| 112du | Flow rate URV units | L/d(std) | UNITS |
| 112du | Flow rate URV units | L/s | UNITS |
| 112du | Flow rate URV units | L/s(std) | UNITS |
| 112du | Flow rate URV units | lb/h | UNITS |
| 112du | Flow rate URV units | m3/h | UNITS |
| 112du | Flow rate URV units | m3/s | UNITS |
| 112f | Diff pressure LRV | 0 |  |
| 112fu | Diff pressure LRV units | inH2O | UNITS |
| 112fu | Diff pressure LRV units | mmH2O | UNITS |
| 112fu | Diff pressure LRV units | Pa | UNITS |
| 112g | Diff pressure URV | 10 |  |
| 112g | Diff pressure URV | 25 |  |
| 112g | Diff pressure URV | 100 |  |
| 112gu | Diff pressure URV units | inH2O | UNITS |
| 112gu | Diff pressure URV units | mmH2O | UNITS |
| 112gu | Diff pressure URV units | Pa | UNITS |
| 113b | Test pressure | CALIBRATION/TEST DESC |  |
| 113d | Test pressure URV |  |  |
| 113du | Test pressure URV units | bar(g) | UNITS |
| 113du | Test pressure URV units | psig | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | integral orifice assembly |  |
| 120a | Component type | orifice plate-meter tube |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |