| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | FLOWMETER BODY AND HOUSING | SECTION TITLE |  |
| 012 | Body/Housing type | hermetically sealed |  |
| 012 | Body/Housing type | in-line |  |
| 012 | Body/Housing type | jacketed |  |
| 012 | Body/Housing type | NEMA 4 |  |
| 012 | Body/Housing type | sanitary |  |
| 012 | Body/Housing type | wafer |  |
| 013a | End conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 3/8 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1 in | NOMINAL SIZE |
| 013a | End conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 2 in | NOMINAL SIZE |
| 013a | End conn nominal size | 3 in | NOMINAL SIZE |
| 013a | End conn nominal size | 4 in | NOMINAL SIZE |
| 013a | End conn nominal size | 6 in | NOMINAL SIZE |
| 013a | End conn nominal size | 10 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 15 mm | NOMINAL SIZE |
| 013a | End conn nominal size | DN100 | NOMINAL SIZE |
| 013a | End conn nominal size | 25 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 80 mm | NOMINAL SIZE |
| 013a | End conn nominal size | 100 mm | NOMINAL SIZE |
| 013a | End conn nominal size | DN 10 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 15 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 25 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 40 | NOMINAL SIZE |
| 013a | End conn nominal size | DN 80 | NOMINAL SIZE |
| 013b | End conn nominal rating | 20 K | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 600 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | cl 900 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 10 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 16 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 160 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | PN 63 | NOMINAL PRESSURE/RATING |
| 013b | End conn nominal rating | NA | NOMINAL PRESSURE/RATING |
| 014a | End conn termn type | clamped | END CONNECTION TYPE |
| 014a | End conn termn type | compression | END CONNECTION TYPE |
| 014a | End conn termn type | flanged | END CONNECTION TYPE |
| 014a | End conn termn type | threaded | END CONNECTION TYPE |
| 014a | End conn termn type | union | END CONNECTION TYPE |
| 014b | End conn termn style | adapter | END CONNECTION TYPE |
| 014b | End conn termn style | lj | END CONNECTION TYPE |
| 014b | End conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | End conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | End conn termn style | rf | END CONNECTION TYPE |
| 014b | End conn termn style | rjt | END CONNECTION TYPE |
| 014b | End conn termn style | small grove | END CONNECTION TYPE |
| 014b | End conn termn style | swagelok | END CONNECTION TYPE |
| 014b | End conn termn style | tri-clamp | END CONNECTION TYPE |
| 015 | Body wetted material | 316L SST | MATERIAL |
| 015 | Body wetted material | hastelloy C22 | MATERIAL |
| 015 | Body wetted material | hastelloy C276 | MATERIAL |
| 016 | Housing material | 304 SST | MATERIAL |
| 016 | Housing material | coated carbon steel | MATERIAL |
| 016 | Housing material | epoxy coated aluminum | MATERIAL |
| 017 | End termination material | 304 SST | MATERIAL |
| 017 | End termination material | 316L SST | MATERIAL |
| 017 | End termination material | hastelloy C22 | MATERIAL |
| 018a | Defined attribute 1 name | flange facing finish | DEFINABLE ATTRIBUTE NAME |
| 018a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 1 data | 125 rms | DEFINABLE ATTRIBUTE VALUE |
| 019a | Defined attribute 2 name | purge conn nominal size | DEFINABLE ATTRIBUTE NAME |
| 019a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 2 data | 1/2 in NPT(F) | DEFINABLE ATTRIBUTE VALUE |
| 019b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 020a | Defined attribute 3 name | coating material | DEFINABLE ATTRIBUTE NAME |
| 020a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 3 data | tefzel | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 3 data | TFE (Teflon) | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021 | FLOWTUBE ASSEMBLY | SECTION TITLE |  |
| 022 | Flow tube type | parallel curved tubes |  |
| 022 | Flow tube type | single curved tube |  |
| 022 | Flow tube type | straight single tube |  |
| 023 | Flow tube diameter |  |  |
| 023u | Diameter units | in | UNITS |
| 024 | Flow tube material | 316L SST | MATERIAL |
| 024 | Flow tube material | hastelloy C 22 | MATERIAL |
| 024 | Flow tube material | titanium | MATERIAL |
| 024 | Flow tube material | zirconium | MATERIAL |
| 025a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 025b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 026b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 027a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 027b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 028 | CONNECTION HEAD | SECTION TITLE |  |
| 029 | Housing type | explosion proof enclosure | HOUSING |
| 029 | Housing type | hermetically sealed | HOUSING |
| 029 | Housing type | manufacturer standard | HOUSING |
| 029 | Housing type | NA | HOUSING |
| 030 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 030 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 030 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 030 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 030 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 031 | Signal termination type | junction box/termn block | END CONNECTION TYPE |
| 032 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 032 | Cert/Approval type | CSA Hazardous | CERTIFICATION |
| 032 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 032 | Cert/Approval type | NA | CERTIFICATION |
| 033 | Housing material | carbon steel | MATERIAL |
| 033 | Housing material | epoxy coated aluminum | MATERIAL |
| 033 | Housing material | stainless steel | MATERIAL |
| 033 | Housing material | NA | MATERIAL |
| 034a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 034b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 035a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 035b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 036a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 036b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 037 | TRANSMITTER OR COMPUTER | SECTION TITLE |  |
| 038 | Housing type | explosion proof enclosure | HOUSING |
| 038 | Housing type | general purpose enclosure | HOUSING |
| 038 | Housing type | NEMA-type enclosure | HOUSING |
| 038 | Housing type | surface mtd enclosure | HOUSING |
| 038 | Housing type | wp enclosure | HOUSING |
| 039 | Measurement compensation | % solids |  |
| 039 | Measurement compensation | density |  |
| 039 | Measurement compensation | NA |  |
| 040 | Output signal type | 1 Analog current | SIGNAL |
| 040 | Output signal type | 2 Analog current | SIGNAL |
| 040 | Output signal type | 2 current,2 freq/pulse | SIGNAL |
| 040 | Output signal type | 3 Analog current | SIGNAL |
| 040 | Output signal type | 3 current,2 freq/pulse | SIGNAL |
| 040 | Output signal type | analog current & freq | SIGNAL |
| 040 | Output signal type | analog,freq,digital | SIGNAL |
| 040 | Output signal type | digital multi-variable | SIGNAL |
| 040 | Output signal type | digital single-variable | SIGNAL |
| 041 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 041 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 041 | Enclosure type no/class | 4X & 7 | ENCLOSURE TYPE NO/CLASS |
| 041 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 041 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 041 | Enclosure type no/class | IP 67 | ENCLOSURE TYPE NO/CLASS |
| 042 | Zero-span adjust type | hand held interface |  |
| 042 | Zero-span adjust type | keypad |  |
| 042 | Zero-span adjust type | local internal |  |
| 042 | Zero-span adjust type | magnetic sensors |  |
| 042 | Zero-span adjust type | RS-485 remote comcm |  |
| 043 | Characteristic curve | linear composition | CHARACTERISTIC CURVE |
| 043 | Characteristic curve | linear mass flow | CHARACTERISTIC CURVE |
| 043 | Characteristic curve | linear volumetric flow | CHARACTERISTIC CURVE |
| 044 | Digital communication std | DE protocol |  |
| 044 | Digital communication std | foundation fieldbus |  |
| 044 | Digital communication std | HART protocol |  |
| 044 | Digital communication std | modbus |  |
| 044 | Digital communication std | profibus |  |
| 044 | Digital communication std | RS485 binary/ASCII |  |
| 044 | Digital communication std | NA |  |
| 045 | Signal power source | line 100 V(ac) 60 Hz |  |
| 045 | Signal power source | line 115 V(ac) 60 Hz |  |
| 045 | Signal power source | line 120 V(ac) 60 Hz |  |
| 045 | Signal power source | line 200 V(ac) 60 Hz |  |
| 045 | Signal power source | line 21-48 V(ac) 60 Hz |  |
| 045 | Signal power source | line 220 V(ac) 60 Hz |  |
| 045 | Signal power source | line 230 V(ac) 60 Hz |  |
| 045 | Signal power source | line 24 V(dc) |  |
| 045 | Signal power source | loop 12-30 V(dc) |  |
| 046 | Failsafe style | failsafe fixed |  |
| 046 | Failsafe style | failsafe selectable |  |
| 046 | Failsafe style | NA |  |
| 047 | Integral indicator style | 2 X 16 character LCD |  |
| 047 | Integral indicator style | 3 line character LCD |  |
| 047 | Integral indicator style | analog meter,sqrt div |  |
| 047 | Integral indicator style | analog meter,uniform div |  |
| 047 | Integral indicator style | LCD meter,4 digit |  |
| 047 | Integral indicator style | smart meter |  |
| 047 | Integral indicator style | NA |  |
| 048 | Signal termination type | integral junction box | END CONNECTION TYPE |
| 048 | Signal termination type | terminal block | END CONNECTION TYPE |
| 049 | Cert/Approval type | BASEEFA Type N | CERTIFICATION |
| 049 | Cert/Approval type | CENELEC | CERTIFICATION |
| 049 | Cert/Approval type | CSA Dust ignition proof | CERTIFICATION |
| 049 | Cert/Approval type | CSA Hazardous | CERTIFICATION |
| 049 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 049 | Cert/Approval type | FM Dust ignition proof | CERTIFICATION |
| 049 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 049 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 049 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 049 | Cert/Approval type | LCIE Flameproof "d" | CERTIFICATION |
| 049 | Cert/Approval type | LCIE Intrinsic safe | CERTIFICATION |
| 049 | Cert/Approval type | SAA Intrinsic safe | CERTIFICATION |
| 049 | Cert/Approval type | SAA Non-incendive | CERTIFICATION |
| 049 | Cert/Approval type | self declared | CERTIFICATION |
| 049 | Cert/Approval type | VNIIVE Intrinsic safe | CERTIFICATION |
| 050 | Mounting location/type | 19 in panel mount | MOUNTING POSITION |
| 050 | Mounting location/type | 2 in pipe bracket | MOUNTING POSITION |
| 050 | Mounting location/type | integral with flowmeter | MOUNTING POSITION |
| 050 | Mounting location/type | surface mount | MOUNTING POSITION |
| 051 | Failure/Diagnostic action | activate alarm relay |  |
| 051 | Failure/Diagnostic action | drive output high |  |
| 051 | Failure/Diagnostic action | drive output low |  |
| 051 | Failure/Diagnostic action | NA |  |
| 052 | Enclosure material | epoxy coated aluminum | MATERIAL |
| 052 | Enclosure material | low copper-aluminum | MATERIAL |
| 052 | Enclosure material | polyetherimide foam | MATERIAL |
| 052 | Enclosure material | stainless steel | MATERIAL |
| 053a | Defined attribute 1 name | transient protection | DEFINABLE ATTRIBUTE NAME |
| 053b | Defined attribute 1 data | external component | DEFINABLE ATTRIBUTE VALUE |
| 053b | Defined attribute 1 data | integral termn block | DEFINABLE ATTRIBUTE VALUE |
| 053b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 054a | Defined attribute 2 name | flow direction output | DEFINABLE ATTRIBUTE NAME |
| 054a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 054b | Defined attribute 2 data | 0 or 15 V(dc) | DEFINABLE ATTRIBUTE VALUE |
| 054b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 055a | Defined attribute 3 name | input signal | DEFINABLE ATTRIBUTE NAME |
| 055a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 055b | Defined attribute 3 data | remote zero | DEFINABLE ATTRIBUTE VALUE |
| 055b | Defined attribute 3 data | remote zero & fail output | DEFINABLE ATTRIBUTE VALUE |
| 055b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 058 | TOTALIZER INDICATOR | SECTION TITLE |  |
| 059 | Totalizer type | forward total/Batch |  |
| 059 | Totalizer type | forward total/gross |  |
| 059 | Totalizer type | single totalizer |  |
| 059 | Totalizer type | NA |  |
| 060 | Enclosure type no/class | NEMA 1 | ENCLOSURE TYPE NO/CLASS |
| 060 | Enclosure type no/class | NEMA 3 | ENCLOSURE TYPE NO/CLASS |
| 060 | Enclosure type no/class | NEMA 7 | ENCLOSURE TYPE NO/CLASS |
| 060 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 061 | Signal power source | line 10-36 V(dc) |  |
| 061 | Signal power source | line 115 V(ac) 60 Hz |  |
| 061 | Signal power source | line 230 V(ac) 60 Hz |  |
| 061 | Signal power source | line 24 V(ac) 60 Hz |  |
| 061 | Signal power source | line 24 V(dc) |  |
| 061 | Signal power source | NA |  |
| 062a | Contacts arrangement | SPST |  |
| 062b | Contacts quantity | 0 |  |
| 062b | Contacts quantity | 1 |  |
| 062b | Contacts quantity | 2 |  |
| 063 | Totalizer reset style | local |  |
| 063 | Totalizer reset style | remote |  |
| 064 | Integral indicator style | 2 X 16 character LCD |  |
| 064 | Integral indicator style | LCD meter,4 1/2 digit |  |
| 064 | Integral indicator style | NA |  |
| 065 | Cert/Approval type | BASEEFA Type N | CERTIFICATION |
| 065 | Cert/Approval type | CENELEC | CERTIFICATION |
| 065 | Cert/Approval type | CSA Dust ignition proof | CERTIFICATION |
| 065 | Cert/Approval type | CSA Hazardous | CERTIFICATION |
| 065 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 065 | Cert/Approval type | FM Dust ignition proof | CERTIFICATION |
| 065 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 065 | Cert/Approval type | FM General purpose | CERTIFICATION |
| 065 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 065 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 065 | Cert/Approval type | LCIE Flameproof "d" | CERTIFICATION |
| 065 | Cert/Approval type | LCIE Intrinsic safe | CERTIFICATION |
| 065 | Cert/Approval type | SAA Intrinsic safe | CERTIFICATION |
| 065 | Cert/Approval type | SAA Non-incendive | CERTIFICATION |
| 065 | Cert/Approval type | self declared | CERTIFICATION |
| 065 | Cert/Approval type | VNIIVE Intrinsic safe | CERTIFICATION |
| 065 | Cert/Approval type | NA | CERTIFICATION |
| 066 | Mounting location/type | integral with transmitter | MOUNTING POSITION |
| 066 | Mounting location/type | remote rack mount | MOUNTING POSITION |
| 066 | Mounting location/type | NA | MOUNTING POSITION |
| 067 | Enclosure material | aluminum | MATERIAL |
| 067 | Enclosure material | NA | MATERIAL |
| 068a | Definable attribute1 name | totalizer back-up | DEFINABLE ATTRIBUTE NAME |
| 068a | Definable attribute1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Definable attribute1 data | battery | DEFINABLE ATTRIBUTE VALUE |
| 068b | Definable attribute1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 070a | Max press at design temp | 62 | PRESSURE |
| 070a | Max press at design temp | 63 | PRESSURE |
| 070a | Max press at design temp | 100 | PRESSURE |
| 070a | Max press at design temp | 179 | PRESSURE |
| 070a | Max press at design temp | 900 | PRESSURE |
| 070a | Max press at design temp | 910 | PRESSURE |
| 070a | Max press at design temp | 1450 | PRESSURE |
| 070a | Max press at design temp | 2600 | PRESSURE |
| 070a | Max press at design temp | 5700 | PRESSURE |
| 070au | Design pressure units | bar(g) | UNITS |
| 070au | Design pressure units | psig | UNITS |
| 070b | Max design temperature | 120 | DESIGN TEMPERATURE |
| 070b | Max design temperature | 204 | DESIGN TEMPERATURE |
| 070b | Max design temperature | 250 | DESIGN TEMPERATURE |
| 070b | Max design temperature | 400 | DESIGN TEMPERATURE |
| 070b | Max design temperature | 426 | DESIGN TEMPERATURE |
| 070b | Max design temperature | 800 | DESIGN TEMPERATURE |
| 070bu | Design temperature units | °C | UNITS |
| 070bu | Design temperature units | °F | UNITS |
| 070bu | Design temperature units | C | UNITS |
| 070bu | Design temperature units | F | UNITS |
| 071a | Min working temperature | 0 | WORKING TEMPERATURE |
| 071a | Min working temperature | -13 | WORKING TEMPERATURE |
| 071a | Min working temperature | -25 | WORKING TEMPERATURE |
| 071a | Min working temperature | 32 | WORKING TEMPERATURE |
| 071a | Min working temperature | -50 | WORKING TEMPERATURE |
| 071a | Min working temperature | -58 | WORKING TEMPERATURE |
| 071a | Min working temperature | -240 | WORKING TEMPERATURE |
| 071a | Min working temperature | -400 | WORKING TEMPERATURE |
| 071au | Min working temp units | °C | UNITS |
| 071au | Min working temp units | °F | UNITS |
| 071au | Min working temp units | C | UNITS |
| 071au | Min working temp units | F | UNITS |
| 071b | Max working temperature | 200 | WORKING TEMPERATURE |
| 071b | Max working temperature | 250 | WORKING TEMPERATURE |
| 071b | Max working temperature | 392 | WORKING TEMPERATURE |
| 071b | Max working temperature | 426 | WORKING TEMPERATURE |
| 071b | Max working temperature | 800 | WORKING TEMPERATURE |
| 071bu | Max working temp units | °C | UNITS |
| 071bu | Max working temp units | °F | UNITS |
| 071bu | Max working temp units | C | UNITS |
| 071bu | Max working temp units | F | UNITS |
| 072a | Flow rate accuracy rating | .15 |  |
| 072a | Flow rate accuracy rating | .2 |  |
| 072b | Flow accuracy ref base | % rate |  |
| 073a | Density accuracy rating | .001 |  |
| 073a | Density accuracy rating | .002 |  |
| 073a | Density accuracy rating | .004 |  |
| 073a | Density accuracy rating | .005 |  |
| 073a | Density accuracy rating | .07 |  |
| 073a | Density accuracy rating | .13 |  |
| 073b | Density accuracy ref base | g/cm3 |  |
| 073b | Density accuracy ref base | lb/ft3 |  |
| 074a | Min flow URL |  |  |
| 074au | Min flow URL units | kg/min | UNITS |
| 074au | Min flow URL units | lb/min | UNITS |
| 074b | Max flow URL |  |  |
| 074bu | Maximum flow URL units | kg/min | UNITS |
| 074bu | Maximum flow URL units | lb/min | UNITS |
| 075a | Density Lower Range-Limit | .01 | LOWER RANGE-LIMIT |
| 075a | Density Lower Range-Limit | .5 | LOWER RANGE-LIMIT |
| 075a | Density Lower Range-Limit | .6 | LOWER RANGE-LIMIT |
| 075a | Density Lower Range-Limit | 30 | LOWER RANGE-LIMIT |
| 075au | Density LRL units | g/cm3 | UNITS |
| 075au | Density LRL units | lb/ft3 | UNITS |
| 075b | Density Upper Range-Limit | 2.0 |  |
| 075b | Density Upper Range-Limit | 125 |  |
| 075bu | Density URL units | g/cm3 | UNITS |
| 075bu | Density URL units | lb/ft3 | UNITS |
| 076 | Sec enclosure nom rating | 10 |  |
| 076 | Sec enclosure nom rating | 20 |  |
| 076 | Sec enclosure nom rating | 150 |  |
| 076 | Sec enclosure nom rating | 300 |  |
| 076u | Pressure rating units | bar(g) | UNITS |
| 076u | Pressure rating units | psig | UNITS |
| 077 | Pressure drop at URL |  |  |
| 077u | Pressure drop URL units | bar | UNITS |
| 077u | Pressure drop URL units | psi | UNITS |
| 078a | Min ambient working temp | -13 | AMBIENT TEMPERATURE |
| 078a | Min ambient working temp | -22 | AMBIENT TEMPERATURE |
| 078a | Min ambient working temp | -25 | AMBIENT TEMPERATURE |
| 078a | Min ambient working temp | -30 | AMBIENT TEMPERATURE |
| 078a | Min ambient working temp | -60 | AMBIENT TEMPERATURE |
| 078au | Min amb working temp units | °C | UNITS |
| 078au | Min amb working temp units | °F | UNITS |
| 078au | Min amb working temp units | C | UNITS |
| 078au | Min amb working temp units | F | UNITS |
| 078b | Max ambient working temp | 55 | MAX AMBIENT TEMPERATURE |
| 078b | Max ambient working temp | 60 | MAX AMBIENT TEMPERATURE |
| 078b | Max ambient working temp | 131 | MAX AMBIENT TEMPERATURE |
| 078b | Max ambient working temp | 140 | MAX AMBIENT TEMPERATURE |
| 078b | Max ambient working temp | 360 | MAX AMBIENT TEMPERATURE |
| 078bu | Max amb temperature units | °C | UNITS |
| 078bu | Max amb temperature units | °F | UNITS |
| 078bu | Max amb temperature units | C | UNITS |
| 078bu | Max amb temperature units | F | UNITS |
| 079a | Contacts ac rating | 5 | DEVICE RATING |
| 079au | AC rating current units | A | UNITS |
| 079b | AC rating max voltage | 250 | DEVICE RATING |
| 079bu | AC max voltage units | V | UNITS |
| 080a | Contacts dc rating | 100 | DEVICE RATING |
| 080au | DC rating current units | mA | UNITS |
| 080b | DC rating max voltage | 30 | DEVICE RATING |
| 080bu | DC max voltage units | V | UNITS |
| 081 | Max sensor to receiver lg | 100 |  |
| 081 | Max sensor to receiver lg | 330 |  |
| 081 | Max sensor to receiver lg | 500 |  |
| 081 | Max sensor to receiver lg | 1500 |  |
| 081u | Max length units | ft | UNITS |
| 081u | Max length units | m | UNITS |
| 082a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083 | ACCESSORIES | SECTION TITLE |  |
| 084 | Connecting cables length | 10 |  |
| 084 | Connecting cables length | 15 |  |
| 084 | Connecting cables length | 20 |  |
| 084 | Connecting cables length | 25 |  |
| 084 | Connecting cables length | 50 |  |
| 084u | Cable length units | ft | UNITS |
| 085 | Heating kit style | electric,120 V(ac) |  |
| 085 | Heating kit style | hot liquid,Copper tubing |  |
| 085 | Heating kit style | hot liquid,SST tubing |  |
| 085 | Heating kit style | steam,Copper tubing |  |
| 085 | Heating kit style | steam,SST tubing |  |
| 085 | Heating kit style | NA |  |
| 086 | Calibration configurator | 115 V(ac) rechargeable |  |
| 086 | Calibration configurator | NA |  |
| 087a | Defined attribute 1 name | bolting kit | DEFINABLE ATTRIBUTE NAME |
| 087a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 1 data | cl 300 | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 090 | Custom tag | fiber tag |  |
| 090 | Custom tag | sst permanent attached |  |
| 090 | Custom tag | sst wired-on |  |
| 090 | Custom tag | NA |  |
| 091 | Reference specification | NA | REFERENCE SPECIFICATION |
| 092 | Special preparation | oxygen service |  |
| 092 | Special preparation | NA |  |
| 093 | Compliance standard | 3A Sanitary #28-01 | NACE STANDARD |
| 093 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 093 | Compliance standard | NA | NACE STANDARD |
| 094 | Calibration report | 10 pt flow calibration |  |
| 094 | Calibration report | 6 pt flow calibration |  |
| 094 | Calibration report | NA |  |
| 095 | Software configuration | custom configuration |  |
| 095 | Software configuration | multivariable config |  |
| 095 | Software configuration | NA |  |
| 096a | Defined attribute 1 name | certificate/declaration | DEFINABLE ATTRIBUTE NAME |
| 096a | Defined attribute 1 name | display language | DEFINABLE ATTRIBUTE NAME |
| 096a | Defined attribute 1 name | radiograph inspection | DEFINABLE ATTRIBUTE NAME |
| 096a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 096b | Defined attribute 1 data | english | DEFINABLE ATTRIBUTE VALUE |
| 096b | Defined attribute 1 data | french | DEFINABLE ATTRIBUTE VALUE |
| 096b | Defined attribute 1 data | german | DEFINABLE ATTRIBUTE VALUE |
| 096b | Defined attribute 1 data | material certificate | DEFINABLE ATTRIBUTE VALUE |
| 096b | Defined attribute 1 data | pressure test | DEFINABLE ATTRIBUTE VALUE |
| 096b | Defined attribute 1 data | welding certificate | DEFINABLE ATTRIBUTE VALUE |
| 096b | Defined attribute 1 data | welds | DEFINABLE ATTRIBUTE VALUE |
| 096b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 097 | PHYSICAL DATA | SECTION TITLE |  |
| 098 | Estimated weight |  |  |
| 098u | Weight units | kg | UNITS |
| 098u | Weight units | lb | UNITS |
| 099 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 099u | Face-to-face dim units | in | UNITS |
| 099u | Face-to-face dim units | mm | UNITS |
| 100 | Overall height |  |  |
| 100u | Overall height units | in | UNITS |
| 100u | Overall height units | mm | UNITS |
| 101 | Removal clearance |  |  |
| 101u | Removal clearance units | in | UNITS |
| 101u | Removal clearance units | mm | UNITS |
| 102a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 102a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 102b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 102b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 102b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 102b | Signal conn termn style | pg 16 | END CONNECTION TYPE |
| 103 | Mfr reference dwg | NA |  |
| 104a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 104b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog flow rate tag no |  |  |
| 112b | Mass flow-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog flow rate LRV |  |  |
| 112cu | Analog flow rate LRV units | kg/d | UNITS |
| 112cu | Analog flow rate LRV units | kg/h | UNITS |
| 112cu | Analog flow rate LRV units | kg/min | UNITS |
| 112cu | Analog flow rate LRV units | kg/s | UNITS |
| 112cu | Analog flow rate LRV units | lb/d | UNITS |
| 112cu | Analog flow rate LRV units | lb/h | UNITS |
| 112cu | Analog flow rate LRV units | lb/min | UNITS |
| 112cu | Analog flow rate LRV units | lb/s | UNITS |
| 112d | Analog flow rate URV |  |  |
| 112du | Analog flow rate URV units | kg/d | UNITS |
| 112du | Analog flow rate URV units | kg/h | UNITS |
| 112du | Analog flow rate URV units | kg/min | UNITS |
| 112du | Analog flow rate URV units | kg/s | UNITS |
| 112du | Analog flow rate URV units | lb/d | UNITS |
| 112du | Analog flow rate URV units | lb/h | UNITS |
| 112du | Analog flow rate URV units | lb/min | UNITS |
| 112du | Analog flow rate URV units | lb/s | UNITS |
| 112e | Analog flow rate action | direct |  |
| 112e | Analog flow rate action | reverse |  |
| 112f | Anlg flow rate output LRV | 0 |  |
| 112f | Anlg flow rate output LRV | 1 |  |
| 112f | Anlg flow rate output LRV | 2 |  |
| 112f | Anlg flow rate output LRV | 4 |  |
| 112f | Anlg flow rate output LRV | 10 |  |
| 112fu | Anlg flow output LRV units | mA | UNITS |
| 112fu | Anlg flow output LRV units | V(dc) | UNITS |
| 112g | Anlg flow rate output URV | 5 |  |
| 112g | Anlg flow rate output URV | 20 |  |
| 112g | Anlg flow rate output URV | 50 |  |
| 112gu | Anlg flow output URV units | mA | UNITS |
| 112gu | Anlg flow output URV units | V(dc) | UNITS |
| 113a | Analog meas 2 tag no |  |  |
| 113b | Meas-Analog output 2 | CALIBRATION/TEST DESC |  |
| 113c | Analog meas 2 LRV |  |  |
| 113cu | Analog meas 2 LRV units | % | UNITS |
| 113cu | Analog meas 2 LRV units | °C | UNITS |
| 113cu | Analog meas 2 LRV units | °F | UNITS |
| 113cu | Analog meas 2 LRV units | C | UNITS |
| 113cu | Analog meas 2 LRV units | F | UNITS |
| 113cu | Analog meas 2 LRV units | g/cm3 | UNITS |
| 113cu | Analog meas 2 LRV units | lb/ft3 | UNITS |
| 113d | Analog meas 2 URV |  |  |
| 113du | Analog meas 2 URV units | % | UNITS |
| 113du | Analog meas 2 URV units | °C | UNITS |
| 113du | Analog meas 2 URV units | °F | UNITS |
| 113du | Analog meas 2 URV units | C | UNITS |
| 113du | Analog meas 2 URV units | F | UNITS |
| 113du | Analog meas 2 URV units | g/cm3 | UNITS |
| 113du | Analog meas 2 URV units | lb/ft3 | UNITS |
| 113e | Analog meas 2 action | direct |  |
| 113e | Analog meas 2 action | reverse |  |
| 113f | Anlg meas 2 output LRV | 0 |  |
| 113f | Anlg meas 2 output LRV | 1 |  |
| 113f | Anlg meas 2 output LRV | 2 |  |
| 113f | Anlg meas 2 output LRV | 4 |  |
| 113f | Anlg meas 2 output LRV | 10 |  |
| 113fu | Anlg meas 2 output LRV units | mA | UNITS |
| 113fu | Anlg meas 2 output LRV units | V(dc) | UNITS |
| 113g | Anlg meas 2 output URV |  |  |
| 113g | Anlg meas 2 output URV | 5 |  |
| 113g | Anlg meas 2 output URV | 20 |  |
| 113g | Anlg meas 2 output URV | 50 |  |
| 113gu | Anlg meas 2 output URV units | mA | UNITS |
| 113gu | Anlg meas 2 output URV units | V(dc) | UNITS |
| 114a | Analog meas 3 tag no |  |  |
| 114b | Meas-Analog output 3 | CALIBRATION/TEST DESC |  |
| 114c | Analog meas 3 LRV |  |  |
| 114cu | Analog meas 3 LRV units | % | UNITS |
| 114cu | Analog meas 3 LRV units | °C | UNITS |
| 114cu | Analog meas 3 LRV units | °F | UNITS |
| 114cu | Analog meas 3 LRV units | C | UNITS |
| 114cu | Analog meas 3 LRV units | F | UNITS |
| 114cu | Analog meas 3 LRV units | g/cm3 | UNITS |
| 114cu | Analog meas 3 LRV units | lb/ft3 | UNITS |
| 114d | Analog meas 3 URV |  |  |
| 114du | Analog meas 3 URV units | % | UNITS |
| 114du | Analog meas 3 URV units | °C | UNITS |
| 114du | Analog meas 3 URV units | °F | UNITS |
| 114du | Analog meas 3 URV units | C | UNITS |
| 114du | Analog meas 3 URV units | F | UNITS |
| 114du | Analog meas 3 URV units | g/cm3 | UNITS |
| 114du | Analog meas 3 URV units | lb/ft3 | UNITS |
| 114e | Analog meas 3 action | direct |  |
| 114e | Analog meas 3 action | reverse |  |
| 114f | Anlg meas 3 output LRV | 0 |  |
| 114f | Anlg meas 3 output LRV | 1 |  |
| 114f | Anlg meas 3 output LRV | 2 |  |
| 114f | Anlg meas 3 output LRV | 4 |  |
| 114f | Anlg meas 3 output LRV | 10 |  |
| 114fu | Anlg meas 3 output LRV units | mA | UNITS |
| 114g | Anlg meas 3 output URV | 5 |  |
| 114g | Anlg meas 3 output URV | 20 |  |
| 114g | Anlg meas 3 output URV | 50 |  |
| 114gu | Anlg meas 3 output URV units | mA | UNITS |
| 114gu | Anlg meas 3 output URV units | V(dc) | UNITS |
| 115a | Freq meas 1 tag no |  |  |
| 115b | Meas-Frequency output 1 | CALIBRATION/TEST DESC |  |
| 115c | Freq meas 1 LRV | 0 |  |
| 115cu | Freq meas 1 LRV units | kg/d | UNITS |
| 115cu | Freq meas 1 LRV units | kg/h | UNITS |
| 115cu | Freq meas 1 LRV units | kg/min | UNITS |
| 115cu | Freq meas 1 LRV units | kg/s | UNITS |
| 115cu | Freq meas 1 LRV units | lb/d | UNITS |
| 115cu | Freq meas 1 LRV units | lb/h | UNITS |
| 115cu | Freq meas 1 LRV units | lb/min | UNITS |
| 115cu | Freq meas 1 LRV units | lb/s | UNITS |
| 115d | Freq meas 1 URV |  |  |
| 115du | Freq meas 1 URV units | kg/d | UNITS |
| 115du | Freq meas 1 URV units | kg/h | UNITS |
| 115du | Freq meas 1 URV units | kg/min | UNITS |
| 115du | Freq meas 1 URV units | kg/s | UNITS |
| 115du | Freq meas 1 URV units | lb/d | UNITS |
| 115du | Freq meas 1 URV units | lb/h | UNITS |
| 115du | Freq meas 1 URV units | lb/min | UNITS |
| 115du | Freq meas 1 URV units | lb/s | UNITS |
| 115e | Freq meas 1 action | direct |  |
| 115e | Freq meas 1 action | reverse |  |
| 115f | Freq meas 1 output LRV | 0 |  |
| 115fu | Freq meas 1 output LRV units | Hz | UNITS |
| 115g | Freq meas 1 output URV |  |  |
| 115gu | Freq meas 1 output URV units | Hz | UNITS |
| 116a | Freq meas 2 tag no |  |  |
| 116b | Meas-Frequency output 2 | CALIBRATION/TEST DESC |  |
| 116c | Freq meas 2 LRV | 0 |  |
| 116cu | Freq meas 2 LRV units | % | UNITS |
| 116cu | Freq meas 2 LRV units | °C | UNITS |
| 116cu | Freq meas 2 LRV units | °F | UNITS |
| 116cu | Freq meas 2 LRV units | C | UNITS |
| 116cu | Freq meas 2 LRV units | F | UNITS |
| 116cu | Freq meas 2 LRV units | g/cm3 | UNITS |
| 116cu | Freq meas 2 LRV units | lb/ft3 | UNITS |
| 116d | Freq meas 2 URV |  |  |
| 116du | Freq meas 2 URV units | % | UNITS |
| 116du | Freq meas 2 URV units | °C | UNITS |
| 116du | Freq meas 2 URV units | °F | UNITS |
| 116du | Freq meas 2 URV units | C | UNITS |
| 116du | Freq meas 2 URV units | F | UNITS |
| 116du | Freq meas 2 URV units | g/cm3 | UNITS |
| 116du | Freq meas 2 URV units | lb/ft3 | UNITS |
| 116e | Freq meas 2 action | direct |  |
| 116e | Freq meas 2 action | reverse |  |
| 116f | Freq meas 2 output LRV | 0 |  |
| 116fu | Freq meas 2 output LRV units | Hz | UNITS |
| 116g | Freq meas 2 output URV |  |  |
| 116gu | Freq meas 2 output URV units | Hz | UNITS |
| 117a | Scale tag no |  |  |
| 117b | Measurement-Scale | CALIBRATION/TEST DESC |  |
| 117c | Scale measurement LRV | 0 |  |
| 117cu | Scale meas LRV units | kg/d | UNITS |
| 117cu | Scale meas LRV units | kg/h | UNITS |
| 117cu | Scale meas LRV units | kg/min | UNITS |
| 117cu | Scale meas LRV units | kg/s | UNITS |
| 117cu | Scale meas LRV units | lb/d | UNITS |
| 117cu | Scale meas LRV units | lb/h | UNITS |
| 117cu | Scale meas LRV units | lb/min | UNITS |
| 117cu | Scale meas LRV units | lb/s | UNITS |
| 117d | Scale measurement URV |  |  |
| 117du | Scale meas URV units | kg/d | UNITS |
| 117du | Scale meas URV units | kg/h | UNITS |
| 117du | Scale meas URV units | kg/min | UNITS |
| 117du | Scale meas URV units | kg/s | UNITS |
| 117du | Scale meas URV units | lb/d | UNITS |
| 117du | Scale meas URV units | lb/h | UNITS |
| 117du | Scale meas URV units | lb/min | UNITS |
| 117du | Scale meas URV units | lb/s | UNITS |
| 117e | Scale meas signal action | direct |  |
| 117e | Scale meas signal action | reverse |  |
| 117f | Scale Lower Range-Value | 0 |  |
| 117fu | Scale LRV units | % | UNITS |
| 117fu | Scale LRV units | kg/d | UNITS |
| 117fu | Scale LRV units | kg/h | UNITS |
| 117fu | Scale LRV units | kg/min | UNITS |
| 117fu | Scale LRV units | kg/s | UNITS |
| 117fu | Scale LRV units | lb/d | UNITS |
| 117fu | Scale LRV units | lb/h | UNITS |
| 117fu | Scale LRV units | lb/min | UNITS |
| 117fu | Scale LRV units | lb/s | UNITS |
| 117g | Scale Upper Range-Value | 100 |  |
| 117gu | Scale URV units | % | UNITS |
| 117gu | Scale URV units | kg/d | UNITS |
| 117gu | Scale URV units | kg/h | UNITS |
| 117gu | Scale URV units | kg/min | UNITS |
| 117gu | Scale URV units | kg/s | UNITS |
| 117gu | Scale URV units | lb/d | UNITS |
| 117gu | Scale URV units | lb/h | UNITS |
| 117gu | Scale URV units | lb/min | UNITS |
| 117gu | Scale URV units | lb/s | UNITS |
| 118a | Digital temp tag no |  |  |
| 118b | Temp-Digital output | CALIBRATION/TEST DESC |  |
| 118c | Digital temp LRV | 0 | LOWER RANGE-VALUE |
| 118cu | Digital temp LRV units | °C | UNITS |
| 118cu | Digital temp LRV units | °F | UNITS |
| 118cu | Digital temp LRV units | C | UNITS |
| 118cu | Digital temp LRV units | F | UNITS |
| 118d | Digital temp URV |  | UPPER RANGE-VALUE |
| 118du | Digital temp URV units | °C | UNITS |
| 118du | Digital temp URV units | °F | UNITS |
| 118du | Digital temp URV units | C | UNITS |
| 118du | Digital temp URV units | F | UNITS |
| 118e | Digital temp signal action | direct |  |
| 118e | Digital temp signal action | reverse |  |
| 118f | Digital temp output LRV | 0 |  |
| 118fu | Dgtl temp output LRV unit | °C | UNITS |
| 118fu | Dgtl temp output LRV unit | °F | UNITS |
| 118fu | Dgtl temp output LRV unit | C | UNITS |
| 118fu | Dgtl temp output LRV unit | F | UNITS |
| 118g | Digital temp output URV |  |  |
| 118gu | Dgtl temp output URV unit | °C | UNITS |
| 118gu | Dgtl temp output URV unit | °F | UNITS |
| 118gu | Dgtl temp output URV unit | C | UNITS |
| 118gu | Dgtl temp output URV unit | F | UNITS |
| 119a | Digital meas tag no |  |  |
| 119b | Meas-Digital output | CALIBRATION/TEST DESC |  |
| 119c | Digital meas LRV | 0 |  |
| 119cu | Digital meas LRV units | % | UNITS |
| 119cu | Digital meas LRV units | kg/d | UNITS |
| 119cu | Digital meas LRV units | kg/h | UNITS |
| 119cu | Digital meas LRV units | kg/min | UNITS |
| 119cu | Digital meas LRV units | kg/s | UNITS |
| 119cu | Digital meas LRV units | lb/d | UNITS |
| 119cu | Digital meas LRV units | lb/h | UNITS |
| 119cu | Digital meas LRV units | lb/min | UNITS |
| 119cu | Digital meas LRV units | lb/s | UNITS |
| 119d | Digital meas URV |  |  |
| 119du | Digital meas URV units | % | UNITS |
| 119du | Digital meas URV units | kg/d | UNITS |
| 119du | Digital meas URV units | kg/h | UNITS |
| 119du | Digital meas URV units | kg/min | UNITS |
| 119du | Digital meas URV units | kg/s | UNITS |
| 119du | Digital meas URV units | lb/d | UNITS |
| 119du | Digital meas URV units | lb/h | UNITS |
| 119du | Digital meas URV units | lb/min | UNITS |
| 119du | Digital meas URV units | lb/s | UNITS |
| 119e | Digital meas signal action | direct |  |
| 119e | Digital meas signal action | reverse |  |
| 119f | Digital meas output LRV | 0 |  |
| 119fu | Dgtl meas output LRV unit | % | UNITS |
| 119fu | Dgtl meas output LRV unit | kg/d | UNITS |
| 119fu | Dgtl meas output LRV unit | kg/h | UNITS |
| 119fu | Dgtl meas output LRV unit | kg/min | UNITS |
| 119fu | Dgtl meas output LRV unit | kg/s | UNITS |
| 119fu | Dgtl meas output LRV unit | lb/d | UNITS |
| 119fu | Dgtl meas output LRV unit | lb/h | UNITS |
| 119fu | Dgtl meas output LRV unit | lb/min | UNITS |
| 119fu | Dgtl meas output LRV unit | lb/s | UNITS |
| 119g | Digital meas output URV |  |  |
| 119gu | Dgtl meas output URV unit | % | UNITS |
| 119gu | Dgtl meas output URV unit | kg/d | UNITS |
| 119gu | Dgtl meas output URV unit | kg/h | UNITS |
| 119gu | Dgtl meas output URV unit | kg/min | UNITS |
| 119gu | Dgtl meas output URV unit | kg/s | UNITS |
| 119gu | Dgtl meas output URV unit | lb/d | UNITS |
| 119gu | Dgtl meas output URV unit | lb/h | UNITS |
| 119gu | Dgtl meas output URV unit | lb/min | UNITS |
| 119gu | Dgtl meas output URV unit | lb/s | UNITS |
| 120a | Digital density tag no |  |  |
| 120b | Density-Digital output | CALIBRATION/TEST DESC |  |
| 120c | Digital density LRV |  |  |
| 120cu | Digital Density LRV units | g/cm3 | UNITS |
| 120cu | Digital Density LRV units | lb/ft3 | UNITS |
| 120d | Digital Density URV |  |  |
| 120du | Digital Density URV units | g/cm3 | UNITS |
| 120du | Digital Density URV units | lb/ft3 | UNITS |
| 120e | Digital Density action | direct |  |
| 120e | Digital Density action | reverse |  |
| 120f | Digital Density output LRV |  |  |
| 120fu | Dgtl density output LRV unit | g/cm3 | UNITS |
| 120fu | Dgtl density output LRV unit | lb/ft3 | UNITS |
| 120g | Digital Density output URV |  |  |
| 120gu | Dgtl density output URV unit | g/cm3 | UNITS |
| 120gu | Dgtl density output URV unit | lb/ft3 | UNITS |
| 121b | Test pressure | CALIBRATION/TEST DESC |  |
| 121d | Test pressure URV |  |  |
| 121du | Test pressure URV units | psig | UNITS |
| 122 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 124a | Component type | coriolis flowmeter |  |
| 124b | Manufacturer |  | MANUFACTURER |
| 124c | Model number |  | MODEL NUMBER |
| 125a | Component type | coriolis flow transmitter |  |
| 126a | Component type | totalizer indicator |  |