| Pick List 20F2361 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | BODY OR FITTING | SECTION TITLE |  |
| 012 | Body/Fitting type | compression fitting |  |
| 012 | Body/Fitting type | flanged insertion |  |
| 012 | Body/Fitting type | hex fitting |  |
| 012 | Body/Fitting type | in-line body |  |
| 012 | Body/Fitting type | in-line pipe spool |  |
| 012 | Body/Fitting type | in-line tubing spool |  |
| 012 | Body/Fitting type | in-line with tee |  |
| 012 | Body/Fitting type | packing gland assembly |  |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/8 in | NOMINAL SIZE |
| 013b | Process conn nominal rating | cl 150 |  |
| 013b | Process conn nominal rating | cl 300 |  |
| 014a | Process conn termn type | adaptor | END CONNECTION CATEGORY |
| 014a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | BSPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | BSPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | flat duct | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | RF | END CONNECTION TYPE |
| 014b | Process conn termn style | RTJ | END CONNECTION TYPE |
| 014b | Process conn termn style | sanitary | END CONNECTION TYPE |
| 014b | Process conn termn style | tri-clamp | END CONNECTION TYPE |
| 015 | Packing gland nom rating | 170 bar (g) |  |
| 015 | Packing gland nom rating | 250 psig |  |
| 015 | Packing gland nom rating | 2500 psig |  |
| 015 | Packing gland nom rating | 3.5 bar (g) |  |
| 015 | Packing gland nom rating | 35 bar (g) |  |
| 015 | Packing gland nom rating | 50 psig |  |
| 015 | Packing gland nom rating | 500 psig |  |
| 015 | Packing gland nom rating | 60 psig |  |
| 015 | Packing gland nom rating | NA |  |
| 016 | Mounting orientation | flow bottom to top |  |
| 016 | Mounting orientation | flow left to right |  |
| 016 | Mounting orientation | flow right to left |  |
| 016 | Mounting orientation | flow top to bottom |  |
| 017 | Body/Fitting material | 303 SST | MATERIAL |
| 017 | Body/Fitting material | 304 SST | MATERIAL |
| 017 | Body/Fitting material | 316 SST | MATERIAL |
| 017 | Body/Fitting material | 316 Ti SST | MATERIAL |
| 017 | Body/Fitting material | hastelloy C | MATERIAL |
| 017 | Body/Fitting material | hastelloy C-276 | MATERIAL |
| 017 | Body/Fitting material | monel 400 | MATERIAL |
| 017 | Body/Fitting material | polypropylene | MATERIAL |
| 017 | Body/Fitting material | PVDF | MATERIAL |
| 017 | Body/Fitting material | titanium grade 2 | MATERIAL |
| 018 | Flange material | 316 SST | MATERIAL |
| 018 | Flange material | carbon steel | MATERIAL |
| 018 | Flange material | hastelloy C-276 | MATERIAL |
| 018 | Flange material | monel 400 | MATERIAL |
| 018 | Flange material | titanium grade 2 | MATERIAL |
| 019 | Compression ferrule matl | 316 SST | MATERIAL |
| 019 | Compression ferrule matl | hastelloy C | MATERIAL |
| 019 | Compression ferrule matl | nylon | MATERIAL |
| 019 | Compression ferrule matl | teflon | MATERIAL |
| 019 | Compression ferrule matl | teflon | MATERIAL |
| 020a | Defined attribute 1 name | Mounting hardware | DEFINABLE ATTRIBUTE NAME |
| 020a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 1 data | bracket | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 021b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 022 | SENSING ELEMENT | SECTION TITLE |  |
| 023 | Sensor type | bi-directional detection |  |
| 023 | Sensor type | dual element |  |
| 023 | Sensor type | three- element |  |
| 024a | Temperature LRL | -100 |  |
| 024a | Temperature LRL | -40 |  |
| 024a | Temperature LRL | -73 |  |
| 024au | Temperature LRL units | °C | UNITS |
| 024au | Temperature LRL units | °F | UNITS |
| 024au | Temperature LRL units | C | UNITS |
| 024au | Temperature LRL units | F | UNITS |
| 024b | Temperature URL | 121 |  |
| 024b | Temperature URL | 250 |  |
| 024b | Temperature URL | 260 |  |
| 024b | Temperature URL | 454 |  |
| 024b | Temperature URL | 500 |  |
| 024b | Temperature URL | 850 |  |
| 024bu | Temperature URL units | °C | UNITS |
| 024bu | Temperature URL units | °F | UNITS |
| 024bu | Temperature URL units | C | UNITS |
| 024bu | Temperature URL units | F | UNITS |
| 025a | Flow Lower Range-Limit |  |  |
| 025au | Flow Lower Range-Limit units | cm3/s | UNITS |
| 025au | Flow Lower Range-Limit units | ft/s | UNITS |
| 025au | Flow Lower Range-Limit units | m/s | UNITS |
| 025au | Flow Lower Range-Limit units | ncmh | UNITS |
| 025au | Flow Lower Range-Limit units | nmps | UNITS |
| 025au | Flow Lower Range-Limit units | sfps | UNITS |
| 025au | Flow Lower Range-Limit units | smps | UNITS |
| 025b | Flow Upper Range-Limit |  |  |
| 025bu | Flow Upper Range-Limit units | cm3/s | UNITS |
| 025bu | Flow Upper Range-Limit units | ft/s | UNITS |
| 025bu | Flow Upper Range-Limit units | m/s | UNITS |
| 025bu | Flow Upper Range-Limit units | ncmh | UNITS |
| 025bu | Flow Upper Range-Limit units | nmps | UNITS |
| 025bu | Flow Upper Range-Limit units | sfps | UNITS |
| 025bu | Flow Upper Range-Limit units | smps | UNITS |
| 026 | Heater power rating | 0.25 |  |
| 026 | Heater power rating | 0.5 |  |
| 026 | Heater power rating | 0.6 |  |
| 026 | Heater power rating | 0.75 |  |
| 026 | Heater power rating | 1.0 |  |
| 026 | Heater power rating | 1.5 |  |
| 026 | Heater power rating | 1.7 |  |
| 026 | Heater power rating | 2.2 |  |
| 026 | Heater power rating | 3.0 |  |
| 026 | Heater power rating | 5.0 |  |
| 026u | Heater power rating units | W | UNITS |
| 027 | Max/Fixed insertion lg | 0.9 |  |
| 027 | Max/Fixed insertion lg | 1.2 |  |
| 027 | Max/Fixed insertion lg | 1.25 |  |
| 027 | Max/Fixed insertion lg | 1.37 |  |
| 027 | Max/Fixed insertion lg | 1.93 |  |
| 027 | Max/Fixed insertion lg | 12.0 |  |
| 027 | Max/Fixed insertion lg | 15.2 |  |
| 027 | Max/Fixed insertion lg | 18.0 |  |
| 027 | Max/Fixed insertion lg | 2.0 |  |
| 027 | Max/Fixed insertion lg | 2.75 |  |
| 027 | Max/Fixed insertion lg | 22.9 |  |
| 027 | Max/Fixed insertion lg | 23 |  |
| 027 | Max/Fixed insertion lg | 30 |  |
| 027 | Max/Fixed insertion lg | 30.5 |  |
| 027 | Max/Fixed insertion lg | 35.7 |  |
| 027 | Max/Fixed insertion lg | 4.0 |  |
| 027 | Max/Fixed insertion lg | 5.1 |  |
| 027 | Max/Fixed insertion lg | 6.0 |  |
| 027 | Max/Fixed insertion lg | 9.0 |  |
| 027u | Insertion length units | in | UNITS |
| 027u | Insertion length units | mm | UNITS |
| 028 | Wetted material | 303 SST | MATERIAL |
| 028 | Wetted material | 304 SST | MATERIAL |
| 028 | Wetted material | 316 SST | MATERIAL |
| 028 | Wetted material | 316 Ti SST | MATERIAL |
| 028 | Wetted material | hastelloy C-276 | MATERIAL |
| 028 | Wetted material | monel 400 | MATERIAL |
| 028 | Wetted material | polypropylene | MATERIAL |
| 028 | Wetted material | titanium grade 2 | MATERIAL |
| 029a | Defined attribute 1 name | Integral orifice | DEFINABLE ATTRIBUTE NAME |
| 029a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 1 data | 0.094 in dia orifice | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030a | Defined attribute 2 name | Surface finish | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 2 data | electro-polish | DEFINABLE ATTRIBUTE VALUE |
| 030b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031 | LEAD WIRE AND EXTENSION | SECTION TITLE |  |
| 032 | Extension type | integral cable |  |
| 032 | Extension type | interconnection cable |  |
| 033 | Cable length | 0.5 |  |
| 033 | Cable length | 10 |  |
| 033 | Cable length | 100 |  |
| 033 | Cable length | 25 |  |
| 033 | Cable length | 250 |  |
| 033 | Cable length | 50 |  |
| 033 | Cable length | 500 |  |
| 033u | Cable length units | ft | UNITS |
| 033u | Cable length units | m | UNITS |
| 033u | Cable length units | NA | UNITS |
| 034 | Max cable operating temp |  |  |
| 034u | Max cable operating temp units | °C | UNITS |
| 034u | Max cable operating temp units | °F | UNITS |
| 034u | Max cable operating temp units | C | UNITS |
| 034u | Max cable operating temp units | F | UNITS |
| 035 | Signal termination type | pigtail leads | END CONNECTION TYPE |
| 036 | Cable jacket material | kapton | MATERIAL |
| 036 | Cable jacket material | kapton | MATERIAL |
| 036 | Cable jacket material | NA | MATERIAL |
| 036 | Cable jacket material | polyimide | MATERIAL |
| 036 | Cable jacket material | PVC | MATERIAL |
| 036 | Cable jacket material | teflon | MATERIAL |
| 036 | Cable jacket material | teflon | MATERIAL |
| 037a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 037b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 038 | CONNECTION HEAD | SECTION TITLE |  |
| 039 | Housing type | explosion proof enclosure | HOUSING |
| 039 | Housing type | NA | HOUSING |
| 039 | Housing type | NEMA type | HOUSING |
| 039 | Housing type | weatherproof enclosure | HOUSING |
| 040 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 040 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 040 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 040 | Enclosure type no/class | IP 66 | ENCLOSURE TYPE NO/CLASS |
| 040 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 041 | Mounting location/type | integral socket mount | MOUNTING POSITION |
| 041 | Mounting location/type | NA | MOUNTING POSITION |
| 041 | Mounting location/type | surface mounted | MOUNTING POSITION |
| 042 | Enclosure material | aluminum | MATERIAL |
| 042 | Enclosure material | carbon steel | MATERIAL |
| 042 | Enclosure material | fiberglass | MATERIAL |
| 042 | Enclosure material | NA | MATERIAL |
| 042 | Enclosure material | nylon | MATERIAL |
| 042 | Enclosure material | polypropylene | MATERIAL |
| 042 | Enclosure material | powder coated aluminum | MATERIAL |
| 042 | Enclosure material | series 300 SST | MATERIAL |
| 043a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 043b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 044 | SWITCH MECHANISM | SECTION TITLE |  |
| 045 | Housing type | explosion proof enclosure | HOUSING |
| 045 | Housing type | NA | HOUSING |
| 045 | Housing type | NEMA type | HOUSING |
| 045 | Housing type | weatherproof enclosure | HOUSING |
| 046 | Output signal type | NPN normally closed | SIGNAL |
| 046 | Output signal type | NPN normally open | SIGNAL |
| 046 | Output signal type | PNP normally closed | SIGNAL |
| 046 | Output signal type | PNP normally open | SIGNAL |
| 046 | Output signal type | relay | SIGNAL |
| 046 | Output signal type | relay, analog | SIGNAL |
| 047 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | IP 66 | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 048 | Signal power source | 100 V (ac) 50/60 Hz |  |
| 048 | Signal power source | 115 V (ac) 50/60 Hz |  |
| 048 | Signal power source | 120 V (ac) 50/60 Hz |  |
| 048 | Signal power source | 18-30 V (dc) |  |
| 048 | Signal power source | 22-30 V (dc) |  |
| 048 | Signal power source | 230 V (ac) 50/60 Hz |  |
| 048 | Signal power source | 24 V (ac) 50/60 Hz |  |
| 048 | Signal power source | 24 V (dc) |  |
| 048 | Signal power source | 240 V (ac) 50/60 Hz |  |
| 049a | Contacts arrangement | DPDT |  |
| 049a | Contacts arrangement | SPDT |  |
| 049a | Contacts arrangement | SPST |  |
| 049b | Contacts quantity | 1 |  |
| 049b | Contacts quantity | 2 |  |
| 050 | Integral indicator style | LED |  |
| 050 | Integral indicator style | NA |  |
| 050 | Integral indicator style | xenon tube |  |
| 051 | Signal termination type | NA | END CONNECTION TYPE |
| 051 | Signal termination type | pigtail leads | END CONNECTION TYPE |
| 051 | Signal termination type | plug-in connector | END CONNECTION TYPE |
| 051 | Signal termination type | terminal block | END CONNECTION TYPE |
| 052 | Cert/Approval type | CE marked | CERTIFICATION |
| 052 | Cert/Approval type | CENELEC hazardous | CERTIFICATION |
| 052 | Cert/Approval type | CSA general purpose | CERTIFICATION |
| 052 | Cert/Approval type | CSA hazardous | CERTIFICATION |
| 052 | Cert/Approval type | FM general purpose | CERTIFICATION |
| 052 | Cert/Approval type | FM hazardous | CERTIFICATION |
| 052 | Cert/Approval type | stainless steel tag | CERTIFICATION |
| 053 | Mounting location/type | integral socket mount | MOUNTING POSITION |
| 053 | Mounting location/type | NA | MOUNTING POSITION |
| 053 | Mounting location/type | rack mount | MOUNTING POSITION |
| 053 | Mounting location/type | surface mount | MOUNTING POSITION |
| 054 | Failure/Diagnostic action | field selectable |  |
| 054 | Failure/Diagnostic action | fixed fail-safe |  |
| 055 | Calibration mode | NA |  |
| 056 | Measurement compensation | NA |  |
| 056 | Measurement compensation | temperature |  |
| 057 | Enclosure material | aluminum | MATERIAL |
| 057 | Enclosure material | carbon steel | MATERIAL |
| 057 | Enclosure material | ferroalloy | MATERIAL |
| 057 | Enclosure material | fiberglass | MATERIAL |
| 057 | Enclosure material | NA | MATERIAL |
| 057 | Enclosure material | nylon | MATERIAL |
| 057 | Enclosure material | polypropylene | MATERIAL |
| 057 | Enclosure material | powder coated aluminum | MATERIAL |
| 057 | Enclosure material | series 300 SST | MATERIAL |
| 058a | Defined attribute 1 name | Circuit board protection | DEFINABLE ATTRIBUTE NAME |
| 058a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 058b | Defined attribute 1 data | anti-fungus, waterproof | DEFINABLE ATTRIBUTE VALUE |
| 058b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 059a | Defined attribute 2 name | Housing treatment | DEFINABLE ATTRIBUTE NAME |
| 059a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 2 data | epoxy coated | DEFINABLE ATTRIBUTE VALUE |
| 059b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp |  | PRESSURE |
| 061au | Design pressure units | bar (g) | UNITS |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature |  | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062 | Min working temperature |  | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature |  | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063a | Flow rate accuracy | 2 |  |
| 063a | Flow rate accuracy | 5 |  |
| 063b | Flow rate accuracy ref | % reading |  |
| 063b | Flow rate accuracy ref | % setpoint |  |
| 063b | Flow rate accuracy ref | ft/s |  |
| 063b | Flow rate accuracy ref | m/s |  |
| 064 | Temperature accuracy | 1.1 |  |
| 064 | Temperature accuracy | 2.0 |  |
| 064u | Temperature accuracy units | °C | UNITS |
| 064u | Temperature accuracy units | °F | UNITS |
| 064u | Temperature accuracy units | C | UNITS |
| 064u | Temperature accuracy units | F | UNITS |
| 065a | Flow repeatability | 0.5 |  |
| 065a | Flow repeatability | 1.0 |  |
| 065a | Flow repeatability | 2.0 |  |
| 065a | Flow repeatability | 5.0 |  |
| 065b | Repeatability reference | % range |  |
| 065b | Repeatability reference | % reading |  |
| 066 | Max flow response time |  |  |
| 066u | Response time units | ms | UNITS |
| 066u | Response time units | s | UNITS |
| 067a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 067au | Min amb working temp units | °C | UNITS |
| 067au | Min amb working temp units | °F | UNITS |
| 067au | Min amb working temp units | C | UNITS |
| 067au | Min amb working temp units | F | UNITS |
| 067b | Max ambient working temp | 140 | MAX AMBIENT TEMPERATURE |
| 067b | Max ambient working temp | 60 | MAX AMBIENT TEMPERATURE |
| 067bu | Max amb temperature units | °C | UNITS |
| 067bu | Max amb temperature units | °F | UNITS |
| 067bu | Max amb temperature units | C | UNITS |
| 067bu | Max amb temperature units | F | UNITS |
| 068a | Contacts ac rating | 1 | DEVICE RATING |
| 068a | Contacts ac rating | 2 | DEVICE RATING |
| 068a | Contacts ac rating | 6 | DEVICE RATING |
| 068au | AC rating current units | A | UNITS |
| 068b | AC rating max voltage | 115 | DEVICE RATING |
| 068b | AC rating max voltage | 230 | DEVICE RATING |
| 068b | AC rating max voltage | 250 | DEVICE RATING |
| 068bu | AC max voltage units | V | UNITS |
| 069a | Contacts dc rating | 0.3 | DEVICE RATING |
| 069a | Contacts dc rating | 1 | DEVICE RATING |
| 069a | Contacts dc rating | 10 | DEVICE RATING |
| 069a | Contacts dc rating | 2 | DEVICE RATING |
| 069a | Contacts dc rating | 5 | DEVICE RATING |
| 069a | Contacts dc rating | 6 | DEVICE RATING |
| 069au | DC rating current units | A | UNITS |
| 069b | DC rating max voltage | 24 | DEVICE RATING |
| 069bu | DC max voltage units | V | UNITS |
| 070 | Max sensor to receiver lg |  |  |
| 070u | Max length units | ft | UNITS |
| 070u | Max length units | m | UNITS |
| 071a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 072a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 073a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083 | ACCESSORIES | SECTION TITLE |  |
| 084 | Remote relay | 0.3 A, 115 V ac |  |
| 084 | Remote relay | NA |  |
| 085 | Flow straightener | field kit |  |
| 085 | Flow straightener | flanged meter run |  |
| 085 | Flow straightener | insertion sleeve |  |
| 085 | Flow straightener | NA |  |
| 086 | Enclosure heating kit | NA |  |
| 087a | Defined attribute 1 name | Calibrator | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 091 | Custom tag | adhesive label |  |
| 091 | Custom tag | label,stainless steel tag |  |
| 091 | Custom tag | NA |  |
| 091 | Custom tag | sst permanent attached |  |
| 091 | Custom tag | sst wired-on |  |
| 092 | Reference specification | NA | REFERENCE SPECIFICATION |
| 093 | Special preparation | oxygen service |  |
| 094 | Compliance standard | 3A Sanitary | NACE STANDARD |
| 094 | Compliance standard | NA | NACE STANDARD |
| 095 | Calibration report | air equivalent |  |
| 095 | Calibration report | manufacturer standard |  |
| 095 | Calibration report | NA |  |
| 095 | Calibration report | special fluid |  |
| 095 | Calibration report | water equivalent |  |
| 096a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 096b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 097a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099 | PHYSICAL DATA | SECTION TITLE |  |
| 100 | Estimated weight |  |  |
| 100u | Weight units | kg | UNITS |
| 100u | Weight units | lb | UNITS |
| 101 | Face-to-face dimension |  | FACE-TO-FACE DIMENSION |
| 101u | Face-to-face dim units | in | UNITS |
| 101u | Face-to-face dim units | mm | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag/Functional ident |  |  |
| 112b | Flow setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 112c | Setpoint 1 LRV |  | LOWER RANGE-VALUE |
| 112cu | Setpoint 1 LRV units | cm3/min | UNITS |
| 112cu | Setpoint 1 LRV units | cm3/s | UNITS |
| 112cu | Setpoint 1 LRV units | scfh | UNITS |
| 112cu | Setpoint 1 LRV units | scfm | UNITS |
| 112d | Setpoint 1 URV |  | UPPER RANGE-VALUE |
| 112du | Setpoint 1 URV units | cm3/min | UNITS |
| 112du | Setpoint 1 URV units | cm3/s | UNITS |
| 112du | Setpoint 1 URV units | scfh | UNITS |
| 112du | Setpoint 1 URV units | scfm | UNITS |
| 112e | Setpoint 1 signal action | NC |  |
| 112e | Setpoint 1 signal action | NO |  |
| 112f | Setpoint 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112fu | Setpoint 1 output LRV units | V | UNITS |
| 112g | Setpoint 1 output URV | 120 | UPPER RANGE-VALUE |
| 112g | Setpoint 1 output URV | 24 | UPPER RANGE-VALUE |
| 112gu | Setpoint 1 output URV units | V | UNITS |
| 113a | Setpoint 2 tag no |  |  |
| 113b | Flow setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 113c | Setpoint 2 LRV |  | LOWER RANGE-VALUE |
| 113cu | Setpoint 2 LRV units | cm3/min | UNITS |
| 113cu | Setpoint 2 LRV units | cm3/s | UNITS |
| 113cu | Setpoint 2 LRV units | scfh | UNITS |
| 113cu | Setpoint 2 LRV units | scfm | UNITS |
| 113d | Setpoint 2 URV |  | UPPER RANGE-VALUE |
| 113du | Setpoint 2 URV units | cm3/min | UNITS |
| 113du | Setpoint 2 URV units | cm3/s | UNITS |
| 113du | Setpoint 2 URV units | scfh | UNITS |
| 113du | Setpoint 2 URV units | scfm | UNITS |
| 113e | Setpoint 2 signal action | NC |  |
| 113e | Setpoint 2 signal action | NO |  |
| 113f | Setpoint 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113fu | Setpoint 2 output LRV units | V | UNITS |
| 113g | Setpoint 2 output URV | 120 | UPPER RANGE-VALUE |
| 113g | Setpoint 2 output URV | 24 | UPPER RANGE-VALUE |
| 113gu | Setpoint 2 output URV units | V | UNITS |
| 114a | Temp setpoint tag no |  |  |
| 114b | Temp setpoint-Output | CALIBRATION/TEST DESC |  |
| 114c | Temp setpoint LRV |  | LOWER RANGE-VALUE |
| 114cu | Temp setpoint LRV units | °C | UNITS |
| 114cu | Temp setpoint LRV units | °F | UNITS |
| 114cu | Temp setpoint LRV units | C | UNITS |
| 114cu | Temp setpoint LRV units | F | UNITS |
| 114d | Temp setpoint URV |  | UPPER RANGE-VALUE |
| 114du | Temp setpoint URV units | °C | UNITS |
| 114du | Temp setpoint URV units | °F | UNITS |
| 114du | Temp setpoint URV units | C | UNITS |
| 114du | Temp setpoint URV units | F | UNITS |
| 114e | Temp signal action | NC |  |
| 114e | Temp signal action | NO |  |
| 114f | Temp output LRV | 0 | LOWER RANGE-VALUE |
| 114fu | Temp output LRV units | V | UNITS |
| 114g | Temp output URV | 120 | UPPER RANGE-VALUE |
| 114g | Temp output URV | 24 | UPPER RANGE-VALUE |
| 114gu | Temp output URV units | V | UNITS |
| 115a | Analog temp tag 1 |  |  |
| 115b | Temp-Analog output 1 | CALIBRATION/TEST DESC |  |
| 115c | Analog temp LRV |  | LOWER RANGE-VALUE |
| 115cu | Analog temp LRV units | °C | UNITS |
| 115cu | Analog temp LRV units | °F | UNITS |
| 115cu | Analog temp LRV units | C | UNITS |
| 115cu | Analog temp LRV units | F | UNITS |
| 115d | Analog temp URV |  | UPPER RANGE-VALUE |
| 115du | Analog temp URV units | °C | UNITS |
| 115du | Analog temp URV units | °F | UNITS |
| 115du | Analog temp URV units | C | UNITS |
| 115du | Analog temp URV units | F | UNITS |
| 115e | Analog temp signal action | direct |  |
| 115e | Analog temp signal action | reverse |  |
| 115f | Analog temp output LRV | 0 | LOWER RANGE-VALUE |
| 115fu | Anlg temp output LRV units | Ohm | UNITS |
| 115fu | Anlg temp output LRV units | V | UNITS |
| 115g | Analog temp output URV | 10 | UPPER RANGE-VALUE |
| 115gu | Anlg temp output URV units | Ohm | UNITS |
| 115gu | Anlg temp output URV units | V | UNITS |
| 116a | Flow analog output tag 1 |  |  |
| 116b | Flow-Analog output 1 | CALIBRATION/TEST DESC |  |
| 116c | Analog flow 1 LRV |  | LOWER RANGE-VALUE |
| 116cu | Analog flow 1 LRV units | cm3/min | UNITS |
| 116cu | Analog flow 1 LRV units | cm3/s | UNITS |
| 116cu | Analog flow 1 LRV units | scfh | UNITS |
| 116cu | Analog flow 1 LRV units | scfm | UNITS |
| 116d | Analog flow 1 URV |  | UPPER RANGE-VALUE |
| 116du | Analog flow 1 URV units |  | UNITS |
| 116du | Analog flow 1 URV units | cm3/min | UNITS |
| 116du | Analog flow 1 URV units | cm3/s | UNITS |
| 116du | Analog flow 1 URV units | scfh | UNITS |
| 116du | Analog flow 1 URV units | scfm | UNITS |
| 116e | Analog flow 1 signal action | direct |  |
| 116e | Analog flow 1 signal action | reverse |  |
| 116f | Analog flow 1 output LRV | 0 | LOWER RANGE-VALUE |
| 116fu | Anlg flow 1 output LRV units | V | UNITS |
| 116g | Analog flow 1 output URV | 10 | UPPER RANGE-VALUE |
| 116gu | Anlg flow 1 output URV units | V | UNITS |
| 117a | Analog flow tag |  |  |
| 117b | Flow-Analog output |  |  |
| 117c | Analog flow LRV |  | LOWER RANGE-VALUE |
| 117cu | Analog flow LRV units |  | UNITS |
| 117d | Analog flow URV |  | UPPER RANGE-VALUE |
| 117du | Analog flow URV units |  | UNITS |
| 117e | Analog flow signal action |  |  |
| 117f | Analog flow output LRV |  | LOWER RANGE-VALUE |
| 117fu | Anlg flow output LRV units |  | UNITS |
| 117g | Analog flow output URV |  | UPPER RANGE-VALUE |
| 117gu | Anlg flow output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATION | SECTION TITLE |  |
| 120a | Component type | thermal flow element |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | thermal mass flow switch |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 122a | Component type | thermal mass flow switch |  |
| 122b | Manufacturer |  | MANUFACTURER |
| 122c | Model number |  | MODEL NUMBER |
| 123a | Component type | thermal mass flow switch |  |
| 123b | Manufacturer |  | MANUFACTURER |
| 123c | Model number |  | MODEL NUMBER |