| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | RADIATION SOURCE | SECTION TITLE |  |
| 012 | Source type | point source |  |
| 012 | Source type | strip source |  |
| 013 | Number of sources | 1 |  |
| 013 | Number of sources | 2 |  |
| 013 | Number of sources | NA |  |
| 014 | Source size | 10 mCi |  |
| 014 | Source size | 120 mCi |  |
| 014 | Source size | 16 mCi |  |
| 014 | Source size | 1600 mCi |  |
| 014 | Source size | 7.5 mCi |  |
| 015 | Fireproof design type | NRC approved |  |
| 015 | Fireproof design type | NA |  |
| 016 | Shutter style | manual |  |
| 016 | Shutter style | pneumatic actuator |  |
| 016 | Shutter style | rotary |  |
| 016 | Shutter style | NA |  |
| 017 | Position switch type | single switch-SPDT | POSITION SWITCH |
| 017 | Position switch type | NA | POSITION SWITCH |
| 018 | Mounting location/type | housing support plate | MOUNTING POSITION |
| 018 | Mounting location/type | portable | MOUNTING POSITION |
| 018 | Mounting location/type | well | MOUNTING POSITION |
| 018 | Mounting location/type | NA | MOUNTING POSITION |
| 019 | Collimation angle | 0 |  |
| 019 | Collimation angle | 15 |  |
| 019 | Collimation angle | 30 |  |
| 019 | Collimation angle | 45 deg |  |
| 019 | Collimation angle | NA |  |
| 020 | Source material | cesium 137 | MATERIAL |
| 020 | Source material | cobalt 60 | MATERIAL |
| 020 | Source material | NA | MATERIAL |
| 021 | Housing material | carbon steel-lead | MATERIAL |
| 021 | Housing material | cast iron | MATERIAL |
| 021 | Housing material | ductile iron | MATERIAL |
| 021 | Housing material | NA | MATERIAL |
| 022a | Defined attribute 1 name | position indicator | DEFINABLE ATTRIBUTE NAME |
| 022a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 022b | Defined attribute 1 data | beacon | DEFINABLE ATTRIBUTE VALUE |
| 022b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 023a | Defined attribute 2 name | interlock type | DEFINABLE ATTRIBUTE NAME |
| 023a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 023b | Defined attribute 2 data | key lock | DEFINABLE ATTRIBUTE VALUE |
| 023b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 024 | SENSING ELEMENT | SECTION TITLE |  |
| 025 | Detector type | geiger-Mueller tube |  |
| 025 | Detector type | strip scintillator |  |
| 025 | Detector type | thermal neutron |  |
| 026 | Detector style | fixed position |  |
| 026 | Detector style | scan position |  |
| 026 | Detector style | NA |  |
| 027 | Number of detectors |  |  |
| 027 | Number of detectors | 1 |  |
| 027 | Number of detectors | 2 |  |
| 027 | Number of detectors | 6 |  |
| 027 | Number of detectors | NA |  |
| 028 | Active length | 5.8 |  |
| 028 | Active length | 8 |  |
| 028 | Active length | 203 |  |
| 028u | Active length units | ft | UNITS |
| 028u | Active length units | in | UNITS |
| 028u | Active length units | mm | UNITS |
| 029a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031 | CONNECTION HEAD OR PREAMPLIFIER | SECTION TITLE |  |
| 032 | Type | connection Head |  |
| 032 | Type | indicator |  |
| 032 | Type | preamplifier |  |
| 032 | Type | NA |  |
| 033 | Housing type | ep Water cooled | HOUSING |
| 033 | Housing type | explosion proof enclosure | HOUSING |
| 033 | Housing type | NA | HOUSING |
| 034 | Measurement compensation | source decay |  |
| 034 | Measurement compensation | NA |  |
| 035 | Output signal type | 0-10 kHz Frequency | SIGNAL |
| 035 | Output signal type | analog current | SIGNAL |
| 035 | Output signal type | NA | SIGNAL |
| 036 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 037 | Signal power source | battery D-cells |  |
| 037 | Signal power source | line 115 V(ac) 60 Hz |  |
| 037 | Signal power source | line 230 V(ac) 60 Hz |  |
| 037 | Signal power source | NA |  |
| 038 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 038 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 038 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 038 | Cert/Approval type | NA | CERTIFICATION |
| 039 | Mounting location/type | housing support plate | MOUNTING POSITION |
| 039 | Mounting location/type | NA | MOUNTING POSITION |
| 040 | Enclosure material | carbon steel | MATERIAL |
| 040 | Enclosure material | PVT | MATERIAL |
| 040 | Enclosure material | stainless steel | MATERIAL |
| 040 | Enclosure material | NA | MATERIAL |
| 041a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 041b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 042a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 042b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 043 | TRANSMITTER w/wo SWITCHES | SECTION TITLE |  |
| 044 | Housing type | ep Water cooled | HOUSING |
| 044 | Housing type | explosion proof enclosure | HOUSING |
| 044 | Housing type | wp enclosure | HOUSING |
| 044 | Housing type | wp enclosure w/window | HOUSING |
| 045 | Measurement compensation | source decay |  |
| 045 | Measurement compensation | NA |  |
| 046 | Output signal type | analog current | SIGNAL |
| 046 | Output signal type | digital RS-422/485 | SIGNAL |
| 046 | Output signal type | digital RS-432C | SIGNAL |
| 046 | Output signal type | fiber optics | SIGNAL |
| 046 | Output signal type | pulse | SIGNAL |
| 046 | Output signal type | smart multivariable | SIGNAL |
| 046 | Output signal type | NA | SIGNAL |
| 047 | Enclosure type no/class | 3 | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 047 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 048 | Characteristic curve | linear to measurement | CHARACTERISTIC CURVE |
| 048 | Characteristic curve | linear with volume | CHARACTERISTIC CURVE |
| 048 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 049 | Digital communication std | DE protocol |  |
| 049 | Digital communication std | enraf bi-phase mark |  |
| 049 | Digital communication std | foundation fieldbus |  |
| 049 | Digital communication std | HART protocol |  |
| 049 | Digital communication std | modbus |  |
| 049 | Digital communication std | profibus |  |
| 049 | Digital communication std | RS232C binary/ASCII |  |
| 049 | Digital communication std | RS485 binary/ASCII |  |
| 049 | Digital communication std | NA |  |
| 050 | Signal power source | line 115 V(ac) 60 Hz |  |
| 050 | Signal power source | line 230 V(ac) 60 Hz |  |
| 050 | Signal power source | NA |  |
| 051a | Contacts arrangement | DPDT |  |
| 051a | Contacts arrangement | SPST |  |
| 051a | Contacts arrangement | NA |  |
| 051b | Contacts quantity | 0 |  |
| 051b | Contacts quantity | 1 |  |
| 052 | Failsafe style | fixed high |  |
| 052 | Failsafe style | fixed low |  |
| 052 | Failsafe style | NA |  |
| 053 | Integral indicator style | 8 Digit LED |  |
| 053 | Integral indicator style | allege meter |  |
| 053 | Integral indicator style | alphanumeric |  |
| 053 | Integral indicator style | LCD |  |
| 053 | Integral indicator style | NA |  |
| 054 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 054 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 054 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 054 | Cert/Approval type | NA | CERTIFICATION |
| 055 | Mounting location/type | housing plate | MOUNTING POSITION |
| 055 | Mounting location/type | wall mount | MOUNTING POSITION |
| 055 | Mounting location/type | NA | MOUNTING POSITION |
| 056 | Failure/Diagnostic action | alarm relay SPST |  |
| 056 | Failure/Diagnostic action | drive output low |  |
| 056 | Failure/Diagnostic action | flashing display |  |
| 056 | Failure/Diagnostic action | NA |  |
| 057 | Enclosure material | aluminum | MATERIAL |
| 057 | Enclosure material | carbon steel | MATERIAL |
| 057 | Enclosure material | NA | MATERIAL |
| 058a | Defined attribute 1 name | signal processing | DEFINABLE ATTRIBUTE NAME |
| 058b | Defined attribute 1 data | exponential filtering | DEFINABLE ATTRIBUTE VALUE |
| 059a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Level accuracy rating | 1.0 |  |
| 061b | Level accuracy ref base | % span |  |
| 061b | Level accuracy ref base | in |  |
| 062a | Density accuracy rating |  |  |
| 062b | Density accuracy ref base | % span |  |
| 063a | Min measurement span |  |  |
| 063au | Min meas span units | ft | UNITS |
| 063au | Min meas span units | in | UNITS |
| 063au | Min meas span units | mm | UNITS |
| 063b | Max measurement span |  |  |
| 063bu | Max meas span units | ft | UNITS |
| 063bu | Max meas span units | in | UNITS |
| 063bu | Max meas span units | mm | UNITS |
| 064 | Response time | .1 |  |
| 064 | Response time | .5 |  |
| 064u | Time units | min | UNITS |
| 064u | Time units | s | UNITS |
| 065a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 065au | Min amb working temp units | °C | UNITS |
| 065au | Min amb working temp units | °F | UNITS |
| 065au | Min amb working temp units | C | UNITS |
| 065au | Min amb working temp units | F | UNITS |
| 065b | Max ambient working temp | 70 | MAX AMBIENT TEMPERATURE |
| 065b | Max ambient working temp | 94 | MAX AMBIENT TEMPERATURE |
| 065b | Max ambient working temp | 158 | MAX AMBIENT TEMPERATURE |
| 065b | Max ambient working temp | 200 | MAX AMBIENT TEMPERATURE |
| 065bu | Max amb temperature units | °C | UNITS |
| 065bu | Max amb temperature units | °F | UNITS |
| 065bu | Max amb temperature units | C | UNITS |
| 065bu | Max amb temperature units | F | UNITS |
| 066a | Contacts ac rating | .6 | DEVICE RATING |
| 066a | Contacts ac rating | 2 | DEVICE RATING |
| 066a | Contacts ac rating | 10 | DEVICE RATING |
| 066a | Contacts ac rating | 14 | DEVICE RATING |
| 066au | AC rating current units | A | UNITS |
| 066b | AC rating max voltage | 125 | DEVICE RATING |
| 066b | AC rating max voltage | 240 | DEVICE RATING |
| 066b | AC rating max voltage | 250 | DEVICE RATING |
| 066bu | AC max voltage units | V | UNITS |
| 067a | Contacts dc rating | .6 | DEVICE RATING |
| 067a | Contacts dc rating | 2 | DEVICE RATING |
| 067a | Contacts dc rating | 8 | DEVICE RATING |
| 067au | DC rating current units | A | UNITS |
| 067b | DC rating max voltage | 24 | DEVICE RATING |
| 067b | DC rating max voltage | 28 | DEVICE RATING |
| 067b | DC rating max voltage | 30 | DEVICE RATING |
| 067b | DC rating max voltage | 110 | DEVICE RATING |
| 067b | DC rating max voltage | 220 | DEVICE RATING |
| 067bu | DC max voltage units | V | UNITS |
| 068 | Max sensor to receiver lg | 1.6 |  |
| 068 | Max sensor to receiver lg | 305 |  |
| 068 | Max sensor to receiver lg | 1000 |  |
| 068 | Max sensor to receiver lg | 1400 |  |
| 068 | Max sensor to receiver lg | 2500 |  |
| 068 | Max sensor to receiver lg | 5000 |  |
| 068u | Sensor-receiver lg units | ft | UNITS |
| 068u | Sensor-receiver lg units | km | UNITS |
| 068u | Sensor-receiver lg units | m | UNITS |
| 069a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 071a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | ACCESSORIES | SECTION TITLE |  |
| 086 | Connecting cables length |  |  |
| 086u | Cable length units | ft | UNITS |
| 086u | Cable length units | m | UNITS |
| 087 | Mounting hardware | shock mount |  |
| 087 | Mounting hardware | NA |  |
| 088 | Calibrator | NA |  |
| 089a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092a | Defined attribute 4 name | NA |  |
| 092b | Defined attribute 4 data | NA |  |
| 093 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 094 | Custom tag | fiber tag |  |
| 094 | Custom tag | sst permanent attached |  |
| 094 | Custom tag | sst wired-on |  |
| 094 | Custom tag | NA |  |
| 095 | Reference specification | NA | REFERENCE SPECIFICATION |
| 096 | Compliance standard | NA | NACE STANDARD |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall length |  |  |
| 102u | Length units | in | UNITS |
| 102u | Length units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in |  |
| 104a | Signal conn nominal size | 3/4 in |  |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog level tag |  |  |
| 112b | Level-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog level LRV | 0 |  |
| 112cu | Analog level LRV units | ft | UNITS |
| 112cu | Analog level LRV units | in | UNITS |
| 112cu | Analog level LRV units | mm | UNITS |
| 112d | Analog level URV |  |  |
| 112du | Analog level URV units | ft | UNITS |
| 112du | Analog level URV units | in | UNITS |
| 112du | Analog level URV units | mm | UNITS |
| 112e | Analog level signal action | direct |  |
| 112e | Analog level signal action | reverse |  |
| 112f | Analog level output LRV | 0 |  |
| 112f | Analog level output LRV | 1 |  |
| 112f | Analog level output LRV | 4 |  |
| 112f | Analog level output LRV | 10 |  |
| 112fu | Anlg level output LRV units | % | UNITS |
| 112fu | Anlg level output LRV units | ft | UNITS |
| 112fu | Anlg level output LRV units | galUS | UNITS |
| 112fu | Anlg level output LRV units | in | UNITS |
| 112fu | Anlg level output LRV units | m | UNITS |
| 112fu | Anlg level output LRV units | mA | UNITS |
| 112fu | Anlg level output LRV units | V | UNITS |
| 112g | Analog level output URV | 5 |  |
| 112g | Analog level output URV | 10 |  |
| 112g | Analog level output URV | 20 |  |
| 112g | Analog level output URV | 50 |  |
| 112gu | Anlg level output URV units | % | UNITS |
| 112gu | Anlg level output URV units | ft | UNITS |
| 112gu | Anlg level output URV units | galUS | UNITS |
| 112gu | Anlg level output URV units | in | UNITS |
| 112gu | Anlg level output URV units | m | UNITS |
| 112gu | Anlg level output URV units | mA | UNITS |
| 112gu | Anlg level output URV units | V | UNITS |
| 113a | Digital level tag |  |  |
| 113b | Level-Digital output | CALIBRATION/TEST DESC |  |
| 113c | Digital level LRV |  |  |
| 113cu | Digital level LRV units | ft | UNITS |
| 113cu | Digital level LRV units | in | UNITS |
| 113cu | Digital level LRV units | mm | UNITS |
| 113d | Digital level URV |  |  |
| 113du | Digital level URV units | ft | UNITS |
| 113du | Digital level URV units | in | UNITS |
| 113du | Digital level URV units | mm | UNITS |
| 113e | Digital level signal action | direct |  |
| 113e | Digital level signal action | reverse |  |
| 113f | Digital level output LRV | 0 |  |
| 113fu | Dgtl level output LRV units | % | UNITS |
| 113fu | Dgtl level output LRV units | ft | UNITS |
| 113fu | Dgtl level output LRV units | galUS | UNITS |
| 113fu | Dgtl level output LRV units | in | UNITS |
| 113fu | Dgtl level output LRV units | mm | UNITS |
| 113g | Digital level output URV | 100 |  |
| 113gu | Dgtl level output URV units | % | UNITS |
| 113gu | Dgtl level output URV units | ft | UNITS |
| 113gu | Dgtl level output URV units | galUS | UNITS |
| 113gu | Dgtl level output URV units | in | UNITS |
| 113gu | Dgtl level output URV units | mm | UNITS |
| 114a | Scale tag no |  |  |
| 114b | Level-Scale | CALIBRATION/TEST DESC |  |
| 114c | Scale level LRV | 0 |  |
| 114cu | Scale level LRV units | ft | UNITS |
| 114cu | Scale level LRV units | in | UNITS |
| 114cu | Scale level LRV units | mm | UNITS |
| 114d | Scale level URV |  |  |
| 114du | Scale level URV units | ft | UNITS |
| 114du | Scale level URV units | in | UNITS |
| 114du | Scale level URV units | mm | UNITS |
| 114e | Scale level signal action | direct |  |
| 114f | Scale Lower Range-Value | 0 |  |
| 114fu | Scale LRV units | % | UNITS |
| 114fu | Scale LRV units | ft | UNITS |
| 114fu | Scale LRV units | galUS | UNITS |
| 114fu | Scale LRV units | in | UNITS |
| 114fu | Scale LRV units | mm | UNITS |
| 114g | Scale Upper Range-Value |  |  |
| 114gu | Scale URV units | % | UNITS |
| 114gu | Scale URV units | ft | UNITS |
| 114gu | Scale URV units | galUS | UNITS |
| 114gu | Scale URV units | in | UNITS |
| 114gu | Scale URV units | mm | UNITS |
| 115a | Digital density tag |  |  |
| 115b | Density-Digital output | CALIBRATION/TEST DESC |  |
| 115c | Density level LRV |  |  |
| 115cu | Density level LRV units | lb/ft3 | UNITS |
| 115d | Density level URV |  |  |
| 115du | Density level URV units | lb/ft3 | UNITS |
| 115e | Density level signal action | direct |  |
| 115e | Density level signal action | reverse |  |
| 115f | Density level output LRV |  |  |
| 115fu | Dens level output LRV units | % | UNITS |
| 115fu | Dens level output LRV units | lb/ft3 | UNITS |
| 115g | Density level output URV |  |  |
| 115gu | Dens level output URV units | % | UNITS |
| 115gu | Dens level output URV units | lb/ft3 | UNITS |
| 116a | Setpoint 1 tag no |  |  |
| 116b | Level setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 116c | Setpoint 1 LRV |  |  |
| 116cu | Setpoint 1 LRV units | ft | UNITS |
| 116cu | Setpoint 1 LRV units | in | UNITS |
| 116cu | Setpoint 1 LRV units | mm | UNITS |
| 116d | Setpoint 1 URV |  |  |
| 116du | Setpoint 1 URV units | ft | UNITS |
| 116du | Setpoint 1 URV units | in | UNITS |
| 116du | Setpoint 1 URV units | mm | UNITS |
| 116e | Setpoint 1 signal action | NC |  |
| 116e | Setpoint 1 signal action | NO |  |
| 116f | Setpoint 1 output LRV | 0 |  |
| 116fu | Setpoint 1 output LRV units | V | UNITS |
| 116g | Setpoint 1 output URV | 24 |  |
| 116g | Setpoint 1 output URV | 120 |  |
| 116gu | Setpoint 1 output URV units | V | UNITS |
| 117a | Setpoint 2 tag no |  |  |
| 117b | Level setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 117c | Setpoint 2 LRV |  |  |
| 117cu | Setpoint 2 LRV units | ft | UNITS |
| 117cu | Setpoint 2 LRV units | in | UNITS |
| 117cu | Setpoint 2 LRV units | mm | UNITS |
| 117d | Setpoint 2 URV |  |  |
| 117du | Setpoint 2 URV units | ft | UNITS |
| 117du | Setpoint 2 URV units | in | UNITS |
| 117du | Setpoint 2 URV units | mm | UNITS |
| 117e | Setpoint 2 signal action | NC |  |
| 117e | Setpoint 2 signal action | NO |  |
| 117f | Setpoint 2 output LRV | 0 |  |
| 117fu | Setpoint 2 output LRV units | V | UNITS |
| 117g | Setpoint 2 output URV | 24 |  |
| 117g | Setpoint 2 output URV | 120 |  |
| 117gu | Setpoint 2 output URV units | V | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | nuclear type level xmtr |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | nuclear radiation source |  |