| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | BODY OR CAGE | SECTION TITLE |  |
| 012 | Body/Cage type | caged |  |
| 012 | Body/Cage type | cageless side mounted |  |
| 012 | Body/Cage type | cageless top mounted |  |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 6 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 50 mm | NOMINAL SIZE |
| 013a | Process conn nominal size | 100 mm | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 125 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 250 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | PN 100 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | PN 40 | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | bw | END CONNECTION TYPE |
| 014b | Process conn termn style | ff | END CONNECTION TYPE |
| 014b | Process conn termn style | grooved | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | rf | END CONNECTION TYPE |
| 014b | Process conn termn style | rtj | END CONNECTION TYPE |
| 014b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 015 | Flange facing finish | ANSI B 16.5 | FLANGE FACING FINISH |
| 015 | Flange facing finish | NA | FLANGE FACING FINISH |
| 016a | Lower conn location | bottom |  |
| 016a | Lower conn location | side |  |
| 016a | Lower conn location | NA |  |
| 016b | Upper connection location | side |  |
| 016b | Upper connection location | top |  |
| 016b | Upper connection location | NA |  |
| 017a | Gage glass conn nom size | 1/2 in | NOMINAL SIZE |
| 017a | Gage glass conn nom size | 3/4 in | NOMINAL SIZE |
| 017a | Gage glass conn nom size | 1 in | NOMINAL SIZE |
| 017a | Gage glass conn nom size | NA | NOMINAL SIZE |
| 017b | Gage glass conn rating | cl 125 | NOMINAL PRESSURE/RATING |
| 017b | Gage glass conn rating | cl 150 | NOMINAL PRESSURE/RATING |
| 017b | Gage glass conn rating | cl 300 | NOMINAL PRESSURE/RATING |
| 017b | Gage glass conn rating | PN 20 | NOMINAL PRESSURE/RATING |
| 017b | Gage glass conn rating | NA | NOMINAL PRESSURE/RATING |
| 018a | Gage glass conn type | threaded |  |
| 018a | Gage glass conn type | NA |  |
| 018b | Gage glass conn style | NPT(F) |  |
| 018b | Gage glass conn style | NA |  |
| 019a | Vent/Drain conn nom size | 1/2 in | NOMINAL SIZE |
| 019a | Vent/Drain conn nom size | 3/4 in | NOMINAL SIZE |
| 019a | Vent/Drain conn nom size | 1 in | NOMINAL SIZE |
| 019b | Vent/Drain conn rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 019b | Vent/Drain conn rating | PN 10 | NOMINAL PRESSURE/RATING |
| 019b | Vent/Drain conn rating | PN 40 | NOMINAL PRESSURE/RATING |
| 020a | Vent/Drain conn type | NA |  |
| 020b | Vent/Drain conn style | NA |  |
| 021 | Head orientation/type | left hand 180 deg |  |
| 021 | Head orientation/type | left hand 270 deg |  |
| 021 | Head orientation/type | left hand 45 deg |  |
| 021 | Head orientation/type | left hand 90 deg |  |
| 021 | Head orientation/type | right hand 180 deg |  |
| 021 | Head orientation/type | right hand 270 deg |  |
| 021 | Head orientation/type | right hand 45 deg |  |
| 021 | Head orientation/type | right hand 90 deg |  |
| 021 | Head orientation/type | rotatable 360 degree |  |
| 021 | Head orientation/type | vertical inline |  |
| 021 | Head orientation/type | NA |  |
| 022 | Extension/Heat insulator | cooling fins |  |
| 022 | Extension/Heat insulator | heat insulator |  |
| 022 | Extension/Heat insulator | NA |  |
| 023 | Body/Cage material | 304 SST | MATERIAL |
| 023 | Body/Cage material | 304L SST | MATERIAL |
| 023 | Body/Cage material | 316 SST | MATERIAL |
| 023 | Body/Cage material | 316L SST | MATERIAL |
| 023 | Body/Cage material | alloy 20 | MATERIAL |
| 023 | Body/Cage material | carbon steel | MATERIAL |
| 023 | Body/Cage material | cast iron | MATERIAL |
| 023 | Body/Cage material | hastelloy B | MATERIAL |
| 023 | Body/Cage material | hastelloy C276 | MATERIAL |
| 023 | Body/Cage material | LC3 (3 1/2 % Ni) | MATERIAL |
| 023 | Body/Cage material | monel | MATERIAL |
| 023 | Body/Cage material | wC1 (chrome moly steel) | MATERIAL |
| 023 | Body/Cage material | NA | MATERIAL |
| 024 | Bolting material | carbon steel B7/2H | BOLTING |
| 024 | Bolting material | carbon steel B7M/2M | BOLTING |
| 024 | Bolting material | NA | BOLTING |
| 025 | Gasket/O ring material | 316 SST | MATERIAL |
| 025 | Gasket/O ring material | 317 SST | MATERIAL |
| 025 | Gasket/O ring material | alloy 20 | MATERIAL |
| 025 | Gasket/O ring material | composition | MATERIAL |
| 025 | Gasket/O ring material | soft iron | MATERIAL |
| 025 | Gasket/O ring material | NA | MATERIAL |
| 026a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 026b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 027a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 027b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 028a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029 | SENSING ELEMENT | SECTION TITLE |  |
| 030 | Sensor type | displacer |  |
| 030 | Sensor type | float |  |
| 031a | Sp gr Lower Range-Limit |  |  |
| 031b | Sp gr Upper Range-Limit |  |  |
| 032a | Displacer diameter | 1 |  |
| 032a | Displacer diameter | 1.05 |  |
| 032a | Displacer diameter | 1.25 |  |
| 032a | Displacer diameter | 1.315 |  |
| 032a | Displacer diameter | 1.5 |  |
| 032a | Displacer diameter | 1.625 |  |
| 032a | Displacer diameter | 1.66 |  |
| 032a | Displacer diameter | 1.88 |  |
| 032a | Displacer diameter | 2 |  |
| 032a | Displacer diameter | 2.75 |  |
| 032a | Displacer diameter | 3 |  |
| 032a | Displacer diameter | 25 |  |
| 032a | Displacer diameter | 27 |  |
| 032a | Displacer diameter | 32 |  |
| 032a | Displacer diameter | 33 |  |
| 032a | Displacer diameter | 38 |  |
| 032a | Displacer diameter | 41 |  |
| 032a | Displacer diameter | 42 |  |
| 032a | Displacer diameter | 48 |  |
| 032a | Displacer diameter | 51 |  |
| 032a | Displacer diameter | 70 |  |
| 032a | Displacer diameter | 76 |  |
| 032au | Diameter units | in | UNITS |
| 032au | Diameter units | mm | UNITS |
| 032b | Displacer length | 8 |  |
| 032b | Displacer length | 9 |  |
| 032b | Displacer length | 12 |  |
| 032b | Displacer length | 14 |  |
| 032b | Displacer length | 24 |  |
| 032b | Displacer length | 32 |  |
| 032b | Displacer length | 40 |  |
| 032b | Displacer length | 48 |  |
| 032b | Displacer length | 60 |  |
| 032b | Displacer length | 72 |  |
| 032b | Displacer length | 84 |  |
| 032b | Displacer length | 96 |  |
| 032b | Displacer length | 100 |  |
| 032b | Displacer length | 108 |  |
| 032b | Displacer length | 120 |  |
| 032b | Displacer length | 144 |  |
| 032b | Displacer length | 150 |  |
| 032b | Displacer length | 203 |  |
| 032b | Displacer length | 229 |  |
| 032b | Displacer length | 305 |  |
| 032b | Displacer length | 356 |  |
| 032b | Displacer length | 610 |  |
| 032b | Displacer length | 813 |  |
| 032b | Displacer length | 1016 |  |
| 032b | Displacer length | 1219 |  |
| 032b | Displacer length | 1524 |  |
| 032b | Displacer length | 1829 |  |
| 032b | Displacer length | 2134 |  |
| 032b | Displacer length | 2438 |  |
| 032b | Displacer length | 2540 |  |
| 032b | Displacer length | 2743 |  |
| 032b | Displacer length | 3048 |  |
| 032b | Displacer length | 3658 |  |
| 032b | Displacer length | 3810 |  |
| 032bu | Displacer length units | in | UNITS |
| 032bu | Displacer length units | mm | UNITS |
| 033 | Extension length | 0 | CONNECTION HEAD EXTENSION LGTH |
| 033u | Extension length units | ft | UNITS |
| 033u | Extension length units | in | UNITS |
| 033u | Extension length units | mm | UNITS |
| 034 | Displacer material | 304 SST | MATERIAL |
| 034 | Displacer material | 316 SST | MATERIAL |
| 034 | Displacer material | aluminum (solid) | MATERIAL |
| 034 | Displacer material | hastelloy B | MATERIAL |
| 034 | Displacer material | monel | MATERIAL |
| 034 | Displacer material | pfte coated 316 SST | MATERIAL |
| 034 | Displacer material | plexiglas | MATERIAL |
| 034 | Displacer material | ptfe (solid) | MATERIAL |
| 034 | Displacer material | PVC | MATERIAL |
| 034 | Displacer material | NA | MATERIAL |
| 035 | Torque tube/Spring matl | 304L SST | MATERIAL |
| 035 | Torque tube/Spring matl | 316 SST | MATERIAL |
| 035 | Torque tube/Spring matl | 316L SST | MATERIAL |
| 035 | Torque tube/Spring matl | alloy 20 | MATERIAL |
| 035 | Torque tube/Spring matl | hastelloy C | MATERIAL |
| 035 | Torque tube/Spring matl | inconel | MATERIAL |
| 035 | Torque tube/Spring matl | k-Monel | MATERIAL |
| 035 | Torque tube/Spring matl | NA | MATERIAL |
| 036 | Extension/Cable matl | 316 SST | MATERIAL |
| 036 | Extension/Cable matl | monel | MATERIAL |
| 036 | Extension/Cable matl | NA | MATERIAL |
| 037 | Trim material | 304 SST | MATERIAL |
| 037 | Trim material | 304L SST | MATERIAL |
| 037 | Trim material | 316 SST | MATERIAL |
| 037 | Trim material | 316L SST | MATERIAL |
| 037 | Trim material | 317 SST | MATERIAL |
| 037 | Trim material | alloy 20 | MATERIAL |
| 037 | Trim material | hastelloy C | MATERIAL |
| 037 | Trim material | inconel | MATERIAL |
| 037 | Trim material | monel | MATERIAL |
| 037 | Trim material | NA | MATERIAL |
| 038a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 039a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 039b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 040 | CONNECTION HEAD | SECTION TITLE |  |
| 041 | Type | connections only |  |
| 041 | Type | NA |  |
| 042 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 043 | Signal termination type | terminal block | END CONNECTION TYPE |
| 043 | Signal termination type | NA | END CONNECTION TYPE |
| 044 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 044 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 044 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 044 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 044 | Cert/Approval type | NA | CERTIFICATION |
| 045 | Enclosure material | epoxy coated aluminum | MATERIAL |
| 045 | Enclosure material | low copper-aluminum | MATERIAL |
| 045 | Enclosure material | NA | MATERIAL |
| 046a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 047a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 048a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 048b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 049 | TRANSMITTER OR CONTROLLER w/wo SWITCHES | SECTION TITLE |  |
| 050 | Housing type | manufacturer standard | HOUSING |
| 050 | Housing type | NEMA-type enclosure | HOUSING |
| 051 | Output signal type | analog current | SIGNAL |
| 051 | Output signal type | analog pneumatic | SIGNAL |
| 051 | Output signal type | binary pneumatic | SIGNAL |
| 051 | Output signal type | smart,single variable | SIGNAL |
| 051 | Output signal type | NA | SIGNAL |
| 052 | Enclosure type no/class | 3 | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | 3R | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | IP 53 | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | IP 66 | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 053 | Control mode | on-off | CONTROL MODE |
| 053 | Control mode | propn+reset+anti-reset | CONTROL MODE |
| 053 | Control mode | proportional | CONTROL MODE |
| 053 | Control mode | proportional+integral | CONTROL MODE |
| 053 | Control mode | proportional+reset | CONTROL MODE |
| 053 | Control mode | snap acting | CONTROL MODE |
| 053 | Control mode | NA | CONTROL MODE |
| 054 | Digital communication std | DE protocol |  |
| 054 | Digital communication std | enraf bi-phase mark |  |
| 054 | Digital communication std | foundation fieldbus |  |
| 054 | Digital communication std | HART protocol |  |
| 054 | Digital communication std | modbus |  |
| 054 | Digital communication std | profibus |  |
| 054 | Digital communication std | RS232C binary/ASCII |  |
| 054 | Digital communication std | RS485 binary/ASCII |  |
| 054 | Digital communication std | NA |  |
| 055 | Signal power source | line 120 V(ac) 60 Hz |  |
| 055 | Signal power source | line 24 V(dc) |  |
| 055 | Signal power source | line 240 V(ac) 60 Hz |  |
| 055 | Signal power source | loop |  |
| 055 | Signal power source | NA |  |
| 056a | Contacts arrangement | SPST |  |
| 056a | Contacts arrangement | NA |  |
| 056b | Contacts quantity | 2 |  |
| 057 | Transient protection | external device |  |
| 057 | Transient protection | integral termn block |  |
| 057 | Transient protection | NA |  |
| 058 | Integral indicator style | analog meter,uniform div |  |
| 058 | Integral indicator style | press gauge,uniform div |  |
| 058 | Integral indicator style | NA |  |
| 059 | Signal termination type | integral terminal strip | END CONNECTION TYPE |
| 059 | Signal termination type | junction box/termn block | END CONNECTION TYPE |
| 059 | Signal termination type | NA | END CONNECTION TYPE |
| 061 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 061 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 061 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 061 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 061 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 061 | Cert/Approval type | NA | CERTIFICATION |
| 062 | Mounting location/type | integral mounted | MOUNTING POSITION |
| 062 | Mounting location/type | remote,2 in pipe mount | MOUNTING POSITION |
| 062 | Mounting location/type | NA | MOUNTING POSITION |
| 063 | Span-zero adjust lct | local external |  |
| 063 | Span-zero adjust lct | local internal |  |
| 063 | Span-zero adjust lct | NA |  |
| 064 | Enclosure material | epoxy coated aluminum | MATERIAL |
| 064 | Enclosure material | low-copper aluminum | MATERIAL |
| 064 | Enclosure material | NA | MATERIAL |
| 065a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 066b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 067a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 069a | Max press at design temp |  | PRESSURE |
| 069au | Design pressure units | psig | UNITS |
| 069b | Max design temperature | 100 | DESIGN TEMPERATURE |
| 069bu | Design temperature units | °C | UNITS |
| 069bu | Design temperature units | °F | UNITS |
| 069bu | Design temperature units | C | UNITS |
| 069bu | Design temperature units | F | UNITS |
| 070a | Min working temperature |  | WORKING TEMPERATURE |
| 070au | Min working temp units | °C | UNITS |
| 070au | Min working temp units | °F | UNITS |
| 070au | Min working temp units | C | UNITS |
| 070au | Min working temp units | F | UNITS |
| 070b | Max working temperature |  | WORKING TEMPERATURE |
| 070bu | Max working temp units | °C | UNITS |
| 070bu | Max working temp units | °F | UNITS |
| 070bu | Max working temp units | C | UNITS |
| 070bu | Max working temp units | F | UNITS |
| 071 | Accuracy rating | .5 | ACCURACY RATING |
| 071b | Accuracy rating ref base | % full scale | ACCURACY REFERENCE |
| 071b | Accuracy rating ref base | % span | ACCURACY REFERENCE |
| 072a | Level Lower Range-Limit |  | LOWER RANGE-LIMIT |
| 072a u | Level LRL units | in | UNITS |
| 072a u | Level LRL units | mm | UNITS |
| 072b | Level Upper Range-Limit |  |  |
| 072bu | Level URL units | in | UNITS |
| 072bu | Level URL units | mm | UNITS |
| 073a | Minimum level span | 10 |  |
| 073au | Minimum level span units | % | UNITS |
| 073au | Minimum level span units | in | UNITS |
| 073au | Minimum level span units | mm | UNITS |
| 073b | Max level span | 100 |  |
| 073bu | Max level span units | % | UNITS |
| 073bu | Max level span units | in | UNITS |
| 073bu | Max level span units | mm | UNITS |
| 074 | Min differential sp gr | .1 |  |
| 074 | Min differential sp gr | .25 |  |
| 075a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 075au | Min amb working temp units | °C | UNITS |
| 075au | Min amb working temp units | °F | UNITS |
| 075au | Min amb working temp units | C | UNITS |
| 075au | Min amb working temp units | F | UNITS |
| 075b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 075bu | Max amb temperature units | °C | UNITS |
| 075bu | Max amb temperature units | °F | UNITS |
| 075bu | Max amb temperature units | C | UNITS |
| 075bu | Max amb temperature units | F | UNITS |
| 076a | Contacts ac rating |  | DEVICE RATING |
| 076au | AC rating current units | A | UNITS |
| 076b | AC rating max voltage |  | DEVICE RATING |
| 076bu | AC max voltage units | V | UNITS |
| 077a | Contacts dc rating |  | DEVICE RATING |
| 077au | DC rating current units | A | UNITS |
| 077b | DC rating max voltage |  | DEVICE RATING |
| 077bu | DC max voltage units | V | UNITS |
| 078a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 078b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 079a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 079b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 080a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 080b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 081 | ACCESSORIES | SECTION TITLE |  |
| 082 | Connecting cables length |  |  |
| 082u | Cable length units | ft | UNITS |
| 083 | Air set filter style | filter regulator | AIR SET |
| 083 | Air set filter style | NA | AIR SET |
| 084 | Air set gauges | output | AIR GAGE |
| 084 | Air set gauges | NA | AIR GAGE |
| 085 | Gage glass style | reflex |  |
| 085 | Gage glass style | transparent |  |
| 085 | Gage glass style | tubular |  |
| 085 | Gage glass style | NA |  |
| 086 | Gage valve style | NA |  |
| 087a | Defined attribute 1 name | calibration stand | DEFINABLE ATTRIBUTE NAME |
| 087a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 1 data | bench calibration stand | DEFINABLE ATTRIBUTE VALUE |
| 087b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 090 | Custom tag | fiber tag |  |
| 090 | Custom tag | sst permanent attached |  |
| 090 | Custom tag | sst wired-on |  |
| 090 | Custom tag | NA |  |
| 091 | Reference specification | NA | REFERENCE SPECIFICATION |
| 092 | Special preparation | NA |  |
| 093 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 093 | Compliance standard | SAMA PMC 33.1-1978 | NACE STANDARD |
| 093 | Compliance standard | NA | NACE STANDARD |
| 094 | Construction code | ANSI B31.1 |  |
| 094 | Construction code | ANSI B31.3 |  |
| 094 | Construction code | NA |  |
| 095 | Software configuration | custom configuration |  |
| 095 | Software configuration | transmitter configuration |  |
| 095 | Software configuration | NA |  |
| 096a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 096b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 097a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098 | PHYSICAL DATA | SECTION TITLE |  |
| 099 | Estimated weight |  |  |
| 099u | Weight units | kg | UNITS |
| 099u | Weight units | lb | UNITS |
| 100 | Overall height |  |  |
| 100u | Overall height units | in | UNITS |
| 100u | Overall height units | mm | UNITS |
| 101 | Removal clearance |  |  |
| 101u | Removal clearance units | in | UNITS |
| 101u | Removal clearance units | mm | UNITS |
| 102 | Upper to lower conn lg |  |  |
| 102u | Upper conn length units | in | UNITS |
| 102u | Upper conn length units | mm | UNITS |
| 103 | Lower to drain conn lg |  |  |
| 103u | Lower conn length units | in | UNITS |
| 103u | Lower conn length units | mm | UNITS |
| 104a | Signal conn nominal size | 1/4 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 1 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog level tag |  |  |
| 112b | Level-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog level LRV | 0 |  |
| 112cu | Analog level LRV units | in | UNITS |
| 112cu | Analog level LRV units | mm | UNITS |
| 112d | Analog level URV |  |  |
| 112du | Analog level URV units | in | UNITS |
| 112du | Analog level URV units | mm | UNITS |
| 112e | Analog level signal action | direct |  |
| 112e | Analog level signal action | reverse |  |
| 112f | Analog level output LRV | 0 |  |
| 112f | Analog level output LRV | .2 |  |
| 112f | Analog level output LRV | 3 |  |
| 112f | Analog level output LRV | 4 |  |
| 112f | Analog level output LRV | 6 |  |
| 112f | Analog level output LRV | 10 |  |
| 112f | Analog level output LRV | 20 |  |
| 112fu | Anlg level output LRV units | bar(g) | UNITS |
| 112fu | Anlg level output LRV units | mA | UNITS |
| 112fu | Anlg level output LRV units | psig | UNITS |
| 112g | Analog level output URV | 1 |  |
| 112g | Analog level output URV | 15 |  |
| 112g | Analog level output URV | 20 |  |
| 112g | Analog level output URV | 30 |  |
| 112g | Analog level output URV | 35 |  |
| 112g | Analog level output URV | 50 |  |
| 112g | Analog level output URV | 100 |  |
| 112gu | Output range units | bar(g) | UNITS |
| 112gu | Output range units | mA | UNITS |
| 112gu | Output range units | psig | UNITS |
| 113a | Digital level tag |  |  |
| 113b | Level-Digital output | CALIBRATION/TEST DESC |  |
| 113c | Digital level LRV | 0 |  |
| 113cu | Digital level LRV units | in | UNITS |
| 113cu | Digital level LRV units | mm | UNITS |
| 113d | Digital level URV |  |  |
| 113du | Digital level URV units | in | UNITS |
| 113du | Digital level URV units | mm | UNITS |
| 113e | Digital level signal action | direct |  |
| 113e | Digital level signal action | reverse |  |
| 113f | Digital level output LRV | 0 |  |
| 113fu | Dgtl level output LRV units | % | UNITS |
| 113fu | Dgtl level output LRV units | in | UNITS |
| 113fu | Dgtl level output LRV units | mm | UNITS |
| 113g | Digital level output URV |  |  |
| 113gu | Dgtl level output URV units | % | UNITS |
| 113gu | Dgtl level output URV units | in | UNITS |
| 113gu | Dgtl level output URV units | mm | UNITS |
| 114a | Scale tag no |  |  |
| 114b | Level-Scale | CALIBRATION/TEST DESC |  |
| 114c | Scale level LRV | 0 |  |
| 114cu | Scale level LRV units | % | UNITS |
| 114cu | Scale level LRV units | in | UNITS |
| 114cu | Scale level LRV units | mm | UNITS |
| 114d | Scale level URV |  |  |
| 114du | Scale level URV units | % | UNITS |
| 114du | Scale level URV units | in | UNITS |
| 114du | Scale level URV units | mm | UNITS |
| 114e | Scale level signal action | direct |  |
| 114e | Scale level signal action | reverse |  |
| 114f | Scale Lower Range-Value | 0 |  |
| 114fu | Scale LRV units | % | UNITS |
| 114fu | Scale LRV units | in | UNITS |
| 114fu | Scale LRV units | mm | UNITS |
| 114g | Scale Upper Range-Value | 100 |  |
| 114gu | Scale URV units | % | UNITS |
| 114gu | Scale URV units | in | UNITS |
| 114gu | Scale URV units | mm | UNITS |
| 115a | Setpoint 1 tag no |  |  |
| 115b | Level setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 115c | Setpoint 1 LRV |  |  |
| 115cu | Setpoint 1 LRV units | % | UNITS |
| 115cu | Setpoint 1 LRV units | in | UNITS |
| 115cu | Setpoint 1 LRV units | mm | UNITS |
| 115d | Setpoint 1 URV |  |  |
| 115du | Setpoint 1 URV units | % | UNITS |
| 115du | Setpoint 1 URV units | in | UNITS |
| 115du | Setpoint 1 URV units | mm | UNITS |
| 115e | Setpoint 1 signal action | NC |  |
| 115e | Setpoint 1 signal action | NO |  |
| 115f | Setpoint 1 output LRV | 0 |  |
| 115fu | Setpoint 1 output LRV units | V | UNITS |
| 115g | Setpoint 1 output URV | 24 |  |
| 115g | Setpoint 1 output URV | 120 |  |
| 115gu | Setpoint 1 output URV units | V | UNITS |
| 116a | Setpoint 2 tag no |  |  |
| 116b | Level setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 116c | Setpoint 2 LRV |  |  |
| 116cu | Setpoint 2 LRV units | % | UNITS |
| 116cu | Setpoint 2 LRV units | in | UNITS |
| 116cu | Setpoint 2 LRV units | mm | UNITS |
| 116d | Setpoint 2 URV |  |  |
| 116du | Setpoint 2 URV units | in | UNITS |
| 116du | Setpoint 2 URV units | mm | UNITS |
| 116e | Setpoint 2 signal action | NC |  |
| 116e | Setpoint 2 signal action | NO |  |
| 116f | Setpoint 2 output LRV | 0 |  |
| 116fu | Setpoint 2 output LRV units | V | UNITS |
| 116g | Setpoint 2 output URV | 24 |  |
| 116g | Setpoint 2 output URV | 120 |  |
| 116gu | Setpoint 2 output URV units | V | UNITS |
| 117a | Attribute tag no |  |  |
| 117b | Test pressure | CALIBRATION/TEST DESC |  |
| 117d | Test pressure URV |  |  |
| 117du | Test pressure URV units | psig | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | displacer type element |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | displacer type xmtr |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 122a | Component type | displacer type controller |  |
| 122b | Manufacturer |  | MANUFACTURER |
| 122c | Model number |  | MODEL NUMBER |