| Line No | Field prompt | Pick list data | Help keyword |
| --- | --- | --- | --- |
| 011 | PROCESS CONNECTION | SECTION TITLE |  |
| 012 | Body/Fitting type | flanged probe |  |
| 012 | Body/Fitting type | mounting nipple |  |
| 012 | Body/Fitting type | threaded probe |  |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 125 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | ff | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | rf | END CONNECTION TYPE |
| 015 | Wetted material | CPVC | MATERIAL |
| 015 | Wetted material | polyproplyene | MATERIAL |
| 015 | Wetted material | PVDF | MATERIAL |
| 015 | Wetted material | NA | MATERIAL |
| 016 | Flange material | carbon steel | MATERIAL |
| 016 | Flange material | CPVC | MATERIAL |
| 016 | Flange material | polypropylene | MATERIAL |
| 016 | Flange material | NA | MATERIAL |
| 017 | Seal/O ring material | EPDM | MATERIAL |
| 017 | Seal/O ring material | NA | MATERIAL |
| 018a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 019a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 020a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021 | SENSING ELEMENT | SECTION TITLE |  |
| 022 | Detector type | ultrasonic wave |  |
| 023 | Detector style | compact |  |
| 023 | Detector style | manufacturer standard |  |
| 023 | Detector style | NA |  |
| 024 | Insertion length | 3 | INSERTION LENGTH |
| 024 | Insertion length | 6 | INSERTION LENGTH |
| 024 | Insertion length | 10 | INSERTION LENGTH |
| 024 | Insertion length | 76 | INSERTION LENGTH |
| 024 | Insertion length | 152 | INSERTION LENGTH |
| 024 | Insertion length | 254 | INSERTION LENGTH |
| 024u | Length units | in | UNITS |
| 024u | Length units | mm | UNITS |
| 025 | Integral cable length | 6 |  |
| 025 | Integral cable length | 15 |  |
| 025 | Integral cable length | 20 |  |
| 025u | Cable length units | ft | UNITS |
| 025u | Cable length units | m | UNITS |
| 026a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 026b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 027a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 027b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 028a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029 | CONNECTION HEAD | SECTION TITLE |  |
| 030 | Type | connection head |  |
| 030 | Type | NA |  |
| 031 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | 7/9 | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 032 | Cert/Approval type | CSA Non-classified | CERTIFICATION |
| 032 | Cert/Approval type | FM Non-classified | CERTIFICATION |
| 032 | Cert/Approval type | NA | CERTIFICATION |
| 033 | Mounting location/type | bracket | MOUNTING POSITION |
| 033 | Mounting location/type | integral with element | MOUNTING POSITION |
| 033 | Mounting location/type | NA | MOUNTING POSITION |
| 034 | Enclosure material | aluminum | MATERIAL |
| 034 | Enclosure material | coated aluminum | MATERIAL |
| 034 | Enclosure material | NA | MATERIAL |
| 035a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 035b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 036a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 036b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 037a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 037b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 038 | TRANSMITTER w/wo SWITCHES | SECTION TITLE |  |
| 039 | Housing type | explosion proof enclosure | HOUSING |
| 039 | Housing type | surface mtd enclosure | HOUSING |
| 039 | Housing type | wp enclosure | HOUSING |
| 039 | Housing type | wp enclosure w/window | HOUSING |
| 040 | Measurement compensation | probe temperature |  |
| 040 | Measurement compensation | NA |  |
| 041 | Output signal type | analog current | SIGNAL |
| 041 | Output signal type | analog current & relays | SIGNAL |
| 041 | Output signal type | analog current,digital | SIGNAL |
| 041 | Output signal type | analog current,voltage | SIGNAL |
| 041 | Output signal type | analog voltage | SIGNAL |
| 041 | Output signal type | analog voltage,digital | SIGNAL |
| 041 | Output signal type | current switch | SIGNAL |
| 041 | Output signal type | current,voltage,digital | SIGNAL |
| 041 | Output signal type | digital | SIGNAL |
| 041 | Output signal type | NA | SIGNAL |
| 042 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | 7/9 | ENCLOSURE TYPE NO/CLASS |
| 042 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 043 | Control sequence | fail safe on/off |  |
| 043 | Control sequence | lead/Lag alternation |  |
| 043 | Control sequence | lead/Lag w/delay |  |
| 043 | Control sequence | on/off |  |
| 043 | Control sequence | NA |  |
| 044 | Characteristic curve | linear to measurement | CHARACTERISTIC CURVE |
| 044 | Characteristic curve | linear with volume | CHARACTERISTIC CURVE |
| 044 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 045 | Digital communication std | DE protocol |  |
| 045 | Digital communication std | enraf bi-phase mark |  |
| 045 | Digital communication std | foundation fieldbusII |  |
| 046 | Signal power source | line 120 V(ac) 60 Hz |  |
| 046 | Signal power source | line 180-250 V(ac) 60 Hz |  |
| 046 | Signal power source | line 240 V(ac) 60 Hz |  |
| 046 | Signal power source | line 90-127 V(ac) 60 Hz |  |
| 046 | Signal power source | line 90-146 V(ac) 60 Hz |  |
| 046 | Signal power source | line 9-32 V(dc) |  |
| 046 | Signal power source | loop 14-55 V(dc) |  |
| 046 | Signal power source | NA |  |
| 047a | Contacts arrangement | DPDT |  |
| 047a | Contacts arrangement | SPDT |  |
| 047a | Contacts arrangement | NA |  |
| 047b | Contacts quantity | 0 |  |
| 047b | Contacts quantity | 1 |  |
| 047b | Contacts quantity | 2 |  |
| 047b | Contacts quantity | 3 |  |
| 047b | Contacts quantity | 4 |  |
| 047b | Contacts quantity | 5 |  |
| 047b | Contacts quantity | 6 |  |
| 048 | Failsafe style | last |  |
| 048 | Failsafe style | selectable high |  |
| 048 | Failsafe style | selectable high,on |  |
| 048 | Failsafe style | selectable low |  |
| 048 | Failsafe style | selectable low,off |  |
| 048 | Failsafe style | NA |  |
| 049 | Integral indicator style | 4 digit LCD w/LED |  |
| 049 | Integral indicator style | 5 digit LCD |  |
| 049 | Integral indicator style | 5 digit LCD w/keypad |  |
| 049 | Integral indicator style | NA |  |
| 050 | Cert/Approval type | CSA Non-classified | CERTIFICATION |
| 050 | Cert/Approval type | FM Non-classified | CERTIFICATION |
| 050 | Cert/Approval type | NA | CERTIFICATION |
| 051 | Mounting location/type | bracket mount | MOUNTING POSITION |
| 051 | Mounting location/type | integral to probe | MOUNTING POSITION |
| 051 | Mounting location/type | stand mount | MOUNTING POSITION |
| 051 | Mounting location/type | surface mount | MOUNTING POSITION |
| 051 | Mounting location/type | NA | MOUNTING POSITION |
| 052 | Failure/Diagnostic action | drive output high |  |
| 052 | Failure/Diagnostic action | drive output low |  |
| 052 | Failure/Diagnostic action | fault alarm relay |  |
| 052 | Failure/Diagnostic action | hold last value |  |
| 052 | Failure/Diagnostic action | NA |  |
| 053 | Signal processing | false target buffer |  |
| 053 | Signal processing | logic algorithms |  |
| 053 | Signal processing | NA |  |
| 054 | Enclosure material | aluminum | MATERIAL |
| 054 | Enclosure material | epoxy coated aluminum | MATERIAL |
| 054 | Enclosure material | fiberglass reinf plastic | MATERIAL |
| 054 | Enclosure material | painted carbon steel | MATERIAL |
| 054 | Enclosure material | PC/ABS | MATERIAL |
| 054 | Enclosure material | transparent lexan | MATERIAL |
| 054 | Enclosure material | NA | MATERIAL |
| 055a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 055b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 056a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 056b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 057a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp | 22 | PRESSURE |
| 061a | Max press at design temp | 30 | PRESSURE |
| 061a | Max press at design temp | 37 | PRESSURE |
| 061a | Max press at design temp | 43 | PRESSURE |
| 061a | Max press at design temp | 50 | PRESSURE |
| 061au | Design pressure units | bar(g) | UNITS |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature | 75 | DESIGN TEMPERATURE |
| 061b | Max design temperature | 100 | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Min working temperature | -40 | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature | 176 | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063a | Accuracy rating | .25 | ACCURACY RATING |
| 063a | Accuracy rating | 1 | ACCURACY RATING |
| 063b | Accuracy rating ref base | % output span | ACCURACY REFERENCE |
| 063b | Accuracy rating ref base | % URV | ACCURACY REFERENCE |
| 063b | Accuracy rating ref base | in | ACCURACY REFERENCE |
| 063b | Accuracy rating ref base | mm | ACCURACY REFERENCE |
| 064a | Level Lower Range-Limit | .8 | LOWER RANGE-LIMIT |
| 064a | Level Lower Range-Limit | 1.0 | LOWER RANGE-LIMIT |
| 064a | Level Lower Range-Limit | 1.3 | LOWER RANGE-LIMIT |
| 064a | Level Lower Range-Limit | 1.5 | LOWER RANGE-LIMIT |
| 064a | Level Lower Range-Limit | 1.75 | LOWER RANGE-LIMIT |
| 064a | Level Lower Range-Limit | 2.0 | LOWER RANGE-LIMIT |
| 064a | Level Lower Range-Limit | 2.4 | LOWER RANGE-LIMIT |
| 064a | Level Lower Range-Limit | 3.0 | LOWER RANGE-LIMIT |
| 064au | Level LRL units | ft | UNITS |
| 064au | Level LRL units | m | UNITS |
| 064b | Level Upper Range-Limit | 6.6 |  |
| 064b | Level Upper Range-Limit | 7.6 |  |
| 064b | Level Upper Range-Limit | 11.5 |  |
| 064b | Level Upper Range-Limit | 13.1 |  |
| 064b | Level Upper Range-Limit | 16 |  |
| 064b | Level Upper Range-Limit | 23 |  |
| 064b | Level Upper Range-Limit | 25 |  |
| 064b | Level Upper Range-Limit | 29 |  |
| 064b | Level Upper Range-Limit | 33 |  |
| 064b | Level Upper Range-Limit | 49.2 |  |
| 064b | Level Upper Range-Limit | 65 |  |
| 064b | Level Upper Range-Limit | 82 |  |
| 064b | Level Upper Range-Limit | 147 |  |
| 064bu | Level URL units | ft | UNITS |
| 064bu | Level URL units | m | UNITS |
| 065a | Min measurement span | 0 |  |
| 065au | Min meas span units | ft | UNITS |
| 065au | Min meas span units | m | UNITS |
| 065b | Max measurement span | 7.3 |  |
| 065b | Max measurement span | 10 |  |
| 065b | Max measurement span | 10.2 |  |
| 065b | Max measurement span | 24 |  |
| 065b | Max measurement span | 33 |  |
| 065b | Max measurement span | 33.5 |  |
| 065b | Max measurement span | 50 |  |
| 065b | Max measurement span | 100 |  |
| 065b | Max measurement span | 200 |  |
| 065bu | Max meas span units | ft | UNITS |
| 065bu | Max meas span units | m | UNITS |
| 066 | Beam angle | 12 |  |
| 066 | Beam angle | 3 |  |
| 066 | Beam angle | 3.5 |  |
| 066 | Beam angle | 4 |  |
| 066 | Beam angle | 5.5 |  |
| 066 | Beam angle | 8 |  |
| 066u | Angle units | deg | UNITS |
| 067a | Min ambient working temp | -4 | AMBIENT TEMPERATURE |
| 067a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 067au | Min amb working temp units | °C | UNITS |
| 067au | Min amb working temp units | °F | UNITS |
| 067au | Min amb working temp units | C | UNITS |
| 067au | Min amb working temp units | F | UNITS |
| 067b | Max ambient working temp | 71 | MAX AMBIENT TEMPERATURE |
| 067b | Max ambient working temp | 140 | MAX AMBIENT TEMPERATURE |
| 067b | Max ambient working temp | 160 | MAX AMBIENT TEMPERATURE |
| 067bu | Max amb temperature units | °C | UNITS |
| 067bu | Max amb temperature units | °F | UNITS |
| 067bu | Max amb temperature units | C | UNITS |
| 067bu | Max amb temperature units | F | UNITS |
| 068a | Contacts ac rating | 10 | DEVICE RATING |
| 068au | AC rating current units | A | UNITS |
| 068b | AC rating max voltage | 250 | DEVICE RATING |
| 068b | AC rating max voltage | 280 | DEVICE RATING |
| 068bu | AC max voltage units | V | UNITS |
| 069a | Contacts dc rating | 2 | DEVICE RATING |
| 069au | DC rating current units | A | UNITS |
| 069b | DC rating max voltage | 60 | DEVICE RATING |
| 069bu | DC max voltage units | V | UNITS |
| 070 | Max sensor to receiver lg | 500 |  |
| 070 | Max sensor to receiver lg | 1000 |  |
| 070u | Sensor-receiver lg units | ft | UNITS |
| 070u | Sensor-receiver lg units | m | UNITS |
| 071a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 072a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 073a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084 | ACCESSORIES | SECTION TITLE |  |
| 085 | Connecting cables length |  |  |
| 085u | Cable length units | ft | UNITS |
| 086 | Enclosure heater | 120 V(ac) heater |  |
| 086 | Enclosure heater | 240 V(ac) heater |  |
| 086 | Enclosure heater | NA |  |
| 087 | Mounting hardware | angle bracket |  |
| 087 | Mounting hardware | floor mount |  |
| 087 | Mounting hardware | wall mount |  |
| 087 | Mounting hardware | NA |  |
| 088a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 1 data | sun shield | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 2 data | 1 in NPT 304 SST | DEFINABLE ATTRIBUTE VALUE |
| 089b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 4 name | NA |  |
| 091b | Defined attribute 4 data | NA |  |
| 092 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 093 | Custom tag | fiber tag |  |
| 093 | Custom tag | sst permanent attached |  |
| 093 | Custom tag | sst wired-on |  |
| 093 | Custom tag | NA |  |
| 094 | Reference specification | 3-A | REFERENCE SPECIFICATION |
| 094 | Reference specification | NA | REFERENCE SPECIFICATION |
| 095 | Compliance standard | NA | NACE STANDARD |
| 096 | Calibration report | NA |  |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog level tag |  |  |
| 112b | Level-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog level LRV | 0 |  |
| 112cu | Analog level LRV units | ft | UNITS |
| 112cu | Analog level LRV units | in | UNITS |
| 112cu | Analog level LRV units | m | UNITS |
| 112d | Analog level URV |  |  |
| 112du | Analog level URV units | ft | UNITS |
| 112du | Analog level URV units | m | UNITS |
| 112e | Analog level signal action | direct |  |
| 112e | Analog level signal action | reverse |  |
| 112f | Analog level output LRV | 0 |  |
| 112f | Analog level output LRV | 4 |  |
| 112f | Analog level output LRV | 10 |  |
| 112fu | Anlg level output LRV units | mA | UNITS |
| 112g | Analog level output URV | 20 |  |
| 112g | Analog level output URV | 50 |  |
| 112gu | Anlg level output URV units | mA | UNITS |
| 112i | Anlg level output URV units | V(dc) | UNITS |
| 113a | Scale tag no |  |  |
| 113b | Level-Scale | CALIBRATION/TEST DESC |  |
| 113c | Scale level LRV | 0 |  |
| 113cu | Scale level LRV units | % | UNITS |
| 113cu | Scale level LRV units | ft | UNITS |
| 113cu | Scale level LRV units | m | UNITS |
| 113d | Scale level URV |  |  |
| 113du | Scale level URV units | % | UNITS |
| 113du | Scale level URV units | ft | UNITS |
| 113du | Scale level URV units | m | UNITS |
| 113e | Scale level signal action | direct |  |
| 113e | Scale level signal action | reverse |  |
| 113f | Scale Lower Range-Value | 0 |  |
| 113fu | Scale LRV units | % | UNITS |
| 113fu | Scale LRV units | bbl | UNITS |
| 113fu | Scale LRV units | ft | UNITS |
| 113fu | Scale LRV units | galUS | UNITS |
| 113fu | Scale LRV units | m | UNITS |
| 113g | Scale Upper Range-Value | 100 |  |
| 113gu | Scale URV units | % | UNITS |
| 113gu | Scale URV units | bbl | UNITS |
| 113gu | Scale URV units | ft | UNITS |
| 113gu | Scale URV units | galUS | UNITS |
| 113gu | Scale URV units | m | UNITS |
| 114a | Setpoint 1 tag no |  |  |
| 114b | Level setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 114c | Setpoint 1 LRV |  |  |
| 114cu | Setpoint 1 LRV units | % | UNITS |
| 114cu | Setpoint 1 LRV units | ft | UNITS |
| 114cu | Setpoint 1 LRV units | m | UNITS |
| 114d | Setpoint 1 URV |  |  |
| 114du | Setpoint 1 URV units | % | UNITS |
| 114du | Setpoint 1 URV units | ft | UNITS |
| 114du | Setpoint 1 URV units | m | UNITS |
| 114e | Setpoint 1 signal action | NC |  |
| 114e | Setpoint 1 signal action | NO |  |
| 114f | Setpoint 1 output LRV | 0 |  |
| 114fu | Setpoint 1 output LRV units | V | UNITS |
| 114g | Setpoint 1 output URV | 24 |  |
| 114g | Setpoint 1 output URV | 120 |  |
| 114gu | Setpoint 1 output URV units | V | UNITS |
| 115a | Setpoint 2 tag no |  |  |
| 115b | Level setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 115c | Setpoint 2 LRV |  |  |
| 115cu | Setpoint 2 LRV units | % | UNITS |
| 115cu | Setpoint 2 LRV units | ft | UNITS |
| 115cu | Setpoint 2 LRV units | m | UNITS |
| 115d | Setpoint 2 URV |  |  |
| 115du | Setpoint 2 URV units | % | UNITS |
| 115du | Setpoint 2 URV units | ft | UNITS |
| 115du | Setpoint 2 URV units | m | UNITS |
| 115e | Setpoint 2 signal action | NC |  |
| 115e | Setpoint 2 signal action | NO |  |
| 115f | Setpoint 2 output LRV | 0 |  |
| 115fu | Setpoint 2 output LRV units | V | UNITS |
| 115g | Setpoint 2 output URV | 24 |  |
| 115g | Setpoint 2 output URV | 120 |  |
| 115gu | Setpoint 2 output URV units | V | UNITS |
| 116a | Setpoint 3 tag no |  |  |
| 116b | Level setpoint 3-Output | CALIBRATION/TEST DESC |  |
| 116c | Setpoint 3 LRV |  |  |
| 116cu | Setpoint 3 LRV units | % | UNITS |
| 116cu | Setpoint 3 LRV units | ft | UNITS |
| 116cu | Setpoint 3 LRV units | m | UNITS |
| 116d | Setpoint 3 URV |  |  |
| 116du | Setpoint 3 URV units | % | UNITS |
| 116du | Setpoint 3 URV units | ft | UNITS |
| 116du | Setpoint 3 URV units | m | UNITS |
| 116e | Setpoint 3 signal action | NC |  |
| 116e | Setpoint 3 signal action | NO |  |
| 116f | Setpoint 3 output LRV | 0 |  |
| 116fu | Setpoint 3 output LRV units | V | UNITS |
| 116g | Setpoint 3 output URV | 24 |  |
| 116g | Setpoint 3 output URV | 120 |  |
| 116gu | Setpoint 3 output URV units | V | UNITS |
| 117a | Attribute tag no |  |  |
| 117b | Attribute cal/test descp | NA |  |
| 117c | Attribute cal/test LRV |  |  |
| 117cu | Attr cal/test LRV units |  | UNITS |
| 117d | Attribute cal/test URV |  |  |
| 117du | Attr cal/test URV units |  | UNITS |
| 117e | Attribute cal/test action |  |  |
| 117f | Attribute output LRV |  |  |
| 117fu | Attr output LRV units |  | UNITS |
| 117g | Attribute output URV |  |  |
| 117gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | ultrasonic level xmtr |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |