| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | PROCESS CONNECTION | SECTION TITLE |  |
| 012 | Body type | side mount | VALVE BODY TYPE |
| 012 | Body type | top mount | VALVE BODY TYPE |
| 013a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 015 | Wetted material | aluminum | MATERIAL |
| 015 | Wetted material | NA | MATERIAL |
| 016 | Seal/O ring material | manufacturer standard | MATERIAL |
| 016 | Seal/O ring material | NA | MATERIAL |
| 016 | Seal/O ring material | PTFE | MATERIAL |
| 017a | Defined attribute 1 name | exterior treatment | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | approved powder coat | DEFINABLE ATTRIBUTE VALUE |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 019a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 020 | SENSING ELEMENT | SECTION TITLE |  |
| 021 | Sensor type | 3 vane paddle |  |
| 021 | Sensor type | single bayonet vane |  |
| 021 | Sensor type | single vane paddle |  |
| 022 | Nominal size | 5 in | NOMINAL SIZE |
| 022 | Nominal size | 7 in dia | NOMINAL SIZE |
| 022 | Nominal size | manufacturer standard | NOMINAL SIZE |
| 023 | Shaft coupling type | flexible |  |
| 023 | Shaft coupling type | NA |  |
| 023 | Shaft coupling type | solid |  |
| 024 | Shaft guard style | 1 1/4 in pipe |  |
| 024 | Shaft guard style | NA |  |
| 025 | Extension shaft length |  |  |
| 025u | Length units | in | UNITS |
| 026 | Sensor material | 316 SST | MATERIAL |
| 026 | Sensor material | NA | MATERIAL |
| 026 | Sensor material | polyethylene | MATERIAL |
| 027 | Extension/Cable material | 316 SST | MATERIAL |
| 027 | Extension/Cable material | NA | MATERIAL |
| 028 | Shaft material | 316 SST | MATERIAL |
| 028 | Shaft material | NA | MATERIAL |
| 029a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 032 | SWITCH MECHANISM | SECTION TITLE |  |
| 033 | Housing type | dust-tight | HOUSING |
| 033 | Housing type | explosion proof enclosure | HOUSING |
| 034 | Motor style | de-energized operation |  |
| 034 | Motor style | NA |  |
| 034 | Motor style | stalled operation |  |
| 035 | Output signal type | NA | SIGNAL |
| 035 | Output signal type | relay | SIGNAL |
| 036 | Enclosure type no/class | 4/5/7/9/12 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 4X/5//7/9/12 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 4X/5/12 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 037 | Signal power source | line 12 V(ac) 60 Hz |  |
| 037 | Signal power source | line 12 V(dc) |  |
| 037 | Signal power source | line 120 V(ac) 60 Hz |  |
| 037 | Signal power source | line 24 V(ac) 60 Hz |  |
| 037 | Signal power source | line 24 V(dc) |  |
| 037 | Signal power source | line 240 V(ac) 60 Hz |  |
| 037 | Signal power source | NA |  |
| 038a | Contacts arrangement | DPDT |  |
| 038a | Contacts arrangement | NA |  |
| 038a | Contacts arrangement | SPDT |  |
| 038b | Contacts quantity | 1 |  |
| 038b | Contacts quantity | 2 |  |
| 039 | Failsafe style | NA |  |
| 039 | Failsafe style | selectable High |  |
| 039 | Failsafe style | selectable Low |  |
| 040 | Integral indicator style | LED |  |
| 040 | Integral indicator style | NA |  |
| 041 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 041 | Cert/Approval type | NA | CERTIFICATION |
| 041 | Cert/Approval type | U/L Explosion proof | CERTIFICATION |
| 042 | Failure/Diagnostic action | NA |  |
| 042 | Failure/Diagnostic action | relay output |  |
| 043 | Enclosure material | cast aluminum | MATERIAL |
| 043 | Enclosure material | NA | MATERIAL |
| 044a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 044b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 045a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 045b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 046a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp | 30 | PRESSURE |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature |  | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Min working temperature |  | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature |  | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063a | Minimum material density | 15 | MATERIAL |
| 063a | Minimum material density | 30 | MATERIAL |
| 063a | Minimum material density | 5 | MATERIAL |
| 063au | Min matl density units | lb/ft3 | UNITS |
| 063b | Max material density | 100 | MATERIAL |
| 063b | Max material density | 30 | MATERIAL |
| 063b | Max material density | 70 | MATERIAL |
| 063bu | Max matl density units | lb/ft3 | UNITS |
| 064a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 064au | Min amb working temp units | °C | UNITS |
| 064au | Min amb working temp units | °F | UNITS |
| 064au | Min amb working temp units | C | UNITS |
| 064au | Min amb working temp units | F | UNITS |
| 064b | Max ambient working temp | 149 | MAX AMBIENT TEMPERATURE |
| 064b | Max ambient working temp | 185 | MAX AMBIENT TEMPERATURE |
| 064b | Max ambient working temp | 300 | MAX AMBIENT TEMPERATURE |
| 064b | Max ambient working temp | 85 | MAX AMBIENT TEMPERATURE |
| 064bu | Max amb temperature units | °C | UNITS |
| 064bu | Max amb temperature units | °F | UNITS |
| 064bu | Max amb temperature units | C | UNITS |
| 064bu | Max amb temperature units | F | UNITS |
| 065a | Contacts ac rating | 10 | DEVICE RATING |
| 065a | Contacts ac rating | 15 | DEVICE RATING |
| 065au | AC rating current units | A | UNITS |
| 065b | AC rating max voltage | 120 | DEVICE RATING |
| 065b | AC rating max voltage | 250 | DEVICE RATING |
| 065bu | AC max voltage units | V | UNITS |
| 066a | Contacts dc rating |  | DEVICE RATING |
| 066au | DC rating current units | A | UNITS |
| 066b | DC rating max voltage |  | DEVICE RATING |
| 066bu | DC max voltage units | V | UNITS |
| 067a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086 | ACCESSORIES | SECTION TITLE |  |
| 087 | Mounting hardware | 316 SST Full coupling |  |
| 087 | Mounting hardware | 316 SST Half coupling |  |
| 087 | Mounting hardware | cs Full coupling |  |
| 087 | Mounting hardware | cs Half coupling |  |
| 087 | Mounting hardware | NA |  |
| 088a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 4 name | NA |  |
| 091b | Defined attribute 4 data | NA |  |
| 092a | Defined attribute 5 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 5 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 094 | Custom tag | NA |  |
| 095 | Reference specification | NA | REFERENCE SPECIFICATION |
| 096 | Compliance standard | NA | NACE STANDARD |
| 096 | Compliance standard | USDA coat finish | NACE STANDARD |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in |  |
| 104a | Signal conn nominal size | 3/4 in |  |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Setpoint 1 tag no |  |  |
| 112b | Level setpoint-Output | CALIBRATION/TEST DESC |  |
| 112c | Setpoint LRV |  |  |
| 112cu | Setpoint LRV units | ft | UNITS |
| 112cu | Setpoint LRV units | in | UNITS |
| 112cu | Setpoint LRV units | mm | UNITS |
| 112d | Setpoint URV |  |  |
| 112du | Setpoint URV units | ft | UNITS |
| 112du | Setpoint URV units | in | UNITS |
| 112du | Setpoint URV units | mm | UNITS |
| 112e | Setpoint signal action | NC |  |
| 112e | Setpoint signal action | NO |  |
| 112f | Setpoint output LRV | 0 |  |
| 112fu | Setpoint output LRV units | V | UNITS |
| 112g | Setpoint output URV |  |  |
| 112gu | Setpoint output URV units | V | UNITS |
| 113a | Attribute tag no |  |  |
| 113b | Attribute cal/test descp | CALIBRATION/TEST DESC |  |
| 113c | Attribute cal/test LRV |  |  |
| 113cu | Attr cal/test LRV units |  | UNITS |
| 113d | Attribute cal/test URV |  |  |
| 113du | Attr cal/test URV units |  | UNITS |
| 113e | Attribute cal/test action |  |  |
| 113f | Attribute output LRV |  |  |
| 113fu | Attr output LRV units |  | UNITS |
| 113g | Attribute output URV |  |  |
| 113gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | paddle wheel level switch |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |