| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | PROCESS CONNECTION | SECTION TITLE |  |
| 012 | Body/Fitting type | cryogenic |  |
| 012 | Body/Fitting type | in-line probe |  |
| 012 | Body/Fitting type | tube or Pipe mount |  |
| 012 | Body/Fitting type | flanged |  |
| 012 | Body/Fitting type | mechanical nipple |  |
| 012 | Body/Fitting type | miniature threaded |  |
| 012 | Body/Fitting type | retractable Probe |  |
| 012 | Body/Fitting type | sanitary fitting |  |
| 013a | Process conn nominal size | 1/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 5/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 7/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 6 in | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | rf | END CONNECTION TYPE |
| 014b | Process conn termn style | SAE | END CONNECTION TYPE |
| 014b | Process conn termn style | tri-Clamp | END CONNECTION TYPE |
| 015 | Wetted material | 316 SST | MATERIAL |
| 015 | Wetted material | alloy 20 | MATERIAL |
| 015 | Wetted material | CPVC | MATERIAL |
| 015 | Wetted material | epoxy | MATERIAL |
| 015 | Wetted material | hastelloy B | MATERIAL |
| 015 | Wetted material | hastelloy C | MATERIAL |
| 015 | Wetted material | hastelloy C-276 | MATERIAL |
| 015 | Wetted material | inconel | MATERIAL |
| 015 | Wetted material | kynar | MATERIAL |
| 015 | Wetted material | monel | MATERIAL |
| 015 | Wetted material | nickel | MATERIAL |
| 015 | Wetted material | PFA | MATERIAL |
| 015 | Wetted material | polypropylene | MATERIAL |
| 015 | Wetted material | TFE | MATERIAL |
| 015 | Wetted material | titanium | MATERIAL |
| 015 | Wetted material | NA | MATERIAL |
| 016 | Flange/Fitting material | 316 SST | MATERIAL |
| 016 | Flange/Fitting material | carbon steel | MATERIAL |
| 016 | Flange/Fitting material | carbon steel,galvanized | MATERIAL |
| 016 | Flange/Fitting material | carbon steel,PFTE lined | MATERIAL |
| 016 | Flange/Fitting material | hastelloy | MATERIAL |
| 016 | Flange/Fitting material | monel | MATERIAL |
| 016 | Flange/Fitting material | NA | MATERIAL |
| 017 | Seal/O ring material | TFE | MATERIAL |
| 017 | Seal/O ring material | NA | MATERIAL |
| 018a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 019a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 020 | SENSING ELEMENT | SECTION TITLE |  |
| 021 | Configuration type | C-type gap |  |
| 021 | Configuration type | C-type gap,bottom support |  |
| 021 | Configuration type | curved |  |
| 021 | Configuration type | flat surface |  |
| 021 | Configuration type | interface atten mode |  |
| 021 | Configuration type | interface-reflective mode |  |
| 021 | Configuration type | miniature vertical gap |  |
| 021 | Configuration type | slot-type gap |  |
| 021 | Configuration type | tank car sensor |  |
| 021 | Configuration type | vertical gap |  |
| 022 | Nominal temp rating |  |  |
| 023 | Number of sensors | 1 |  |
| 023 | Number of sensors | 2 |  |
| 023 | Number of sensors | 3 |  |
| 023 | Number of sensors | 4 |  |
| 023 | Number of sensors | 5 |  |
| 023 | Number of sensors | 6 |  |
| 024 | Probe diameter | .875 |  |
| 024u | Probe diameter units | in | UNITS |
| 025 | Insertion length |  | INSERTION LENGTH |
| 025u | Insertion length units | ft | UNITS |
| 025u | Insertion length units | in | UNITS |
| 025u | Insertion length units | mm | UNITS |
| 026 | Integral cable length | 6 |  |
| 026 | Integral cable length | 8 |  |
| 026 | Integral cable length | 10 |  |
| 026 | Integral cable length | 15 |  |
| 026u | Cable length units | ft | UNITS |
| 026u | Cable length units | in | UNITS |
| 027 | Self test type | test crystal |  |
| 027 | Self test type | NA |  |
| 028 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 028 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 028 | Cert/Approval type | UL Intrinsic safe | CERTIFICATION |
| 028 | Cert/Approval type | NA | CERTIFICATION |
| 029a | Defined attribute 1 name | cable termination | DEFINABLE ATTRIBUTE NAME |
| 029a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 1 data | in-line connector | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 1 data | phonoplugs | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 1 data | spade lugs | DEFINABLE ATTRIBUTE VALUE |
| 029b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 030b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 031a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 032 | CONNECTION HEAD OR PREAMPLIFIER | SECTION TITLE |  |
| 033 | Type | connection head |  |
| 033 | Type | preamplifier |  |
| 033 | Type | self test/Connection head |  |
| 033 | Type | NA |  |
| 034 | Output signal type | analog 6/10 mA(dc) | SIGNAL |
| 034 | Output signal type | analog 8/16 mA(dc) | SIGNAL |
| 034 | Output signal type | analog 8/18 mA(dc) | SIGNAL |
| 034 | Output signal type | NA | SIGNAL |
| 035 | Enclosure type no/class | 4/7 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 4X/7/9/12 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 036 | Signal power source | line 117 V(ac) 60 Hz |  |
| 036 | Signal power source | loop 10-35 V(dc) |  |
| 036 | Signal power source | NA |  |
| 037 | Gain type | fixed |  |
| 037 | Gain type | NA |  |
| 038 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 038 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 038 | Cert/Approval type | NA | CERTIFICATION |
| 039 | Mounting location/type | housing base | MOUNTING POSITION |
| 039 | Mounting location/type | integral with element | MOUNTING POSITION |
| 039 | Mounting location/type | NA | MOUNTING POSITION |
| 040 | Failure/Diagnostic action | auto test signal high |  |
| 040 | Failure/Diagnostic action | auto test signal low |  |
| 040 | Failure/Diagnostic action | manual test SPST relay |  |
| 040 | Failure/Diagnostic action | NA |  |
| 041 | Enclosure material | aluminum | MATERIAL |
| 041 | Enclosure material | epoxy coated aluminum | MATERIAL |
| 041 | Enclosure material | plastic | MATERIAL |
| 041 | Enclosure material | NA | MATERIAL |
| 042a | Defined attribute 1 name | flexible conduit type | DEFINABLE ATTRIBUTE NAME |
| 042a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 042b | Defined attribute 1 data | manufacturer standard | DEFINABLE ATTRIBUTE VALUE |
| 042b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 043a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 043b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 044 | SWITCH MECHANISM | SECTION TITLE |  |
| 045 | Housing type | conduit fitting | HOUSING |
| 045 | Housing type | conduit LB fitting | HOUSING |
| 045 | Housing type | explosion proof enclosure | HOUSING |
| 045 | Housing type | flush mtd enclosure | HOUSING |
| 045 | Housing type | plug-in module | HOUSING |
| 045 | Housing type | relay cards | HOUSING |
| 045 | Housing type | surface mtd enclosure | HOUSING |
| 045 | Housing type | wp enclosure | HOUSING |
| 046 | Element style | low power service |  |
| 046 | Element style | normal service AC |  |
| 046 | Element style | normal service DC |  |
| 046 | Element style | NA |  |
| 047 | Input signal type | high frequency |  |
| 047 | Input signal type | standard frequency |  |
| 047 | Input signal type | NA |  |
| 048 | Output signal type | relay | SIGNAL |
| 048 | Output signal type | relay & electronic analog | SIGNAL |
| 048 | Output signal type | transistor switch NPN | SIGNAL |
| 048 | Output signal type | transistor switch PNP | SIGNAL |
| 048 | Output signal type | NA | SIGNAL |
| 049 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 049 | Enclosure type no/class | 1-3/5/12 | ENCLOSURE TYPE NO/CLASS |
| 049 | Enclosure type no/class | 1-5/7/9/12 | ENCLOSURE TYPE NO/CLASS |
| 049 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 049 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 049 | Enclosure type no/class | 4X/12 | ENCLOSURE TYPE NO/CLASS |
| 049 | Enclosure type no/class | 4X/5/12 | ENCLOSURE TYPE NO/CLASS |
| 049 | Enclosure type no/class | 4X/5/7/9/12 | ENCLOSURE TYPE NO/CLASS |
| 049 | Enclosure type no/class | 4X/7/9/12 | ENCLOSURE TYPE NO/CLASS |
| 049 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 049 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 050 | Control logic | automatic empty |  |
| 050 | Control logic | automatic fill |  |
| 050 | Control logic | direct relay output |  |
| 050 | Control logic | NA |  |
| 051 | Gain type | high gain |  |
| 051 | Gain type | normal |  |
| 051 | Gain type | NA |  |
| 052 | Signal power source | line 10-55 V(dc) |  |
| 052 | Signal power source | line 117 V(ac) 60 Hz |  |
| 052 | Signal power source | line 12 V(dc) |  |
| 052 | Signal power source | line 120 V(ac) 60 Hz |  |
| 052 | Signal power source | line 220 V(ac) 60 Hz |  |
| 052 | Signal power source | line 230 V(ac) 60 Hz |  |
| 052 | Signal power source | line 24 V(dc) |  |
| 052 | Signal power source | line 240 V(ac) 60 Hz |  |
| 052 | Signal power source | line 90-160 V(ac) 60 Hz |  |
| 052 | Signal power source | line 95-130 V(ac) 60 Hz |  |
| 052 | Signal power source | loop 15-28 V(dc) |  |
| 052 | Signal power source | loop 24-250 V(ac) 60 Hz |  |
| 052 | Signal power source | NA |  |
| 053a | Contacts arrangement | DPDT |  |
| 053a | Contacts arrangement | SPDT |  |
| 053a | Contacts arrangement | NA |  |
| 053b | Contacts quantity | 1 |  |
| 053b | Contacts quantity | 2 |  |
| 053b | Contacts quantity | 3 |  |
| 053b | Contacts quantity | 4 |  |
| 053b | Contacts quantity | 5 |  |
| 053b | Contacts quantity | 6 |  |
| 054 | Failsafe style | fixed high |  |
| 054 | Failsafe style | fixed low |  |
| 054 | Failsafe style | selectable high |  |
| 054 | Failsafe style | selectable high/low,high |  |
| 054 | Failsafe style | selectable low |  |
| 054 | Failsafe style | NA |  |
| 055 | Integral indicator style | 2 line character display |  |
| 055 | Integral indicator style | analog meter |  |
| 055 | Integral indicator style | LED |  |
| 055 | Integral indicator style | LED,front panel |  |
| 055 | Integral indicator style | pilot light |  |
| 055 | Integral indicator style | NA |  |
| 056 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 056 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 056 | Cert/Approval type | NRTL/C | CERTIFICATION |
| 056 | Cert/Approval type | UL Non-classified | CERTIFICATION |
| 056 | Cert/Approval type | NA | CERTIFICATION |
| 057 | Mounting location/type | remote mounting flange | MOUNTING POSITION |
| 057 | Mounting location/type | remote mtd base plate | MOUNTING POSITION |
| 057 | Mounting location/type | NA | MOUNTING POSITION |
| 058 | Failure/Diagnostic action | auto test SPDT relay |  |
| 058 | Failure/Diagnostic action | NA |  |
| 058 | Failure/Diagnostic action | NA |  |
| 059 | Switch time delay | adjustable On delay |  |
| 059 | Failure/Diagnostic action | manual test SPDT relay |  |
| 059 | Switch time delay | dip switch selectable |  |
| 059 | Switch time delay | fixed on delay |  |
| 059 | Switch time delay | off delay |  |
| 059 | Switch time delay | on and off delay |  |
| 059 | Switch time delay | NA |  |
| 061 | Enclosure material | aluminum | MATERIAL |
| 061 | Enclosure material | epoxy coated aluminum | MATERIAL |
| 061 | Enclosure material | plastic | MATERIAL |
| 061 | Enclosure material | polycarbonate | MATERIAL |
| 061 | Enclosure material | PVC | MATERIAL |
| 061 | Enclosure material | NA | MATERIAL |
| 062 | Exterior coating material | NA | MATERIAL |
| 063a | Defined attribute 1 name | indicator labels | DEFINABLE ATTRIBUTE NAME |
| 063b | Defined attribute 1 data | pump-on/Pump-off/on | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | wet | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | wet/Dry/On | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | wet1/2/Dry1/2/On/On-Off | DEFINABLE ATTRIBUTE VALUE |
| 063b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 064a | Defined attribute 2 name | special protection | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 2 data | hd spark protection | DEFINABLE ATTRIBUTE VALUE |
| 064b | Defined attribute 2 data | surge protection | DEFINABLE ATTRIBUTE VALUE |
| 065a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 067a | Max press at design temp |  | PRESSURE |
| 067au | Design pressure units | psig | UNITS |
| 067b | Max design temperature |  | DESIGN TEMPERATURE |
| 067bu | Design temperature units | °C | UNITS |
| 067bu | Design temperature units | °F | UNITS |
| 067bu | Design temperature units | C | UNITS |
| 067bu | Design temperature units | F | UNITS |
| 068 | Min working temperature |  | WORKING TEMPERATURE |
| 068au | Min working temp units | °C | UNITS |
| 068au | Min working temp units | °F | UNITS |
| 068au | Min working temp units | C | UNITS |
| 068au | Min working temp units | F | UNITS |
| 068b | Max working temperature |  | WORKING TEMPERATURE |
| 068bu | Max working temp units | °C | UNITS |
| 068bu | Max working temp units | °F | UNITS |
| 068bu | Max working temp units | C | UNITS |
| 068bu | Max working temp units | F | UNITS |
| 069 | Repeatability/Sensitivity | .02 |  |
| 069 | Repeatability/Sensitivity | .1 |  |
| 069b | Repeatability ref base | in |  |
| 070a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 070au | Min amb working temp units | °C | UNITS |
| 070au | Min amb working temp units | °F | UNITS |
| 070au | Min amb working temp units | C | UNITS |
| 070au | Min amb working temp units | F | UNITS |
| 070b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 070bu | Max amb temperature units | °C | UNITS |
| 070bu | Max amb temperature units | °F | UNITS |
| 070bu | Max amb temperature units | C | UNITS |
| 070bu | Max amb temperature units | F | UNITS |
| 071a | Contacts ac rating | 2 | DEVICE RATING |
| 071a | Contacts ac rating | 5 | DEVICE RATING |
| 071a | Contacts ac rating | 10 | DEVICE RATING |
| 071a | Contacts ac rating | 350 | DEVICE RATING |
| 071au | AC rating current units | A | UNITS |
| 071au | AC rating current units | mA | UNITS |
| 071b | AC rating max voltage | 115 | DEVICE RATING |
| 071b | AC rating max voltage | 125 | DEVICE RATING |
| 071b | AC rating max voltage | 230 | DEVICE RATING |
| 071b | AC rating max voltage | 240 | DEVICE RATING |
| 071bu | AC max voltage units | V | UNITS |
| 072a | Contacts dc rating | 5 | DEVICE RATING |
| 072au | DC rating current units | A | UNITS |
| 072b | DC rating max voltage | 28 | DEVICE RATING |
| 072b | DC rating max voltage | 30 | DEVICE RATING |
| 072bu | DC max voltage units | V | UNITS |
| 073 | Max sensor to receiver lg | 10 |  |
| 073 | Max sensor to receiver lg | 15 |  |
| 073 | Max sensor to receiver lg | 175 |  |
| 073 | Max sensor to receiver lg | 200 |  |
| 073u | Max length units | ft | UNITS |
| 074a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 076a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 076b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | ACCESSORIES | SECTION TITLE |  |
| 086 | Connecting cables length |  |  |
| 086u | Cable length units | ft | UNITS |
| 087 | Mounting hardware | NA |  |
| 088 | External relay | 304 SST cplg for probe |  |
| 088 | External relay | 304 SST thd cplg well |  |
| 088 | External relay | 304 SST weld cplg well |  |
| 088 | External relay | conduit adapter |  |
| 088 | External relay | elbow mount |  |
| 088 | External relay | float mount |  |
| 088 | External relay | PBTP mounting well |  |
| 088 | External relay | NA |  |
| 089 | Intrinsic safety barrier | panel mounted |  |
| 089 | Intrinsic safety barrier | wall mounted NEMA 4X |  |
| 089 | Intrinsic safety barrier | NA |  |
| 090a | Defined attribute 1 name | power supply | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 1 data | 120 V(ac)/24 V(dc) EP | DEFINABLE ATTRIBUTE VALUE |
| 090b | Defined attribute 1 data | 120 V(ac)/45 V(dc) EP | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 094 | Custom tag | fiber tag |  |
| 094 | Custom tag | sst permanent attached |  |
| 094 | Custom tag | sst wired-on |  |
| 094 | Custom tag | NA |  |
| 095 | Reference specification | 3-A | REFERENCE SPECIFICATION |
| 095 | Reference specification | NA | REFERENCE SPECIFICATION |
| 096 | Compliance standard |  | NACE STANDARD |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | g | UNITS |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 101u | Weight units | oz | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cable seal | END CONNECTION TYPE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Setpoint 1 tag no |  |  |
| 112b | Lg conn to sp 1-Output | CALIBRATION/TEST DESC |  |
| 112c | Setpoint 1 LRV | 0 |  |
| 112cu | Setpoint 1 LRV units | cm | UNITS |
| 112cu | Setpoint 1 LRV units | ft | UNITS |
| 112cu | Setpoint 1 LRV units | in | UNITS |
| 112d | Setpoint 1 URV |  |  |
| 112du | Setpoint 1 URV units | cm | UNITS |
| 112du | Setpoint 1 URV units | ft | UNITS |
| 112du | Setpoint 1 URV units | in | UNITS |
| 112e | Setpoint 1 signal action | NC |  |
| 112e | Setpoint 1 signal action | NO |  |
| 112f | Setpoint 1 output LRV | 0 |  |
| 112fu | Setpoint 1 output LRV units | V | UNITS |
| 112g | Setpoint 1 output URV | 24 |  |
| 112g | Setpoint 1 output URV | 120 |  |
| 112gu | Setpoint 1 output URV units | V | UNITS |
| 113a | Setpoint 2 tag no |  |  |
| 113b | Lg conn to sp 2-Output | CALIBRATION/TEST DESC |  |
| 113c | Setpoint 2 LRV |  |  |
| 113cu | Setpoint 2 LRV units | cm | UNITS |
| 113cu | Setpoint 2 LRV units | ft | UNITS |
| 113cu | Setpoint 2 LRV units | in | UNITS |
| 113d | Setpoint 2 URV |  |  |
| 113du | Setpoint 2 URV units | cm | UNITS |
| 113du | Setpoint 2 URV units | ft | UNITS |
| 113du | Setpoint 2 URV units | in | UNITS |
| 113e | Setpoint 2 signal action | NC |  |
| 113e | Setpoint 2 signal action | NO |  |
| 113f | Setpoint 2 output LRV | 0 |  |
| 113fu | Setpoint 2 output LRV units | V | UNITS |
| 113g | Setpoint 2 output URV | 24 |  |
| 113g | Setpoint 2 output URV | 120 |  |
| 113gu | Setpoint 2 output URV units | V | UNITS |
| 114a | Setpoint 3 tag no |  |  |
| 114b | Lg conn to sp 3-Output | CALIBRATION/TEST DESC |  |
| 114c | Setpoint 3 LRV |  |  |
| 114cu | Setpoint 3 LRV units | cm | UNITS |
| 114cu | Setpoint 3 LRV units | ft | UNITS |
| 114cu | Setpoint 3 LRV units | in | UNITS |
| 114d | Setpoint 3 URV |  |  |
| 114du | Setpoint 3 URV units | cm | UNITS |
| 114du | Setpoint 3 URV units | ft | UNITS |
| 114du | Setpoint 3 URV units | in | UNITS |
| 114e | Setpoint 3 signal action | NC |  |
| 114e | Setpoint 3 signal action | NO |  |
| 114f | Setpoint 3 output LRV | 0 |  |
| 114fu | Setpoint 3 output LRV units | V | UNITS |
| 114g | Setpoint 3 output URV | 24 |  |
| 114g | Setpoint 3 output URV | 120 |  |
| 114gu | Setpoint 3 output URV units | V | UNITS |
| 115a | Setpoint 4 tag no |  |  |
| 115b | Lg conn to sp 4-Output | CALIBRATION/TEST DESC |  |
| 115c | Setpoint 4 LRV |  |  |
| 115cu | Setpoint 4 LRV units | cm | UNITS |
| 115cu | Setpoint 4 LRV units | ft | UNITS |
| 115cu | Setpoint 4 LRV units | in | UNITS |
| 115d | Setpoint 4 URV |  |  |
| 115du | Setpoint 4 URV units | cm | UNITS |
| 115du | Setpoint 4 URV units | ft | UNITS |
| 115du | Setpoint 4 URV units | in | UNITS |
| 115e | Setpoint 4 signal action | NC |  |
| 115e | Setpoint 4 signal action | NO |  |
| 115f | Setpoint 4 output LRV | 0 |  |
| 115fu | Setpoint 4 output LRV units | V | UNITS |
| 115g | Setpoint 4 output URV | 24 |  |
| 115g | Setpoint 4 output URV | 120 |  |
| 115gu | Setpoint 4 output URV units | V | UNITS |
| 116a | Attribute tag no |  |  |
| 116b | Attribute cal/test descp | NA |  |
| 116c | Attribute cal/test LRV |  |  |
| 116cu | Attr cal/test LRV units |  | UNITS |
| 116d | Attribute cal/test URV |  |  |
| 116du | Attr cal/test URV units |  | UNITS |
| 116e | Attribute cal/test action |  |  |
| 116f | Attribute output LRV |  |  |
| 116fu | Attr output LRV units |  | UNITS |
| 116g | Attribute output URV |  |  |
| 116gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | ultrasonic/RF level sw |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type | ultrasonic/RF element |  |