| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | PROCESS CONNECTION | SECTION TITLE |  |
| 012 | Body/Fitting type | bolted plate |  |
| 012 | Body/Fitting type | bolted tank |  |
| 012 | Body/Fitting type | cone roof |  |
| 012 | Body/Fitting type | cone roof w/pan |  |
| 012 | Body/Fitting type | cone roof w/pan/floatwell |  |
| 012 | Body/Fitting type | float roof w/float well |  |
| 012 | Body/Fitting type | float roof wo/float well |  |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | bolted | END CONNECTION CATEGORY |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014a | Process conn termn type | NA | END CONNECTION CATEGORY |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | rf | END CONNECTION TYPE |
| 015 | Wetted material | carbon steel | MATERIAL |
| 015 | Wetted material | NA | MATERIAL |
| 016a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 016b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 017a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | SENSING ELEMENT | SECTION TITLE |  |
| 019 | Sensor type | float roof wo/ well |  |
| 019 | Sensor type | float w/guide cable |  |
| 019 | Sensor type | spheres w/guide cable |  |
| 020 | Nominal size | 6 in | NOMINAL SIZE |
| 020 | Nominal size | 10 lb | NOMINAL SIZE |
| 020 | Nominal size | 14.5 in | NOMINAL SIZE |
| 020 | Nominal size | 17 in | NOMINAL SIZE |
| 021 | Sensor material | 316 SST | MATERIAL |
| 021 | Sensor material | carpenter 20 | MATERIAL |
| 021 | Sensor material | fiber reinforced plastic | MATERIAL |
| 021 | Sensor material | monel | MATERIAL |
| 021 | Sensor material | NA | MATERIAL |
| 022 | Guide cable material | 316 SST | MATERIAL |
| 022 | Guide cable material | carpenter 20 | MATERIAL |
| 022 | Guide cable material | monel | MATERIAL |
| 022 | Guide cable material | TFE coated 316 SST | MATERIAL |
| 022 | Guide cable material | NA | MATERIAL |
| 023 | Bottom anchor material | 316 SST | MATERIAL |
| 023 | Bottom anchor material | carbon steel | MATERIAL |
| 023 | Bottom anchor material | carpenter 20 | MATERIAL |
| 023 | Bottom anchor material | monel | MATERIAL |
| 023 | Bottom anchor material | NA | MATERIAL |
| 024 | Top anchor material | 316 SST | MATERIAL |
| 024 | Top anchor material | carbon steel | MATERIAL |
| 024 | Top anchor material | carpenter 20 | MATERIAL |
| 024 | Top anchor material | NA | MATERIAL |
| 025a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 025b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 026b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 027a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 027b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 028 | TAPE CONDUIT | SECTION TITLE |  |
| 029 | Sheave elbow type | 135 deg |  |
| 029 | Sheave elbow type | 180 deg |  |
| 029 | Sheave elbow type | 90 deg |  |
| 029 | Sheave elbow type | NA |  |
| 030 | Liquid seal style | 135 deg |  |
| 030 | Liquid seal style | 180 deg |  |
| 030 | Liquid seal style | NA |  |
| 031 | Tape material | 316 SST | MATERIAL |
| 031 | Tape material | carpenter 20 | MATERIAL |
| 031 | Tape material | monel | MATERIAL |
| 031 | Tape material | NA | MATERIAL |
| 032 | Sheave elbow material | 316 SST | MATERIAL |
| 032 | Sheave elbow material | aluminum | MATERIAL |
| 032 | Sheave elbow material | cast iron | MATERIAL |
| 032 | Sheave elbow material | NA | MATERIAL |
| 033 | Pipe material | carbon steel | MATERIAL |
| 033 | Pipe material | NA | MATERIAL |
| 034 | Liquid seal sheave matl | aluminum | MATERIAL |
| 034 | Liquid seal sheave matl | cast iron | MATERIAL |
| 034 | Liquid seal sheave matl | NA | MATERIAL |
| 035 | Tape wipe material | TFE | MATERIAL |
| 035 | Tape wipe material | NA | MATERIAL |
| 036 | Conduit vent fitting matl | aluminum | MATERIAL |
| 036 | Conduit vent fitting matl | NA | MATERIAL |
| 037a | Defined attribute 1 name | support bracket style | DEFINABLE ATTRIBUTE NAME |
| 037a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 037b | Defined attribute 1 data | extended | DEFINABLE ATTRIBUTE VALUE |
| 037b | Defined attribute 1 data | standard | DEFINABLE ATTRIBUTE VALUE |
| 037b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 038a | Defined attribute 2 name | drive elbow | DEFINABLE ATTRIBUTE NAME |
| 038a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 039 | GAUGE OR INDICATOR | SECTION TITLE |  |
| 040 | Type | counter display |  |
| 040 | Type | gauge board |  |
| 040 | Type | NA |  |
| 041 | Spring motor type | cartridge |  |
| 041 | Spring motor type | negator |  |
| 041 | Spring motor type | NA |  |
| 042 | Level Upper Range-Limit | 2 |  |
| 042 | Level Upper Range-Limit | 4 |  |
| 042 | Level Upper Range-Limit | 5 |  |
| 042 | Level Upper Range-Limit | 6 |  |
| 042 | Level Upper Range-Limit | 8 |  |
| 042 | Level Upper Range-Limit | 10 |  |
| 042 | Level Upper Range-Limit | 12 |  |
| 042 | Level Upper Range-Limit | 13 |  |
| 042 | Level Upper Range-Limit | 14 |  |
| 042 | Level Upper Range-Limit | 15 |  |
| 042 | Level Upper Range-Limit | 16 |  |
| 042 | Level Upper Range-Limit | 18 |  |
| 042 | Level Upper Range-Limit | 19 |  |
| 042 | Level Upper Range-Limit | 20 |  |
| 042 | Level Upper Range-Limit | 27 |  |
| 042 | Level Upper Range-Limit | 29 |  |
| 042 | Level Upper Range-Limit | 34 |  |
| 042 | Level Upper Range-Limit | 41 |  |
| 042 | Level Upper Range-Limit | 48 |  |
| 042 | Level Upper Range-Limit | 55 |  |
| 042 | Level Upper Range-Limit | 60 |  |
| 042 | Level Upper Range-Limit | 63 |  |
| 042 | Level Upper Range-Limit | 83 |  |
| 042 | Level Upper Range-Limit | 96 |  |
| 042 | Level Upper Range-Limit | 97 |  |
| 042u | Level URL units | ft | UNITS |
| 042u | Level URL units | m | UNITS |
| 043 | Seal type | magnetic drive |  |
| 043 | Seal type | NA |  |
| 044 | Graduations and color | ft/in |  |
| 044 | Graduations and color | ft/in/10th in |  |
| 044 | Graduations and color | ft/in/16th in |  |
| 044 | Graduations and color | m/10th m |  |
| 044 | Graduations and color | m/10th m/100th m |  |
| 044 | Graduations and color | NA |  |
| 045 | Mounting location/type | grade side mount | MOUNTING POSITION |
| 045 | Mounting location/type | top mounting | MOUNTING POSITION |
| 045 | Mounting location/type | NA | MOUNTING POSITION |
| 046 | Sensor check style | check knob |  |
| 046 | Sensor check style | hank crank |  |
| 046 | Sensor check style | NA |  |
| 047 | Housing material | aluminum | MATERIAL |
| 047 | Housing material | carbon steel | MATERIAL |
| 047 | Housing material | cast iron | MATERIAL |
| 047 | Housing material | NA | MATERIAL |
| 048a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 048b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 049a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 049b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 050 | SWITCH MECHANISM | SECTION TITLE |  |
| 051 | Housing type | explosion proof enclosure | HOUSING |
| 051 | Housing type | NA | HOUSING |
| 052 | Output signal type | switch | SIGNAL |
| 052 | Output signal type | NA | SIGNAL |
| 053 | Max level span | 4.87 |  |
| 053 | Max level span | 9.75 |  |
| 053 | Max level span | 16 |  |
| 053 | Max level span | 19.5 |  |
| 053 | Max level span | 32 |  |
| 053 | Max level span | 64 |  |
| 053u | Level span units | ft | UNITS |
| 053u | Level span units | m | UNITS |
| 054 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 054 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 055 | Signal power source | NA |  |
| 056a | Contacts arrangement | SPDT |  |
| 056a | Contacts arrangement | NA |  |
| 056b | Contacts quantity | 0 |  |
| 056b | Contacts quantity | 2 |  |
| 056b | Contacts quantity | 4 |  |
| 056b | Contacts quantity | 6 |  |
| 057 | Failsafe style | NA |  |
| 058 | Integral indicator style | NA |  |
| 059 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 059 | Cert/Approval type | UL Explosion proof | CERTIFICATION |
| 059 | Cert/Approval type | NA | CERTIFICATION |
| 061 | Mounting location/type | elbow drive | MOUNTING POSITION |
| 061 | Mounting location/type | integral to indicator | MOUNTING POSITION |
| 061 | Mounting location/type | NA | MOUNTING POSITION |
| 062 | Enclosure material | aluminum | MATERIAL |
| 062 | Enclosure material | NA | MATERIAL |
| 063a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 063b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 064a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 065a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 067a | Max press at design temp | 2.5 | PRESSURE |
| 067au | Design pressure units | psig | UNITS |
| 067b | Max design temperature |  | DESIGN TEMPERATURE |
| 067bu | Design temperature units | °C | UNITS |
| 067bu | Design temperature units | °F | UNITS |
| 067bu | Design temperature units | C | UNITS |
| 067bu | Design temperature units | F | UNITS |
| 068a | Min working temperature | -30 | WORKING TEMPERATURE |
| 068a | Min working temperature | -34 | WORKING TEMPERATURE |
| 068au | Min working temp units | °C | UNITS |
| 068au | Min working temp units | °F | UNITS |
| 068au | Min working temp units | C | UNITS |
| 068au | Min working temp units | F | UNITS |
| 068b | Max working temperature | 71 | WORKING TEMPERATURE |
| 068b | Max working temperature | 160 | WORKING TEMPERATURE |
| 068bu | Max working temp units | °C | UNITS |
| 068bu | Max working temp units | °F | UNITS |
| 068bu | Max working temp units | C | UNITS |
| 068bu | Max working temp units | F | UNITS |
| 069a | Min specific gravity | .45 |  |
| 069a | Min specific gravity | .7 |  |
| 069b | Max specific gravity | .69 |  |
| 069b | Max specific gravity | 1.9 |  |
| 070a | Indication accuracy | 1 |  |
| 070a | Indication accuracy | 4 |  |
| 070a | Indication accuracy | 25 |  |
| 070b | Accuracy rating ref base | in | ACCURACY REFERENCE |
| 070b | Accuracy rating ref base | mm | ACCURACY REFERENCE |
| 071 | Switch Repeatability |  |  |
| 071b | Repeatability ref base | in |  |
| 071b | Repeatability ref base | mm |  |
| 072 | Min differential sp gr | .15 |  |
| 072 | Min differential sp gr | .25 |  |
| 073a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 073au | Min amb working temp units | °C | UNITS |
| 073au | Min amb working temp units | °F | UNITS |
| 073au | Min amb working temp units | C | UNITS |
| 073au | Min amb working temp units | F | UNITS |
| 073b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 073bu | Max amb temperature units | °C | UNITS |
| 073bu | Max amb temperature units | °F | UNITS |
| 073bu | Max amb temperature units | C | UNITS |
| 073bu | Max amb temperature units | F | UNITS |
| 074a | Contacts ac rating | 1 | DEVICE RATING |
| 074a | Contacts ac rating | 2 | DEVICE RATING |
| 074au | AC rating current units | A | UNITS |
| 074au | AC rating current units | hp | UNITS |
| 074b | AC rating max voltage | 125 | DEVICE RATING |
| 074b | AC rating max voltage | 250 | DEVICE RATING |
| 074bu | AC max voltage units | V | UNITS |
| 075a | Contacts dc rating | .25 | DEVICE RATING |
| 075a | Contacts dc rating | .5 | DEVICE RATING |
| 075a | Contacts dc rating | 20 | DEVICE RATING |
| 075au | DC rating current units | A | UNITS |
| 075b | DC rating max voltage | 125 | DEVICE RATING |
| 075b | DC rating max voltage | 250 | DEVICE RATING |
| 075b | DC rating max voltage | 480 | DEVICE RATING |
| 075bu | DC max voltage units | V | UNITS |
| 076a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 076b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 077a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 077b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 078a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 078b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086 | ACCESSORIES | SECTION TITLE |  |
| 087 | Calibrator | NA |  |
| 088 | Condensate reservoir | NA |  |
| 089 | Shock absorber | NA |  |
| 090 | Isolation valve | 1 1/2 in plug valve |  |
| 090 | Isolation valve | NA |  |
| 091a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 094 | Custom tag | NA |  |
| 095 | Reference specification | NA | REFERENCE SPECIFICATION |
| 096 | Compliance standard | NA | NACE STANDARD |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Scale tag no |  |  |
| 112b | Level-Scale | CALIBRATION/TEST DESC |  |
| 112c | Scale level LRV | 0 |  |
| 112cu | Scale level LRV units | ft | UNITS |
| 112cu | Scale level LRV units | m | UNITS |
| 112d | Scale level URV |  |  |
| 112du | Scale level URV units | ft | UNITS |
| 112du | Scale level URV units | m | UNITS |
| 112e | Scale level action | direct |  |
| 112f | Scale Lower Range-Value | 0 |  |
| 112fu | Scale LRV units | % | UNITS |
| 112fu | Scale LRV units | bbl | UNITS |
| 112fu | Scale LRV units | ft | UNITS |
| 112fu | Scale LRV units | galUS | UNITS |
| 112fu | Scale LRV units | m | UNITS |
| 112g | Scale Upper Range-Value | 100 |  |
| 112gu | Scale URV units | % | UNITS |
| 112gu | Scale URV units | bbl | UNITS |
| 112gu | Scale URV units | ft | UNITS |
| 112gu | Scale URV units | galUS | UNITS |
| 112gu | Scale URV units | m | UNITS |
| 113a | Setpoint 1 tag no |  |  |
| 113b | Level setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 113c | Setpoint 1 LRV | 0 |  |
| 113cu | Setpoint 1 LRV units | ft | UNITS |
| 113cu | Setpoint 1 LRV units | m | UNITS |
| 113d | Setpoint 1 URV |  |  |
| 113du | Setpoint 1 URV units | ft | UNITS |
| 113du | Setpoint 1 URV units | m | UNITS |
| 113e | Setpoint 1 signal action | NC |  |
| 113e | Setpoint 1 signal action | NO |  |
| 113f | Setpoint 1 output LRV | 0 |  |
| 113fu | Setpoint 1 output LRV units | V | UNITS |
| 113g | Setpoint 1 output URV | 24 |  |
| 113g | Setpoint 1 output URV | 120 |  |
| 113gu | Setpoint 1 output URV units | V | UNITS |
| 114a | Setpoint 2 tag no |  |  |
| 114b | Level setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 114c | Setpoint 2 LRV | 0 |  |
| 114cu | Setpoint 2 LRV units | ft | UNITS |
| 114cu | Setpoint 2 LRV units | m | UNITS |
| 114d | Setpoint 2 URV |  |  |
| 114du | Setpoint 2 URV units | ft | UNITS |
| 114du | Setpoint 2 URV units | m | UNITS |
| 114e | Setpoint 2 signal action | NC |  |
| 114e | Setpoint 2 signal action | NO |  |
| 114f | Setpoint 2 output LRV | 0 |  |
| 114fu | Setpoint 2 output LRV units | V | UNITS |
| 114g | Setpoint 2 output URV | 24 |  |
| 114g | Setpoint 2 output URV | 120 |  |
| 114gu | Setpoint 2 output URV units | V | UNITS |
| 115a | Setpoint 3 tag no |  |  |
| 115b | Level setpoint 3-Output | CALIBRATION/TEST DESC |  |
| 115c | Setpoint 3 LRV | 0 |  |
| 115cu | Setpoint 3 LRV units | ft | UNITS |
| 115cu | Setpoint 3 LRV units | m | UNITS |
| 115d | Setpoint 3 URV |  |  |
| 115du | Setpoint 3 URV units | ft | UNITS |
| 115du | Setpoint 3 URV units | m | UNITS |
| 115e | Setpoint 3 signal action | NC |  |
| 115e | Setpoint 3 signal action | NO |  |
| 115f | Setpoint 3 output LRV | 0 |  |
| 115fu | Setpoint 3 output LRV units | V | UNITS |
| 115g | Setpoint 3 output URV | 24 |  |
| 115gu | Setpoint 3 output URV units | V | UNITS |
| 116a | Setpoint 4 tag no |  |  |
| 116b | Level setpoint 4-Output | CALIBRATION/TEST DESC |  |
| 116c | Setpoint 4 LRV | 0 |  |
| 116cu | Setpoint 4 LRV units | ft | UNITS |
| 116cu | Setpoint 4 LRV units | m | UNITS |
| 116d | Setpoint 4 URV |  |  |
| 116du | Setpoint 4 URV units | ft | UNITS |
| 116du | Setpoint 4 URV units | m | UNITS |
| 116e | Setpoint 4 signal action | NC |  |
| 116e | Setpoint 4 signal action | NO |  |
| 116f | Setpoint 4 output LRV | 0 |  |
| 116fu | Setpoint 4 output LRV units | V | UNITS |
| 116g | Setpoint 4 output URV | 24 |  |
| 116g | Setpoint 4 output URV | 120 |  |
| 116gu | Setpoint 4 output URV units | V | UNITS |
| 117a | Attribute tag no |  |  |
| 117b | Attribute cal/test descp | NA |  |
| 117c | Attribute cal/test LRV |  |  |
| 117cu | Attr cal/test LRV units |  | UNITS |
| 117d | Attribute cal/test URV |  |  |
| 117du | Attr cal/test URV units |  | UNITS |
| 117e | Attribute cal/test action |  |  |
| 117f | Attribute output LRV |  |  |
| 117fu | Attr output LRV units |  | UNITS |
| 117g | Attribute output URV |  |  |
| 117gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | tank level gauge |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |