| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | CAGE OR CHAMBER | SECTION TITLE |  |
| 012 | Cage/Chamber type | caged direct reading |  |
| 012 | Cage/Chamber type | caged w/ bottom extension |  |
| 012 | Cage/Chamber type | caged w/ stilling well |  |
| 012 | Cage/Chamber type | caged w/ top extension |  |
| 012 | Cage/Chamber type | cageless |  |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | lj | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | rf | END CONNECTION TYPE |
| 014b | Process conn termn style | rtj | END CONNECTION TYPE |
| 014b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | wn | END CONNECTION TYPE |
| 015a | Lower conn location | back |  |
| 015a | Lower conn location | side |  |
| 015a | Lower conn location | top |  |
| 015b | Upper connection location | back |  |
| 015b | Upper connection location | bottom |  |
| 015b | Upper connection location | side |  |
| 016a | Top conn termn style | capped | PRESSURE TAP |
| 016a | Top conn termn style | flanged | PRESSURE TAP |
| 016a | Top conn termn style | weld neck Flanged | PRESSURE TAP |
| 016b | Bottom conn termn style | flanged |  |
| 016b | Bottom conn termn style | weld neck Flanged |  |
| 017a | Vent/Drain conn nom size | 1/2 in | NOMINAL SIZE |
| 017a | Vent/Drain conn nom size | 1 in | NOMINAL SIZE |
| 017a | Vent/Drain conn nom size | 1 1/2 in | NOMINAL SIZE |
| 017a | Vent/Drain conn nom size | NA | NOMINAL SIZE |
| 017b | Vent/Drain conn rating | cl 150 | NOMINAL PRESSURE/RATING |
| 017b | Vent/Drain conn rating | cl 300 | NOMINAL PRESSURE/RATING |
| 017b | Vent/Drain conn rating | cl 600 | NOMINAL PRESSURE/RATING |
| 017b | Vent/Drain conn rating | NA | NOMINAL PRESSURE/RATING |
| 018a | Vent/Drain conn type | flanged |  |
| 018a | Vent/Drain conn type | threaded |  |
| 018a | Vent/Drain conn type | NA |  |
| 018b | Vent/Drain conn style | NPT(F) |  |
| 018b | Vent/Drain conn style | rf |  |
| 018b | Vent/Drain conn style | NA |  |
| 019 | Cage/Chamber pipe sched | 10 |  |
| 019 | Cage/Chamber pipe sched | 40 |  |
| 020 | Cage/Chamber material | 304 SST | MATERIAL |
| 020 | Cage/Chamber material | 316 SST | MATERIAL |
| 020 | Cage/Chamber material | alloy 20 | MATERIAL |
| 020 | Cage/Chamber material | aluminum | MATERIAL |
| 020 | Cage/Chamber material | chemtite | MATERIAL |
| 020 | Cage/Chamber material | copper | MATERIAL |
| 020 | Cage/Chamber material | hastelloy | MATERIAL |
| 020 | Cage/Chamber material | k-Monel | MATERIAL |
| 020 | Cage/Chamber material | PVC | MATERIAL |
| 020 | Cage/Chamber material | titanium | MATERIAL |
| 020 | Cage/Chamber material | NA | MATERIAL |
| 021 | Lining material | kel-F | MATERIAL |
| 021 | Lining material | teflon | MATERIAL |
| 021 | Lining material | NA | MATERIAL |
| 022 | Bolting material | alloy steel | BOLTING |
| 022 | Bolting material | NA | BOLTING |
| 023 | Flange material | 304 SST | MATERIAL |
| 023 | Flange material | 316 SST | MATERIAL |
| 023 | Flange material | carbon steel | MATERIAL |
| 023 | Flange material | PVC | MATERIAL |
| 023 | Flange material | NA | MATERIAL |
| 024 | Gasket material | manufacturer standard | MATERIAL |
| 024 | Gasket material | NA | MATERIAL |
| 025a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 025b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 026b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 027 | SENSING ELEMENT | SECTION TITLE |  |
| 028 | Sensor type | displacer |  |
| 028 | Sensor type | float |  |
| 029a | Sp gr Lower Range-Limit | .50 |  |
| 029b | Sp gr Upper Range-Limit |  |  |
| 030a | Minimum level span | 6 |  |
| 030au | Minimum level span units | cm | UNITS |
| 030au | Minimum level span units | in | UNITS |
| 030au | Minimum level span units | mm | UNITS |
| 030b | Max level span |  |  |
| 030bu | Max level span units | cm | UNITS |
| 030bu | Max level span units | in | UNITS |
| 030bu | Max level span units | mm | UNITS |
| 031 | Sensor quantity | 1 |  |
| 031 | Sensor quantity | 2 |  |
| 032 | Extension length |  | CONNECTION HEAD EXTENSION LGTH |
| 032u | Extension length units | cm | UNITS |
| 032u | Extension length units | in | UNITS |
| 032u | Extension length units | mm | UNITS |
| 033 | Float/Displacer length | 5.91 |  |
| 033 | Float/Displacer length | 7 |  |
| 033 | Float/Displacer length | 9.24 |  |
| 033 | Float/Displacer length | 10 |  |
| 033 | Float/Displacer length | 11.81 |  |
| 033 | Float/Displacer length | 15 |  |
| 033 | Float/Displacer length | 15.75 |  |
| 033 | Float/Displacer length | 19.69 |  |
| 033 | Float/Displacer length | 20 |  |
| 033 | Float/Displacer length | 23.62 |  |
| 033 | Float/Displacer length | 24 |  |
| 033 | Float/Displacer length | 155 |  |
| 033 | Float/Displacer length | 235 |  |
| 033 | Float/Displacer length | 250 |  |
| 033 | Float/Displacer length | 300 |  |
| 033 | Float/Displacer length | 405 |  |
| 033 | Float/Displacer length | 505 |  |
| 033 | Float/Displacer length | 600 |  |
| 033u | Length units | in | UNITS |
| 033u | Length units | mm | UNITS |
| 034 | Float/Displacer material | 316 SST | MATERIAL |
| 034 | Float/Displacer material | 321 SST | MATERIAL |
| 034 | Float/Displacer material | aluminum | MATERIAL |
| 034 | Float/Displacer material | k-Monel | MATERIAL |
| 034 | Float/Displacer material | polypropylene | MATERIAL |
| 034 | Float/Displacer material | PVC | MATERIAL |
| 034 | Float/Displacer material | titanium | MATERIAL |
| 034 | Float/Displacer material | NA | MATERIAL |
| 035a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 035b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 036a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 036b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 037 | GAGE OR INDICATOR | SECTION TITLE |  |
| 038 | Type | interface and level |  |
| 038 | Type | level indication |  |
| 039 | Seal style | hermetically sealed |  |
| 039 | Seal style | manufacturer standard |  |
| 039 | Seal style | NA |  |
| 040 | Visible length |  |  |
| 040u | Visible length units | cm | UNITS |
| 040u | Visible length units | in | UNITS |
| 040u | Visible length units | mm | UNITS |
| 041 | Gage scale divisions | in,1/8 in |  |
| 041 | Gage scale divisions | NA |  |
| 042 | Orientation to conn | back |  |
| 042 | Orientation to conn | left side |  |
| 042 | Orientation to conn | right-side |  |
| 042 | Orientation to conn | NA |  |
| 043 | Bicolor wafer colors | lower black/Upper yellow |  |
| 043 | Bicolor wafer colors | NA |  |
| 044 | Cover material | glass | MATERIAL |
| 044 | Cover material | plastic | MATERIAL |
| 044 | Cover material | NA | MATERIAL |
| 045 | Indicator material | aluminum | MATERIAL |
| 045 | Indicator material | epoxy coated | MATERIAL |
| 045 | Indicator material | polycarbonate | MATERIAL |
| 045 | Indicator material | NA | MATERIAL |
| 046a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 047a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 048 | SWITCH MECHANISM | SECTION TITLE |  |
| 049 | Housing type | explosion proof enclosure | HOUSING |
| 049 | Housing type | general service | HOUSING |
| 049 | Housing type | hermetically sealed | HOUSING |
| 049 | Housing type | weatherproof | HOUSING |
| 049 | Housing type | NA | HOUSING |
| 050 | Element style | hermetically sealed |  |
| 050 | Element style | low power service |  |
| 050 | Element style | vibration resistant |  |
| 050 | Element style | NA |  |
| 051 | Output signal type | dry contact | SIGNAL |
| 051 | Output signal type | mercury | SIGNAL |
| 051 | Output signal type | relay | SIGNAL |
| 051 | Output signal type | NA | SIGNAL |
| 052 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | 4X/7/9 | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | 7/9 | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 052 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 053 | Signal power source | loop 24 V(dc) |  |
| 053 | Signal power source | NA |  |
| 054a | Contacts arrangement | DPDT |  |
| 054a | Contacts arrangement | SPDT |  |
| 054a | Contacts arrangement | NA |  |
| 054b | Contacts quantity | 1 |  |
| 054b | Contacts quantity | 2 |  |
| 055 | Signal termination type | exposed wiring leads | END CONNECTION TYPE |
| 055 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 055 | Signal termination type | sealed leads | END CONNECTION TYPE |
| 055 | Signal termination type | terminal block | END CONNECTION TYPE |
| 055 | Signal termination type | NA | END CONNECTION TYPE |
| 056 | Cert/Approval type | BASEEFA Explosion proof | CERTIFICATION |
| 056 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 056 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 056 | Cert/Approval type | CSA Non-classified | CERTIFICATION |
| 056 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 056 | Cert/Approval type | FM Non-classified | CERTIFICATION |
| 056 | Cert/Approval type | SAA Explosion proof | CERTIFICATION |
| 056 | Cert/Approval type | UL Non-classified | CERTIFICATION |
| 056 | Cert/Approval type | NA | CERTIFICATION |
| 057 | Enclosure material | aluminum | MATERIAL |
| 057 | Enclosure material | carbon steel | MATERIAL |
| 057 | Enclosure material | cast iron | MATERIAL |
| 057 | Enclosure material | NA | MATERIAL |
| 058a | Defined attribute 1 name | enclosure accessories | DEFINABLE ATTRIBUTE NAME |
| 058a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 058b | Defined attribute 1 data | breather/drain | DEFINABLE ATTRIBUTE VALUE |
| 058b | Defined attribute 1 data | resistance heater | DEFINABLE ATTRIBUTE VALUE |
| 059a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp |  | PRESSURE |
| 061au | Design pressure units | bar(g) | UNITS |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature |  | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Min working temperature |  | WORKING TEMPERATURE |
| 062a | Min working temp units | °C | UNITS |
| 062a | Min working temp units | °F | UNITS |
| 062a | Min working temp units | C | UNITS |
| 062a | Min working temp units | F | UNITS |
| 062b | Max working temperature |  | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063a | Repeatability |  |  |
| 063b | Repeatability ref base | in |  |
| 064 | Min differential sp gr |  |  |
| 065 | Dead band rating |  |  |
| 065u | Dead band units | in | UNITS |
| 066a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 066au | Min amb working temp units | °C | UNITS |
| 066au | Min amb working temp units | °F | UNITS |
| 066au | Min amb working temp units | C | UNITS |
| 066au | Min amb working temp units | F | UNITS |
| 066b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 066bu | Max amb temperature units | °C | UNITS |
| 066bu | Max amb temperature units | °F | UNITS |
| 066bu | Max amb temperature units | C | UNITS |
| 066bu | Max amb temperature units | F | UNITS |
| 067a | Contacts ac rating | 5 | DEVICE RATING |
| 067au | AC rating current units | A | UNITS |
| 067b | AC rating max voltage | 115 | DEVICE RATING |
| 067bu | AC max voltage units | V | UNITS |
| 068a | Contacts dc rating |  | DEVICE RATING |
| 068au | DC rating current units | A | UNITS |
| 068b | DC rating max voltage | 30 | DEVICE RATING |
| 068bu | DC max voltage units | V | UNITS |
| 069a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 071a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | ACCESSORIES | SECTION TITLE |  |
| 086 | Heating kit style | NA |  |
| 087 | Isolation valve style | NA |  |
| 088 | Vent/Drain valve style | NA |  |
| 089a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 093 | Custom tag | fiber tag |  |
| 093 | Custom tag | sst permanent attached |  |
| 093 | Custom tag | sst wired-on |  |
| 093 | Custom tag | NA |  |
| 094 | Reference specification | NA | REFERENCE SPECIFICATION |
| 095 | Special preparation | NA |  |
| 096 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 096 | Compliance standard | NA | NACE STANDARD |
| 097 | Construction code | ANSI B31.3 |  |
| 097 | Construction code | NA |  |
| 098a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104 | Upper to lower conn lg |  |  |
| 104u | Upper conn length units | in | UNITS |
| 104u | Upper conn length units | mm | UNITS |
| 105 | Lower to drain conn lg |  |  |
| 105u | Lower length units | in | UNITS |
| 105u | Lower length units | mm | UNITS |
| 106a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 106a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 106b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 106b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 106b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 106b | Signal conn termn style | NA | END CONNECTION TYPE |
| 107 | Mfr reference dwg | NA |  |
| 108a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Scale tag no |  |  |
| 112b | Level-Scale | CALIBRATION/TEST DESC |  |
| 112c | Scale level LRV | 0 |  |
| 112cu | Scale level LRV units | in | UNITS |
| 112cu | Scale level LRV units | mm | UNITS |
| 112d | Scale level URV |  |  |
| 112du | Scale level URV units | in | UNITS |
| 112du | Scale level URV units | mm | UNITS |
| 112e | Scale level action | direct |  |
| 112f | Scale Lower Range-Value | 0 |  |
| 112fu | Scale LRV units | galUS | UNITS |
| 112fu | Scale LRV units | in | UNITS |
| 112fu | Scale LRV units | mm | UNITS |
| 112g | Scale Upper Range-Value |  |  |
| 112gu | Scale URV units | galUS | UNITS |
| 112gu | Scale URV units | in | UNITS |
| 112gu | Scale URV units | mm | UNITS |
| 113a | Setpoint 1 tag no |  |  |
| 113b | Level setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 113c | Setpoint 1 LRV |  |  |
| 113cu | Setpoint 1 LRV units | in | UNITS |
| 113cu | Setpoint 1 LRV units | mm | UNITS |
| 113d | Setpoint 1 URV |  |  |
| 113du | Setpoint 1 URV units | in | UNITS |
| 113du | Setpoint 1 URV units | mm | UNITS |
| 113e | Setpoint 1 signal action | NC |  |
| 113e | Setpoint 1 signal action | NO |  |
| 113f | Setpoint 1 output LRV | 0 |  |
| 113fu | Setpoint 1 output LRV units | V | UNITS |
| 113g | Setpoint 1 output URV | 24 |  |
| 113g | Setpoint 1 output URV | 120 |  |
| 113gu | Setpoint 1 output URV units | V | UNITS |
| 114a | Setpoint 2 tag no |  |  |
| 114b | Level setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 114c | Setpoint 2 LRV |  |  |
| 114c | Setpoint 2 LRV units | in | UNITS |
| 114c | Setpoint 2 LRV units | mm | UNITS |
| 114d | Setpoint 2 URV |  |  |
| 114du | Setpoint 2 URV units | in | UNITS |
| 114du | Setpoint 2 URV units | mm | UNITS |
| 114e | Setpoint 2 signal action | NC |  |
| 114e | Setpoint 2 signal action | NO |  |
| 114f | Setpoint 2 output LRV | 0 |  |
| 114fu | Setpoint 2 output LRV units | V | UNITS |
| 114g | Setpoint 2 output URV | 24 |  |
| 114g | Setpoint 2 output URV | 120 |  |
| 114gu | Setpoint 2 output URV units | V | UNITS |
| 115b | Test pressure | CALIBRATION/TEST DESC |  |
| 115d | Test pressure URV |  |  |
| 115du | Test pressure URV units | psig | UNITS |
| 116a | Attribute tag no |  |  |
| 116b | Attribute cal/test descp | NA |  |
| 116c | Attribute cal/test LRV |  |  |
| 116cu | Attr cal/test LRV units |  | UNITS |
| 116d | Attribute cal/test URV |  |  |
| 116du | Attr cal/test URV units |  | UNITS |
| 116e | Attribute cal/test action |  |  |
| 116f | Attribute output LRV |  |  |
| 116fu | Attr output LRV units |  | UNITS |
| 116g | Attribute output URV |  |  |
| 116gu | Attr output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | magnetic float level gage |  |
| 121a | Component type | magnetic float level sw |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |