| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | SWITCH BODY | SECTION TITLE |  |
| 012 | Body type | dual sensing | VALVE BODY TYPE |
| 012 | Body type | fire-safe diaphragm | VALVE BODY TYPE |
| 012 | Body type | flush diaphragm | VALVE BODY TYPE |
| 012 | Body type | manufacturer standard | VALVE BODY TYPE |
| 012 | Body type | miniature | VALVE BODY TYPE |
| 012 | Body type | sealed capsule | VALVE BODY TYPE |
| 012 | Body type | welded diaphragm | VALVE BODY TYPE |
| 013a | Process conn nominal size | 1/8 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 7/16 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 9/16 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 013b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | NA | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | BSP(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(M) | END CONNECTION TYPE |
| 014b | Process conn termn style | rf | END CONNECTION TYPE |
| 014b | Process conn termn style | SAE | END CONNECTION TYPE |
| 015 | Body material | 304 SST | MATERIAL |
| 015 | Body material | 316 SST | MATERIAL |
| 015 | Body material | 316L SST | MATERIAL |
| 015 | Body material | 347 SST | MATERIAL |
| 015 | Body material | alloy 20 | MATERIAL |
| 015 | Body material | aluminum | MATERIAL |
| 015 | Body material | brass | MATERIAL |
| 015 | Body material | carbon steel | MATERIAL |
| 015 | Body material | hastelloy B | MATERIAL |
| 015 | Body material | hastelloy C | MATERIAL |
| 015 | Body material | monel | MATERIAL |
| 015 | Body material | NA | MATERIAL |
| 016 | Seal/O ring material | aflas | MATERIAL |
| 016 | Seal/O ring material | buna N | MATERIAL |
| 016 | Seal/O ring material | EPR | MATERIAL |
| 016 | Seal/O ring material | ethylene propylene | MATERIAL |
| 016 | Seal/O ring material | kalrez | MATERIAL |
| 016 | Seal/O ring material | neoprene | MATERIAL |
| 016 | Seal/O ring material | teflon | MATERIAL |
| 016 | Seal/O ring material | viton | MATERIAL |
| 016 | Seal/O ring material | viton GLT | MATERIAL |
| 016 | Seal/O ring material | NA | MATERIAL |
| 017a | Defined attribute 1 name | snubber | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | integral | DEFINABLE ATTRIBUTE VALUE |
| 018a | Defined attribute 2 name | flushing tap | DEFINABLE ATTRIBUTE NAME |
| 018b | Defined attribute 2 data | 1/4 NPT(F) | DEFINABLE ATTRIBUTE VALUE |
| 019a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 020 | SENSING ELEMENT | SECTION TITLE |  |
| 021 | Sensor element type | bourdon tube |  |
| 021 | Sensor element type | diaphragm |  |
| 021 | Sensor element type | force-balance |  |
| 021 | Sensor element type | piston-spring |  |
| 021 | Sensor element type | pressure transducer |  |
| 022a | Adjustable LRL |  | LOWER RANGE-LIMIT |
| 022au | Adjustable LRL Units | bar(g) | UNITS |
| 022au | Adjustable LRL Units | inH2O | UNITS |
| 022au | Adjustable LRL Units | inHg | UNITS |
| 022au | Adjustable LRL Units | psig | UNITS |
| 022b | Adjustable URL |  | UPPER RANGE-LIMIT |
| 022bu | Adjustable URL Units | bar(g) | UNITS |
| 022bu | Adjustable URL Units | inH2O | UNITS |
| 022bu | Adjustable URL Units | inHg | UNITS |
| 022bu | Adjustable URL Units | psig | UNITS |
| 023 | Diaphragm/Wetted material | 316 SST | MATERIAL |
| 023 | Diaphragm/Wetted material | 316L SST | MATERIAL |
| 023 | Diaphragm/Wetted material | alloy 20 | MATERIAL |
| 023 | Diaphragm/Wetted material | buna N | MATERIAL |
| 023 | Diaphragm/Wetted material | ethylene propylene | MATERIAL |
| 023 | Diaphragm/Wetted material | hastelloy B | MATERIAL |
| 023 | Diaphragm/Wetted material | hastelloy C | MATERIAL |
| 023 | Diaphragm/Wetted material | kalrez | MATERIAL |
| 023 | Diaphragm/Wetted material | monel | MATERIAL |
| 023 | Diaphragm/Wetted material | neoprene | MATERIAL |
| 023 | Diaphragm/Wetted material | tantalum | MATERIAL |
| 023 | Diaphragm/Wetted material | teflon coated polyimide | MATERIAL |
| 023 | Diaphragm/Wetted material | viton | MATERIAL |
| 023 | Diaphragm/Wetted material | NA | MATERIAL |
| 024a | Defined attribute 1 name | vacuum protection | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 025a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 025b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 026b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 027 | SWITCH MECHANISM w/wo TRANSMITTER | SECTION TITLE |  |
| 028 | Housing type | ep 2 hub conn | HOUSING |
| 028 | Housing type | ep 4 hub conn | HOUSING |
| 028 | Housing type | ep encl right-hand conn | HOUSING |
| 028 | Housing type | ep Left & right-hand conn | HOUSING |
| 028 | Housing type | gp Left & Right-hand conn | HOUSING |
| 028 | Housing type | gp Right hand conn | HOUSING |
| 028 | Housing type | hermetically sealed | HOUSING |
| 028 | Housing type | open bracket | HOUSING |
| 028 | Housing type | weatherproof | HOUSING |
| 029 | Element style | bleed |  |
| 029 | Element style | heavy duty AC |  |
| 029 | Element style | heavy duty DC |  |
| 029 | Element style | high ambient temperature |  |
| 029 | Element style | high temperature |  |
| 029 | Element style | low power service |  |
| 029 | Element style | non-bleed |  |
| 029 | Element style | normal service AC |  |
| 029 | Element style | normal service DC |  |
| 029 | Element style | vibration resistant |  |
| 029 | Element style | NA |  |
| 030 | Output signal type | dry contact | SIGNAL |
| 030 | Output signal type | mercury | SIGNAL |
| 030 | Output signal type | relay | SIGNAL |
| 030 | Output signal type | relay & analog | SIGNAL |
| 030 | Output signal type | NA | SIGNAL |
| 031 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | 13 | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | 3 | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | 4/4X | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | 7/9 | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 031 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 032 | Reset style | manual decreasing |  |
| 032 | Reset style | NA |  |
| 033 | Setpoint adjustment type | enclosure external |  |
| 033 | Setpoint adjustment type | enclosure Internal |  |
| 033 | Setpoint adjustment type | separate compartment |  |
| 033 | Setpoint adjustment type | NA |  |
| 034 | Signal power source | line 12 V(dc) |  |
| 034 | Signal power source | line 120 V(ac) 60 Hz |  |
| 034 | Signal power source | line 24 V(dc) |  |
| 034 | Signal power source | NA |  |
| 035 | Measurement type | dual |  |
| 035 | Measurement type | single |  |
| 035 | Measurement type | NA |  |
| 036a | Contacts arrangement | DPDT |  |
| 036a | Contacts arrangement | SPDT |  |
| 036a | Contacts arrangement | NA |  |
| 036b | Contacts quantity | 1 |  |
| 036b | Contacts quantity | 2 |  |
| 037 | Failsafe style | failsafe |  |
| 037 | Failsafe style | non-Failsafe |  |
| 037 | Failsafe style | NA |  |
| 038 | Integral indicator style | LCD & LED setpoint |  |
| 038 | Integral indicator style | LCD display |  |
| 038 | Integral indicator style | LED setpoint indication |  |
| 038 | Integral indicator style | pilot light |  |
| 038 | Integral indicator style | NA |  |
| 039 | Signal termination type | exposed wiring leads | END CONNECTION TYPE |
| 039 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 039 | Signal termination type | sealed leads | END CONNECTION TYPE |
| 039 | Signal termination type | spade terminals | END CONNECTION TYPE |
| 039 | Signal termination type | terminal block | END CONNECTION TYPE |
| 039 | Signal termination type | NA | END CONNECTION TYPE |
| 040 | Cert/Approval type | BASEEFA Explosion proof | CERTIFICATION |
| 040 | Cert/Approval type | CENELEC Explosion proof | CERTIFICATION |
| 040 | Cert/Approval type | CSA Hazardous | CERTIFICATION |
| 040 | Cert/Approval type | CSA Non-classified | CERTIFICATION |
| 040 | Cert/Approval type | FM Hazardous | CERTIFICATION |
| 040 | Cert/Approval type | FM Non-classified | CERTIFICATION |
| 040 | Cert/Approval type | JIS/RIIS | CERTIFICATION |
| 040 | Cert/Approval type | NEMKO/CENELEC | CERTIFICATION |
| 040 | Cert/Approval type | SAA Explosion proof | CERTIFICATION |
| 040 | Cert/Approval type | UL Hazardous | CERTIFICATION |
| 040 | Cert/Approval type | UL Non-classified | CERTIFICATION |
| 040 | Cert/Approval type | NA | CERTIFICATION |
| 041 | Mounting type | 2 in pipe mount |  |
| 041 | Mounting type | housing base |  |
| 041 | Mounting type | housing flange |  |
| 041 | Mounting type | line-mounted |  |
| 041 | Mounting type | NA |  |
| 042 | Dead band type | fixed | DEAD BAND |
| 042 | Dead band type | narrow adjust dead band | DEAD BAND |
| 042 | Dead band type | narrow dead band | DEAD BAND |
| 042 | Dead band type | wide adjust dead band | DEAD BAND |
| 042 | Dead band type | wide dead band | DEAD BAND |
| 042 | Dead band type | NA | DEAD BAND |
| 043 | Enclosure material | 316 SST | MATERIAL |
| 043 | Enclosure material | aluminum | MATERIAL |
| 043 | Enclosure material | carbon steel | MATERIAL |
| 043 | Enclosure material | cast iron | MATERIAL |
| 043 | Enclosure material | copper-free Aluminum | MATERIAL |
| 043 | Enclosure material | lexan | MATERIAL |
| 043 | Enclosure material | NA | MATERIAL |
| 044 | Exterior coating material | epoxy coating | MATERIAL |
| 044 | Exterior coating material | fungicidal varnish | MATERIAL |
| 044 | Exterior coating material | NA | MATERIAL |
| 045a | Defined attribute 1 name | electrical conn type | DEFINABLE ATTRIBUTE NAME |
| 045b | Defined attribute 1 data | m20 x 1.5 | DEFINABLE ATTRIBUTE VALUE |
| 046a | Defined attribute 2 name | cover type | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 2 data | chained cover | DEFINABLE ATTRIBUTE VALUE |
| 046b | Defined attribute 2 data | neoprene sealed | DEFINABLE ATTRIBUTE VALUE |
| 047a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 059 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 060a | Max press at design temp |  | PRESSURE |
| 060au | Design pressure units | psig | UNITS |
| 060b | Max design temperature |  | DESIGN TEMPERATURE |
| 060bu | Design temperature units | °C | UNITS |
| 060bu | Design temperature units | °F | UNITS |
| 060bu | Design temperature units | C | UNITS |
| 060bu | Design temperature units | F | UNITS |
| 061a | Min working temperature |  | WORKING TEMPERATURE |
| 061au | Min working temp units | °C | UNITS |
| 061au | Min working temp units | °F | UNITS |
| 061au | Min working temp units | C | UNITS |
| 061au | Min working temp units | F | UNITS |
| 061b | Max working temperature |  | WORKING TEMPERATURE |
| 061bu | Max working temp units | °C | UNITS |
| 061bu | Max working temp units | °F | UNITS |
| 061bu | Max working temp units | C | UNITS |
| 061bu | Max working temp units | F | UNITS |
| 062a | Output accuracy rating |  |  |
| 062b | Accuracy rating ref base | % span | ACCURACY REFERENCE |
| 063a | Repeatability |  |  |
| 063b | Repeatability ref base | % span |  |
| 064a | Press Lower Range-Limit |  | LOWER RANGE-LIMIT |
| 064au | Pressure LRL units | bar | UNITS |
| 064au | Pressure LRL units | bar(g) | UNITS |
| 064au | Pressure LRL units | inH2O | UNITS |
| 064au | Pressure LRL units | psig | UNITS |
| 064b | Press Upper Range-Limit |  |  |
| 064bu | Pressure URL units | bar | UNITS |
| 064bu | Pressure URL units | bar(g) | UNITS |
| 064bu | Pressure URL units | inH2O | UNITS |
| 064bu | Pressure URL units | psig | UNITS |
| 065 | Maximum overrange limit |  | OVERRANGE LIMIT |
| 065u | Overrange units | bar(g) | UNITS |
| 065u | Overrange units | psig | UNITS |
| 066 | Dead band rating |  |  |
| 066u | Dead band units | inH2O | UNITS |
| 066u | Dead band units | mbar | UNITS |
| 066u | Dead band units | psig | UNITS |
| 067a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 067au | Min amb working temp units | °C | UNITS |
| 067au | Min amb working temp units | °F | UNITS |
| 067au | Min amb working temp units | C | UNITS |
| 067au | Min amb working temp units | F | UNITS |
| 067b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 067bu | Max amb temperature units | °C | UNITS |
| 067bu | Max amb temperature units | °F | UNITS |
| 067bu | Max amb temperature units | C | UNITS |
| 067bu | Max amb temperature units | F | UNITS |
| 068a | Contacts ac rating | 1 | DEVICE RATING |
| 068a | Contacts ac rating | 5 | DEVICE RATING |
| 068a | Contacts ac rating | 15 | DEVICE RATING |
| 068au | AC rating current units | A | UNITS |
| 068b | AC rating max voltage | 125 | DEVICE RATING |
| 068b | AC rating max voltage | 250 | DEVICE RATING |
| 068b | AC rating max voltage | 480 | DEVICE RATING |
| 068bu | AC max voltage units | V | UNITS |
| 069a | Contacts dc rating | .5 | DEVICE RATING |
| 069a | Contacts dc rating | 1 | DEVICE RATING |
| 069a | Contacts dc rating | 5 | DEVICE RATING |
| 069a | Contacts dc rating | 10 | DEVICE RATING |
| 069au | DC rating current units | A | UNITS |
| 069b | DC rating max voltage | 30 | DEVICE RATING |
| 069b | DC rating max voltage | 125 | DEVICE RATING |
| 069bu | DC max voltage units | V | UNITS |
| 070a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 071a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 072a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 072b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083 | ACCESSORIES | SECTION TITLE |  |
| 084 | Sealed leads adapter | aluminum w/18 in leads |  |
| 084 | Sealed leads adapter | sst w/18 in leads |  |
| 084 | Sealed leads adapter | NA |  |
| 085 | Breather/Drain style | crouse Hinds ECD-15 |  |
| 085 | Breather/Drain style | sintered metal plug |  |
| 085 | Breather/Drain style | NA |  |
| 086a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 4 name | NA |  |
| 089b | Defined attribute 4 data | NA |  |
| 090 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 091 | Custom tag | fiber tag |  |
| 091 | Custom tag | sst permanent attached |  |
| 091 | Custom tag | sst wired-on |  |
| 091 | Custom tag | NA |  |
| 092 | Reference specification | NA | REFERENCE SPECIFICATION |
| 093 | Special preparation | oxygen service |  |
| 093 | Special preparation | NA |  |
| 094 | Compliance standard | NA | NACE STANDARD |
| 095a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 095b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 096a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 096b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 097a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098 | PHYSICAL DATA | SECTION TITLE |  |
| 099 | Estimated weight |  |  |
| 099u | Weight units | kg | UNITS |
| 099u | Weight units | lb | UNITS |
| 100 | Overall height |  |  |
| 100u | Overall height units | in | UNITS |
| 100u | Overall height units | mm | UNITS |
| 101 | Removal clearance |  |  |
| 101u | Removal clearance units | in | UNITS |
| 101u | Removal clearance units | mm | UNITS |
| 102a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 102a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 102b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 102b | Signal conn termn style | m20 | END CONNECTION TYPE |
| 102b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 102b | Signal conn termn style | NPT(M) | END CONNECTION TYPE |
| 102b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 102b | Signal conn termn style | NA | END CONNECTION TYPE |
| 103 | Mfr reference dwg | NA |  |
| 104a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 104b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 105a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 105b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 106a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Setpoint 1 tag no |  |  |
| 112b | Press setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 112c | Setpoint 1 LRV |  |  |
| 112cu | Setpoint 1 LRV units | bar | UNITS |
| 112cu | Setpoint 1 LRV units | bar(g) | UNITS |
| 112cu | Setpoint 1 LRV units | inH2O | UNITS |
| 112cu | Setpoint 1 LRV units | psig | UNITS |
| 112d | Setpoint 1 URV |  |  |
| 112du | Setpoint 1 URV units | bar | UNITS |
| 112du | Setpoint 1 URV units | bar(g) | UNITS |
| 112du | Setpoint 1 URV units | inH2O | UNITS |
| 112du | Setpoint 1 URV units | psig | UNITS |
| 112e | Setpoint 1 signal action | NC |  |
| 112e | Setpoint 1 signal action | NO |  |
| 112f | Setpoint 1 output LRV | 0 |  |
| 112fu | Setpoint 1 output LRV units | V | UNITS |
| 112g | Setpoint 1 output URV | 24 |  |
| 112g | Setpoint 1 output URV | 120 |  |
| 112gu | Setpoint 1 output URV units | V | UNITS |
| 113a | Setpoint 2 tag no |  |  |
| 113b | Press setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 113c | Setpoint 2 LRV |  |  |
| 113cu | Setpoint 2 LRV units | bar | UNITS |
| 113cu | Setpoint 2 LRV units | bar(g) | UNITS |
| 113cu | Setpoint 2 LRV units | inH2O | UNITS |
| 113cu | Setpoint 2 LRV units | psig | UNITS |
| 113d | Setpoint 2 URV |  |  |
| 113du | Setpoint 2 URV units | bar | UNITS |
| 113du | Setpoint 2 URV units | bar(g) | UNITS |
| 113du | Setpoint 2 URV units | inH2O | UNITS |
| 113du | Setpoint 2 URV units | psig | UNITS |
| 113e | Setpoint 2 signal action | NC |  |
| 113e | Setpoint 2 signal action | NO |  |
| 113f | Setpoint 2 output LRV | 0 |  |
| 113fu | Setpoint 2 output LRV units | V | UNITS |
| 113g | Setpoint 2 output URV | 24 |  |
| 113g | Setpoint 2 output URV | 120 |  |
| 113gu | Setpoint 2 output URV units | V | UNITS |
| 114a | Analog pressure tag no |  |  |
| 114b | Pressure-Analog output | CALIBRATION/TEST DESC |  |
| 114c | Analog pressure LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Analog press LRV units | bar | UNITS |
| 114cu | Analog press LRV units | bar(g) | UNITS |
| 114cu | Analog press LRV units | inH2O | UNITS |
| 114cu | Analog press LRV units | psig | UNITS |
| 114d | Analog pressure URV |  | UPPER RANGE-VALUE |
| 114d | Analog press URV units | bar(g) | UNITS |
| 114d | Analog press URV units | bar | UNITS |
| 114d | Analog press URV units | inH2O | UNITS |
| 114du | Analog press URV units | psig | UNITS |
| 114e | Analog press signal action | direct |  |
| 114e | Analog press signal action | reverse |  |
| 114f | Analog press output LRV | 4 | LOWER LIMIT |
| 114f | Analog press output LRV | 10 | LOWER LIMIT |
| 114fu | Anlg press output LRV units | mA | UNITS |
| 114g | Analog press output URV | 20 | UPPER LIMIT |
| 114g | Analog press output URV | 50 | UPPER LIMIT |
| 114gu | Anlg press output URV units | mA | UNITS |
| 115a | Scale tag no |  |  |
| 115b | Pressure-Scale | CALIBRATION/TEST DESC |  |
| 115c | Scale pressure LRV | 0 | LOWER RANGE-VALUE |
| 115cu | Scale press LRV units | bar | UNITS |
| 115cu | Scale press LRV units | bar(g) | UNITS |
| 115cu | Scale press LRV units | inH2O | UNITS |
| 115cu | Scale press LRV units | psig | UNITS |
| 115d | Scale pressure URV |  | UPPER RANGE-VALUE |
| 115du | Scale press URV units | bar | UNITS |
| 115du | Scale press URV units | bar(g) | UNITS |
| 115du | Scale press URV units | inH2O | UNITS |
| 115du | Scale press URV units | psig | UNITS |
| 115e | Scale press signal action | direct |  |
| 115f | Scale Lower Range-Value | 0 |  |
| 115fu | Scale LRV units | % | UNITS |
| 115fu | Scale LRV units | bar | UNITS |
| 115fu | Scale LRV units | bar(g) | UNITS |
| 115fu | Scale LRV units | inH2O | UNITS |
| 115fu | Scale LRV units | psig | UNITS |
| 115g | Scale Upper Range-Value | 100 |  |
| 115gu | Scale URV units | % | UNITS |
| 115gu | Scale URV units | bar | UNITS |
| 115gu | Scale URV units | bar(g) | UNITS |
| 115gu | Scale URV units | inH2O | UNITS |
| 115gu | Scale URV units | psig | UNITS |
| 116a | Attribute tag no |  |  |
| 116b | Attribute cal/test descp | NA |  |
| 116c | Attribute cal/test LRV |  |  |
| 116cu | Attr cal/test LRV units |  | UNITS |
| 116d | Attribute cal/test URV |  |  |
| 116du | Attr cal/test URV units |  | UNITS |
| 116e | Attribute cal/test action |  |  |
| 116f | Attribute output LRV |  |  |
| 116fu | Attr output LRV units |  | UNITS |
| 116g | Attribute output URV |  |  |
| 116gu | Attr output URV units |  | UNITS |
| 119 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 121a | Component type | pressure switch |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |