| Pick List 20P1002 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | ADMINISTRATIVE IDENTIFICATIONS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017a | Defined attribute 1 name | contact | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | equipment module | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 017a | Defined attribute 1 name | production line | DEFINABLE ATTRIBUTE NAME |
| 017b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 018 | SERVICE IDENTIFICATIONS | SECTION TITLE |  |
| 019 | Tag number |  |  |
| 020 | Related equipment |  |  |
| 021 | Service |  |  |
| 023 | P&ID/Reference dwg number |  |  |
| 024 | Fluid service | category D |  |
| 024 | Fluid service | category M |  |
| 024 | Fluid service | high pressure |  |
| 024 | Fluid service | lethal |  |
| 024 | Fluid service | NA |  |
| 024 | Fluid service | normal |  |
| 025 | Source of overpressure | abnormal heat input |  |
| 025 | Source of overpressure | accum noncondensables |  |
| 025 | Source of overpressure | chemical reaction |  |
| 025 | Source of overpressure | closed outlets on vessel |  |
| 025 | Source of overpressure | cooling water failure |  |
| 025 | Source of overpressure | entrance volatile matl |  |
| 025 | Source of overpressure | exterior fire |  |
| 025 | Source of overpressure | failure automatic control |  |
| 025 | Source of overpressure | hydraulic expansion |  |
| 025 | Source of overpressure | internal explosion |  |
| 025 | Source of overpressure | overfilling vessel |  |
| 025 | Source of overpressure | power failure |  |
| 025 | Source of overpressure | pump failure |  |
| 025 | Source of overpressure | reflux failure |  |
| 025 | Source of overpressure | split exchanger tube |  |
| 025 | Source of overpressure | water into oil |  |
| 026 | Inlet line/nozzle number |  |  |
| 027 | Inlet line pipe spec |  |  |
| 028a | Inlet line nominal size | 1 1/2 in |  |
| 028a | Inlet line nominal size | 1 1/4 in |  |
| 028a | Inlet line nominal size | 1 in |  |
| 028a | Inlet line nominal size | 1/2 in |  |
| 028a | Inlet line nominal size | 1/4 in |  |
| 028a | Inlet line nominal size | 10 in |  |
| 028a | Inlet line nominal size | 12 in |  |
| 028a | Inlet line nominal size | 14 in |  |
| 028a | Inlet line nominal size | 16 in |  |
| 028a | Inlet line nominal size | 18 in |  |
| 028a | Inlet line nominal size | 2 1/2 in |  |
| 028a | Inlet line nominal size | 2 in |  |
| 028a | Inlet line nominal size | 20 in |  |
| 028a | Inlet line nominal size | 22 in |  |
| 028a | Inlet line nominal size | 24 in |  |
| 028a | Inlet line nominal size | 26 in |  |
| 028a | Inlet line nominal size | 28 in |  |
| 028a | Inlet line nominal size | 3 in |  |
| 028a | Inlet line nominal size | 3/4 in |  |
| 028a | Inlet line nominal size | 3/8 in |  |
| 028a | Inlet line nominal size | 30 in |  |
| 028a | Inlet line nominal size | 4 in |  |
| 028a | Inlet line nominal size | 6 in |  |
| 028a | Inlet line nominal size | 8 in |  |
| 028a | Inlet line nominal size | DN 10 |  |
| 028a | Inlet line nominal size | DN 100 |  |
| 028a | Inlet line nominal size | DN 125 |  |
| 028a | Inlet line nominal size | DN 15 |  |
| 028a | Inlet line nominal size | DN 150 |  |
| 028a | Inlet line nominal size | DN 175 |  |
| 028a | Inlet line nominal size | DN 20 |  |
| 028a | Inlet line nominal size | DN 200 |  |
| 028a | Inlet line nominal size | DN 25 |  |
| 028a | Inlet line nominal size | DN 250 |  |
| 028a | Inlet line nominal size | DN 300 |  |
| 028a | Inlet line nominal size | DN 32 |  |
| 028a | Inlet line nominal size | DN 350 |  |
| 028a | Inlet line nominal size | DN 40 |  |
| 028a | Inlet line nominal size | DN 400 |  |
| 028a | Inlet line nominal size | DN 450 |  |
| 028a | Inlet line nominal size | DN 50 |  |
| 028a | Inlet line nominal size | DN 500 |  |
| 028a | Inlet line nominal size | DN 550 |  |
| 028a | Inlet line nominal size | DN 600 |  |
| 028a | Inlet line nominal size | DN 65 |  |
| 028a | Inlet line nominal size | DN 80 |  |
| 028b | Inlet line nom rating | cl 125 |  |
| 028b | Inlet line nom rating | cl 150 |  |
| 028b | Inlet line nom rating | cl 1500 |  |
| 028b | Inlet line nom rating | cl 250 |  |
| 028b | Inlet line nom rating | cl 2500 |  |
| 028b | Inlet line nom rating | cl 300 |  |
| 028b | Inlet line nom rating | cl 400 |  |
| 028b | Inlet line nom rating | cl 4500 |  |
| 028b | Inlet line nom rating | cl 600 |  |
| 028b | Inlet line nom rating | cl 75 |  |
| 028b | Inlet line nom rating | cl 800 |  |
| 028b | Inlet line nom rating | cl 900 |  |
| 028b | Inlet line nom rating | PN 10 |  |
| 028b | Inlet line nom rating | PN 100 |  |
| 028b | Inlet line nom rating | PN 16 |  |
| 028b | Inlet line nom rating | PN 160 |  |
| 028b | Inlet line nom rating | PN 2.5 |  |
| 028b | Inlet line nom rating | PN 20 |  |
| 028b | Inlet line nom rating | PN 25 |  |
| 028b | Inlet line nom rating | PN 250 |  |
| 028b | Inlet line nom rating | PN 40 |  |
| 028b | Inlet line nom rating | PN 400 |  |
| 028b | Inlet line nom rating | PN 6 |  |
| 028b | Inlet line nom rating | PN 64 |  |
| 029a | Inlet line conn type | clamped |  |
| 029a | Inlet line conn type | flanged |  |
| 029a | Inlet line conn type | sep flg |  |
| 029a | Inlet line conn type | threaded |  |
| 029a | Inlet line conn type | welded |  |
| 029b | Inlet line termn style | beveled |  |
| 029b | Inlet line termn style | BSP(F) |  |
| 029b | Inlet line termn style | BSPP |  |
| 029b | Inlet line termn style | BW |  |
| 029b | Inlet line termn style | cameron |  |
| 029b | Inlet line termn style | chiksan |  |
| 029b | Inlet line termn style | chiksan |  |
| 029b | Inlet line termn style | FF |  |
| 029b | Inlet line termn style | grayloc |  |
| 029b | Inlet line termn style | grooved |  |
| 029b | Inlet line termn style | hub |  |
| 029b | Inlet line termn style | large F |  |
| 029b | Inlet line termn style | large M |  |
| 029b | Inlet line termn style | large T&G |  |
| 029b | Inlet line termn style | LJ |  |
| 029b | Inlet line termn style | NA |  |
| 029b | Inlet line termn style | NPT(F) |  |
| 029b | Inlet line termn style | NPT(M) |  |
| 029b | Inlet line termn style | RF |  |
| 029b | Inlet line termn style | RTJ |  |
| 029b | Inlet line termn style | small F |  |
| 029b | Inlet line termn style | small M |  |
| 029b | Inlet line termn style | small T&G |  |
| 029b | Inlet line termn style | SW(F) |  |
| 029b | Inlet line termn style | SW(M) |  |
| 029b | Inlet line termn style | tri-Clamp |  |
| 029b | Inlet line termn style | VS |  |
| 029b | Inlet line termn style | weld-in |  |
| 029b | Inlet line termn style | WN |  |
| 030 | Inlet line material type | alloy steel | MATERIAL |
| 030 | Inlet line material type | aluminum | MATERIAL |
| 030 | Inlet line material type | carbon steel | MATERIAL |
| 030 | Inlet line material type | cobalt Alloy | MATERIAL |
| 030 | Inlet line material type | copper Alloy | MATERIAL |
| 030 | Inlet line material type | ductile Iron | MATERIAL |
| 030 | Inlet line material type | FRP | MATERIAL |
| 030 | Inlet line material type | iron (Cast) | MATERIAL |
| 030 | Inlet line material type | low temp Carbon steel | MATERIAL |
| 030 | Inlet line material type | monel | MATERIAL |
| 030 | Inlet line material type | monel | MATERIAL |
| 030 | Inlet line material type | NA | MATERIAL |
| 030 | Inlet line material type | nickel Alloy | MATERIAL |
| 030 | Inlet line material type | PCV | MATERIAL |
| 030 | Inlet line material type | stainless Steel | MATERIAL |
| 030 | Inlet line material type | titanium | MATERIAL |
| 030 | Inlet line material type | zinc Alloy | MATERIAL |
| 031 | Outlet line/nozzle number |  |  |
| 032 | Outlet line pipe spec |  |  |
| 033a | Outlet line nominal size | 1 1/2 in |  |
| 033a | Outlet line nominal size | 1 1/4 in |  |
| 033a | Outlet line nominal size | 1 in |  |
| 033a | Outlet line nominal size | 1/2 in |  |
| 033a | Outlet line nominal size | 1/4 in |  |
| 033a | Outlet line nominal size | 10 in |  |
| 033a | Outlet line nominal size | 12 in |  |
| 033a | Outlet line nominal size | 14 in |  |
| 033a | Outlet line nominal size | 16 in |  |
| 033a | Outlet line nominal size | 18 in |  |
| 033a | Outlet line nominal size | 2 1/2 in |  |
| 033a | Outlet line nominal size | 2 in |  |
| 033a | Outlet line nominal size | 20 in |  |
| 033a | Outlet line nominal size | 22 in |  |
| 033a | Outlet line nominal size | 24 in |  |
| 033a | Outlet line nominal size | 26 in |  |
| 033a | Outlet line nominal size | 28 in |  |
| 033a | Outlet line nominal size | 3 in |  |
| 033a | Outlet line nominal size | 3/4 in |  |
| 033a | Outlet line nominal size | 3/8 in |  |
| 033a | Outlet line nominal size | 30 in |  |
| 033a | Outlet line nominal size | 4 in |  |
| 033a | Outlet line nominal size | 6 in |  |
| 033a | Outlet line nominal size | 8 in |  |
| 033a | Outlet line nominal size | DN 10 |  |
| 033a | Outlet line nominal size | DN 100 |  |
| 033a | Outlet line nominal size | DN 1000 |  |
| 033a | Outlet line nominal size | DN 1200 |  |
| 033a | Outlet line nominal size | DN 125 |  |
| 033a | Outlet line nominal size | DN 1400 |  |
| 033a | Outlet line nominal size | DN 15 |  |
| 033a | Outlet line nominal size | DN 150 |  |
| 033a | Outlet line nominal size | DN 1500 |  |
| 033a | Outlet line nominal size | DN 175 |  |
| 033a | Outlet line nominal size | DN 20 |  |
| 033a | Outlet line nominal size | DN 200 |  |
| 033a | Outlet line nominal size | DN 25 |  |
| 033a | Outlet line nominal size | DN 250 |  |
| 033a | Outlet line nominal size | DN 300 |  |
| 033a | Outlet line nominal size | DN 32 |  |
| 033a | Outlet line nominal size | DN 350 |  |
| 033a | Outlet line nominal size | DN 40 |  |
| 033a | Outlet line nominal size | DN 400 |  |
| 033a | Outlet line nominal size | DN 450 |  |
| 033a | Outlet line nominal size | DN 50 |  |
| 033a | Outlet line nominal size | DN 500 |  |
| 033a | Outlet line nominal size | DN 550 |  |
| 033a | Outlet line nominal size | DN 600 |  |
| 033a | Outlet line nominal size | DN 65 |  |
| 033a | Outlet line nominal size | DN 700 |  |
| 033a | Outlet line nominal size | DN 80 |  |
| 033a | Outlet line nominal size | DN 800 |  |
| 033a | Outlet line nominal size | DN 900 |  |
| 033b | Outlet line nominal rating | cl 125 |  |
| 033b | Outlet line nominal rating | cl 150 |  |
| 033b | Outlet line nominal rating | cl 1500 |  |
| 033b | Outlet line nominal rating | cl 250 |  |
| 033b | Outlet line nominal rating | cl 2500 |  |
| 033b | Outlet line nominal rating | cl 300 |  |
| 033b | Outlet line nominal rating | cl 400 |  |
| 033b | Outlet line nominal rating | cl 4500 |  |
| 033b | Outlet line nominal rating | cl 600 |  |
| 033b | Outlet line nominal rating | cl 75 |  |
| 033b | Outlet line nominal rating | cl 800 |  |
| 033b | Outlet line nominal rating | cl 900 |  |
| 033b | Outlet line nominal rating | PN 10 |  |
| 033b | Outlet line nominal rating | PN 100 |  |
| 033b | Outlet line nominal rating | PN 16 |  |
| 033b | Outlet line nominal rating | PN 160 |  |
| 033b | Outlet line nominal rating | PN 2.5 |  |
| 033b | Outlet line nominal rating | PN 20 |  |
| 033b | Outlet line nominal rating | PN 25 |  |
| 033b | Outlet line nominal rating | PN 250 |  |
| 033b | Outlet line nominal rating | PN 40 |  |
| 033b | Outlet line nominal rating | PN 400 |  |
| 033b | Outlet line nominal rating | PN 6 |  |
| 033b | Outlet line nominal rating | PN 64 |  |
| 034a | Outlet line conn type | clamped |  |
| 034a | Outlet line conn type | flanged |  |
| 034a | Outlet line conn type | plain |  |
| 034a | Outlet line conn type | sep flg |  |
| 034a | Outlet line conn type | threaded |  |
| 034a | Outlet line conn type | welded |  |
| 034b | Outlet line termn style | beveled |  |
| 034b | Outlet line termn style | BSP(F) |  |
| 034b | Outlet line termn style | BSPP |  |
| 034b | Outlet line termn style | BW |  |
| 034b | Outlet line termn style | cameron |  |
| 034b | Outlet line termn style | chiksan |  |
| 034b | Outlet line termn style | chiksan |  |
| 034b | Outlet line termn style | FF |  |
| 034b | Outlet line termn style | grayloc |  |
| 034b | Outlet line termn style | grooved |  |
| 034b | Outlet line termn style | large F |  |
| 034b | Outlet line termn style | large M |  |
| 034b | Outlet line termn style | LJ |  |
| 034b | Outlet line termn style | NA |  |
| 034b | Outlet line termn style | NPT(F) |  |
| 034b | Outlet line termn style | NPT(M) |  |
| 034b | Outlet line termn style | RF |  |
| 034b | Outlet line termn style | RTJ |  |
| 034b | Outlet line termn style | SW(F) |  |
| 034b | Outlet line termn style | SW(M) |  |
| 034b | Outlet line termn style | T&G |  |
| 034b | Outlet line termn style | tri-Clamp |  |
| 034b | Outlet line termn style | VS |  |
| 034b | Outlet line termn style | weld-in |  |
| 034b | Outlet line termn style | WN |  |
| 035 | Outlet line material type | alloy steel | MATERIAL |
| 035 | Outlet line material type | aluminum | MATERIAL |
| 035 | Outlet line material type | carbon steel | MATERIAL |
| 035 | Outlet line material type | cobalt Alloy | MATERIAL |
| 035 | Outlet line material type | copper Alloy | MATERIAL |
| 035 | Outlet line material type | ductile Iron | MATERIAL |
| 035 | Outlet line material type | FRP | MATERIAL |
| 035 | Outlet line material type | iron (Cast) | MATERIAL |
| 035 | Outlet line material type | low temp Carbon steel | MATERIAL |
| 035 | Outlet line material type | monel | MATERIAL |
| 035 | Outlet line material type | monel | MATERIAL |
| 035 | Outlet line material type | NA | MATERIAL |
| 035 | Outlet line material type | nickel Alloy | MATERIAL |
| 035 | Outlet line material type | PVC | MATERIAL |
| 035 | Outlet line material type | stainless Steel | MATERIAL |
| 035 | Outlet line material type | titanium | MATERIAL |
| 035 | Outlet line material type | zinc Alloy | MATERIAL |
| 036 | Vessel wetted area |  |  |
| 036u | Vessel wetted area units | ft2 | UNITS |
| 037 | Vessel exposed area |  |  |
| 037u | Vessel exposed area units | ft2 | UNITS |
| 038 | Environmental factor | 0.026 |  |
| 038 | Environmental factor | 0.03 |  |
| 038 | Environmental factor | 0.0376 |  |
| 038 | Environmental factor | 0.05 |  |
| 038 | Environmental factor | 0.075 |  |
| 038 | Environmental factor | 0.15 |  |
| 038 | Environmental factor | 0.3 |  |
| 038 | Environmental factor | 1.0 |  |
| 040 | Fire-fighting/Drainage | do not exist |  |
| 040 | Fire-fighting/Drainage | exist |  |
| 040 | Fire-fighting/Drainage | NA |  |
| 041a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 041a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 041a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 041b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 041b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 041b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 041c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | G | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | IIA | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | IIB | AREA CLASSIFICATION (GROUP) |
| 041c | Inline hazardous area gr | IIC | AREA CLASSIFICATION (GROUP) |
| 042a | Inline area min ign temp |  |  |
| 042au | Inline ign temp units | °C | UNITS |
| 042au | Inline ign temp units | °F | UNITS |
| 042au | Inline ign temp units | C | UNITS |
| 042au | Inline ign temp units | F | UNITS |
| 042b | Inline ign temp ident no | T1 |  |
| 042b | Inline ign temp ident no | T2 |  |
| 042b | Inline ign temp ident no | T2A |  |
| 042b | Inline ign temp ident no | T2B |  |
| 042b | Inline ign temp ident no | T2C |  |
| 042b | Inline ign temp ident no | T3 |  |
| 042b | Inline ign temp ident no | T3A |  |
| 042b | Inline ign temp ident no | T3B |  |
| 042b | Inline ign temp ident no | T3C |  |
| 042b | Inline ign temp ident no | T3D |  |
| 042b | Inline ign temp ident no | T4 |  |
| 042b | Inline ign temp ident no | T4A |  |
| 042b | Inline ign temp ident no | T5 |  |
| 042b | Inline ign temp ident no | T6 |  |
| 043a | Remote hazardous area cl | I |  |
| 043a | Remote hazardous area cl | II |  |
| 043a | Remote hazardous area cl | III |  |
| 043b | Remote hazardous Div/Zone | 0 |  |
| 043b | Remote hazardous Div/Zone | 1 |  |
| 043b | Remote hazardous Div/Zone | 2 |  |
| 043c | Remote hazardous area gr | A |  |
| 043c | Remote hazardous area gr | B |  |
| 043c | Remote hazardous area gr | C |  |
| 043c | Remote hazardous area gr | D |  |
| 043c | Remote hazardous area gr | E |  |
| 043c | Remote hazardous area gr | F |  |
| 043c | Remote hazardous area gr | G |  |
| 043c | Remote hazardous area gr | IIA |  |
| 043c | Remote hazardous area gr | IIB |  |
| 043c | Remote hazardous area gr | IIC |  |
| 044a | Remote area min ign temp |  |  |
| 044au | Remote area min ign temp units | °C | UNITS |
| 044au | Remote area min ign temp units | °F | UNITS |
| 044au | Remote area min ign temp units | C | UNITS |
| 044au | Remote area min ign temp units | F | UNITS |
| 044b | Remote ign temp ident no | T1 |  |
| 044b | Remote ign temp ident no | T2 |  |
| 044b | Remote ign temp ident no | T2A |  |
| 044b | Remote ign temp ident no | T2B |  |
| 044b | Remote ign temp ident no | T2C |  |
| 044b | Remote ign temp ident no | T2D |  |
| 044b | Remote ign temp ident no | T3 |  |
| 044b | Remote ign temp ident no | T3A |  |
| 044b | Remote ign temp ident no | T3B |  |
| 044b | Remote ign temp ident no | T3C |  |
| 044b | Remote ign temp ident no | T4 |  |
| 044b | Remote ign temp ident no | T4A |  |
| 044b | Remote ign temp ident no | T5 |  |
| 044b | Remote ign temp ident no | T6 |  |
| 045a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 045b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 046a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 047 | COMPONENT DESIGN CRITERIA | SECTION TITLE |  |
| 048 | Component Type | conservation vent |  |
| 048 | Component Type | flame arrestor |  |
| 048 | Component Type | liquid relief valve |  |
| 048 | Component Type | pilot-operated valve |  |
| 048 | Component Type | pin-actuated valve |  |
| 048 | Component Type | pressure relief valve |  |
| 048 | Component Type | relief valve |  |
| 048 | Component Type | rupture disc |  |
| 048 | Component Type | safety relief valve |  |
| 048 | Component Type | safety valve |  |
| 048 | Component Type | sentinel relief valve |  |
| 048 | Component Type | vacuum relief valve |  |
| 048 | Component Type | valve monitoring device |  |
| 049 | Component style | balanced bellows | INSTRUMENT TYPE |
| 049 | Component style | balanced piston | INSTRUMENT TYPE |
| 049 | Component style | conventional | INSTRUMENT TYPE |
| 049 | Component style | fragmenting disc | INSTRUMENT TYPE |
| 049 | Component style | nonfragmenting disc | INSTRUMENT TYPE |
| 050 | Output signal type | digital multi-variable | SIGNAL |
| 050 | Output signal type | digital, relay | SIGNAL |
| 050 | Output signal type | NA | SIGNAL |
| 050 | Output signal type | relay | SIGNAL |
| 051 | Seat leakage class | API 527 |  |
| 052 | Type of protection | explosion proof enclosure | TYPE OF PROTECTION |
| 052 | Type of protection | intrinsic safety | TYPE OF PROTECTION |
| 052 | Type of protection | NA | TYPE OF PROTECTION |
| 052 | Type of protection | nonincendive equipment | TYPE OF PROTECTION |
| 053 | Criticality code | 1 | CRITICALITY CODE |
| 053 | Criticality code | 2 | CRITICALITY CODE |
| 053 | Criticality code | 3 | CRITICALITY CODE |
| 054 | Set/Burst pressure |  |  |
| 054u | Set pressure units | bar (g) | UNITS |
| 054u | Set pressure units | inHg | UNITS |
| 054u | Set pressure units | psig | UNITS |
| 055 | Allowable SPL @ Capacity |  |  |
| 055u | SPL Units | dB | UNITS |
| 056 | Preliminary selected area |  |  |
| 056u | Selected area units | in2 | UNITS |
| 056u | Selected area units | mm2 | UNITS |
| 057 | Eff coef of discharge | 0.62 |  |
| 057 | Eff coef of discharge | 0.975 |  |
| 058 | Disk combination factor | 0.9 |  |
| 058 | Disk combination factor | 1.0 |  |
| 059a | Avail nom power supply | 110 V ac |  |
| 059a | Avail nom power supply | 115 V ac |  |
| 059a | Avail nom power supply | 120 V ac |  |
| 059a | Avail nom power supply | 24 V dc |  |
| 059b | Number wires | 2 |  |
| 059b | Number wires | 3 |  |
| 059b | Number wires | 4 |  |
| 059b | Number wires | NA |  |
| 060 | Required design code | ASME I |  |
| 060 | Required design code | ASME III |  |
| 060 | Required design code | ASME IV |  |
| 060 | Required design code | ASME VIII |  |
| 060 | Required design code | non-code |  |
| 061 | Test requirements | air pop test |  |
| 061 | Test requirements | API 527 |  |
| 061 | Test requirements | backpressure test |  |
| 061 | Test requirements | NA |  |
| 061 | Test requirements | seat leakage |  |
| 061 | Test requirements | steam pop test |  |
| 061 | Test requirements | water pop test |  |
| 062 | Supply loss failure mode | activate fault relay |  |
| 062 | Supply loss failure mode | deactivate output relay |  |
| 062 | Supply loss failure mode | drive output low |  |
| 062 | Supply loss failure mode | NA |  |
| 063 | Signal loss failure mode | activate fault relay |  |
| 063 | Signal loss failure mode | drive output high |  |
| 063 | Signal loss failure mode | drive output low |  |
| 063 | Signal loss failure mode | flashing display |  |
| 063 | Signal loss failure mode | hold last value |  |
| 063 | Signal loss failure mode | NA |  |
| 064 | Calculation basis | API 520 |  |
| 064 | Calculation basis | ASME |  |
| 064 | Calculation basis | NA |  |
| 065a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 066b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 067 | MATERIAL FLOW CONDITIONS | SECTION TITLE | MATERIAL |
| 068a | Flow Case Identification | Non-fire |  |
| 068b | Flow Case Identification | Fire |  |
| 068c | Flow Case Identification | Capacity |  |
| 069 | Allowable overpressure | 10 |  |
| 069 | Allowable overpressure | 16 |  |
| 069 | Allowable overpressure | 21 |  |
| 069 | Allowable overpressure | 25 |  |
| 069 | Allowable overpressure | 3 |  |
| 069 | Allowable overpressure | 6 |  |
| 069u | Allowable overpressure units | % | UNITS |
| 069u | Allowable overpressure units | bar (g) | UNITS |
| 069u | Allowable overpressure units | psig | UNITS |
| 070 | Inlet pressure |  |  |
| 070u | Inlet pressure units | atm | UNITS |
| 070u | Inlet pressure units | bar | UNITS |
| 070u | Inlet pressure units | bar (g) | UNITS |
| 070u | Inlet pressure units | inH2O | UNITS |
| 070u | Inlet pressure units | inHg | UNITS |
| 070u | Inlet pressure units | kPa | UNITS |
| 070u | Inlet pressure units | kPa (g) | UNITS |
| 070u | Inlet pressure units | lbf/ft2 | UNITS |
| 070u | Inlet pressure units | lbf/in2 | UNITS |
| 070u | Inlet pressure units | mmHg | UNITS |
| 070u | Inlet pressure units | Pa | UNITS |
| 070u | Inlet pressure units | Pa (g) | UNITS |
| 070u | Inlet pressure units | psia | UNITS |
| 070u | Inlet pressure units | psig | UNITS |
| 071 | Built-up backpressure |  |  |
| 071u | Built-up back press units | atm | UNITS |
| 071u | Built-up back press units | bar | UNITS |
| 071u | Built-up back press units | bar (g) | UNITS |
| 071u | Built-up back press units | inH2O | UNITS |
| 071u | Built-up back press units | inHg | UNITS |
| 071u | Built-up back press units | kPa | UNITS |
| 071u | Built-up back press units | kPa (g) | UNITS |
| 071u | Built-up back press units | lbf/ft2 | UNITS |
| 071u | Built-up back press units | lbf/in2 | UNITS |
| 071u | Built-up back press units | mmHg | UNITS |
| 071u | Built-up back press units | Pa | UNITS |
| 071u | Built-up back press units | Pa (g) | UNITS |
| 071u | Built-up back press units | psia | UNITS |
| 071u | Built-up back press units | psig | UNITS |
| 072 | Superimposed back press |  |  |
| 072u | Superimposed back press units | atm | UNITS |
| 072u | Superimposed back press units | bar | UNITS |
| 072u | Superimposed back press units | bar (g) | UNITS |
| 072u | Superimposed back press units | inH2O | UNITS |
| 072u | Superimposed back press units | inHg | UNITS |
| 072u | Superimposed back press units | kPa | UNITS |
| 072u | Superimposed back press units | kPa (g) | UNITS |
| 072u | Superimposed back press units | lbf/ft2 | UNITS |
| 072u | Superimposed back press units | lbf/in2 | UNITS |
| 072u | Superimposed back press units | mmHg | UNITS |
| 072u | Superimposed back press units | Pa | UNITS |
| 072u | Superimposed back press units | Pa (g) | UNITS |
| 072u | Superimposed back press units | psia | UNITS |
| 072u | Superimposed back press units | psig | UNITS |
| 073 | Inlet temperature |  | INLET TEMPERATURE |
| 073u | Temperature units | °C | UNITS |
| 073u | Temperature units | °F | UNITS |
| 073u | Temperature units | C | UNITS |
| 073u | Temperature units | F | UNITS |
| 074 | Inlet density |  |  |
| 074u | Inlet density units | g/cm3 | UNITS |
| 074u | Inlet density units | lb/ft3 | UNITS |
| 074u | Inlet density units | lb/galUS | UNITS |
| 075 | Inlet phase type | gas |  |
| 075 | Inlet phase type | liquid |  |
| 075 | Inlet phase type | two-phase |  |
| 075 | Inlet phase type | vapor |  |
| 076 | Mass fraction vapor |  |  |
| 077 | Total mass flow rate |  |  |
| 077u | Total mass flow units | kg/d | UNITS |
| 077u | Total mass flow units | kg/h | UNITS |
| 077u | Total mass flow units | kg/s | UNITS |
| 077u | Total mass flow units | lb/h | UNITS |
| 078 | Liquid mass flow rate |  |  |
| 078u | Liquid mass flow units | kg/d | UNITS |
| 078u | Liquid mass flow units | kg/h | UNITS |
| 078u | Liquid mass flow units | kg/s | UNITS |
| 078u | Liquid mass flow units | lb/h | UNITS |
| 079 | Liquid actual flow rate |  |  |
| 079u | Liquid actual flow units | galUS/h | UNITS |
| 079u | Liquid actual flow units | galUS/min | UNITS |
| 079u | Liquid actual flow units | L/s | UNITS |
| 079u | Liquid actual flow units | m3/h | UNITS |
| 079u | Liquid actual flow units | m3/s | UNITS |
| 080 | Liquid density |  |  |
| 080u | Liquid density units | g/cm3 | UNITS |
| 080u | Liquid density units | lb/ft3 | UNITS |
| 080u | Liquid density units | lb/galUS | UNITS |
| 081 | Liquid specific gravity |  |  |
| 082 | Liquid viscosity |  |  |
| 082u | Liquid viscosity units | cP | UNITS |
| 082u | Liquid viscosity units | cSt | UNITS |
| 082u | Liquid viscosity units | m2/s | UNITS |
| 082u | Liquid viscosity units | m³/s | UNITS |
| 082u | Liquid viscosity units | Pa.s | UNITS |
| 083 | Latent heat vaporization |  |  |
| 083u | Latent heat vaporization units | btu/lb | UNITS |
| 084 | Vapor mass flow rate |  |  |
| 084u | Vapor mass flow units | kg/d | UNITS |
| 084u | Vapor mass flow units | kg/h | UNITS |
| 084u | Vapor mass flow units | kg/s | UNITS |
| 084u | Vapor mass flow units | lb/h | UNITS |
| 085 | Vapor actual flow rate |  |  |
| 085u | Vapor actual flow units | ft3ACT/h | UNITS |
| 085u | Vapor actual flow units | ft3ACT/min | UNITS |
| 085u | Vapor actual flow units | m3/h(N) | UNITS |
| 085u | Vapor actual flow units | m3/s(N) | UNITS |
| 086 | Vapor standard flow rate |  |  |
| 086u | Vapor std flow units | ft3STD/h | UNITS |
| 086u | Vapor std flow units | ft3STD/min | UNITS |
| 086u | Vapor std flow units | ft3STD/s | UNITS |
| 086u | Vapor std flow units | L/s(std) | UNITS |
| 086u | Vapor std flow units | m3/h(std) | UNITS |
| 086u | Vapor std flow units | m3/s(std) | UNITS |
| 087 | Vapor density |  |  |
| 087u | Vapor density units | g/cm3 | UNITS |
| 087u | Vapor density units | kg/m3 | UNITS |
| 087u | Vapor density units | lb/ft3 | UNITS |
| 088 | Vapor specific gravity |  |  |
| 089 | Vapor molecular weight |  |  |
| 089u | Molecular weight units | u | UNITS |
| 090 | Compressibility factor |  |  |
| 091a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091bu | Defined attribute 1 units |  | UNITS |
| 092 | CALCULATED VARIABLES | SECTION TITLE |  |
| 093 | Vaporized liquid rate |  |  |
| 093u | Vaporized liquid rate units | kg/h | UNITS |
| 093u | Vaporized liquid rate units | lb/h | UNITS |
| 094 | Reqd eff discharge area |  |  |
| 094u | Reqd eff discharge area units | in2 | UNITS |
| 094u | Reqd eff discharge area units | mm2 | UNITS |
| 095 | Calculated SPL @ 3 ft |  |  |
| 095u | Noise units | dB | UNITS |
| 096 | Reaction Force |  |  |
| 096u | Reaction Force units | lbf | UNITS |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data |  | DEFINABLE ATTRIBUTE VALUE |
| 097bu | Defined attribute 1 units |  | UNITS |
| 098 | PROCESS DESIGN CONDITIONS | SECTION TITLE |  |
| 101a | Minimum inlet pressure |  |  |
| 101au | Min inlet pressure units | atm | UNITS |
| 101au | Min inlet pressure units | bar | UNITS |
| 101au | Min inlet pressure units | bar (g) | UNITS |
| 101au | Min inlet pressure units | inH2O | UNITS |
| 101au | Min inlet pressure units | inHg | UNITS |
| 101au | Min inlet pressure units | kPa | UNITS |
| 101au | Min inlet pressure units | kPa (g) | UNITS |
| 101au | Min inlet pressure units | lbf/ft2 | UNITS |
| 101au | Min inlet pressure units | lbf/in2 | UNITS |
| 101au | Min inlet pressure units | mmHg | UNITS |
| 101au | Min inlet pressure units | Pa | UNITS |
| 101au | Min inlet pressure units | Pa (g) | UNITS |
| 101au | Min inlet pressure units | psia | UNITS |
| 101au | Min inlet pressure units | psig | UNITS |
| 101b | Normal inlet pressure |  |  |
| 101bu | Norm inlet press units | atm | UNITS |
| 101bu | Norm inlet press units | bar | UNITS |
| 101bu | Norm inlet press units | bar (g) | UNITS |
| 101bu | Norm inlet press units | inH2O | UNITS |
| 101bu | Norm inlet press units | inHg | UNITS |
| 101bu | Norm inlet press units | kPa | UNITS |
| 101bu | Norm inlet press units | kPa (g) | UNITS |
| 101bu | Norm inlet press units | lbf/ft2 | UNITS |
| 101bu | Norm inlet press units | lbf/in2 | UNITS |
| 101bu | Norm inlet press units | mmHg | UNITS |
| 101bu | Norm inlet press units | Pa | UNITS |
| 101bu | Norm inlet press units | Pa (g) | UNITS |
| 101bu | Norm inlet press units | psia | UNITS |
| 101bu | Norm inlet press units | psig | UNITS |
| 101c | Maximum inlet pressure |  |  |
| 101cu | Max inlet press units | atm | UNITS |
| 101cu | Max inlet press units | bar | UNITS |
| 101cu | Max inlet press units | bar (g) | UNITS |
| 101cu | Max inlet press units | inH2O | UNITS |
| 101cu | Max inlet press units | inHg | UNITS |
| 101cu | Max inlet press units | kPa | UNITS |
| 101cu | Max inlet press units | kPa (g) | UNITS |
| 101cu | Max inlet press units | lbf/ft2 | UNITS |
| 101cu | Max inlet press units | lbf/in2 | UNITS |
| 101cu | Max inlet press units | mmHg | UNITS |
| 101cu | Max inlet press units | Pa | UNITS |
| 101cu | Max inlet press units | Pa (g) | UNITS |
| 101cu | Max inlet press units | psia | UNITS |
| 101cu | Max inlet press units | psig | UNITS |
| 103a | Min superimposed press |  |  |
| 103au | Min superimposed press units | atm | UNITS |
| 103au | Min superimposed press units | bar | UNITS |
| 103au | Min superimposed press units | bar (g) | UNITS |
| 103au | Min superimposed press units | inH2O | UNITS |
| 103au | Min superimposed press units | inHg | UNITS |
| 103au | Min superimposed press units | kPa | UNITS |
| 103au | Min superimposed press units | kPa (g) | UNITS |
| 103au | Min superimposed press units | lbf/ft2 | UNITS |
| 103au | Min superimposed press units | lbf/in2 | UNITS |
| 103au | Min superimposed press units | mmHg | UNITS |
| 103au | Min superimposed press units | Pa | UNITS |
| 103au | Min superimposed press units | Pa (g) | UNITS |
| 103au | Min superimposed press units | psia | UNITS |
| 103au | Min superimposed press units | psig | UNITS |
| 103b | Norm superimposed press |  |  |
| 103bu | Norm superimposed press units | atm | UNITS |
| 103bu | Norm superimposed press units | bar | UNITS |
| 103bu | Norm superimposed press units | bar (g) | UNITS |
| 103bu | Norm superimposed press units | inH2O | UNITS |
| 103bu | Norm superimposed press units | inHg | UNITS |
| 103bu | Norm superimposed press units | kPa | UNITS |
| 103bu | Norm superimposed press units | kPa (g) | UNITS |
| 103bu | Norm superimposed press units | lbf/ft2 | UNITS |
| 103bu | Norm superimposed press units | lbf/in2 | UNITS |
| 103bu | Norm superimposed press units | mmHg | UNITS |
| 103bu | Norm superimposed press units | Pa | UNITS |
| 103bu | Norm superimposed press units | Pa (g) | UNITS |
| 103bu | Norm superimposed press units | psia | UNITS |
| 103bu | Norm superimposed press units | psig | UNITS |
| 103c | Max superimposed press |  |  |
| 103cu | Max superimposed press units | atm | UNITS |
| 103cu | Max superimposed press units | bar | UNITS |
| 103cu | Max superimposed press units | bar (g) | UNITS |
| 103cu | Max superimposed press units | inH2O | UNITS |
| 103cu | Max superimposed press units | inHg | UNITS |
| 103cu | Max superimposed press units | kPa | UNITS |
| 103cu | Max superimposed press units | kPa (g) | UNITS |
| 103cu | Max superimposed press units | lbf/ft2 | UNITS |
| 103cu | Max superimposed press units | lbf/in2 | UNITS |
| 103cu | Max superimposed press units | mmHg | UNITS |
| 103cu | Max superimposed press units | Pa | UNITS |
| 103cu | Max superimposed press units | Pa (g) | UNITS |
| 103cu | Max superimposed press units | psia | UNITS |
| 103cu | Max superimposed press units | psig | UNITS |
| 104a | Minimum inlet temperature |  |  |
| 104au | Min inlet temp units | °C | UNITS |
| 104au | Min inlet temp units | °F | UNITS |
| 104au | Min inlet temp units | C | UNITS |
| 104au | Min inlet temp units | F | UNITS |
| 104b | Normal inlet temperature |  |  |
| 104bu | Norm inlet temp units | °C | UNITS |
| 104bu | Norm inlet temp units | °F | UNITS |
| 104bu | Norm inlet temp units | C | UNITS |
| 104bu | Norm inlet temp units | F | UNITS |
| 104c | Maximum inlet temperature |  |  |
| 104cu | Max inlet temp units | °C | UNITS |
| 104cu | Max inlet temp units | °F | UNITS |
| 104cu | Max inlet temp units | C | UNITS |
| 104cu | Max inlet temp units | F | UNITS |
| 122a | Defined attribute 1 min |  |  |
| 122au | Defined attr 1 min units |  | UNITS |
| 122b | Defined attribute 1 norm |  |  |
| 122bu | Defined attribute 1 norm units |  | UNITS |
| 122c | Defined attribute 1 max |  |  |
| 122cu | Defined attr 1 max units |  | UNITS |
| 129 | MATERIAL PROPERTIES | SECTION TITLE | MATERIAL |
| 130 | Name |  |  |
| 131 | Composition |  |  |
| 132 | Liquid specific heat |  |  |
| 132u | Liquid specific heat units | Btu/(lb.°F) | UNITS |
| 132u | Liquid specific heat units | Btu/(lb.F) | UNITS |
| 132u | Liquid specific heat units | J/(kg.°K) | UNITS |
| 132u | Liquid specific heat units | J/(kg.K) | UNITS |
| 133 | Ratio sp heat capacity |  | RATIO OF SPECIF HEAT CAPACITY |
| 134a | Defined attribute 1 name | Gas coefficient C | DEFINABLE ATTRIBUTE NAME |
| 134a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 134b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 136 | Abs critical pressure |  | ABSOLUTE CRITICAL PRESSURE |
| 136u | Abs critical press units | atm | UNITS |
| 136u | Abs critical press units | bar | UNITS |
| 136u | Abs critical press units | kPa | UNITS |
| 136u | Abs critical press units | Pa | UNITS |
| 136u | Abs critical press units | psia | UNITS |
| 137 | Critical temperature |  | CRITICAL TEMPERATURE |
| 137u | Critical temperature units | °C | UNITS |
| 137u | Critical temperature units | °F | UNITS |
| 137u | Critical temperature units | C | UNITS |
| 137u | Critical temperature units | F | UNITS |
| 138a | NFPA health hazard | 0 | HEALTH HAZARD RATING |
| 138a | NFPA health hazard | 1 | HEALTH HAZARD RATING |
| 138a | NFPA health hazard | 2 | HEALTH HAZARD RATING |
| 138a | NFPA health hazard | 3 | HEALTH HAZARD RATING |
| 138a | NFPA health hazard | 4 | HEALTH HAZARD RATING |
| 138b | NFPA flammability | 0 | FLAMMABILITY HAZARD RATING |
| 138b | NFPA flammability | 1 | FLAMMABILITY HAZARD RATING |
| 138b | NFPA flammability | 2 | FLAMMABILITY HAZARD RATING |
| 138b | NFPA flammability | 3 | FLAMMABILITY HAZARD RATING |
| 138b | NFPA flammability | 4 | FLAMMABILITY HAZARD RATING |
| 138c | NFPA reactivity | 0 | REACTIVITY HAZARD RATING |
| 138c | NFPA reactivity | 1 | REACTIVITY HAZARD RATING |
| 138c | NFPA reactivity | 2 | REACTIVITY HAZARD RATING |
| 138c | NFPA reactivity | 3 | REACTIVITY HAZARD RATING |
| 138c | NFPA reactivity | 4 | REACTIVITY HAZARD RATING |
| 139a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 139b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 140a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 140b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |