| Pick List 20P2921 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | VALVE BODY | SECTION TITLE |  |
| 012 | Body type | flanged side outlet | VALVE BODY TYPE |
| 012 | Body type | forged block body | VALVE BODY TYPE |
| 012 | Body type | threaded in-line | VALVE BODY TYPE |
| 012 | Body type | threaded side outlet | VALVE BODY TYPE |
| 012 | Body type | threaded top outlet | VALVE BODY TYPE |
| 013 | Nozzle style | full nozzle |  |
| 013 | Nozzle style | semi-nozzle |  |
| 014 | Valve nominal size | 1 1/2 x 2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2 x 2 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2 x 3 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2D2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2D2 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2D3 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2E2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2E2 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2E3 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2F2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2F2 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2F3 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2G1 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2G2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2G2 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2G3 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2H2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2H2 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2H2 3 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2H3 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/2J2 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/4F1 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/4F1 1/4 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/4G1 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 1/4G2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 x 1 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 x 1 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 x 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1 x 2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1/2 x 1 | NOMINAL SIZE |
| 014 | Valve nominal size | 1/2 x 3/4 | NOMINAL SIZE |
| 014 | Valve nominal size | 1/2D3/4 | NOMINAL SIZE |
| 014 | Valve nominal size | 10 x 14 | NOMINAL SIZE |
| 014 | Valve nominal size | 12 x 16 | NOMINAL SIZE |
| 014 | Valve nominal size | 14 x 18 | NOMINAL SIZE |
| 014 | Valve nominal size | 16 x 18 | NOMINAL SIZE |
| 014 | Valve nominal size | 16 x 20 | NOMINAL SIZE |
| 014 | Valve nominal size | 18 x 24 | NOMINAL SIZE |
| 014 | Valve nominal size | 1D2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1E1 | NOMINAL SIZE |
| 014 | Valve nominal size | 1E2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1F1 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 1F1 1/4 | NOMINAL SIZE |
| 014 | Valve nominal size | 2 1/2 x 4 | NOMINAL SIZE |
| 014 | Valve nominal size | 2 1/2J2 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 2 1/2J4 | NOMINAL SIZE |
| 014 | Valve nominal size | 2 1/2K 6 | NOMINAL SIZE |
| 014 | Valve nominal size | 2 1/2K2 6 | NOMINAL SIZE |
| 014 | Valve nominal size | 2 1/2K3 | NOMINAL SIZE |
| 014 | Valve nominal size | 2 1/2K4 | NOMINAL SIZE |
| 014 | Valve nominal size | 2 1/2L4 | NOMINAL SIZE |
| 014 | Valve nominal size | 2 x 2 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 2 x 3 | NOMINAL SIZE |
| 014 | Valve nominal size | 20 x 24 | NOMINAL SIZE |
| 014 | Valve nominal size | 2G3 | NOMINAL SIZE |
| 014 | Valve nominal size | 2H2 | NOMINAL SIZE |
| 014 | Valve nominal size | 2H3 | NOMINAL SIZE |
| 014 | Valve nominal size | 2J2 1/2 | NOMINAL SIZE |
| 014 | Valve nominal size | 2J2 4 | NOMINAL SIZE |
| 014 | Valve nominal size | 2J3 | NOMINAL SIZE |
| 014 | Valve nominal size | 2K3 | NOMINAL SIZE |
| 014 | Valve nominal size | 3 x 4 | NOMINAL SIZE |
| 014 | Valve nominal size | 3 x 6 | NOMINAL SIZE |
| 014 | Valve nominal size | 3/4 x 1 | NOMINAL SIZE |
| 014 | Valve nominal size | 3/4 x 1 1/4 | NOMINAL SIZE |
| 014 | Valve nominal size | 3/4 x 3/4 | NOMINAL SIZE |
| 014 | Valve nominal size | 3/4D3/4 | NOMINAL SIZE |
| 014 | Valve nominal size | 3/4E1 | NOMINAL SIZE |
| 014 | Valve nominal size | 3/4E1 1/4 | NOMINAL SIZE |
| 014 | Valve nominal size | 3J4 | NOMINAL SIZE |
| 014 | Valve nominal size | 3K3 | NOMINAL SIZE |
| 014 | Valve nominal size | 3K4 | NOMINAL SIZE |
| 014 | Valve nominal size | 3K6 | NOMINAL SIZE |
| 014 | Valve nominal size | 3L2 6 | NOMINAL SIZE |
| 014 | Valve nominal size | 3L4 | NOMINAL SIZE |
| 014 | Valve nominal size | 3L6 | NOMINAL SIZE |
| 014 | Valve nominal size | 3M2 6 | NOMINAL SIZE |
| 014 | Valve nominal size | 3M4 | NOMINAL SIZE |
| 014 | Valve nominal size | 3M6 | NOMINAL SIZE |
| 014 | Valve nominal size | 4 x 6 | NOMINAL SIZE |
| 014 | Valve nominal size | 4L6 | NOMINAL SIZE |
| 014 | Valve nominal size | 4M6 | NOMINAL SIZE |
| 014 | Valve nominal size | 4N6 | NOMINAL SIZE |
| 014 | Valve nominal size | 4P2 6 | NOMINAL SIZE |
| 014 | Valve nominal size | 4P2 8 | NOMINAL SIZE |
| 014 | Valve nominal size | 4P6 | NOMINAL SIZE |
| 014 | Valve nominal size | 6 x 8 | NOMINAL SIZE |
| 014 | Valve nominal size | 6Q2 8 | NOMINAL SIZE |
| 014 | Valve nominal size | 6Q8 | NOMINAL SIZE |
| 014 | Valve nominal size | 6R10 | NOMINAL SIZE |
| 014 | Valve nominal size | 6R8 | NOMINAL SIZE |
| 014 | Valve nominal size | 6RR10 | NOMINAL SIZE |
| 014 | Valve nominal size | 8 x 10 | NOMINAL SIZE |
| 014 | Valve nominal size | 8T10 | NOMINAL SIZE |
| 014 | Valve nominal size | 8T2 10 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 1 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 1/4 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 10 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 12 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 14 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 16 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 18 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 2 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 20 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 3 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 3/8 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 4 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 6 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | 8 in | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 10 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 100 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 125 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 15 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 150 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 175 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 20 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 200 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 25 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 250 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 300 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 32 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 350 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 40 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 400 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 450 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 50 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 500 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 550 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 600 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 65 | NOMINAL SIZE |
| 015a | Inlet conn nominal size | DN 80 | NOMINAL SIZE |
| 015b | Inlet conn nominal rating | CL 125 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | CL 150 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | CL 250 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | CL 300 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | CL 600 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | CL 900 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | CL 1500 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | CL 2500 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | PN 100 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | PN 160 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | PN 25 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | PN 250 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | PN 40 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | PN 400 | NOMINAL PRESSURE/RATING |
| 015b | Inlet conn nominal rating | PN 64 | NOMINAL PRESSURE/RATING |
| 016a | Inlet conn termn type | clamped |  |
| 016a | Inlet conn termn type | flanged |  |
| 016a | Inlet conn termn type | threaded |  |
| 016a | Inlet conn termn type | welded |  |
| 016b | Inlet conn termn style | BPS |  |
| 016b | Inlet conn termn style | BW |  |
| 016b | Inlet conn termn style | grayloc |  |
| 016b | Inlet conn termn style | large female |  |
| 016b | Inlet conn termn style | large grove |  |
| 016b | Inlet conn termn style | large male |  |
| 016b | Inlet conn termn style | large tongue |  |
| 016b | Inlet conn termn style | lens joint |  |
| 016b | Inlet conn termn style | MS-33649 |  |
| 016b | Inlet conn termn style | NPT(F) |  |
| 016b | Inlet conn termn style | NPT(M) |  |
| 016b | Inlet conn termn style | RF |  |
| 016b | Inlet conn termn style | RTJ |  |
| 016b | Inlet conn termn style | small female |  |
| 016b | Inlet conn termn style | small grove |  |
| 016b | Inlet conn termn style | small male |  |
| 016b | Inlet conn termn style | small tongue |  |
| 016b | Inlet conn termn style | SO |  |
| 016b | Inlet conn termn style | SW(M) |  |
| 016b | Inlet conn termn style | tri-clover |  |
| 016b | Inlet conn termn style | tri-clover |  |
| 016b | Inlet conn termn style | WN |  |
| 017a | Outlet conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 1 1/4 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 1 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 1/2 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 1/4 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 10 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 12 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 14 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 16 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 18 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 2 1/2 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 2 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 20 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 22 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 24 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 3 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 3/4 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 4 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 6 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | 8 in | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 10 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 100 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 125 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 15 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 150 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 175 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 20 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 200 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 25 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 250 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 300 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 32 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 350 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 40 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 400 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 450 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 50 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 500 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 550 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 600 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 65 | NOMINAL SIZE |
| 017a | Outlet conn nominal size | DN 80 | NOMINAL SIZE |
| 017b | Outlet conn nom rating | CL 125 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | CL 150 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | CL 300 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | CL 600 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | CL 900 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | CL 1500 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | CL 2500 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | PN 100 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | PN 160 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | PN 25 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | PN 250 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | PN 40 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | PN 400 | NOMINAL PRESSURE/RATING |
| 017b | Outlet conn nom rating | PN 64 | NOMINAL PRESSURE/RATING |
| 018a | Outlet conn termn type | clamped |  |
| 018a | Outlet conn termn type | flanged |  |
| 018a | Outlet conn termn type | NA |  |
| 018a | Outlet conn termn type | threaded |  |
| 018a | Outlet conn termn type | welded |  |
| 018b | Outlet conn termn style | BSPT(M) |  |
| 018b | Outlet conn termn style | deterrent |  |
| 018b | Outlet conn termn style | grayloc |  |
| 018b | Outlet conn termn style | large female |  |
| 018b | Outlet conn termn style | large grove |  |
| 018b | Outlet conn termn style | large male |  |
| 018b | Outlet conn termn style | large tongue |  |
| 018b | Outlet conn termn style | lens joint |  |
| 018b | Outlet conn termn style | MS-33649 |  |
| 018b | Outlet conn termn style | NPT(F) |  |
| 018b | Outlet conn termn style | plain |  |
| 018b | Outlet conn termn style | RF |  |
| 018b | Outlet conn termn style | RTJ |  |
| 018b | Outlet conn termn style | small female |  |
| 018b | Outlet conn termn style | small grove |  |
| 018b | Outlet conn termn style | small male |  |
| 018b | Outlet conn termn style | small tongue |  |
| 018b | Outlet conn termn style | SW(M) |  |
| 018b | Outlet conn termn style | tri-clover |  |
| 018b | Outlet conn termn style | tri-clover |  |
| 018b | Outlet conn termn style | WN |  |
| 019 | Body/Cylinder material | 304 SST | MATERIAL |
| 019 | Body/Cylinder material | ASME SA-126 cl A/B | MATERIAL |
| 019 | Body/Cylinder material | ASME SA-216 gr WCB | MATERIAL |
| 019 | Body/Cylinder material | ASME SA-217 gr WC6 | MATERIAL |
| 019 | Body/Cylinder material | ASME SA-217 gr WC9 | MATERIAL |
| 019 | Body/Cylinder material | ASME SA-351 gr CF8M | MATERIAL |
| 019 | Body/Cylinder material | ASME SA-351 gr CN7M | MATERIAL |
| 019 | Body/Cylinder material | ASME SA-494 gr CW-12MW | MATERIAL |
| 019 | Body/Cylinder material | ASME SA-494 gr M35-1 | MATERIAL |
| 019 | Body/Cylinder material | ASME SB-211 | MATERIAL |
| 019 | Body/Cylinder material | ASME SB-283 gr 485 | MATERIAL |
| 019 | Body/Cylinder material | ASME SB584 | MATERIAL |
| 019 | Body/Cylinder material | CPVC | MATERIAL |
| 019 | Body/Cylinder material | CPVC | MATERIAL |
| 019 | Body/Cylinder material | glass-filled polypro | MATERIAL |
| 019 | Body/Cylinder material | kynar | MATERIAL |
| 019 | Body/Cylinder material | kynar | MATERIAL |
| 019 | Body/Cylinder material | polypropylene | MATERIAL |
| 019 | Body/Cylinder material | PVC | MATERIAL |
| 019 | Body/Cylinder material | teflon | MATERIAL |
| 019 | Body/Cylinder material | teflon | MATERIAL |
| 019 | Body/Cylinder material | titanium | MATERIAL |
| 020 | Nozzle/Base material | 18Cr-9Ni-2Mo | MATERIAL |
| 020 | Nozzle/Base material | 303 SST | MATERIAL |
| 020 | Nozzle/Base material | 316 SST | MATERIAL |
| 020 | Nozzle/Base material | ASME SA-351 gr CF8M | MATERIAL |
| 020 | Nozzle/Base material | ASME SA-479 gr 304 | MATERIAL |
| 020 | Nozzle/Base material | ASME SA-479 gr 316 | MATERIAL |
| 020 | Nozzle/Base material | ASME SB-16 | MATERIAL |
| 020 | Nozzle/Base material | ASME SB21 | MATERIAL |
| 020 | Nozzle/Base material | ASME SB-62 | MATERIAL |
| 020 | Nozzle/Base material | Carbon steel | MATERIAL |
| 020 | Nozzle/Base material | Cast iron | MATERIAL |
| 020 | Nozzle/Base material | hastelloy C | MATERIAL |
| 020 | Nozzle/Base material | monel 400 | MATERIAL |
| 020 | Nozzle/Base material | NA | MATERIAL |
| 021 | Bolting material | 304 SST | MATERIAL |
| 021 | Bolting material | 316 SST | MATERIAL |
| 021 | Bolting material | alloy steel | MATERIAL |
| 021 | Bolting material | carbon steel SAE GR 5 | MATERIAL |
| 021 | Bolting material | hastelloy C | MATERIAL |
| 021 | Bolting material | NA | MATERIAL |
| 021 | Bolting material | SA193 gr B7-SA194 cl 2H | MATERIAL |
| 022 | Separable flange matl | 316 SST | MATERIAL |
| 022 | Separable flange matl | carbon steel | MATERIAL |
| 022 | Separable flange matl | NA | MATERIAL |
| 023 | Gasket/O ring material | 316 SST | MATERIAL |
| 023 | Gasket/O ring material | BUNA N | MATERIAL |
| 023 | Gasket/O ring material | compressed non-asbestos | MATERIAL |
| 023 | Gasket/O ring material | fiber and nitrile | MATERIAL |
| 023 | Gasket/O ring material | klinger C-4400 | MATERIAL |
| 023 | Gasket/O ring material | monel | MATERIAL |
| 023 | Gasket/O ring material | monel | MATERIAL |
| 023 | Gasket/O ring material | NA | MATERIAL |
| 023 | Gasket/O ring material | organic fiber | MATERIAL |
| 023 | Gasket/O ring material | PTFE | MATERIAL |
| 023 | Gasket/O ring material | soft Iron | MATERIAL |
| 023 | Gasket/O ring material | Teflon | MATERIAL |
| 023 | Gasket/O ring material | Teflon | MATERIAL |
| 023 | Gasket/O ring material | viton | MATERIAL |
| 023 | Gasket/O ring material | viton | MATERIAL |
| 024a | Defined attribute 1 name | Body jacketing type | DEFINABLE ATTRIBUTE NAME |
| 024a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 1 data | hot liquid jacket | DEFINABLE ATTRIBUTE VALUE |
| 024b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 024b | Defined attribute 1 data | steam jacket | DEFINABLE ATTRIBUTE VALUE |
| 025a | Defined attribute 2 name | Outlet screen matl | DEFINABLE ATTRIBUTE NAME |
| 025b | Defined attribute 2 data | 316 SST | DEFINABLE ATTRIBUTE VALUE |
| 025b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026a | Defined attribute 3 name | Drain connection | DEFINABLE ATTRIBUTE NAME |
| 026a | Defined attribute 3 name | External treatment | DEFINABLE ATTRIBUTE NAME |
| 026a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 026b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026b | Defined attribute 3 data | nickel plating | DEFINABLE ATTRIBUTE VALUE |
| 026b | Defined attribute 3 data | seal welded | DEFINABLE ATTRIBUTE VALUE |
| 027 | VALVE TRIM | SECTION TITLE |  |
| 028 | Trim type | balanced bellows | TRIM TYPE |
| 028 | Trim type | balanced piston | TRIM TYPE |
| 028 | Trim type | bellows, balancing piston | TRIM TYPE |
| 028 | Trim type | bellows, liquid trim | TRIM TYPE |
| 028 | Trim type | bellows,liq trim, piston | TRIM TYPE |
| 028 | Trim type | conventional | TRIM TYPE |
| 028 | Trim type | conventional, liquid trim | TRIM TYPE |
| 028 | Trim type | stem balancing seal | TRIM TYPE |
| 029 | Seat style | ball metal-to-metal |  |
| 029 | Seat style | beveled metal-to-metal |  |
| 029 | Seat style | flat metal-to-metal |  |
| 029 | Seat style | O ring seat |  |
| 029 | Seat style | resilient seat |  |
| 029 | Seat style | temperature compensating |  |
| 030a | Orifice designation | 4 |  |
| 030a | Orifice designation | 5 |  |
| 030a | Orifice designation | 7 |  |
| 030a | Orifice designation | 8 |  |
| 030a | Orifice designation | AA |  |
| 030a | Orifice designation | BB |  |
| 030a | Orifice designation | BB2 |  |
| 030a | Orifice designation | C |  |
| 030a | Orifice designation | D |  |
| 030a | Orifice designation | E |  |
| 030a | Orifice designation | F |  |
| 030a | Orifice designation | G |  |
| 030a | Orifice designation | H |  |
| 030a | Orifice designation | H2 |  |
| 030a | Orifice designation | J |  |
| 030a | Orifice designation | J2 |  |
| 030a | Orifice designation | K |  |
| 030a | Orifice designation | K2 |  |
| 030a | Orifice designation | L |  |
| 030a | Orifice designation | L2 |  |
| 030a | Orifice designation | M |  |
| 030a | Orifice designation | M2 |  |
| 030a | Orifice designation | N |  |
| 030a | Orifice designation | P |  |
| 030a | Orifice designation | P2 |  |
| 030a | Orifice designation | Q |  |
| 030a | Orifice designation | Q2 |  |
| 030a | Orifice designation | R |  |
| 030a | Orifice designation | RR |  |
| 030a | Orifice designation | T |  |
| 030a | Orifice designation | T2 |  |
| 030a | Orifice designation | V |  |
| 030a | Orifice designation | W |  |
| 030a | Orifice designation | Y |  |
| 030a | Orifice designation | Z |  |
| 030a | Orifice designation | Z2 |  |
| 030b | Effective discharge area | 0.019 |  |
| 030b | Effective discharge area | 0.049 |  |
| 030b | Effective discharge area | 0.066 |  |
| 030b | Effective discharge area | 0.068 |  |
| 030b | Effective discharge area | 0.074 |  |
| 030b | Effective discharge area | 0.077 |  |
| 030b | Effective discharge area | 0.089 |  |
| 030b | Effective discharge area | 0.098 |  |
| 030b | Effective discharge area | 0.110 |  |
| 030b | Effective discharge area | 0.12 |  |
| 030b | Effective discharge area | 0.121 |  |
| 030b | Effective discharge area | 0.125 |  |
| 030b | Effective discharge area | 0.126 |  |
| 030b | Effective discharge area | 0.150 |  |
| 030b | Effective discharge area | 0.164 |  |
| 030b | Effective discharge area | 0.173 |  |
| 030b | Effective discharge area | 0.196 |  |
| 030b | Effective discharge area | 0.216 |  |
| 030b | Effective discharge area | 0.223 |  |
| 030b | Effective discharge area | 0.225 |  |
| 030b | Effective discharge area | 0.226 |  |
| 030b | Effective discharge area | 0.281 |  |
| 030b | Effective discharge area | 0.292 |  |
| 030b | Effective discharge area | 0.307 |  |
| 030b | Effective discharge area | 0.337 |  |
| 030b | Effective discharge area | 0.350 |  |
| 030b | Effective discharge area | 0.371 |  |
| 030b | Effective discharge area | 0.390 |  |
| 030b | Effective discharge area | 0.442 |  |
| 030b | Effective discharge area | 0.503 |  |
| 030b | Effective discharge area | 0.533 |  |
| 030b | Effective discharge area | 0.553 |  |
| 030b | Effective discharge area | 0.559 |  |
| 030b | Effective discharge area | 0.573 |  |
| 030b | Effective discharge area | 0.657 |  |
| 030b | Effective discharge area | 0.691 |  |
| 030b | Effective discharge area | 0.71 |  |
| 030b | Effective discharge area | 0.754 |  |
| 030b | Effective discharge area | 0.785 |  |
| 030b | Effective discharge area | 0.833 |  |
| 030b | Effective discharge area | 0.864 |  |
| 030b | Effective discharge area | 0.873 |  |
| 030b | Effective discharge area | 0.994 |  |
| 030b | Effective discharge area | 1.048 |  |
| 030b | Effective discharge area | 1.26 |  |
| 030b | Effective discharge area | 1.287 |  |
| 030b | Effective discharge area | 1.415 |  |
| 030b | Effective discharge area | 1.430 |  |
| 030b | Effective discharge area | 1.431 |  |
| 030b | Effective discharge area | 1.46 |  |
| 030b | Effective discharge area | 1.767 |  |
| 030b | Effective discharge area | 1.838 |  |
| 030b | Effective discharge area | 1.88 |  |
| 030b | Effective discharge area | 10323 |  |
| 030b | Effective discharge area | 108.86 |  |
| 030b | Effective discharge area | 108864 |  |
| 030b | Effective discharge area | 11.05 |  |
| 030b | Effective discharge area | 1186 |  |
| 030b | Effective discharge area | 119355 |  |
| 030b | Effective discharge area | 12.250 |  |
| 030b | Effective discharge area | 126 |  |
| 030b | Effective discharge area | 136.69 |  |
| 030b | Effective discharge area | 14335 |  |
| 030b | Effective discharge area | 1588 |  |
| 030b | Effective discharge area | 16.00 |  |
| 030b | Effective discharge area | 16774 |  |
| 030b | Effective discharge area | 168.74 |  |
| 030b | Effective discharge area | 17982 |  |
| 030b | Effective discharge area | 1841 |  |
| 030b | Effective discharge area | 185.00 |  |
| 030b | Effective discharge area | 19.29 |  |
| 030b | Effective discharge area | 198 |  |
| 030b | Effective discharge area | 2.042 |  |
| 030b | Effective discharge area | 2.461 |  |
| 030b | Effective discharge area | 2.545 |  |
| 030b | Effective discharge area | 2.79 |  |
| 030b | Effective discharge area | 2.85 |  |
| 030b | Effective discharge area | 2.853 |  |
| 030b | Effective discharge area | 22.22 |  |
| 030b | Effective discharge area | 2323 |  |
| 030b | Effective discharge area | 25490 |  |
| 030b | Effective discharge area | 26.00 |  |
| 030b | Effective discharge area | 27.872 |  |
| 030b | Effective discharge area | 27219 |  |
| 030b | Effective discharge area | 2800 |  |
| 030b | Effective discharge area | 3.142 |  |
| 030b | Effective discharge area | 3.170 |  |
| 030b | Effective discharge area | 3.341 |  |
| 030b | Effective discharge area | 3.600 |  |
| 030b | Effective discharge area | 3.976 |  |
| 030b | Effective discharge area | 325 |  |
| 030b | Effective discharge area | 3578 |  |
| 030b | Effective discharge area | 39.51 |  |
| 030b | Effective discharge area | 39193 |  |
| 030b | Effective discharge area | 4.00 |  |
| 030b | Effective discharge area | 4.04 |  |
| 030b | Effective discharge area | 4.34 |  |
| 030b | Effective discharge area | 4.822 |  |
| 030b | Effective discharge area | 4.86 |  |
| 030b | Effective discharge area | 4116 |  |
| 030b | Effective discharge area | 42.19 |  |
| 030b | Effective discharge area | 47.7 |  |
| 030b | Effective discharge area | 49.68 |  |
| 030b | Effective discharge area | 5.546 |  |
| 030b | Effective discharge area | 506 |  |
| 030b | Effective discharge area | 53342 |  |
| 030b | Effective discharge area | 57.42 |  |
| 030b | Effective discharge area | 58677 |  |
| 030b | Effective discharge area | 6.38 |  |
| 030b | Effective discharge area | 60.75 |  |
| 030b | Effective discharge area | 6365 |  |
| 030b | Effective discharge area | 7.070 |  |
| 030b | Effective discharge area | 7.087 |  |
| 030b | Effective discharge area | 70232 |  |
| 030b | Effective discharge area | 71.0 |  |
| 030b | Effective discharge area | 7129 |  |
| 030b | Effective discharge area | 82.68 |  |
| 030b | Effective discharge area | 830 |  |
| 030b | Effective discharge area | 88000 |  |
| 030b | Effective discharge area | 88187 |  |
| 030b | Effective discharge area | 9.866 |  |
| 030b | Effective discharge area | 90.95 |  |
| 030bu | Effective discharge area units | in2 | UNITS |
| 030bu | Effective discharge area units | mm2 | UNITS |
| 031 | Blowdown type | adjustable |  |
| 031 | Blowdown type | adjustable, 2 rings |  |
| 031 | Blowdown type | fixed |  |
| 032 | Disc holder material | 18Cr-8Ni | MATERIAL |
| 032 | Disc holder material | 18Cr-9Ni-2Mo | MATERIAL |
| 032 | Disc holder material | 303 SST | MATERIAL |
| 032 | Disc holder material | 304 SST | MATERIAL |
| 032 | Disc holder material | 316 SST | MATERIAL |
| 032 | Disc holder material | 316L SST | MATERIAL |
| 032 | Disc holder material | 410 SST | MATERIAL |
| 032 | Disc holder material | alloy 20 | MATERIAL |
| 032 | Disc holder material | brass B16 | MATERIAL |
| 032 | Disc holder material | bronze B62 | MATERIAL |
| 032 | Disc holder material | copper nickel alloy | MATERIAL |
| 032 | Disc holder material | hastelloy C | MATERIAL |
| 032 | Disc holder material | monel 400 | MATERIAL |
| 032 | Disc holder material | NA | MATERIAL |
| 032 | Disc holder material | nickel alloy | MATERIAL |
| 033 | Disc insert material | 17-4 pH SST | MATERIAL |
| 033 | Disc insert material | 316 SST | MATERIAL |
| 033 | Disc insert material | 616 SST | MATERIAL |
| 033 | Disc insert material | brass B16 | MATERIAL |
| 033 | Disc insert material | bronze B584 | MATERIAL |
| 033 | Disc insert material | EPDM | MATERIAL |
| 033 | Disc insert material | hastelloy C | MATERIAL |
| 033 | Disc insert material | Inconel x750 | MATERIAL |
| 033 | Disc insert material | kynar | MATERIAL |
| 033 | Disc insert material | kynar | MATERIAL |
| 033 | Disc insert material | monel 400 | MATERIAL |
| 033 | Disc insert material | NA | MATERIAL |
| 033 | Disc insert material | stainless steel | MATERIAL |
| 034 | Guide material | 17-4 pH SST | MATERIAL |
| 034 | Guide material | 316 SST | MATERIAL |
| 034 | Guide material | 400 SST | MATERIAL |
| 034 | Guide material | 410 SST | MATERIAL |
| 034 | Guide material | alloy 20 | MATERIAL |
| 034 | Guide material | brass B16 | MATERIAL |
| 034 | Guide material | bronze alloy 978 | MATERIAL |
| 034 | Guide material | copper nickel alloy | MATERIAL |
| 034 | Guide material | hastelloy C | MATERIAL |
| 034 | Guide material | monel 400 | MATERIAL |
| 034 | Guide material | SST ASTM A 297 gr HE | MATERIAL |
| 035 | O ring/Soft seat matl | aflas | MATERIAL |
| 035 | O ring/Soft seat matl | BUNA N | MATERIAL |
| 035 | O ring/Soft seat matl | chemraz | MATERIAL |
| 035 | O ring/Soft seat matl | chemraz | MATERIAL |
| 035 | O ring/Soft seat matl | EPDM | MATERIAL |
| 035 | O ring/Soft seat matl | EPR | MATERIAL |
| 035 | O ring/Soft seat matl | filled teflon | MATERIAL |
| 035 | O ring/Soft seat matl | kalrez | MATERIAL |
| 035 | O ring/Soft seat matl | kalrez | MATERIAL |
| 035 | O ring/Soft seat matl | neoprene | MATERIAL |
| 035 | O ring/Soft seat matl | PCTFE | MATERIAL |
| 035 | O ring/Soft seat matl | PEEK | MATERIAL |
| 035 | O ring/Soft seat matl | PEEK | MATERIAL |
| 035 | O ring/Soft seat matl | PTFE | MATERIAL |
| 035 | O ring/Soft seat matl | rubber | MATERIAL |
| 035 | O ring/Soft seat matl | silicone rubber | MATERIAL |
| 035 | O ring/Soft seat matl | TFE | MATERIAL |
| 035 | O ring/Soft seat matl | vespel | MATERIAL |
| 035 | O ring/Soft seat matl | vespel | MATERIAL |
| 035 | O ring/Soft seat matl | viton | MATERIAL |
| 035 | O ring/Soft seat matl | viton A | MATERIAL |
| 035 | O ring/Soft seat matl | viton | MATERIAL |
| 036 | Bellows material | 316L SST | MATERIAL |
| 036 | Bellows material | hastelloy C | MATERIAL |
| 036 | Bellows material | inconel | MATERIAL |
| 036 | Bellows material | inconel 600 | MATERIAL |
| 036 | Bellows material | inconel 625 | MATERIAL |
| 036 | Bellows material | inconel | MATERIAL |
| 036 | Bellows material | monel 400 | MATERIAL |
| 036 | Bellows material | NA | MATERIAL |
| 037 | Adjusting ring material | 316 SST | MATERIAL |
| 037 | Adjusting ring material | 400 SST | MATERIAL |
| 037 | Adjusting ring material | 410 SST | MATERIAL |
| 037 | Adjusting ring material | 416 SST | MATERIAL |
| 037 | Adjusting ring material | brass B16 | MATERIAL |
| 037 | Adjusting ring material | bronze | MATERIAL |
| 037 | Adjusting ring material | hastelloy C | MATERIAL |
| 037 | Adjusting ring material | monel 400 | MATERIAL |
| 037 | Adjusting ring material | NA | MATERIAL |
| 038a | Defined attribute 1 name | Bellows coating | DEFINABLE ATTRIBUTE NAME |
| 038a | Defined attribute 1 name | Hard surface treatment | DEFINABLE ATTRIBUTE NAME |
| 038a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 1 data | FEP | DEFINABLE ATTRIBUTE VALUE |
| 038b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 038b | Defined attribute 1 data | stellite nozzle, insert | DEFINABLE ATTRIBUTE VALUE |
| 039a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 039a | Defined attribute 2 name | Seal ring material | DEFINABLE ATTRIBUTE NAME |
| 039b | Defined attribute 2 data | graphitar grade 67 | DEFINABLE ATTRIBUTE VALUE |
| 039b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 040a | Defined attribute 3 name | Balancing piston matl | DEFINABLE ATTRIBUTE NAME |
| 040a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 040b | Defined attribute 3 data | 304 SST | DEFINABLE ATTRIBUTE VALUE |
| 040b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 041 | SPRING AND BONNET | SECTION TITLE |  |
| 042 | Bonnet type | closed |  |
| 042 | Bonnet type | open |  |
| 043 | Bonnet style | bolted | BONNET TYPES |
| 043 | Bonnet style | Integral | BONNET TYPES |
| 043 | Bonnet style | NA | BONNET TYPES |
| 043 | Bonnet style | seal welded | BONNET TYPES |
| 043 | Bonnet style | threaded | BONNET TYPES |
| 043 | Bonnet style | welded | BONNET TYPES |
| 044 | Lifting device type | air operated device |  |
| 044 | Lifting device type | lift pin |  |
| 044 | Lifting device type | NA |  |
| 044 | Lifting device type | packed level with gag |  |
| 044 | Lifting device type | packed lever w/test rod |  |
| 044 | Lifting device type | packed lifting lever |  |
| 044 | Lifting device type | plain lever |  |
| 044 | Lifting device type | plain lever w/dampener |  |
| 044 | Lifting device type | plain lever w/gag |  |
| 044 | Lifting device type | pull-ring |  |
| 045 | Cap type | bolted cap |  |
| 045 | Cap type | bolted cap w/test rod |  |
| 045 | Cap type | NA |  |
| 045 | Cap type | threaded cap |  |
| 045 | Cap type | threaded cap w/gag |  |
| 045 | Cap type | threaded cap w/test rod |  |
| 046 | Restricted lift style | adjustable lift stop |  |
| 046 | Restricted lift style | NA |  |
| 047 | Bonnet/Yoke material | ASME SA-126 cl A/B | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SA-216 gr WCB | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SA-216 gr WCC | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SA-217 gr C12A | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SA-217 gr WC6 | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SA-217 gr WC9 | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SA-351 gr CF8M | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SA-494 gr CW-12MW | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SA-494 gr M35-1 | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SB-16 | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SB-283 gr 485 | MATERIAL |
| 047 | Bonnet/Yoke material | ASME SB-584 | MATERIAL |
| 047 | Bonnet/Yoke material | NA | MATERIAL |
| 048 | Spring material | 17-7 pH SST | MATERIAL |
| 048 | Spring material | 302 SST | MATERIAL |
| 048 | Spring material | 304 SST | MATERIAL |
| 048 | Spring material | 316 SST | MATERIAL |
| 048 | Spring material | alloy 20 | MATERIAL |
| 048 | Spring material | alloy steel | MATERIAL |
| 048 | Spring material | carbon Steel | MATERIAL |
| 048 | Spring material | cd plated alloy steel | MATERIAL |
| 048 | Spring material | chrome steel | MATERIAL |
| 048 | Spring material | CS nickel plated | MATERIAL |
| 048 | Spring material | hastelloy B | MATERIAL |
| 048 | Spring material | hastelloy C | MATERIAL |
| 048 | Spring material | inconel X-750 | MATERIAL |
| 048 | Spring material | monel 400 | MATERIAL |
| 048 | Spring material | steel, aluminum coated | MATERIAL |
| 048 | Spring material | titanium | MATERIAL |
| 049 | Spring washer/Step matl | 316 SST | MATERIAL |
| 049 | Spring washer/Step matl | 416 SST | MATERIAL |
| 049 | Spring washer/Step matl | alloy steel | MATERIAL |
| 049 | Spring washer/Step matl | aluminum B211 | MATERIAL |
| 049 | Spring washer/Step matl | brass B16 | MATERIAL |
| 049 | Spring washer/Step matl | carbon steel | MATERIAL |
| 049 | Spring washer/Step matl | hastelloy C | MATERIAL |
| 049 | Spring washer/Step matl | monel 400 | MATERIAL |
| 050 | Adjusting screw/bolt matl | 304 SST | MATERIAL |
| 050 | Adjusting screw/bolt matl | 316 SST | MATERIAL |
| 050 | Adjusting screw/bolt matl | 416 SST | MATERIAL |
| 050 | Adjusting screw/bolt matl | brass B16 | MATERIAL |
| 050 | Adjusting screw/bolt matl | bronze | MATERIAL |
| 050 | Adjusting screw/bolt matl | hastelloy C | MATERIAL |
| 050 | Adjusting screw/bolt matl | monel | MATERIAL |
| 050 | Adjusting screw/bolt matl | monel | MATERIAL |
| 050 | Adjusting screw/bolt matl | NA | MATERIAL |
| 051 | Stem/Spindle material | 17-4PH SST | MATERIAL |
| 051 | Stem/Spindle material | 316 SST | MATERIAL |
| 051 | Stem/Spindle material | 410 SST | MATERIAL |
| 051 | Stem/Spindle material | 416 SST | MATERIAL |
| 051 | Stem/Spindle material | brass B16 | MATERIAL |
| 051 | Stem/Spindle material | hastelloy C | MATERIAL |
| 051 | Stem/Spindle material | monel 400 | MATERIAL |
| 052 | Cap material | 304 SST | MATERIAL |
| 052 | Cap material | 316 SST | MATERIAL |
| 052 | Cap material | aluminum B211 | MATERIAL |
| 052 | Cap material | brass B16 | MATERIAL |
| 052 | Cap material | carbon steel | MATERIAL |
| 052 | Cap material | hastelloy C | MATERIAL |
| 052 | Cap material | iron A126 | MATERIAL |
| 052 | Cap material | maleable iron | MATERIAL |
| 052 | Cap material | monel 400 | MATERIAL |
| 052 | Cap material | NA | MATERIAL |
| 053 | Gasket/O ring matl | 316 SST | MATERIAL |
| 053 | Gasket/O ring matl | 316 SST non-asbestos fill | MATERIAL |
| 053 | Gasket/O ring matl | BUNA N | MATERIAL |
| 053 | Gasket/O ring matl | compressed non-asbestos | MATERIAL |
| 053 | Gasket/O ring matl | fiber and nitrile | MATERIAL |
| 053 | Gasket/O ring matl | NA | MATERIAL |
| 053 | Gasket/O ring matl | organic fiber | MATERIAL |
| 053 | Gasket/O ring matl | soft iron | MATERIAL |
| 054a | Defined attribute 1 name | Handwheel material | DEFINABLE ATTRIBUTE NAME |
| 054a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 054b | Defined attribute 1 data | iron A126 | DEFINABLE ATTRIBUTE VALUE |
| 054b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 055a | Defined attribute 2 name | Adjuster type | DEFINABLE ATTRIBUTE NAME |
| 055b | Defined attribute 2 data | handwheel | DEFINABLE ATTRIBUTE VALUE |
| 056a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 056a | Defined attribute 3 name | Vent plug | DEFINABLE ATTRIBUTE NAME |
| 056b | Defined attribute 3 data | 316 SST | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 3 data | carbon steel | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 3 data | hastelloy | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 3 data | hastelloy | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 3 data | monel 400 | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 3 data | seal welded closed | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max inlet press at temp |  |  |
| 061au | Max inlet design pressure units | bar (g) | UNITS |
| 061au | Max inlet design pressure units | psig | UNITS |
| 061b | Max design temperature |  | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Max back press at temp |  |  |
| 062au | Max back press units | bar (g) | UNITS |
| 062au | Max back press units | psig | UNITS |
| 062b | Back press design temp | 100 |  |
| 062b | Back press design temp | 38 |  |
| 062bu | Back press design temp units | °C | UNITS |
| 062bu | Back press design temp units | °F | UNITS |
| 062bu | Back press design temp units | C | UNITS |
| 062bu | Back press design temp units | F | UNITS |
| 063a | Min working temperature |  | WORKING TEMPERATURE |
| 063au | Min working temp units | °C | UNITS |
| 063au | Min working temp units | °F | UNITS |
| 063au | Min working temp units | C | UNITS |
| 063au | Min working temp units | F | UNITS |
| 063b | Max working temperature |  | WORKING TEMPERATURE |
| 063bu | Max working temp units | °C | UNITS |
| 063bu | Max working temp units | °F | UNITS |
| 063bu | Max working temp units | C | UNITS |
| 063bu | Max working temp units | F | UNITS |
| 064a | Set pressure LRL |  | LOWER RANGE-LIMIT |
| 064au | Set pressure LRL units | bar (g) | UNITS |
| 064au | Set pressure LRL units | inHg | UNITS |
| 064au | Set pressure LRL units | psig | UNITS |
| 064b | Set pressure URL |  | UPPER RANGE-LIMIT |
| 064bu | Set pressure URL units | bar (g) | UNITS |
| 064bu | Set pressure URL units | inHg | UNITS |
| 064bu | Set pressure URL units | psig | UNITS |
| 065a | Rated relieving capacity |  |  |
| 065au | Relieving capacity units | galUS/min | UNITS |
| 065au | Relieving capacity units | kg/h | UNITS |
| 065au | Relieving capacity units | L/min | UNITS |
| 065au | Relieving capacity units | lb/h | UNITS |
| 065au | Relieving capacity units | m3/min | UNITS |
| 065au | Relieving capacity units | scfm | UNITS |
| 065b | Relieving capacity ref | 10 % ovprs |  |
| 065b | Relieving capacity ref | 25 % accum |  |
| 065b | Relieving capacity ref | 3 % ovprs |  |
| 066 | Rated coef of discharge |  |  |
| 067 | Rated seat leakage rate | 0 | LEAKAGE RATE |
| 067 | Rated seat leakage rate | 10 | LEAKAGE RATE |
| 067 | Rated seat leakage rate | 100 | LEAKAGE RATE |
| 067 | Rated seat leakage rate | 20 | LEAKAGE RATE |
| 067 | Rated seat leakage rate | 30 | LEAKAGE RATE |
| 067 | Rated seat leakage rate | 40 | LEAKAGE RATE |
| 067 | Rated seat leakage rate | 50 | LEAKAGE RATE |
| 067 | Rated seat leakage rate | 60 | LEAKAGE RATE |
| 067 | Rated seat leakage rate | 80 | LEAKAGE RATE |
| 067u | Seat leakage rate units | bubbles/min | UNITS |
| 067u | Seat leakage rate units | cm3/h | UNITS |
| 068 | Actual discharge area | .1279 |  |
| 068 | Actual discharge area | .2279 |  |
| 068 | Actual discharge area | .3568 |  |
| 068 | Actual discharge area | .5849 |  |
| 068 | Actual discharge area | .9127 |  |
| 068 | Actual discharge area | 1.496 |  |
| 068 | Actual discharge area | 11999.900 |  |
| 068 | Actual discharge area | 12.850 |  |
| 068 | Actual discharge area | 1379.350 |  |
| 068 | Actual discharge area | 147.032 |  |
| 068 | Actual discharge area | 18.600 |  |
| 068 | Actual discharge area | 18464.400 |  |
| 068 | Actual discharge area | 2.138 |  |
| 068 | Actual discharge area | 2139.990 |  |
| 068 | Actual discharge area | 230.193 |  |
| 068 | Actual discharge area | 2700.630 |  |
| 068 | Actual discharge area | 28.620 |  |
| 068 | Actual discharge area | 3.317 |  |
| 068 | Actual discharge area | 3256.120 |  |
| 068 | Actual discharge area | 377.354 |  |
| 068 | Actual discharge area | 4.186 |  |
| 068 | Actual discharge area | 4785.150 |  |
| 068 | Actual discharge area | 5.047 |  |
| 068 | Actual discharge area | 588.837 |  |
| 068 | Actual discharge area | 7.417 |  |
| 068 | Actual discharge area | 82.516 |  |
| 068 | Actual discharge area | 8290.300 |  |
| 068 | Actual discharge area | 956.159 |  |
| 068u | Discharge area units | in2 | UNITS |
| 068u | Discharge area units | mm2 | UNITS |
| 069a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 071a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 080 | ACCESSORIES | SECTION TITLE |  |
| 081 | Silencer | NA |  |
| 082 | Weatherhood | NA |  |
| 083 | Drip pan elbow | carbon steel, CL 150 RF |  |
| 083 | Drip pan elbow | NA |  |
| 084 | Bug proof vent | NA |  |
| 085a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 085b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 089 | Custom tag | al permanent attached |  |
| 089 | Custom tag | fiber tag |  |
| 089 | Custom tag | NA |  |
| 089 | Custom tag | sst permanent attached |  |
| 089 | Custom tag | sst wired-on |  |
| 090 | Reference specification | NA | REFERENCE SPECIFICATION |
| 091 | Special preparation | NA |  |
| 091 | Special preparation | oxygen |  |
| 092 | Compliance standard | API 526, API 527 | NACE STANDARD |
| 092 | Compliance standard | CGA G-4.1 | NACE STANDARD |
| 092 | Compliance standard | NA | NACE STANDARD |
| 092 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 092 | Compliance standard | US Coast Guard | NACE STANDARD |
| 093 | Construction code | ASME Section I |  |
| 093 | Construction code | ASME Section III |  |
| 093 | Construction code | ASME Section IV |  |
| 093 | Construction code | ASME Section VIII |  |
| 093 | Construction code | non-code |  |
| 094 | Certification | FM approved |  |
| 094 | Certification | HV National Board |  |
| 094 | Certification | NA |  |
| 094 | Certification | UL approved |  |
| 094 | Certification | UV National Board |  |
| 094 | Certification | V National Board |  |
| 095 | Special inspection | NA |  |
| 095 | Special inspection | radiograph examination |  |
| 096 | Service design | air/gas |  |
| 096 | Service design | dowtherm |  |
| 096 | Service design | forced flow steam |  |
| 096 | Service design | high temp hot water |  |
| 096 | Service design | industrial gases |  |
| 096 | Service design | liquid |  |
| 096 | Service design | liquid cryogenic |  |
| 096 | Service design | NA |  |
| 096 | Service design | organic fluid |  |
| 096 | Service design | steam |  |
| 096 | Service design | steam drum |  |
| 096 | Service design | vacuum |  |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099 | PHYSICAL DATA | SECTION TITLE |  |
| 100 | Estimated weight |  |  |
| 100u | Weight units | kg | UNITS |
| 100u | Weight units | lb | UNITS |
| 101 | Overall height |  |  |
| 101u | Overall height units | in | UNITS |
| 101u | Overall height units | mm | UNITS |
| 102 | Dismantle clearance |  |  |
| 102u | Dismantle clearance units | in | UNITS |
| 102u | Dismantle clearance units | mm | UNITS |
| 103 | Inlet center-to-face lg |  |  |
| 103u | Inlet length units | in | UNITS |
| 103u | Inlet length units | mm | UNITS |
| 104 | Outlet center-to-face lg |  |  |
| 104u | Outlet length units | in | UNITS |
| 104u | Outlet length units | mm | UNITS |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | TAG NUMBER |  |  |
| 112b | CDTP-Setpoint | CALIBRATION/TEST DESC |  |
| 112c | CDTP setpoint LRV |  | LOWER RANGE-VALUE |
| 112cu | CDTP setpoint LRV units | inHg | UNITS |
| 112d | CDTP setpoint URV |  | UPPER RANGE-VALUE |
| 112du | CDTP setpoint URV units | bar (g) | UNITS |
| 112du | CDTP setpoint URV units | psig | UNITS |
| 113b | Blowdown-Setpoint | CALIBRATION/TEST DESC |  |
| 113d | Blowdown setpoint URV |  | UPPER RANGE-VALUE |
| 113du | Blowdown setpoint URV units | bar (g) | UNITS |
| 113du | Blowdown setpoint URV units | psig | UNITS |
| 114a | Attribute tag no |  |  |
| 114b | Attribute cal/test descp |  |  |
| 114c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 114cu | Attr cal/test LRV units |  | UNITS |
| 114d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 114du | Attr cal/test URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | liquid relief valve |  |
| 120a | Component type | pressure relief valve |  |
| 120a | Component type | relief valve |  |
| 120a | Component type | safety relief valve |  |
| 120a | Component type | safety valve |  |
| 120a | Component type | sentinel relief valve |  |
| 120a | Component type | vacuum relief valve |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |
| 121a | Component type |  |  |
| 121a | Component type |  |  |
| 121a | Component type |  |  |
| 121b | Manufacturer |  | MANUFACTURER |
| 121b | Manufacturer |  | MANUFACTURER |
| 121b | Manufacturer |  | MANUFACTURER |
| 121c | Model number |  | MODEL NUMBER |
| 121c | Model number |  | MODEL NUMBER |
| 121c | Model number |  | MODEL NUMBER |