| # Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | TRANSMITTER BODY | SECTION TITLE |  |
| 012 | Body/Flange type | coplanar/In-line |  |
| 012 | Body/Flange type | dual head |  |
| 012 | Body/Flange type | modified DIN dual heads |  |
| 012 | Body/Flange type | std biplanar |  |
| 012 | Body/Flange type | std flange |  |
| 013a | Process conn nominal size | 1/4 in | NOMINAL SIZE |
| 013a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 013b | Process conn nom rating | 2000 psi | NOMINAL PRESSURE/RATING |
| 013b | Process conn nom rating | 3000 psi | NOMINAL PRESSURE/RATING |
| 014a | Process conn termn type | flg adptr | END CONNECTION CATEGORY |
| 014a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 014b | Process conn termn style | DIN | END CONNECTION TYPE |
| 014b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 015 | Vent/Drain location | center |  |
| 015 | Vent/Drain location | end |  |
| 015 | Vent/Drain location | side |  |
| 015 | Vent/Drain location | NA |  |
| 016 | Mounting type | 2 in pipe,angle bracket |  |
| 016 | Mounting type | 2 in pipe,flat bracket |  |
| 016 | Mounting type | body flange,horiz mount |  |
| 016 | Mounting type | body flange,vert mount |  |
| 016 | Mounting type | integral manifold |  |
| 016 | Mounting type | integral orifice |  |
| 016 | Mounting type | manifold valve |  |
| 016 | Mounting type | NA |  |
| 017 | Body/Flange material | 316 SST | MATERIAL |
| 017 | Body/Flange material | carbon steel,zinc plated | MATERIAL |
| 017 | Body/Flange material | hastelloy C276 | MATERIAL |
| 017 | Body/Flange material | monel | MATERIAL |
| 017 | Body/Flange material | tantalum | MATERIAL |
| 017 | Body/Flange material | NA | MATERIAL |
| 018 | Vent/Drain material | 316 SST | MATERIAL |
| 018 | Vent/Drain material | hastelloy C | MATERIAL |
| 018 | Vent/Drain material | monel | MATERIAL |
| 018 | Vent/Drain material | NA | MATERIAL |
| 019 | Bolting material | 316 SST | BOLTING |
| 019 | Bolting material | carbon steel,zinc plated | BOLTING |
| 019 | Bolting material | monel | BOLTING |
| 019 | Bolting material | NA | BOLTING |
| 020 | Flange adapter material | hastelloy C | MATERIAL |
| 020 | Flange adapter material | monel | MATERIAL |
| 020 | Flange adapter material | stainless steel | MATERIAL |
| 020 | Flange adapter material | NA | MATERIAL |
| 021 | Gasket/O ring material | glass-filled PTFE | MATERIAL |
| 021 | Gasket/O ring material | PTFE | MATERIAL |
| 021 | Gasket/O ring material | viton | MATERIAL |
| 021 | Gasket/O ring material | NA | MATERIAL |
| 022 | Mounting kit material | carbon steel,zinc plated | MATERIAL |
| 022 | Mounting kit material | stainless steel | MATERIAL |
| 022 | Mounting kit material | NA | MATERIAL |
| 023a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 023b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 024a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 025a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 025b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 026 | SENSING ELEMENT | SECTION TITLE |  |
| 027 | Detector type | capacitance sensor |  |
| 027 | Detector type | piezoresistive sensor |  |
| 028a | Min diff pressure span | .4 |  |
| 028a | Min diff pressure span | .83 |  |
| 028a | Min diff pressure span | 1 |  |
| 028a | Min diff pressure span | 5 |  |
| 028a | Min diff pressure span | 25 |  |
| 028a | Min diff pressure span | 33.3 |  |
| 028a | Min diff pressure span | 100 |  |
| 028au | Min diff pressure units | inH2O | UNITS |
| 028au | Min diff pressure units | mbar | UNITS |
| 028au | Min diff pressure units | psi | UNITS |
| 028b | Max diff pressure span | 10 |  |
| 028b | Max diff pressure span | 100 |  |
| 028b | Max diff pressure span | 250 |  |
| 028b | Max diff pressure span | 400 |  |
| 028b | Max diff pressure span | 600 |  |
| 028b | Max diff pressure span | 750 |  |
| 028b | Max diff pressure span | 1000 |  |
| 028b | Max diff pressure span | 3000 |  |
| 028bu | Max diff pressure units | inH2O | UNITS |
| 028bu | Max diff pressure units | mbar | UNITS |
| 028bu | Max diff pressure units | psi | UNITS |
| 029 | Diaphragm/Wetted material | 316L SST | MATERIAL |
| 029 | Diaphragm/Wetted material | hastelloy C276 | MATERIAL |
| 029 | Diaphragm/Wetted material | monel | MATERIAL |
| 029 | Diaphragm/Wetted material | tantalum | MATERIAL |
| 029 | Diaphragm/Wetted material | NA | MATERIAL |
| 030 | Fill fluid material | chlorotrifluoroethylene | MATERIAL |
| 030 | Fill fluid material | inert oil | MATERIAL |
| 030 | Fill fluid material | silicone | MATERIAL |
| 030 | Fill fluid material | NA | MATERIAL |
| 031a | Defined attribute 1 name | temperature input signal | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 1 data | platinum 100 Ohm RTD | DEFINABLE ATTRIBUTE VALUE |
| 031b | Defined attribute 1 data | thermocouple type E | DEFINABLE ATTRIBUTE VALUE |
| 031b | Defined attribute 1 data | thermocouple type J | DEFINABLE ATTRIBUTE VALUE |
| 031b | Defined attribute 1 data | thermocouple type K | DEFINABLE ATTRIBUTE VALUE |
| 031b | Defined attribute 1 data | thermocouple type T | DEFINABLE ATTRIBUTE VALUE |
| 032a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 032b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 033a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 033b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 034 | TRANSMITTER | SECTION TITLE |  |
| 035 | Output signal type | analog current | SIGNAL |
| 035 | Output signal type | analog pneumatic | SIGNAL |
| 035 | Output signal type | digital multi-variable | SIGNAL |
| 035 | Output signal type | digital single-variable | SIGNAL |
| 036 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | 4X & 7 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | IP 65 | ENCLOSURE TYPE NO/CLASS |
| 036 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 037 | Characteristic curve | linear | CHARACTERISTIC CURVE |
| 037 | Characteristic curve | square root | CHARACTERISTIC CURVE |
| 037 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 038 | Digital communication std | DE protocol |  |
| 038 | Digital communication std | foundation fieldbus |  |
| 038 | Digital communication std | HART protocol |  |
| 038 | Digital communication std | modbus |  |
| 039 | Signal power source | loop 12-42 V(dc) |  |
| 039 | Signal power source | NA |  |
| 040 | Transient protection | external device |  |
| 040 | Transient protection | integral termn block |  |
| 040 | Transient protection | NA |  |
| 041 | Integral indicator style | analog meter,sqrt div |  |
| 041 | Integral indicator style | analog meter,uniform div |  |
| 041 | Integral indicator style | LCD meter,4 digit |  |
| 041 | Integral indicator style | smart meter |  |
| 041 | Integral indicator style | NA |  |
| 042 | Signal termination type | integral junction box | END CONNECTION TYPE |
| 042 | Signal termination type | NA | END CONNECTION TYPE |
| 043 | Cert/Approval type | BASEEFA Type N | CERTIFICATION |
| 043 | Cert/Approval type | CSA Dust ignition proof | CERTIFICATION |
| 043 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 043 | Cert/Approval type | flameproof "d" | CERTIFICATION |
| 043 | Cert/Approval type | FM Dust ignition proof | CERTIFICATION |
| 043 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 043 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 043 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 043 | Cert/Approval type | LCIE Flame proof | CERTIFICATION |
| 043 | Cert/Approval type | LCIE Intrinsic safe | CERTIFICATION |
| 043 | Cert/Approval type | SAA Intrinsic safe | CERTIFICATION |
| 043 | Cert/Approval type | SAA Non-incendive | CERTIFICATION |
| 043 | Cert/Approval type | self declared | CERTIFICATION |
| 043 | Cert/Approval type | VNIIVE Intrinsic safe | CERTIFICATION |
| 043 | Cert/Approval type | NA | CERTIFICATION |
| 044 | Span-zero adjust lct | external zero & span |  |
| 044 | Span-zero adjust lct | external zero only |  |
| 044 | Span-zero adjust lct | no local zero or span |  |
| 044 | Span-zero adjust lct | NA |  |
| 045 | Failure/Diagnostic action | drive output high |  |
| 045 | Failure/Diagnostic action | drive output low |  |
| 045 | Failure/Diagnostic action | NA |  |
| 046 | Enclosure material | low copper-aluminum | MATERIAL |
| 046 | Enclosure material | stainless steel | MATERIAL |
| 046 | Enclosure material | NA | MATERIAL |
| 047a | Defined attribute 1 name | electrical connector | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 1 data | trumpet connector | DEFINABLE ATTRIBUTE VALUE |
| 048a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 048b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 049a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 049b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 061a | Max press at design temp | 50 | PRESSURE |
| 061a | Max press at design temp | 750 | PRESSURE |
| 061a | Max press at design temp | 2000 | PRESSURE |
| 061a | Max press at design temp | 3000 | PRESSURE |
| 061a | Max press at design temp | 3626 | PRESSURE |
| 061au | Design pressure units | psig | UNITS |
| 061b | Max design temperature | 100 | DESIGN TEMPERATURE |
| 061bu | Design temperature units | °C | UNITS |
| 061bu | Design temperature units | °F | UNITS |
| 061bu | Design temperature units | C | UNITS |
| 061bu | Design temperature units | F | UNITS |
| 062a | Min working temperature | -40 | WORKING TEMPERATURE |
| 062au | Min working temp units | °C | UNITS |
| 062au | Min working temp units | °F | UNITS |
| 062au | Min working temp units | C | UNITS |
| 062au | Min working temp units | F | UNITS |
| 062b | Max working temperature | 158 | WORKING TEMPERATURE |
| 062b | Max working temperature | 185 | WORKING TEMPERATURE |
| 062b | Max working temperature | 257 | WORKING TEMPERATURE |
| 062bu | Max working temp units | °C | UNITS |
| 062bu | Max working temp units | °F | UNITS |
| 062bu | Max working temp units | C | UNITS |
| 062bu | Max working temp units | F | UNITS |
| 063a | Accuracy rating | .05 | ACCURACY RATING |
| 063a | Accuracy rating | .075 | ACCURACY RATING |
| 063a | Accuracy rating | .10 | ACCURACY RATING |
| 063b | Accuracy rating ref base | % span | ACCURACY REFERENCE |
| 064a | Diff pressure LRL | 0 | LOWER RANGE-LIMIT |
| 064a | Diff pressure LRL | -25 | LOWER RANGE-LIMIT |
| 064a | Diff pressure LRL | -250 | LOWER RANGE-LIMIT |
| 064a | Diff pressure LRL | -1000 | LOWER RANGE-LIMIT |
| 064au | Diff pressure LRL units | inH2O | UNITS |
| 064b | Diff pressure URL | 25 | UPPER RANGE-LIMIT |
| 064b | Diff pressure URL | 250 | UPPER RANGE-LIMIT |
| 064b | Diff pressure URL | 1000 | UPPER RANGE-LIMIT |
| 064bu | Diff pressure URL units | inH2O | UNITS |
| 064bu | Diff pressure URL units | mbar | UNITS |
| 064bu | Diff pressure URL units | mbar | UNITS |
| 064bu | Diff pressure URL units | psi | UNITS |
| 064bu | Diff pressure URL units | psi | UNITS |
| 065a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 065au | Min amb temperature units | °C | UNITS |
| 065au | Min amb temperature units | °F | UNITS |
| 065au | Min amb temperature units | C | UNITS |
| 065au | Min amb temperature units | F | UNITS |
| 065b | Max ambient working temp | 158 | MAX AMBIENT TEMPERATURE |
| 065b | Max ambient working temp | 185 | MAX AMBIENT TEMPERATURE |
| 065b | Max ambient working temp | 200 | MAX AMBIENT TEMPERATURE |
| 065bu | Max amb temperature units | °C | UNITS |
| 065bu | Max amb temperature units | °F | UNITS |
| 065bu | Max amb temperature units | C | UNITS |
| 065bu | Max amb temperature units | F | UNITS |
| 066a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 066b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 067a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 067b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084 | ACCESSORIES | SECTION TITLE |  |
| 085 | Air set filter style | NA | AIR SET |
| 086 | Air set gauges | NA | AIR GAGE |
| 087 | Heating kit style | NA |  |
| 088 | Remote indicator style | NA |  |
| 089 | Manifold valve style | NA |  |
| 090a | Defined attribute 1 name | clamp and connector | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 1 data | 2 in lg Triclamp & spud | DEFINABLE ATTRIBUTE VALUE |
| 090b | Defined attribute 1 data | 6 in lg Triclamp & spud | DEFINABLE ATTRIBUTE VALUE |
| 091 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 092 | Custom tag | fiber tag |  |
| 092 | Custom tag | sst permanent attached |  |
| 092 | Custom tag | sst wired-on |  |
| 092 | Custom tag | NA |  |
| 093 | Reference specification | NA | REFERENCE SPECIFICATION |
| 094 | Special preparation | chlorine service |  |
| 094 | Special preparation | oxygen service |  |
| 094 | Special preparation | NA |  |
| 095 | Compliance standard | NACE MR-01-75 | NACE STANDARD |
| 095 | Compliance standard | NA | NACE STANDARD |
| 096 | Software configuration | custom configuration |  |
| 096 | Software configuration | ident & physical dwscp |  |
| 096 | Software configuration | multivariable config |  |
| 096 | Software configuration | transmitter configuration |  |
| 096 | Software configuration | write protection |  |
| 096 | Software configuration | NA |  |
| 097a | Defined attribute 1 name | additional warranty | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | 1 year | DEFINABLE ATTRIBUTE VALUE |
| 097b | Defined attribute 1 data | 2 year | DEFINABLE ATTRIBUTE VALUE |
| 097b | Defined attribute 1 data | 3 year | DEFINABLE ATTRIBUTE VALUE |
| 097b | Defined attribute 1 data | 4 year | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | test report | DEFINABLE ATTRIBUTE NAME |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 1 data | certificate of origin | DEFINABLE ATTRIBUTE VALUE |
| 098b | Defined attribute 1 data | certificate of prfm | DEFINABLE ATTRIBUTE VALUE |
| 098b | Defined attribute 1 data | report w/ cert of prfm | DEFINABLE ATTRIBUTE VALUE |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | low ambient temp opr | DEFINABLE ATTRIBUTE NAME |
| 099a | Defined attribute 3 name | over-pressure leak test | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | PHYSICAL DATA | SECTION TITLE |  |
| 101 | Estimated weight |  |  |
| 101u | Weight units | kg | UNITS |
| 101u | Weight units | lb | UNITS |
| 102 | Overall height |  |  |
| 102u | Overall height units | in | UNITS |
| 102u | Overall height units | mm | UNITS |
| 103 | Removal clearance |  |  |
| 103u | Removal clearance units | in | UNITS |
| 103u | Removal clearance units | mm | UNITS |
| 104a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 104a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 104b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 104b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 104b | Signal conn termn style | NA | END CONNECTION TYPE |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog diff press tag no |  |  |
| 112b | Diff press-Analog output | CALIBRATION/TEST DESC |  |
| 112c | Analog diff press LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Analog dp LRV units | inH2O | UNITS |
| 112d | Analog diff press URV | 25 | UPPER RANGE-VALUE |
| 112d | Analog diff press URV | 100 | UPPER RANGE-VALUE |
| 112du | Analog dp URV units | inH2O | UNITS |
| 112e | Analog dp signal action | direct |  |
| 112e | Analog diff press action | reverse |  |
| 112f | Analog dp output LRV | 4 | LOWER LIMIT |
| 112f | Analog dp output LRV | 10 | LOWER LIMIT |
| 112fu | Anlg dp output LRV units | mA | UNITS |
| 112g | Analog dp output URV | 20 | UPPER LIMIT |
| 112g | Analog dp output URV | 50 | UPPER LIMIT |
| 112gu | Anlg dp output URV units | mA | UNITS |
| 113a | Scale tag no |  |  |
| 113b | Diff pressure-Scale | CALIBRATION/TEST DESC |  |
| 113c | Scale diff press LRV | 0 | LOWER RANGE-VALUE |
| 113cu | Scale dp LRV units | inH2O | UNITS |
| 113d | Scale diff press URV | 100 | UPPER RANGE-VALUE |
| 113du | Scale dp URV units | inH2O | UNITS |
| 113e | Scale dp action | direct |  |
| 113f | Scale Lower Range-Value | 0 |  |
| 113fu | Scale LRV units | % | UNITS |
| 113g | Scale Upper Range-Value | 100 |  |
| 113gu | Scale URV units | % | UNITS |
| 114a | Digital diff press tag no |  |  |
| 114b | Diff press-Digital output | CALIBRATION/TEST DESC |  |
| 114c | Digital diff press LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Digital dp LRV units | inH2O | UNITS |
| 114d | Digital diff press URV | 25 | UPPER RANGE-VALUE |
| 114du | Digital dp URV units | inH2O | UNITS |
| 114e | Digital dp signal action | direct |  |
| 114f | Digital dp output LRV | 0 |  |
| 114fu | Dgtl dp output LRV units | lb/h | UNITS |
| 114g | Digital dp output URV |  |  |
| 114gu | Dgtl dp output URV units | lb/h | UNITS |
| 115a | Digital press tag no |  |  |
| 115b | Press-Digital output | CALIBRATION/TEST DESC |  |
| 115c | Digital press LRV | 0 |  |
| 115cu | Digital press LRV units | psig | UNITS |
| 115d | Digital press URV |  | UPPER RANGE-VALUE |
| 115du | Digital press URV units | psig | UNITS |
| 115e | Digital press action | direct |  |
| 115f | Digital press output LRV | 0 |  |
| 115fu | Dgtl pr output LRV units | psig | UNITS |
| 115g | Digital press output URV |  |  |
| 115gu | Digital pr output URV units | psig | UNITS |
| 116a | Digital temp tag no |  |  |
| 116b | Temp-Digital output | CALIBRATION/TEST DESC |  |
| 116c | Digital temp LRV |  | LOWER RANGE-VALUE |
| 116cu | Digital temp LRV units | °C | UNITS |
| 116cu | Digital temp LRV units | °F | UNITS |
| 116cu | Digital temp LRV units | C | UNITS |
| 116cu | Digital temp LRV units | F | UNITS |
| 116d | Digital temp URV |  | UPPER RANGE-VALUE |
| 116du | Digital temp URV units | °C | UNITS |
| 116du | Digital temp URV units | °F | UNITS |
| 116du | Digital temp URV units | C | UNITS |
| 116du | Digital temp URV units | F | UNITS |
| 116e | Digital temp signal action | direct |  |
| 116f | Digital temp output LRV |  |  |
| 116fu | Dgtl temp output LRV unit | °C | UNITS |
| 116fu | Dgtl temp output LRV unit | °F | UNITS |
| 116fu | Dgtl temp output LRV unit | C | UNITS |
| 116fu | Dgtl temp output LRV unit | F | UNITS |
| 116g | Digital temp output URV |  |  |
| 116gu | Dgtl temp output URV unit | °C | UNITS |
| 116gu | Dgtl temp output URV unit | °F | UNITS |
| 116gu | Dgtl temp output URV unit | C | UNITS |
| 116gu | Dgtl temp output URV unit | F | UNITS |
| 117a | Other tag no |  |  |
| 117b | Other cal/test descp |  |  |
| 117b | Other cal/test descp | NA |  |
| 117c | Other cal/test LRV |  | LOWER RANGE-VALUE |
| 117cu | Other cal/test LRV units |  | UNITS |
| 117d | Other cal/test URV |  | UPPER RANGE-VALUE |
| 117du | Other cal/test URV units |  | UNITS |
| 117e | Other cal/test action |  |  |
| 117f | Other output LRV |  |  |
| 117fu | Other output LRV unit |  | UNITS |
| 117g | Other output URV |  |  |
| 117gu | Other output URV unit |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | diff pressure xmtr |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |