| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | PROTECTIVE SHEATH AND FITTING | SECTION TITLE |  |
| 012 | Housing type | extruder bolt | HOUSING |
| 012 | Housing type | high pressure | HOUSING |
| 012 | Housing type | overbraided | HOUSING |
| 012 | Housing type | pad design | HOUSING |
| 012 | Housing type | tubular | HOUSING |
| 012 | Housing type | tubular,reduced tip | HOUSING |
| 013 | Pad/Collar type | 1 3/4x1 3/4 flat parallel |  |
| 013 | Pad/Collar type | 1/4 in x 1 1/4 in |  |
| 013 | Pad/Collar type | 1x1 flat parallel |  |
| 013 | Pad/Collar type | 1x1 flat perpendicular |  |
| 013 | Pad/Collar type | 1x1 formed parallel |  |
| 013 | Pad/Collar type | 1x1 pad w/cover |  |
| 013 | Pad/Collar type | 3/4x3/4 flat parallel |  |
| 013 | Pad/Collar type | 3/8 in x 1 in |  |
| 013 | Pad/Collar type | NA |  |
| 014a | Fitting conn nominal size | 1/8 in | NOMINAL SIZE |
| 014a | Fitting conn nominal size | 1/4 in | NOMINAL SIZE |
| 014a | Fitting conn nominal size | 1/2 in | NOMINAL SIZE |
| 014b | Fitting conn termn style | NF thd | END CONNECTION TYPE |
| 014b | Fitting conn termn style | NPT(F) | END CONNECTION TYPE |
| 015 | Mounting fitting type | bayonet,adjustable |  |
| 015 | Mounting fitting type | bayonet,fixed |  |
| 015 | Mounting fitting type | bolt type |  |
| 015 | Mounting fitting type | compression |  |
| 015 | Mounting fitting type | dbl ended hex fitting |  |
| 015 | Mounting fitting type | oil seal |  |
| 015 | Mounting fitting type | sgl ended hex fitting |  |
| 015 | Mounting fitting type | NA |  |
| 016 | Sheath alignment | 45 deg bend |  |
| 016 | Sheath alignment | 90 deg bend |  |
| 016 | Sheath alignment | bendable |  |
| 016 | Sheath alignment | straight |  |
| 016 | Sheath alignment | NA |  |
| 017a | Sheath outside diameter | .020 |  |
| 017a | Sheath outside diameter | .032 |  |
| 017a | Sheath outside diameter | .040 |  |
| 017a | Sheath outside diameter | .063 |  |
| 017a | Sheath outside diameter | .125 |  |
| 017a | Sheath outside diameter | .188 |  |
| 017a | Sheath outside diameter | .250 |  |
| 017a | Sheath outside diameter | .313 |  |
| 017a | Sheath outside diameter | .375 |  |
| 017a | Sheath outside diameter | .500 |  |
| 017au | Sheath diameter units | in | UNITS |
| 017b | Sheath overall length | 12 |  |
| 017b | Sheath overall length | 24 |  |
| 017b | Sheath overall length | 36 |  |
| 017bu | Sheath length units | in | UNITS |
| 018 | Spring loading | yes |  |
| 018 | Spring loading | NA |  |
| 019 | Sheath material | 304 SST | MATERIAL |
| 019 | Sheath material | 304L SST | MATERIAL |
| 019 | Sheath material | 310 SST | MATERIAL |
| 019 | Sheath material | 310L SST | MATERIAL |
| 019 | Sheath material | 316 SST | MATERIAL |
| 019 | Sheath material | 316L SST | MATERIAL |
| 019 | Sheath material | 321 SST | MATERIAL |
| 019 | Sheath material | 347 SST | MATERIAL |
| 019 | Sheath material | 446 SST | MATERIAL |
| 019 | Sheath material | hastelloy B | MATERIAL |
| 019 | Sheath material | hastelloy C276 | MATERIAL |
| 019 | Sheath material | hastelloy X | MATERIAL |
| 019 | Sheath material | incoloy 800 | MATERIAL |
| 019 | Sheath material | inconel 600 | MATERIAL |
| 019 | Sheath material | inconel 601 | MATERIAL |
| 019 | Sheath material | inconel 702 | MATERIAL |
| 019 | Sheath material | molybdenum | MATERIAL |
| 019 | Sheath material | monel 400 | MATERIAL |
| 019 | Sheath material | nickel Alloy,600 | MATERIAL |
| 019 | Sheath material | PFA coated | MATERIAL |
| 019 | Sheath material | platinum-Rhodium | MATERIAL |
| 019 | Sheath material | tantalum | MATERIAL |
| 019 | Sheath material | NA | MATERIAL |
| 020 | Fitting material | 316 SST | MATERIAL |
| 020 | Fitting material | alloy 20 | MATERIAL |
| 020 | Fitting material | aluminum | MATERIAL |
| 020 | Fitting material | brass | MATERIAL |
| 020 | Fitting material | copper Alloy | MATERIAL |
| 020 | Fitting material | monel 400 | MATERIAL |
| 020 | Fitting material | nickel Alloy,200 | MATERIAL |
| 020 | Fitting material | nickel Alloy,600 | MATERIAL |
| 020 | Fitting material | nylon | MATERIAL |
| 020 | Fitting material | plated steel | MATERIAL |
| 020 | Fitting material | NA | MATERIAL |
| 021a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 021b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 022 | SENSING ELEMENT | SECTION TITLE |  |
| 023 | Sensor type | gasket |  |
| 023 | Sensor type | thin film |  |
| 023 | Sensor type | wire wound |  |
| 024 | Sensor quantity | 1 |  |
| 024 | Sensor quantity | 2 |  |
| 024 | Sensor quantity | NA |  |
| 025a | Temperature coefficient | .00385 Ohm/Ohm/C | RATED FLOW COEFF |
| 025a | Temperature coefficient | .00390 Ohm/Ohm/C | RATED FLOW COEFF |
| 025a | Temperature coefficient | .00391 Ohm/Ohm/C | RATED FLOW COEFF |
| 025a | Temperature coefficient | .003916 Ohm/Ohm/C | RATED FLOW COEFF |
| 025a | Temperature coefficient | .00392 Ohm/Ohm/C | RATED FLOW COEFF |
| 025a | Temperature coefficient | .00427 Ohm/Ohm/C | RATED FLOW COEFF |
| 025a | Temperature coefficient | .00518 Ohm/Ohm/C | RATED FLOW COEFF |
| 025a | Temperature coefficient | .00617 Ohm/Ohm/C | RATED FLOW COEFF |
| 025a | Temperature coefficient | .00672 Ohm/Ohm/C | RATED FLOW COEFF |
| 025b | Coef reference base | Ohm/Ohm/C |  |
| 025b | Coef reference base | NA |  |
| 026 | Tolerance class | ASTM gp A (0.13 +0.0017t) | ANSI TOLERANCE CLASS |
| 026 | Tolerance class | ASTM gp B (0.25 +0.0042t) | ANSI TOLERANCE CLASS |
| 026 | Tolerance class | IEC cl A (0.15 +0.002t) | ANSI TOLERANCE CLASS |
| 026 | Tolerance class | IEC cl B (0.3+ 0.005t) | ANSI TOLERANCE CLASS |
| 026 | Tolerance class | JIS cl 0.5 | ANSI TOLERANCE CLASS |
| 026 | Tolerance class | NA | ANSI TOLERANCE CLASS |
| 027a | Nominal resistance | 10 |  |
| 027a | Nominal resistance | 100 |  |
| 027a | Nominal resistance | 120 |  |
| 027a | Nominal resistance | 130 |  |
| 027a | Nominal resistance | 200 |  |
| 027a | Nominal resistance | 50 |  |
| 027a | Nominal resistance | 500 |  |
| 027a | Nominal resistance | 604 |  |
| 027au | Resistance units | Ohm | UNITS |
| 027b | Ref base temperature | 0 |  |
| 027bu | Ref base temp units | °C | UNITS |
| 027bu | Ref base temp units | °F | UNITS |
| 027bu | Ref base temp units | C | UNITS |
| 027bu | Ref base temp units | F | UNITS |
| 028 | Configuration-no of wires | 2 wire |  |
| 028 | Configuration-no of wires | 3 wire |  |
| 028 | Configuration-no of wires | 4 wire compensating loop |  |
| 028 | Configuration-no of wires | 4 wire potentiometric |  |
| 028 | Configuration-no of wires | NA |  |
| 029 | Sensor material | copper | MATERIAL |
| 029 | Sensor material | nickel | MATERIAL |
| 029 | Sensor material | nickel/Iron | MATERIAL |
| 029 | Sensor material | platinum | MATERIAL |
| 029 | Sensor material | NA | MATERIAL |
| 030 | Insulator material | alumina | MATERIAL |
| 030 | Insulator material | berylia | MATERIAL |
| 030 | Insulator material | ceramic fiber | MATERIAL |
| 030 | Insulator material | fiberglass sleeving | MATERIAL |
| 030 | Insulator material | magnesia | MATERIAL |
| 030 | Insulator material | teflon | MATERIAL |
| 030 | Insulator material | NA | MATERIAL |
| 031a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 031b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 032 | LEAD WIRE AND HEAD EXTENSION | SECTION TITLE |  |
| 033 | Extension type | flexible Armour |  |
| 033 | Extension type | insulated wire |  |
| 033 | Extension type | insulated wire/overbraid |  |
| 033 | Extension type | nipple |  |
| 033 | Extension type | nipple & Union |  |
| 033 | Extension type | nipple,Union & Nipple |  |
| 033 | Extension type | NA |  |
| 034 | Ext wire nom size-type | 17 AWG stranded |  |
| 034 | Ext wire nom size-type | 18 AWG stranded |  |
| 034 | Ext wire nom size-type | 20 AWG stranded |  |
| 035 | Extension/Lead length | 0 |  |
| 035 | Extension/Lead length | 2.5 |  |
| 035 | Extension/Lead length | 3 |  |
| 035 | Extension/Lead length | 4 |  |
| 035 | Extension/Lead length | 6 |  |
| 035 | Extension/Lead length | 12 |  |
| 035 | Extension/Lead length | 18 |  |
| 035 | Extension/Lead length | 24 |  |
| 035 | Extension/Lead length | 36 |  |
| 035 | Extension/Lead length | 60 |  |
| 035 | Extension/Lead length | 72 |  |
| 035u | Extension length units | in | UNITS |
| 036a | Nipple-union nom size | 1/2 in |  |
| 036a | Nipple-union nom size | 3/4 in |  |
| 036b | Union nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 037 | Nipple pipe schedule no | 40 |  |
| 037 | Nipple pipe schedule no | 80 |  |
| 038 | Transition type | clamp support |  |
| 038 | Transition type | smooth |  |
| 038 | Transition type | spring-type strain relief |  |
| 038 | Transition type | NA |  |
| 039 | Termination style | bare ends |  |
| 039 | Termination style | cord Grip |  |
| 039 | Termination style | high temp dual plug |  |
| 039 | Termination style | high temp jack |  |
| 039 | Termination style | high temp plug |  |
| 039 | Termination style | high temp plug w/conn |  |
| 039 | Termination style | miniature high temp jack |  |
| 039 | Termination style | miniature high temp plug |  |
| 039 | Termination style | miniature jack |  |
| 039 | Termination style | miniature plug |  |
| 039 | Termination style | miniature plug w/conn |  |
| 039 | Termination style | quick Connect Jack |  |
| 039 | Termination style | quick Connect Plug |  |
| 039 | Termination style | standard dual plug |  |
| 039 | Termination style | standard jack |  |
| 039 | Termination style | standard plug |  |
| 039 | Termination style | standard plug w/conn |  |
| 039 | Termination style | NA |  |
| 040 | Connecting wire length | 1 |  |
| 040 | Connecting wire length | 2 |  |
| 040 | Connecting wire length | 3 |  |
| 040u | Wire length units | in | UNITS |
| 041 | Shield -ground wire | ground |  |
| 041 | Shield -ground wire | shield |  |
| 041 | Shield -ground wire | NA |  |
| 042 | Nipple material | 316 SST | MATERIAL |
| 042 | Nipple material | carbon steel,galvanized | MATERIAL |
| 042 | Nipple material | NA | MATERIAL |
| 043 | Union/Coupling material | carbon steel,galvanized | MATERIAL |
| 043 | Union/Coupling material | iron (Cast) | MATERIAL |
| 043 | Union/Coupling material | NA | MATERIAL |
| 044 | Coating-armor material | PVC Coated SST | MATERIAL |
| 044 | Coating-armor material | teflon Coated SST | MATERIAL |
| 044 | Coating-armor material | NA | MATERIAL |
| 045 | Extension wire material | copper | MATERIAL |
| 045 | Extension wire material | NA | MATERIAL |
| 046 | Ext wire insulation matl | asbestos | MATERIAL |
| 046 | Ext wire insulation matl | F/G w/SST Overbraid | MATERIAL |
| 046 | Ext wire insulation matl | fiberglass | MATERIAL |
| 046 | Ext wire insulation matl | kapton | MATERIAL |
| 046 | Ext wire insulation matl | PVC | MATERIAL |
| 046 | Ext wire insulation matl | teflon | MATERIAL |
| 046 | Ext wire insulation matl | NA | MATERIAL |
| 047a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 047b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 048a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 048b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 049 | CONNECTION HEAD | SECTION TITLE |  |
| 050 | Housing type | explosion proof enclosure | HOUSING |
| 050 | Housing type | industrial | HOUSING |
| 050 | Housing type | J Box w/Terminal strip | HOUSING |
| 050 | Housing type | miniature/Compact | HOUSING |
| 050 | Housing type | NA | HOUSING |
| 051 | Cover style | bolted |  |
| 051 | Cover style | hinged/clamp |  |
| 051 | Cover style | screwed |  |
| 051 | Cover style | screwed & chained |  |
| 051 | Cover style | screwed,domed |  |
| 051 | Cover style | NA |  |
| 052a | Element conn nominal size | 1/2 in | NOMINAL SIZE |
| 052a | Element conn nominal size | 3/4 in | NOMINAL SIZE |
| 052a | Element conn nominal size | 1 in | NOMINAL SIZE |
| 052b | Element conn termn style | NPT(F) | END CONNECTION TYPE |
| 053a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 053a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 053b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 054 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 054 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 054 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 054 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 055 | Grounding terminal lct | grounding screw | GROUNDING |
| 055 | Grounding terminal lct | NA | GROUNDING |
| 056 | Enclosure material | aluminum,burnished | MATERIAL |
| 056 | Enclosure material | aluminum,cast | MATERIAL |
| 056 | Enclosure material | aluminum,die cast | MATERIAL |
| 056 | Enclosure material | carbon steel | MATERIAL |
| 056 | Enclosure material | iron (Cast) | MATERIAL |
| 056 | Enclosure material | nylon | MATERIAL |
| 056 | Enclosure material | polypropylene | MATERIAL |
| 056 | Enclosure material | stainless steel | MATERIAL |
| 056 | Enclosure material | NA | MATERIAL |
| 057 | Terminal block material | ceramic | MATERIAL |
| 057 | Terminal block material | fiberglass/Phenolic | MATERIAL |
| 057 | Terminal block material | NA | MATERIAL |
| 058 | Terminal material | brass | MATERIAL |
| 058 | Terminal material | nickel plated brass | MATERIAL |
| 058 | Terminal material | NA | MATERIAL |
| 059a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060 | THERMOWELL OR PROTECTING TUBE | SECTION TITLE |  |
| 061 | Construction type | bar stock thermowell |  |
| 061 | Construction type | closed end prot tube |  |
| 061 | Construction type | miniature Protecting tube |  |
| 061 | Construction type | open end protection tube |  |
| 061 | Construction type | NA |  |
| 062 | Shank style | step down |  |
| 062 | Shank style | straight |  |
| 062 | Shank style | tapered |  |
| 062 | Shank style | NA |  |
| 063a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 063a | Process conn nominal size | 6 in | NOMINAL SIZE |
| 063b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 063b | Process conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 064a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 064a | Process conn termn type | collar | END CONNECTION CATEGORY |
| 064a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 064a | Process conn termn type | plain | END CONNECTION CATEGORY |
| 064a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 064a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 064b | Process conn termn style | 16A | END CONNECTION TYPE |
| 064b | Process conn termn style | 16A w/nut | END CONNECTION TYPE |
| 064b | Process conn termn style | 16AMP | END CONNECTION TYPE |
| 064b | Process conn termn style | ff | END CONNECTION TYPE |
| 064b | Process conn termn style | gj | END CONNECTION TYPE |
| 064b | Process conn termn style | hub | END CONNECTION TYPE |
| 064b | Process conn termn style | K16A | END CONNECTION TYPE |
| 064b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 064b | Process conn termn style | rf | END CONNECTION TYPE |
| 064b | Process conn termn style | rtj | END CONNECTION TYPE |
| 064b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 064b | Process conn termn style | vs | END CONNECTION TYPE |
| 064b | Process conn termn style | weld-in | END CONNECTION TYPE |
| 065a | Internal conn nom size | 1/2 in | NOMINAL SIZE |
| 065a | Internal conn nom size | 3/4 in | NOMINAL SIZE |
| 065a | Internal conn nom size | 1 in | NOMINAL SIZE |
| 065b | Internal conn termn style | NPT(F) |  |
| 066 | Bore diameter | .156 | BORE |
| 066 | Bore diameter | .187 | BORE |
| 066 | Bore diameter | .260 | BORE |
| 066 | Bore diameter | .312 | BORE |
| 066 | Bore diameter | .385 | BORE |
| 066 | Bore diameter | .437 | BORE |
| 066 | Bore diameter | .500 | BORE |
| 066 | Bore diameter | .625 | BORE |
| 066 | Bore diameter | .750 | BORE |
| 066 | Bore diameter | .875 | BORE |
| 066 | Bore diameter | 1.00 | BORE |
| 066u | Bore diameter units | in | UNITS |
| 067 | Outside dia at support | .500 |  |
| 067 | Outside dia at support | .625 |  |
| 067 | Outside dia at support | .750 |  |
| 067 | Outside dia at support | .875 |  |
| 067 | Outside dia at support | 1.0 |  |
| 067 | Outside dia at support | 1.062 |  |
| 067u | Outside support dia units | in | UNITS |
| 068 | Outside diameter at tip | .500 | UNITS |
| 068 | Outside diameter at tip | .625 | UNITS |
| 068 | Outside diameter at tip | .750 | UNITS |
| 068 | Outside diameter at tip | .765 | UNITS |
| 068u | Outside tip dia units | in | UNITS |
| 069 | Insertion length "U" | 2 | INSERTION LENGTH |
| 069 | Insertion length "U" | 2.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 4 | INSERTION LENGTH |
| 069 | Insertion length "U" | 4.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 7 | INSERTION LENGTH |
| 069 | Insertion length "U" | 7.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 10 | INSERTION LENGTH |
| 069 | Insertion length "U" | 10.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 13 | INSERTION LENGTH |
| 069 | Insertion length "U" | 13.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 16 | INSERTION LENGTH |
| 069 | Insertion length "U" | 16.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 19.5 | INSERTION LENGTH |
| 069 | Insertion length "U" | 22 | INSERTION LENGTH |
| 069 | Insertion length "U" | 22.5 | INSERTION LENGTH |
| 069u | Insertion length units | in | UNITS |
| 070 | Lagging extension lg "T" | 0 | LAGGING EXTENSION LENGTH |
| 070 | Lagging extension lg "T" | 2 | LAGGING EXTENSION LENGTH |
| 070 | Lagging extension lg "T" | 3 | LAGGING EXTENSION LENGTH |
| 070u | Extension length units | in | UNITS |
| 071 | Thermowell/Tube material | 304 SST | MATERIAL |
| 071 | Thermowell/Tube material | 304L SST | MATERIAL |
| 071 | Thermowell/Tube material | 316L SST | MATERIAL |
| 071 | Thermowell/Tube material | 446 SST | MATERIAL |
| 071 | Thermowell/Tube material | alloy 20 | MATERIAL |
| 071 | Thermowell/Tube material | alumina | MATERIAL |
| 071 | Thermowell/Tube material | aluminum | MATERIAL |
| 071 | Thermowell/Tube material | black steel pipe | MATERIAL |
| 071 | Thermowell/Tube material | carbon steel | MATERIAL |
| 071 | Thermowell/Tube material | carpenter 20 | MATERIAL |
| 071 | Thermowell/Tube material | copper Alloy | MATERIAL |
| 071 | Thermowell/Tube material | ductile iron | MATERIAL |
| 071 | Thermowell/Tube material | hastelloy B | MATERIAL |
| 071 | Thermowell/Tube material | hastelloy C276 | MATERIAL |
| 071 | Thermowell/Tube material | iron (Cast) | MATERIAL |
| 071 | Thermowell/Tube material | kel-F | MATERIAL |
| 071 | Thermowell/Tube material | monel 400 | MATERIAL |
| 071 | Thermowell/Tube material | mullite | MATERIAL |
| 071 | Thermowell/Tube material | nickel Alloy,200 | MATERIAL |
| 071 | Thermowell/Tube material | nickel Alloy,600 | MATERIAL |
| 071 | Thermowell/Tube material | nickel Alloy,800 | MATERIAL |
| 071 | Thermowell/Tube material | PFA Teflon coated | MATERIAL |
| 071 | Thermowell/Tube material | porcelain | MATERIAL |
| 071 | Thermowell/Tube material | silicon-carbide | MATERIAL |
| 071 | Thermowell/Tube material | silicon-nitride | MATERIAL |
| 071 | Thermowell/Tube material | stellite | MATERIAL |
| 071 | Thermowell/Tube material | tantalum | MATERIAL |
| 071 | Thermowell/Tube material | titanium | MATERIAL |
| 071 | Thermowell/Tube material | zirconium | MATERIAL |
| 071 | Thermowell/Tube material | NA | MATERIAL |
| 072 | Sheath material-thickness | tantalum/.007 | MATERIAL |
| 072 | Sheath material-thickness | NA | MATERIAL |
| 073a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074b | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 076a | Max press at design temp |  | PRESSURE |
| 076au | Design pressure units | psig | UNITS |
| 076b | Max design temperature |  | DESIGN TEMPERATURE |
| 076bu | Design temperature units | °C | UNITS |
| 076bu | Design temperature units | °F | UNITS |
| 076bu | Design temperature units | C | UNITS |
| 076bu | Design temperature units | F | UNITS |
| 077a | Min working temperature |  | WORKING TEMPERATURE |
| 077au | Min working temp units | °C | UNITS |
| 077au | Min working temp units | °F | UNITS |
| 077au | Min working temp units | C | UNITS |
| 077au | Min working temp units | F | UNITS |
| 077b | Max working temperature |  |  |
| 077bu | Max working temp units | °C | UNITS |
| 077bu | Max working temp units | °F | UNITS |
| 077bu | Max working temp units | C | UNITS |
| 077bu | Max working temp units | F | UNITS |
| 078a | Max fluid velocity limit |  |  |
| 078au | Velocity units | ft/s | UNITS |
| 078b | Max velocity design temp | 1000 |  |
| 078bu | Velocity design temp units | °C | UNITS |
| 078bu | Velocity design temp units | °F | UNITS |
| 078bu | Velocity design temp units | C | UNITS |
| 078bu | Velocity design temp units | F | UNITS |
| 079a | Temp Lower Range-Limit |  | LOWER RANGE-LIMIT |
| 079au | Temp LRL units | °C | UNITS |
| 079au | Temp LRL units | °F | UNITS |
| 079au | Temp LRL units | C | UNITS |
| 079au | Temp LRL units | F | UNITS |
| 079b | Temp Upper Range-Limit |  | UPPER RANGE-LIMIT |
| 079bu | Temperature URL units | °C | UNITS |
| 079bu | Temperature URL units | °F | UNITS |
| 079bu | Temperature URL units | C | UNITS |
| 079bu | Temperature URL units | F | UNITS |
| 080 | Min insertion length |  |  |
| 080u | Insertion length units | mm | UNITS |
| 080u | Inserting length units | in | UNITS |
| 081a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 081au | Min amb working temp units | °C | UNITS |
| 081au | Min amb working temp units | °F | UNITS |
| 081au | Min amb working temp units | C | UNITS |
| 081au | Min amb working temp units | F | UNITS |
| 081b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 081bu | Max amb temperature units | °C | UNITS |
| 081bu | Max amb temperature units | °F | UNITS |
| 081bu | Max amb temperature units | C | UNITS |
| 081bu | Max amb temperature units | F | UNITS |
| 082a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 083b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 084b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | ACCESSORIES | SECTION TITLE |  |
| 086 | Moisture seal style | NA | DEFINABLE ATTRIBUTE VALUE |
| 087 | Bayonet adapter size | NA |  |
| 088a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 4 name | NA |  |
| 091b | Defined attribute 4 data | NA |  |
| 092 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 093 | Custom tag | fiber tag |  |
| 093 | Custom tag | sst permanent attached |  |
| 093 | Custom tag | sst wired-on |  |
| 093 | Custom tag | NA |  |
| 094 | Reference specification | NA | REFERENCE SPECIFICATION |
| 095 | Compliance standard | ASTM 1137 | NACE STANDARD |
| 095 | Compliance standard | DIN 43760 | NACE STANDARD |
| 095 | Compliance standard | edison 7 | NACE STANDARD |
| 095 | Compliance standard | JIS C-1604 | NACE STANDARD |
| 095 | Compliance standard | SAMA | NACE STANDARD |
| 095 | Compliance standard | NA | NACE STANDARD |
| 096 | Construction code | NA |  |
| 097 | Calculation report | NA |  |
| 098 | Calibration report | NA |  |
| 099a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 101a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 101b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 102 | PHYSICAL DATA | SECTION TITLE |  |
| 103 | Estimated weight |  |  |
| 103u | Weight units | kg | UNITS |
| 103u | Weight units | lb | UNITS |
| 104 | Overall length |  |  |
| 104u | Length units | in | UNITS |
| 104u | Length units | mm | UNITS |
| 105 | Removal clearance |  |  |
| 105u | Removal clearance units | in | UNITS |
| 105u | Removal clearance units | mm | UNITS |
| 106 | Mfr reference dwg | NA |  |
| 107a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Tag/Functional ident |  |  |
| 112b | Temp - Output signal | CALIBRATION/TEST DESC |  |
| 112c | Temperature LRV |  | LOWER RANGE-VALUE |
| 112cu | Temperature LRV units | °C | UNITS |
| 112cu | Temperature LRV units | °F | UNITS |
| 112cu | Temperature LRV units | C | UNITS |
| 112cu | Temperature LRV units | F | UNITS |
| 112d | Temperature URV |  | UPPER RANGE-VALUE |
| 112du | Temperature URV units | °C | UNITS |
| 112du | Temperature URV units | °F | UNITS |
| 112du | Temperature URV units | C | UNITS |
| 112du | Temperature URV units | F | UNITS |
| 112f | Temperature output LRV |  | LOWER LIMIT |
| 112fu | Temp output LRV units | Ohm | UNITS |
| 112g | Temperature output URV |  | UPPER LIMIT |
| 112gu | Temp output URV units | Ohm | UNITS |
| 113b | Test pressure | CALIBRATION/TEST DESC |  |
| 113d | Test pressure URV |  |  |
| 113du | Test pressure URV units | psig | UNITS |
| 114a | Attribute1 tag number |  |  |
| 114b | Attr 1 cal/test descp | NA |  |
| 114c | Attribute 1 LRV |  | LOWER RANGE-VALUE |
| 114cu | Attribute 1 LRV units |  | UNITS |
| 114d | Attribute 1 URV |  | UPPER RANGE-VALUE |
| 114du | Attribute 1 URV units |  | UNITS |
| 114f | Attr 1 output LRV |  | LOWER LIMIT |
| 114fu | Attr 1 output LRV units |  | UNITS |
| 114g | Attr 1 output URV |  |  |
| 114gu | Attr 1 output URV units |  | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type |  |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |