| Line No | Field prompt | Pick list data | Help keyword |
| --- | --- | --- | --- |
| 011 | OPERATING PARAMETERS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017 | Related equipment |  |  |
| 018 | Service |  |  |
| 020 | P&ID/Reference dwg number |  |  |
| 021 | Material name | NA | MATERIAL |
| 022 | Maximum pressure |  |  |
| 022u | Maximum pressure units | psig | UNITS |
| 023 | Minimum temperature |  |  |
| 023u | Minimum temperature units | °C | UNITS |
| 023u | Minimum temperature units | °F | UNITS |
| 023u | Minimum temperature units | C | UNITS |
| 023u | Minimum temperature units | F | UNITS |
| 024 | Normal temperature |  |  |
| 024u | Normal temperature units | °C | UNITS |
| 024u | Normal temperature units | °F | UNITS |
| 024u | Normal temperature units | C | UNITS |
| 024u | Normal temperature units | F | UNITS |
| 025 | Maximum temperature |  |  |
| 025u | Maximum temperature units | °C | UNITS |
| 025u | Maximum temperature units | °F | UNITS |
| 025u | Maximum temperature units | C | UNITS |
| 025u | Maximum temperature units | F | UNITS |
| 026 | Material phase | liquid | MATERIAL PHASE |
| 026 | Material phase | mixed phase | MATERIAL PHASE |
| 026 | Material phase | vapor | MATERIAL PHASE |
| 027 | Maximum fluid velocity |  |  |
| 027u | Maximum velocity units | ft/s | UNITS |
| 028a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 029b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 030 | THERMOWELL OR PROTECTING TUBE | SECTION TITLE |  |
| 031 | Construction type | bar stock thermowell |  |
| 031 | Construction type | closed end Prot tube |  |
| 031 | Construction type | miniature Protecting tube |  |
| 031 | Construction type | open end protection tube |  |
| 031 | Construction type | NA |  |
| 032 | Shank Style | step down |  |
| 032 | Shank Style | straight |  |
| 032 | Shank Style | tapered |  |
| 032 | Shank Style | NA |  |
| 033a | Process conn nominal size | 1/2 in | NOMINAL SIZE |
| 033a | Process conn nominal size | 3/4 in | NOMINAL SIZE |
| 033a | Process conn nominal size | 1 in | NOMINAL SIZE |
| 033a | Process conn nominal size | 1 1/2 in | NOMINAL SIZE |
| 033a | Process conn nominal size | 2 in | NOMINAL SIZE |
| 033a | Process conn nominal size | 3 in | NOMINAL SIZE |
| 033a | Process conn nominal size | 4 in | NOMINAL SIZE |
| 033a | Process conn nominal size | 6 in | NOMINAL SIZE |
| 033b | Process conn nom rating | cl 150 | NOMINAL PRESSURE/RATING |
| 033b | Process conn nom rating | cl 1500 | NOMINAL PRESSURE/RATING |
| 033b | Process conn nom rating | cl 2500 | NOMINAL PRESSURE/RATING |
| 033b | Process conn nom rating | cl 300 | NOMINAL PRESSURE/RATING |
| 033b | Process conn nom rating | cl 4500 | NOMINAL PRESSURE/RATING |
| 033b | Process conn nom rating | cl 600 | NOMINAL PRESSURE/RATING |
| 033b | Process conn nom rating | cl 900 | NOMINAL PRESSURE/RATING |
| 034a | Process conn termn type | clamped | END CONNECTION CATEGORY |
| 034a | Process conn termn type | collar | END CONNECTION CATEGORY |
| 034a | Process conn termn type | flanged | END CONNECTION CATEGORY |
| 034a | Process conn termn type | gj | END CONNECTION CATEGORY |
| 034a | Process conn termn type | plain | END CONNECTION CATEGORY |
| 034a | Process conn termn type | threaded | END CONNECTION CATEGORY |
| 034a | Process conn termn type | welded | END CONNECTION CATEGORY |
| 034b | Process conn termn style | 16A | END CONNECTION TYPE |
| 034b | Process conn termn style | 16A w/nut | END CONNECTION TYPE |
| 034b | Process conn termn style | 16AMP | END CONNECTION TYPE |
| 034b | Process conn termn style | ff | END CONNECTION TYPE |
| 034b | Process conn termn style | hub | END CONNECTION TYPE |
| 034b | Process conn termn style | K16A | END CONNECTION TYPE |
| 034b | Process conn termn style | NPT(F) | END CONNECTION TYPE |
| 034b | Process conn termn style | rf | END CONNECTION TYPE |
| 034b | Process conn termn style | rtj | END CONNECTION TYPE |
| 034b | Process conn termn style | SW(F) | END CONNECTION TYPE |
| 034b | Process conn termn style | vs | END CONNECTION TYPE |
| 034b | Process conn termn style | weld-in | END CONNECTION TYPE |
| 035a | Internal conn nom size | 1/2 in | NOMINAL SIZE |
| 035a | Internal conn nom size | 3/4 in | NOMINAL SIZE |
| 035a | Internal conn nom size | 1 in | NOMINAL SIZE |
| 035b | Internal conn termn style | NPT(F) |  |
| 036 | Cap/Plug style | plug w/Chain |  |
| 036 | Cap/Plug style | NA |  |
| 037 | Bore diameter | .156 | BORE |
| 037 | Bore diameter | .187 | BORE |
| 037 | Bore diameter | .260 | BORE |
| 037 | Bore diameter | .312 | BORE |
| 037 | Bore diameter | .385 | BORE |
| 037 | Bore diameter | .437 | BORE |
| 037 | Bore diameter | .500 | BORE |
| 037 | Bore diameter | .625 | BORE |
| 037 | Bore diameter | .750 | BORE |
| 037 | Bore diameter | .875 | BORE |
| 037 | Bore diameter | 1.00 | BORE |
| 037u | Bore diameter units | in | UNITS |
| 037u | Bore diameter units | mm | UNITS |
| 038a | Outside dia at support | .500 |  |
| 038a | Outside dia at support | .625 |  |
| 038a | Outside dia at support | .750 |  |
| 038a | Outside dia at support | .875 |  |
| 038a | Outside dia at support | 1.0 |  |
| 038a | Outside dia at support | 1.062 |  |
| 038au | Diameter at support units | in | UNITS |
| 038au | Diameter at support units | mm | UNITS |
| 039 | Outside diameter at tip | .500 | UNITS |
| 039 | Outside diameter at tip | .625 | UNITS |
| 039 | Outside diameter at tip | .750 | UNITS |
| 039 | Outside diameter at tip | .765 | UNITS |
| 039u | Diameter at tip units | in | UNITS |
| 039u | Diameter at tip units | mm | UNITS |
| 040 | Insertion length "U" | 2 | INSERTION LENGTH |
| 040 | Insertion length "U" | 2.5 | INSERTION LENGTH |
| 040 | Insertion length "U" | 4 | INSERTION LENGTH |
| 040 | Insertion length "U" | 4.5 | INSERTION LENGTH |
| 040 | Insertion length "U" | 7 | INSERTION LENGTH |
| 040 | Insertion length "U" | 7.5 | INSERTION LENGTH |
| 040 | Insertion length "U" | 10 | INSERTION LENGTH |
| 040 | Insertion length "U" | 10.5 | INSERTION LENGTH |
| 040 | Insertion length "U" | 13 | INSERTION LENGTH |
| 040 | Insertion length "U" | 13.5 | INSERTION LENGTH |
| 040 | Insertion length "U" | 16 | INSERTION LENGTH |
| 040 | Insertion length "U" | 16.5 | INSERTION LENGTH |
| 040 | Insertion length "U" | 19.5 | INSERTION LENGTH |
| 040 | Insertion length "U" | 22 | INSERTION LENGTH |
| 040 | Insertion length "U" | 22.5 | INSERTION LENGTH |
| 040u | Insertion length units | in | UNITS |
| 040u | Insertion length units | mm | UNITS |
| 041 | Lagging extension lg "T" | 0 | LAGGING EXTENSION LENGTH |
| 041 | Lagging extension lg "T" | 2 | LAGGING EXTENSION LENGTH |
| 041 | Lagging extension lg "T" | 3 | LAGGING EXTENSION LENGTH |
| 041u | Extension length units | in | UNITS |
| 041u | Extension length units | mm | UNITS |
| 042 | Thermowell/Tube material | 304 SST | MATERIAL |
| 042 | Thermowell/Tube material | 304L SST | MATERIAL |
| 042 | Thermowell/Tube material | 316 SST | MATERIAL |
| 042 | Thermowell/Tube material | 316L SST | MATERIAL |
| 042 | Thermowell/Tube material | 446 SST | MATERIAL |
| 042 | Thermowell/Tube material | alloy 20 | MATERIAL |
| 042 | Thermowell/Tube material | alumina | MATERIAL |
| 042 | Thermowell/Tube material | aluminum | MATERIAL |
| 042 | Thermowell/Tube material | black steel pipe | MATERIAL |
| 042 | Thermowell/Tube material | carbon steel | MATERIAL |
| 042 | Thermowell/Tube material | carpenter 20 | MATERIAL |
| 042 | Thermowell/Tube material | copper Alloy | MATERIAL |
| 042 | Thermowell/Tube material | ductile iron | MATERIAL |
| 042 | Thermowell/Tube material | hastelloy B | MATERIAL |
| 042 | Thermowell/Tube material | hastelloy C276 | MATERIAL |
| 042 | Thermowell/Tube material | iron (Cast) | MATERIAL |
| 042 | Thermowell/Tube material | kel-F | MATERIAL |
| 042 | Thermowell/Tube material | monel 400 | MATERIAL |
| 042 | Thermowell/Tube material | mullite | MATERIAL |
| 042 | Thermowell/Tube material | nickel Alloy,200 | MATERIAL |
| 042 | Thermowell/Tube material | nickel Alloy,600 | MATERIAL |
| 042 | Thermowell/Tube material | nickel Alloy,800 | MATERIAL |
| 042 | Thermowell/Tube material | PFA Teflon coated | MATERIAL |
| 042 | Thermowell/Tube material | porcelain | MATERIAL |
| 042 | Thermowell/Tube material | silicon-carbide | MATERIAL |
| 042 | Thermowell/Tube material | silicon-nitride | MATERIAL |
| 042 | Thermowell/Tube material | stellite | MATERIAL |
| 042 | Thermowell/Tube material | tantalum | MATERIAL |
| 042 | Thermowell/Tube material | titanium | MATERIAL |
| 042 | Thermowell/Tube material | zirconium | MATERIAL |
| 042 | Thermowell/Tube material | NA | MATERIAL |
| 043 | Sheath material-thickness | tantalum/.007 | MATERIAL |
| 043 | Sheath material-thickness | NA | MATERIAL |
| 044 | Cap/Plug material | 316 SST | MATERIAL |
| 044 | Cap/Plug material | brass | MATERIAL |
| 044 | Cap/Plug material | NA | MATERIAL |
| 045a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 045b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 046a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 046b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 047 | EXTENSION ASSEMBLY | SECTION TITLE |  |
| 048 | Extension type | flexible Armour |  |
| 048 | Extension type | nipple |  |
| 048 | Extension type | nipple & Union |  |
| 048 | Extension type | nipple,Union & Nipple |  |
| 048 | Extension type | NA |  |
| 049 | Extension length | 0 | CONNECTION HEAD EXTENSION LGTH |
| 049 | Extension length | 2.5 | CONNECTION HEAD EXTENSION LGTH |
| 049 | Extension length | 3 | CONNECTION HEAD EXTENSION LGTH |
| 049 | Extension length | 4 | CONNECTION HEAD EXTENSION LGTH |
| 049 | Extension length | 6 | CONNECTION HEAD EXTENSION LGTH |
| 049 | Extension length | 12 | CONNECTION HEAD EXTENSION LGTH |
| 049u | Extension length units | in | UNITS |
| 049u | Extension length units | mm | UNITS |
| 050a | Nipple-Union nom size | 1/2 in |  |
| 050a | Nipple-Union nom size | 3/4 in |  |
| 050b | Union nominal rating | cl 300 | NOMINAL PRESSURE/RATING |
| 051 | Nipple pipe schedule no | 40 |  |
| 051 | Nipple pipe schedule no | 80 |  |
| 052 | Nipple material | 316 SST | MATERIAL |
| 052 | Nipple material | carbon steel,galvanized | MATERIAL |
| 052 | Nipple material | NA | MATERIAL |
| 053 | Union/Coupling material | carbon steel,galvanized | MATERIAL |
| 053 | Union/Coupling material | iron (Cast) | MATERIAL |
| 053 | Union/Coupling material | NA | MATERIAL |
| 054a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 054b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 055a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 055b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 056a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 056b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 057 | CONNECTION HEAD | SECTION TITLE |  |
| 058 | Housing type | explosion proof enclosure | HOUSING |
| 058 | Housing type | industrial | HOUSING |
| 058 | Housing type | J Box w/Terminal strip | HOUSING |
| 058 | Housing type | miniature/Compact | HOUSING |
| 058 | Housing type | NA | HOUSING |
| 059 | Cover style | bolted |  |
| 059 | Cover style | hinged/clamp |  |
| 059 | Cover style | screwed |  |
| 059 | Cover style | screwed & chained |  |
| 059 | Cover style | screwed,domed |  |
| 059 | Cover style | NA |  |
| 061a | Element conn nominal size | 1/2 in | NOMINAL SIZE |
| 061a | Element conn nominal size | 3/4 in | NOMINAL SIZE |
| 061a | Element conn nominal size | 1 in | NOMINAL SIZE |
| 061a | Element conn nominal size | NA | NOMINAL SIZE |
| 061b | Element conn termn style | NPT(F) | END CONNECTION TYPE |
| 061b | Element conn termn style | NA | END CONNECTION TYPE |
| 062a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 062a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 062a | Signal conn nominal size | NA | NOMINAL SIZE |
| 062b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 062b | Signal conn termn style | NA | END CONNECTION TYPE |
| 063 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 063 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 063 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 063 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 064 | Grounding terminal lct | grounding screw | GROUNDING |
| 064 | Grounding terminal lct | NA | GROUNDING |
| 065 | Enclosure material | aluminum,burnished | MATERIAL |
| 065 | Enclosure material | aluminum,cast | MATERIAL |
| 065 | Enclosure material | aluminum,die cast | MATERIAL |
| 065 | Enclosure material | carbon steel | MATERIAL |
| 065 | Enclosure material | cast iron | MATERIAL |
| 065 | Enclosure material | nylon | MATERIAL |
| 065 | Enclosure material | polypropylene | MATERIAL |
| 065 | Enclosure material | stainless steel | MATERIAL |
| 065 | Enclosure material | NA | MATERIAL |
| 066 | Terminal block material | ceramic | MATERIAL |
| 066 | Terminal block material | fiberglass/Phenolic | MATERIAL |
| 066 | Terminal block material | NA | MATERIAL |
| 067 | Terminal material | brass | MATERIAL |
| 067 | Terminal material | nickel plated brass | MATERIAL |
| 067 | Terminal material | NA | MATERIAL |
| 068a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 068b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 069a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 069b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 070a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 071 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 072a | Max press at design temp |  | PRESSURE |
| 072au | Design pressure units | psig | UNITS |
| 072b | Max design temperature |  | DESIGN TEMPERATURE |
| 072bu | Design temperature units | °C | UNITS |
| 072bu | Design temperature units | °F | UNITS |
| 072bu | Design temperature units | C | UNITS |
| 072bu | Design temperature units | F | UNITS |
| 073a | Min working temperature |  | WORKING TEMPERATURE |
| 073au | Min working temp units | °C | UNITS |
| 073au | Min working temp units | °F | UNITS |
| 073au | Min working temp units | C | UNITS |
| 073au | Min working temp units | F | UNITS |
| 073b | Max working temperature |  | WORKING TEMPERATURE |
| 073bu | Max working temp units | °C | UNITS |
| 073bu | Max working temp units | °F | UNITS |
| 073bu | Max working temp units | C | UNITS |
| 073bu | Max working temp units | F | UNITS |
| 074a | Max fluid velocity limit |  |  |
| 074au | Fluid velocity units | ft/s | UNITS |
| 074b | Max velocity design temp | 1000 |  |
| 074bu | Velocity design temp units | °C | UNITS |
| 074bu | Velocity design temp units | °F | UNITS |
| 074bu | Velocity design temp units | C | UNITS |
| 074bu | Velocity design temp units | F | UNITS |
| 075a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 076a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 076b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 077a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 077b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086 | ACCESSORIES | SECTION TITLE |  |
| 087a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 088a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 088b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 089a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 089b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 090a | Defined attribute 4 name | NA |  |
| 090b | Defined attribute 4 data | NA |  |
| 091a | Defined attribute 5 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 5 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 093 | Custom tag | fiber tag |  |
| 093 | Custom tag | sst permanent attached |  |
| 093 | Custom tag | sst wired-on |  |
| 093 | Custom tag | NA |  |
| 094 | Reference specification | NA | REFERENCE SPECIFICATION |
| 095 | Compliance standard | NA | NACE STANDARD |
| 096 | Construction code | NA |  |
| 097 | Calculation report | NA |  |
| 098a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 100b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 101 | PHYSICAL DATA | SECTION TITLE |  |
| 102 | Estimated weight |  |  |
| 102u | Weight units | kg | UNITS |
| 102u | Weight units | lb | UNITS |
| 103 | Overall length |  |  |
| 103u | Length units | in | UNITS |
| 103u | Length units | mm | UNITS |
| 104 | Removal clearance |  |  |
| 104u | Removal clearance units | in | UNITS |
| 104u | Removal clearance units | mm | UNITS |
| 105 | Mfr reference dwg | NA |  |
| 106a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 107b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 108a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 108b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112b | Test pressure | CALIBRATION/TEST DESC |  |
| 112d | Test pressure URV |  |  |
| 112du | Test pressure URV units | bar(g) | UNITS |
| 112du | Test pressure URV units | psig | UNITS |
| 118 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 120a | Component type | thermowell |  |
| 120b | Manufacturer |  | MANUFACTURER |
| 120c | Model number |  | MODEL NUMBER |