| Line No | Field Prompt | Pick List Data | Help Keyword |
| --- | --- | --- | --- |
| 011 | TRANSMITTER OR SWITCH | SECTION TITLE |  |
| 012 | Housing type | DIN-style housing | HOUSING |
| 012 | Housing type | ep enclosure 2 conn | HOUSING |
| 012 | Housing type | ep enclosure 3 conn | HOUSING |
| 012 | Housing type | ep enclosure 4 conn | HOUSING |
| 012 | Housing type | general purpose enclosure | HOUSING |
| 012 | Housing type | hockey-puck housing | HOUSING |
| 012 | Housing type | NEMA-type enclosure | HOUSING |
| 012 | Housing type | plug-in card | HOUSING |
| 012 | Housing type | surface mount housing | HOUSING |
| 013 | Input sensor type | millivolts |  |
| 013 | Input sensor type | Ohms |  |
| 013 | Input sensor type | RTD Cu 10 |  |
| 013 | Input sensor type | RTD CU 25 |  |
| 013 | Input sensor type | RTD NI120 |  |
| 013 | Input sensor type | RTD NI500 |  |
| 013 | Input sensor type | RTD Pt100 |  |
| 013 | Input sensor type | RTD Pt1000 |  |
| 013 | Input sensor type | RTD Pt200 |  |
| 013 | Input sensor type | RTD Pt500 |  |
| 013 | Input sensor type | special |  |
| 013 | Input sensor type | tc type NiNiMoly |  |
| 013 | Input sensor type | tc type RH Radiamatic |  |
| 013 | Input sensor type | thermistor |  |
| 013 | Input sensor type | thermocouple type B |  |
| 013 | Input sensor type | thermocouple type C |  |
| 013 | Input sensor type | thermocouple type D |  |
| 013 | Input sensor type | thermocouple type E |  |
| 013 | Input sensor type | thermocouple type J |  |
| 013 | Input sensor type | thermocouple type K |  |
| 013 | Input sensor type | thermocouple type L |  |
| 013 | Input sensor type | thermocouple type N |  |
| 013 | Input sensor type | thermocouple type R |  |
| 013 | Input sensor type | thermocouple type S |  |
| 013 | Input sensor type | thermocouple type T |  |
| 013 | Input sensor type | thermocouple type U |  |
| 014 | Output signal type | analog and relay | SIGNAL |
| 014 | Output signal type | analog current | SIGNAL |
| 014 | Output signal type | analog pneumatic | SIGNAL |
| 014 | Output signal type | digital multi-variable | SIGNAL |
| 014 | Output signal type | digital single-variable | SIGNAL |
| 014 | Output signal type | dry contact | SIGNAL |
| 014 | Output signal type | hermetic sealed relay | SIGNAL |
| 014 | Output signal type | relay | SIGNAL |
| 014 | Output signal type | transistor switch | SIGNAL |
| 014 | Output signal type | NA | SIGNAL |
| 015a | Min measurement span |  |  |
| 015au | Min meas span units | °C | UNITS |
| 015au | Min meas span units | °F | UNITS |
| 015au | Min meas span units | C | UNITS |
| 015au | Min meas span units | F | UNITS |
| 015au | Min meas span units | mV | UNITS |
| 015au | Min meas span units | Ohm | UNITS |
| 015b | Max measurement span |  |  |
| 015bu | Max meas span units | °C | UNITS |
| 015bu | Max meas span units | °F | UNITS |
| 015bu | Max meas span units | C | UNITS |
| 015bu | Max meas span units | F | UNITS |
| 015bu | Max meas span units | mV | UNITS |
| 015bu | Max meas span units | Ohm | UNITS |
| 016 | Temp coef/Tolerance cl | .003750 Ohm/Ohm/C |  |
| 016 | Temp coef/Tolerance cl | .00390 Ohm/Ohm/C |  |
| 016 | Temp coef/Tolerance cl | .00391 Ohm/Ohm/C |  |
| 016 | Temp coef/Tolerance cl | .003916 Ohm/Ohm/C |  |
| 016 | Temp coef/Tolerance cl | .00392 Ohm/Ohm/C |  |
| 016 | Temp coef/Tolerance cl | .00427 Ohm/Ohm/C |  |
| 016 | Temp coef/Tolerance cl | .00518 Ohm/Ohm/C |  |
| 016 | Temp coef/Tolerance cl | .00672 Ohm/Ohm/C |  |
| 016 | Temp coef/Tolerance cl | special |  |
| 016 | Temp coef/Tolerance cl | standard |  |
| 016 | Temp coef/Tolerance cl | NA |  |
| 017 | Isolation type | fully isolated |  |
| 017 | Isolation type | input Isolated |  |
| 017 | Isolation type | non-isolated |  |
| 018 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 018 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 018 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 018 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 018 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 019 | Adjustment type | enclosure external |  |
| 019 | Adjustment type | front multi-turn pot |  |
| 019 | Adjustment type | front push button |  |
| 019 | Adjustment type | NA |  |
| 020 | Characteristic curve | linear to measurement | CHARACTERISTIC CURVE |
| 020 | Characteristic curve | linear to temperature | CHARACTERISTIC CURVE |
| 020 | Characteristic curve | reversed linear to temp | CHARACTERISTIC CURVE |
| 020 | Characteristic curve | NA | CHARACTERISTIC CURVE |
| 021 | Digital communication std | DE protocol |  |
| 021 | Digital communication std | foundation fieldbus |  |
| 021 | Digital communication std | HART protocol |  |
| 021 | Digital communication std | modbus |  |
| 021 | Digital communication std | profibus |  |
| 021 | Digital communication std | RS232C binary/ASCII |  |
| 021 | Digital communication std | RS485 binary/ASCII |  |
| 021 | Digital communication std | NA |  |
| 022 | Signal power source | line 117 V(ac) 60 Hz |  |
| 022 | Signal power source | line 220 V(ac) 60 Hz |  |
| 022 | Signal power source | line 24 V(dc) |  |
| 022 | Signal power source | line 240 V(ac) 60 Hz |  |
| 022 | Signal power source | line 45 V(dc) |  |
| 022 | Signal power source | line Universal |  |
| 022 | Signal power source | loop 12-24 V(dc) |  |
| 022 | Signal power source | loop 12-28 V(dc) |  |
| 022 | Signal power source | loop 12-30 V(dc) |  |
| 022 | Signal power source | loop 12-42 V(dc) |  |
| 022 | Signal power source | loop 6.5-40 V(dc) |  |
| 022 | Signal power source | loop 8.5-28 V(dc) |  |
| 022 | Signal power source | loop 8.5-42 V(dc) |  |
| 022 | Signal power source | NA |  |
| 023 | Measurement type | average |  |
| 023 | Measurement type | differential |  |
| 023 | Measurement type | highest/Lowest |  |
| 023 | Measurement type | redundant |  |
| 023 | Measurement type | single direct |  |
| 023 | Measurement type | NA |  |
| 024 | Configuration-no of wires | 2 wire |  |
| 024 | Configuration-no of wires | 3 wire |  |
| 024 | Configuration-no of wires | 4 wire compensating loop |  |
| 024 | Configuration-no of wires | 4 wire potentiometric |  |
| 024 | Configuration-no of wires | NA |  |
| 025a | Contacts arrangement | DPDT |  |
| 025a | Contacts arrangement | SPDT |  |
| 025a | Contacts arrangement | SPST |  |
| 025a | Contacts arrangement | NA |  |
| 025b | Contacts quantity | 1 |  |
| 025b | Contacts quantity | 2 |  |
| 025b | Contacts quantity | 3 |  |
| 025b | Contacts quantity | 4 |  |
| 026 | Failsafe style | failsafe |  |
| 026 | Failsafe style | non-failsafe |  |
| 026 | Failsafe style | NA |  |
| 027 | Transient protection | external device |  |
| 027 | Transient protection | integral termn block |  |
| 027 | Transient protection | NA |  |
| 028 | Integral indicator style | analog meter,uniform div |  |
| 028 | Integral indicator style | LCD meter,4 digit |  |
| 028 | Integral indicator style | LCD meter,5 digit |  |
| 028 | Integral indicator style | LED |  |
| 028 | Integral indicator style | smart meter |  |
| 028 | Integral indicator style | NA |  |
| 029 | Signal termination type | front compression termn | END CONNECTION TYPE |
| 029 | Signal termination type | front screw terminals | END CONNECTION TYPE |
| 029 | Signal termination type | integral junction box | END CONNECTION TYPE |
| 029 | Signal termination type | removable terminal blocks | END CONNECTION TYPE |
| 029 | Signal termination type | NA | END CONNECTION TYPE |
| 030 | Cert/Approval type | BASEEFA Type N | CERTIFICATION |
| 030 | Cert/Approval type | BASEEFA/CENELEC IS | CERTIFICATION |
| 030 | Cert/Approval type | CENELEC Flameproof | CERTIFICATION |
| 030 | Cert/Approval type | CENELEC Intrinsic safe | CERTIFICATION |
| 030 | Cert/Approval type | CSA Explosion proof | CERTIFICATION |
| 030 | Cert/Approval type | CSA Intrinsic safe | CERTIFICATION |
| 030 | Cert/Approval type | CSA Non-classified | CERTIFICATION |
| 030 | Cert/Approval type | CSA Non-incendive | CERTIFICATION |
| 030 | Cert/Approval type | FM Explosion proof | CERTIFICATION |
| 030 | Cert/Approval type | FM Hazardous | CERTIFICATION |
| 030 | Cert/Approval type | FM Intrinsic safe | CERTIFICATION |
| 030 | Cert/Approval type | FM Non-incendive | CERTIFICATION |
| 030 | Cert/Approval type | SAA Explosion-proof | CERTIFICATION |
| 030 | Cert/Approval type | SAA Intrinsic safe | CERTIFICATION |
| 030 | Cert/Approval type | SAA Type N | CERTIFICATION |
| 030 | Cert/Approval type | NA | CERTIFICATION |
| 031 | Mounting type | card rack |  |
| 031 | Mounting type | connection head |  |
| 031 | Mounting type | DIN G-rail |  |
| 031 | Mounting type | DIN Top-hat rail |  |
| 031 | Mounting type | enclosure 2 in pipe horiz |  |
| 031 | Mounting type | enclosure 2 in pipe vert |  |
| 031 | Mounting type | enclosure sensor mounted |  |
| 031 | Mounting type | housing surface mount |  |
| 031 | Mounting type | relay track |  |
| 031 | Mounting type | surface mount bracket |  |
| 032 | Failure/Diagnostic action | activate alarm relay |  |
| 032 | Failure/Diagnostic action | drive output high |  |
| 032 | Failure/Diagnostic action | drive output low |  |
| 032 | Failure/Diagnostic action | switch sensors |  |
| 032 | Failure/Diagnostic action | NA |  |
| 033 | Dead band type | adjustable | DEAD BAND |
| 033 | Dead band type | NA | DEAD BAND |
| 034 | Switch time delay | adjustable |  |
| 034 | Switch time delay | NA |  |
| 035 | Temp compensation type | cold junction,external |  |
| 035 | Temp compensation type | cold junction,internal |  |
| 035 | Temp compensation type | NA |  |
| 036 | Enclosure material | 316 SST | MATERIAL |
| 036 | Enclosure material | low-copper aluminum | MATERIAL |
| 036 | Enclosure material | polycarbonate | MATERIAL |
| 036 | Enclosure material | stainless steel | MATERIAL |
| 036 | Enclosure material | thermo plastic | MATERIAL |
| 036 | Enclosure material | zinc alloy | MATERIAL |
| 036 | Enclosure material | NA | MATERIAL |
| 037 | Mounting kit material | carbon steel | MATERIAL |
| 037 | Mounting kit material | stainless steel | MATERIAL |
| 037 | Mounting kit material | NA | MATERIAL |
| 038a | Defined attribute 1 name | electrical conn adapter | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 1 data | cm20 x 1.5 | DEFINABLE ATTRIBUTE VALUE |
| 038b | Defined attribute 1 data | pg 13.5 | DEFINABLE ATTRIBUTE VALUE |
| 039a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 039b | Defined attribute 2 data | RFI/EMI protection | DEFINABLE ATTRIBUTE VALUE |
| 040a | Defined attribute 3 name | 50V/m-ABC = 0.1% FS | DEFINABLE ATTRIBUTE NAME |
| 040b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 052 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 053a | Accuracy rating | .10 | ACCURACY RATING |
| 053a | Accuracy rating | .14 | ACCURACY RATING |
| 053a | Accuracy rating | .15 | ACCURACY RATING |
| 053a | Accuracy rating | .2 | ACCURACY RATING |
| 053a | Accuracy rating | .23 | ACCURACY RATING |
| 053a | Accuracy rating | .35 | ACCURACY RATING |
| 053a | Accuracy rating | .40 | ACCURACY RATING |
| 053b | Accuracy rating ref base | % span | ACCURACY REFERENCE |
| 053b | Accuracy rating ref base | °C | ACCURACY REFERENCE |
| 053b | Accuracy rating ref base | °F | ACCURACY REFERENCE |
| 053b | Accuracy rating ref base | C | ACCURACY REFERENCE |
| 053b | Accuracy rating ref base | F | ACCURACY REFERENCE |
| 053b | Accuracy rating ref base | K | ACCURACY REFERENCE |
| 053b | Accuracy rating ref base | mV | ACCURACY REFERENCE |
| 053b | Accuracy rating ref base | Ohm | ACCURACY REFERENCE |
| 053b | Accuracy rating ref base | R | ACCURACY REFERENCE |
| 054a | Measurement LRL |  | LOWER RANGE-LIMIT |
| 054au | Measurement LRL units | °C | UNITS |
| 054au | Measurement LRL units | °F | UNITS |
| 054au | Measurement LRL units | C | UNITS |
| 054au | Measurement LRL units | F | UNITS |
| 054au | Measurement LRL units | K | UNITS |
| 054au | Measurement LRL units | mV | UNITS |
| 054au | Measurement LRL units | Ohm | UNITS |
| 054au | Measurement LRL units | R | UNITS |
| 054b | Measurement URL |  |  |
| 054bu | Meas URL units | °C | UNITS |
| 054bu | Meas URL units | °F | UNITS |
| 054bu | Meas URL units | C | UNITS |
| 054bu | Meas URL units | F | UNITS |
| 054bu | Meas URL units | mV | UNITS |
| 054bu | Meas URL units | Ohm | UNITS |
| 055a | Min ambient working temp |  | AMBIENT TEMPERATURE |
| 055au | Min amb working temp units | °C | UNITS |
| 055au | Min amb working temp units | °F | UNITS |
| 055au | Min amb working temp units | C | UNITS |
| 055au | Min amb working temp units | F | UNITS |
| 055b | Max ambient working temp |  | MAX AMBIENT TEMPERATURE |
| 055bu | Max amb temperature units | °C | UNITS |
| 055bu | Max amb temperature units | °F | UNITS |
| 055bu | Max amb temperature units | C | UNITS |
| 055bu | Max amb temperature units | F | UNITS |
| 056a | Contacts ac rating |  | DEVICE RATING |
| 056au | AC rating current units | A | UNITS |
| 056au | AC rating current units | mA | UNITS |
| 056b | AC rating max voltage |  | DEVICE RATING |
| 056bu | AC max voltage units | V | UNITS |
| 057a | Contacts dc rating |  | DEVICE RATING |
| 057au | DC rating current units | A | UNITS |
| 057au | DC rating current units | mA | UNITS |
| 057b | DC rating max voltage |  | DEVICE RATING |
| 057bu | DC max voltage units | V | UNITS |
| 058a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 058b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 059a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 059b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 060a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 060b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068 | ACCESSORIES | SECTION TITLE |  |
| 069 | Remote indicator style | analog meter,uniform div |  |
| 069 | Remote indicator style | NA |  |
| 070 | Indicator enclosure | explosion proof enclosure |  |
| 070 | Indicator enclosure | NA |  |
| 071 | Air set filter style | NA | AIR SET |
| 072 | Air set gauges | NA | AIR GAGE |
| 073a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 075 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 076 | Custom tag | fiber tag |  |
| 076 | Custom tag | sst permanent attached |  |
| 076 | Custom tag | sst wired-on |  |
| 076 | Custom tag | NA |  |
| 077 | Reference specification | NA | REFERENCE SPECIFICATION |
| 078 | Compliance standard | edison copper No 15 | NACE STANDARD |
| 078 | Compliance standard | edison curve No 7 | NACE STANDARD |
| 078 | Compliance standard | foxboro NR-226/227 | NACE STANDARD |
| 078 | Compliance standard | G.E. (IPTS-68) | NACE STANDARD |
| 078 | Compliance standard | general Electric | NACE STANDARD |
| 078 | Compliance standard | honeywell (RH) | NACE STANDARD |
| 078 | Compliance standard | honeywell Type A | NACE STANDARD |
| 078 | Compliance standard | IEC 584-1 (ITS-90) | NACE STANDARD |
| 078 | Compliance standard | IEC 751:1986 | NACE STANDARD |
| 078 | Compliance standard | IPTS 68 | NACE STANDARD |
| 078 | Compliance standard | JISC 1604-81 | NACE STANDARD |
| 078 | Compliance standard | NA | NACE STANDARD |
| 079 | Calibration report | five point |  |
| 079 | Calibration report | single point |  |
| 079 | Calibration report | NA |  |
| 080 | Software configuration | custom configuration |  |
| 080 | Software configuration | special sensor curve |  |
| 080 | Software configuration | transmitter configuration |  |
| 080 | Software configuration | NA |  |
| 081a | Defined attribute 1 name | extended warranty | DEFINABLE ATTRIBUTE NAME |
| 081b | Defined attribute 1 data | 1 year | DEFINABLE ATTRIBUTE VALUE |
| 081b | Defined attribute 1 data | 2 year | DEFINABLE ATTRIBUTE VALUE |
| 081b | Defined attribute 1 data | 3 year | DEFINABLE ATTRIBUTE VALUE |
| 081b | Defined attribute 1 data | 4 year | DEFINABLE ATTRIBUTE VALUE |
| 082a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 083b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084 | PHYSICAL DATA | SECTION TITLE |  |
| 085 | Estimated weight |  |  |
| 085u | Weight units | kg | UNITS |
| 085u | Weight units | lb | UNITS |
| 085u | Weight units | oz | UNITS |
| 086 | Overall height |  |  |
| 086u | Overall height units | in | UNITS |
| 086u | Overall height units | mm | UNITS |
| 087 | Removal clearance |  |  |
| 087u | Removal clearance units | in | UNITS |
| 087u | Removal clearance units | mm | UNITS |
| 088a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 088a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 088b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 088b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 088b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 088b | Signal conn termn style | NA | END CONNECTION TYPE |
| 089 | Mfr reference dwg | NA |  |
| 090a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 090b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 091a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Analog temperature tag 1 |  |  |
| 112b | Temp-Analog output 1 | CALIBRATION/TEST DESC |  |
| 112c | Analog temperature 1 LRV |  | LOWER RANGE-VALUE |
| 112cu | Analog temp 1 LRV units | °C | UNITS |
| 112cu | Analog temp 1 LRV units | °F | UNITS |
| 112cu | Analog temp 1 LRV units | C | UNITS |
| 112cu | Analog temp 1 LRV units | F | UNITS |
| 112cu | Analog temp 1 LRV units | K | UNITS |
| 112cu | Analog temp 1 LRV units | R | UNITS |
| 112d | Analog temperature 1 URV |  | UPPER RANGE-VALUE |
| 112du | Analog temp 1 URV units | °C | UNITS |
| 112du | Analog temp 1 URV units | °F | UNITS |
| 112du | Analog temp 1 URV units | C | UNITS |
| 112du | Analog temp 1 URV units | F | UNITS |
| 112du | Analog temp 1 URV units | K | UNITS |
| 112du | Analog temp 1 URV units | R | UNITS |
| 112e | Analog temp 1 signal action | direct |  |
| 112e | Analog temp 1 signal action | reverse |  |
| 112f | Analog temp 1 output LRV | 4 | LOWER LIMIT |
| 112f | Analog temp 1 output LRV | 10 | LOWER LIMIT |
| 112fu | Anlg temp 1 output LRV units | mA | UNITS |
| 112g | Analog temp 1 output URV | 20 | UPPER LIMIT |
| 112g | Analog temp 1 output URV | 50 | UPPER LIMIT |
| 112gu | Anlg temp 1 output URV units | mA | UNITS |
| 113a | Analog temperature tag 2 |  |  |
| 113b | Temp-Analog output 2 | CALIBRATION/TEST DESC |  |
| 113c | Analog temperature 2 LRV |  | LOWER RANGE-VALUE |
| 113cu | Analog temp 2 LRV units | °C | UNITS |
| 113cu | Analog temp 2 LRV units | °F | UNITS |
| 113cu | Analog temp 2 LRV units | C | UNITS |
| 113cu | Analog temp 2 LRV units | F | UNITS |
| 113cu | Analog temp 2 LRV units | K | UNITS |
| 113cu | Analog temp 2 LRV units | R | UNITS |
| 113d | Analog temperature 2 URV |  | UPPER RANGE-VALUE |
| 113du | Analog temp 2 URV units | °C | UNITS |
| 113du | Analog temp 2 URV units | °F | UNITS |
| 113du | Analog temp 2 URV units | C | UNITS |
| 113du | Analog temp 2 URV units | F | UNITS |
| 113du | Analog temp 2 URV units | K | UNITS |
| 113du | Analog temp 2 URV units | R | UNITS |
| 113e | Analog temp 2 signal action | direct |  |
| 113e | Analog temp 2 signal action | reverse |  |
| 113f | Analog temp 2 output LRV | 4 | LOWER LIMIT |
| 113f | Analog temp 2 output LRV | 10 | LOWER LIMIT |
| 113fu | Anlg temp 2 output LRV units | mA | UNITS |
| 113g | Analog temp 2 output URV | 20 | UPPER LIMIT |
| 113g | Analog temp 2 output URV | 50 | UPPER LIMIT |
| 113gu | Anlg temp 2 output URV units | mA | UNITS |
| 114a | Scale tag no |  |  |
| 114b | Temp-Scale | CALIBRATION/TEST DESC |  |
| 114c | Scale temperature LRV |  | LOWER RANGE-VALUE |
| 114cu | Scale temp LRV units | °C | UNITS |
| 114cu | Scale temp LRV units | °F | UNITS |
| 114cu | Scale temp LRV units | C | UNITS |
| 114cu | Scale temp LRV units | F | UNITS |
| 114cu | Scale temp LRV units | K | UNITS |
| 114cu | Scale temp LRV units | R | UNITS |
| 114d | Scale temperature URV |  | UPPER RANGE-VALUE |
| 114du | Scale temp URV units | °C | UNITS |
| 114du | Scale temp URV units | °F | UNITS |
| 114du | Scale temp URV units | C | UNITS |
| 114du | Scale temp URV units | F | UNITS |
| 114du | Scale temp URV units | K | UNITS |
| 114du | Scale temp URV units | R | UNITS |
| 114e | Scale temp signal action | direct |  |
| 114f | Scale Lower Range-Value | 0 |  |
| 114fu | Scale LRV units | % | UNITS |
| 114fu | Scale LRV units | °C | UNITS |
| 114fu | Scale LRV units | °F | UNITS |
| 114fu | Scale LRV units | C | UNITS |
| 114fu | Scale LRV units | F | UNITS |
| 114fu | Scale LRV units | K | UNITS |
| 114fu | Scale LRV units | R | UNITS |
| 114g | Scale Upper Range-Value | 100 |  |
| 114gu | Scale URV units | % | UNITS |
| 114gu | Scale URV units | °C | UNITS |
| 114gu | Scale URV units | °F | UNITS |
| 114gu | Scale URV units | C | UNITS |
| 114gu | Scale URV units | F | UNITS |
| 114gu | Scale URV units | K | UNITS |
| 114gu | Scale URV units | R | UNITS |
| 115a | Analog temp diff tag no |  |  |
| 115b | Temp diff-Digital output | CALIBRATION/TEST DESC |  |
| 115c | Temp diff LRV | 0 | LOWER RANGE-VALUE |
| 115cu | Analog temp diff LRV units | °C | UNITS |
| 115cu | Analog temp diff LRV units | °F | UNITS |
| 115cu | Temp diff LRV units | C | UNITS |
| 115cu | Analog temp diff LRV units | F | UNITS |
| 115cu | Analog temp diff LRV units | K | UNITS |
| 115cu | Analog temp diff LRV units | R | UNITS |
| 115d | Temp diff URV |  | UPPER RANGE-VALUE |
| 115du | Analog temp diff URV units | °C | UNITS |
| 115du | Analog temp diff URV units | °F | UNITS |
| 115du | Temp diff URV units | C | UNITS |
| 115du | Analog temp diff URV units | F | UNITS |
| 115du | Analog temp diff URV units | K | UNITS |
| 115du | Analog temp diff URV units | R | UNITS |
| 115e | Temp diff signal action | direct |  |
| 115e | Anlg temp diff signal action | reverse |  |
| 115f | Temp diff output LRV | 4 | LOWER LIMIT |
| 115f | Temp diff output LRV | 10 | LOWER LIMIT |
| 115fu | Temp diff output LRV units | mA | UNITS |
| 115g | Temp diff output URV | 20 | UPPER LIMIT |
| 115g | Temp diff output URV | 50 | UPPER LIMIT |
| 115gu | Temp diff output URV units | mA | UNITS |
| 116a | Digital temp tag no |  |  |
| 116b | Temp-Digital output | CALIBRATION/TEST DESC |  |
| 116c | Digital temp LRV |  | LOWER RANGE-VALUE |
| 116cu | Digital temp LRV units | °C | UNITS |
| 116cu | Digital temp LRV units | °F | UNITS |
| 116cu | Digital temp LRV units | C | UNITS |
| 116cu | Digital temp LRV units | F | UNITS |
| 116d | Digital temp URV |  | UPPER RANGE-VALUE |
| 116du | Digital temp URV units | °C | UNITS |
| 116du | Digital temp URV units | °F | UNITS |
| 116du | Digital temp URV units | C | UNITS |
| 116du | Digital temp URV units | F | UNITS |
| 116e | Digital temp signal action | direct |  |
| 116e | Digital temp signal action | reverse |  |
| 116f | Digital temp output LRV |  |  |
| 116fu | Dgtl temp output LRV units | °C | UNITS |
| 116fu | Dgtl temp output LRV units | °F | UNITS |
| 116fu | Dgtl temp output LRV units | C | UNITS |
| 116fu | Dgtl temp output LRV units | F | UNITS |
| 116g | Digital temp output URV |  |  |
| 116gu | Dgtl temp output URV units | °C | UNITS |
| 116gu | Dgtl temp output URV units | °F | UNITS |
| 116gu | Dgtl temp output URV units | C | UNITS |
| 116gu | Dgtl temp output URV units | F | UNITS |
| 117a | Terminal temp tag no |  |  |
| 117b | Termn temp-Digital output | CALIBRATION/TEST DESC |  |
| 117c | Terminal temp LRV |  | LOWER RANGE-VALUE |
| 117cu | Termn temp LRV units | °C | UNITS |
| 117cu | Termn temp LRV units | °F | UNITS |
| 117cu | Termn temp LRV units | C | UNITS |
| 117cu | Termn temp LRV units | F | UNITS |
| 117cu | Termn temp LRV units | K | UNITS |
| 117cu | Termn temp LRV units | R | UNITS |
| 117d | Terminal temp URV |  | UPPER RANGE-VALUE |
| 117du | Termn temp URV units | °C | UNITS |
| 117du | Termn temp URV units | °F | UNITS |
| 117du | Termn temp URV units | C | UNITS |
| 117du | Termn temp URV units | F | UNITS |
| 117du | Termn temp URV units | K | UNITS |
| 117du | Termn temp URV units | R | UNITS |
| 117e | Digital temp signal action | direct |  |
| 117e | Digital temp signal action | reverse |  |
| 117f | Digital temp output LRV |  |  |
| 117fu | Dgtl temp output LRV units | °C | UNITS |
| 117fu | Dgtl temp output LRV units | °F | UNITS |
| 117fu | Dgtl temp output LRV units | C | UNITS |
| 117fu | Dgtl temp output LRV units | F | UNITS |
| 117fu | Dgtl temp output LRV units | K | UNITS |
| 117fu | Dgtl temp output LRV units | R | UNITS |
| 117g | Digital temp output URV |  |  |
| 117gu | Dgtl temp output URV units | °C | UNITS |
| 117gu | Dgtl temp output URV units | °F | UNITS |
| 117gu | Dgtl temp output URV units | C | UNITS |
| 117gu | Dgtl temp output URV units | F | UNITS |
| 117gu | Dgtl temp output URV units | K | UNITS |
| 117gu | Dgtl temp output URV units | R | UNITS |
| 118a | Other tag no |  |  |
| 118b | Other cal/test descp | NA |  |
| 118c | Other cal/test LRV |  | LOWER RANGE-VALUE |
| 118cu | Other cal/test LRV units |  | UNITS |
| 118d | Other cal/test URV |  | UPPER RANGE-VALUE |
| 118du | Other cal/test URV units |  | UNITS |
| 118e | Other cal/test action | direct |  |
| 118e | Other cal/test action | reverse |  |
| 118f | Other output LRV |  |  |
| 118fu | Other output LRV units |  | UNITS |
| 118g | Other output URV |  |  |
| 118gu | Other output URV units |  | UNITS |
| 119a | Setpoint 1 tag no |  |  |
| 119b | Temp setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 119c | Setpoint 1 LRV |  |  |
| 119cu | Setpoint 1 LRV units | °C | UNITS |
| 119cu | Setpoint 1 LRV units | °F | UNITS |
| 119cu | Setpoint 1 LRV units | C | UNITS |
| 119cu | Setpoint 1 LRV units | F | UNITS |
| 119cu | Setpoint 1 LRV units | K | UNITS |
| 119cu | Setpoint 1 LRV units | R | UNITS |
| 119d | Setpoint 1 URV |  |  |
| 119du | Setpoint 1 URV units | °C | UNITS |
| 119du | Setpoint 1 URV units | °F | UNITS |
| 119du | Setpoint 1 URV units | C | UNITS |
| 119du | Setpoint 1 URV units | F | UNITS |
| 119du | Setpoint 1 URV units | K | UNITS |
| 119du | Setpoint 1 URV units | R | UNITS |
| 119e | Setpoint 1 signal action | NC |  |
| 119e | Setpoint 1 signal action | NO |  |
| 119f | Setpoint 1 output LRV | 0 |  |
| 119f | Setpoint 1 output LRV | 24 |  |
| 119f | Setpoint 1 output LRV | 120 |  |
| 119fu | Setpoint 1 output LRV units | V | UNITS |
| 119g | Setpoint 1 output URV | 0 |  |
| 119g | Setpoint 1 output URV | 24 |  |
| 119g | Setpoint 1 output URV | 120 |  |
| 119gu | Setpoint 1 output URV units | V | UNITS |
| 120a | Setpoint 2 tag no |  |  |
| 120b | Temp setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 120c | Setpoint 2 LRV |  |  |
| 120cu | Setpoint 2 LRV units | °C | UNITS |
| 120cu | Setpoint 2 LRV units | °F | UNITS |
| 120cu | Setpoint 2 LRV units | C | UNITS |
| 120cu | Setpoint 2 LRV units | F | UNITS |
| 120cu | Setpoint 2 LRV units | K | UNITS |
| 120cu | Setpoint 2 LRV units | R | UNITS |
| 120d | Setpoint 2 URV |  |  |
| 120du | Setpoint 2 URV units | °C | UNITS |
| 120du | Setpoint 2 URV units | °F | UNITS |
| 120du | Setpoint 2 URV units | C | UNITS |
| 120du | Setpoint 2 URV units | F | UNITS |
| 120du | Setpoint 2 URV units | K | UNITS |
| 120du | Setpoint 2 URV units | R | UNITS |
| 120e | Setpoint 2 signal action | NC |  |
| 120e | Setpoint 2 signal action | NO |  |
| 120f | Setpoint 2 output LRV | 0 |  |
| 120f | Setpoint 2 output LRV | 24 |  |
| 120f | Setpoint 2 output LRV | 120 |  |
| 120fu | Setpoint 2 output LRV units | V | UNITS |
| 120g | Setpoint 2 output URV | 0 |  |
| 120g | Setpoint 2 output URV | 24 |  |
| 120g | Setpoint 2 output URV | 120 |  |
| 120gu | Setpoint 2 output URV units | V | UNITS |
| 121a | Setpoint 3 tag no |  |  |
| 121b | Temp setpoint 3-Output | CALIBRATION/TEST DESC |  |
| 121c | Setpoint 3 LRV |  |  |
| 121cu | Setpoint 3 LRV units | °C | UNITS |
| 121cu | Setpoint 3 LRV units | °F | UNITS |
| 121cu | Setpoint 3 LRV units | C | UNITS |
| 121cu | Setpoint 3 LRV units | F | UNITS |
| 121cu | Setpoint 3 LRV units | K | UNITS |
| 121cu | Setpoint 3 LRV units | R | UNITS |
| 121d | Setpoint 3 URV |  |  |
| 121du | Setpoint 3 URV units | °C | UNITS |
| 121du | Setpoint 3 URV units | °F | UNITS |
| 121du | Setpoint 3 URV units | C | UNITS |
| 121du | Setpoint 3 URV units | F | UNITS |
| 121du | Setpoint 3 URV units | K | UNITS |
| 121du | Setpoint 3 URV units | R | UNITS |
| 121e | Setpoint 3 signal action | NC |  |
| 121e | Setpoint 3 signal action | NO |  |
| 121f | Setpoint 3 output LRV | 0 |  |
| 121f | Setpoint 3 output LRV | 24 |  |
| 121f | Setpoint 3 output LRV | 120 |  |
| 121fu | Setpoint 3 output LRV units | V | UNITS |
| 121g | Setpoint 3 output URV | 0 |  |
| 121g | Setpoint 3 output URV | 24 |  |
| 121gu | Setpoint 3 output URV units | V | UNITS |
| 122a | Setpoint 4 tag no |  |  |
| 122b | Temp setpoint 4-Output | CALIBRATION/TEST DESC |  |
| 122c | Setpoint 4 LRV |  |  |
| 122cu | Setpoint 4 LRV units | °C | UNITS |
| 122cu | Setpoint 4 LRV units | °F | UNITS |
| 122cu | Setpoint 4 LRV units | C | UNITS |
| 122cu | Setpoint 4 LRV units | F | UNITS |
| 122cu | Setpoint 4 LRV units | K | UNITS |
| 122cu | Setpoint 4 LRV units | R | UNITS |
| 122d | Setpoint 4 URV |  |  |
| 122du | Setpoint 4 URV units | V | UNITS |
| 122e | Setpoint 4 signal action | NC |  |
| 122e | Setpoint 4 signal action | NO |  |
| 122f | Setpoint 4 output LRV | 0 |  |
| 122f | Setpoint 4 output LRV | 24 |  |
| 122f | Setpoint 4 output LRV | 120 |  |
| 122fu | Setpoint 4 output LRV units | V | UNITS |
| 122g | Setpoint 4 output URV | 0 |  |
| 122g | Setpoint 4 output URV | 24 |  |
| 122g | Setpoint 4 output URV | 120 |  |
| 122gu | Setpoint 4 output URV units | V | UNITS |
| 123a | Attribute tag no |  |  |
| 123b | Attribute cal/test descp | NA |  |
| 123c | Attribute cal/test LRV |  |  |
| 123cu | Attr cal/test LRV units |  | UNITS |
| 123d | Attribute cal/test URV |  |  |
| 123du | Attr cal/test URV units |  | UNITS |
| 123e | Attribute cal/test action |  |  |
| 123f | Attribute output LRV |  |  |
| 123fu | Attr output LRV units |  | UNITS |
| 123g | Attribute output URV |  |  |
| 123gu | Attr output URV units |  | UNITS |
| 126 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 128a | Component type | temperature transmitter |  |
| 128b | Manufacturer |  | MANUFACTURER |
| 128c | Model number |  | MODEL NUMBER |