| Pick List 20W2221 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | OPERATING PARAMETERS | SECTION TITLE |  |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017 | Related equipment |  |  |
| 018 | Service |  |  |
| 020 | P&ID/Reference dwg number | NA |  |
| 021a | Remote hazardous area cl | I |  |
| 021a | Remote hazardous area cl | II |  |
| 021a | Remote hazardous area cl | III |  |
| 021b | Remote hazardous Div/Zone | 0 |  |
| 021b | Remote hazardous Div/Zone | 1 |  |
| 021b | Remote hazardous Div/Zone | 2 |  |
| 021c | Remote hazardous area gr | A |  |
| 021c | Remote hazardous area gr | B |  |
| 021c | Remote hazardous area gr | C |  |
| 021c | Remote hazardous area gr | D |  |
| 021c | Remote hazardous area gr | E |  |
| 021c | Remote hazardous area gr | F |  |
| 021c | Remote hazardous area gr | G |  |
| 021c | Remote hazardous area gr | H |  |
| 022a | Remote area min ign temp |  |  |
| 022au | Remote ign temp units | °C | UNITS |
| 022au | Remote ign temp units | °F | UNITS |
| 022au | Remote ign temp units | C | UNITS |
| 022au | Remote ign temp units | F | UNITS |
| 022b | Remote ign temp ident no | T1 |  |
| 022b | Remote ign temp ident no | T2 |  |
| 022b | Remote ign temp ident no | T2A |  |
| 022b | Remote ign temp ident no | T2B |  |
| 022b | Remote ign temp ident no | T2C |  |
| 022b | Remote ign temp ident no | T2D |  |
| 022b | Remote ign temp ident no | T3 |  |
| 022b | Remote ign temp ident no | T3A |  |
| 022b | Remote ign temp ident no | T3B |  |
| 022b | Remote ign temp ident no | T3C |  |
| 022b | Remote ign temp ident no | T4 |  |
| 022b | Remote ign temp ident no | T4A |  |
| 022b | Remote ign temp ident no | T5 |  |
| 022b | Remote ign temp ident no | T6 |  |
| 023a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 023b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 024a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 024b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 025 | TRANSMITTER OR INDICATOR | SECTION TITLE |  |
| 026 | Housing type | explosion proof enclosure | HOUSING |
| 026 | Housing type | panel mounting enclosure | HOUSING |
| 026 | Housing type | rack mounting enclosure | HOUSING |
| 026 | Housing type | surface mtd enclosure | HOUSING |
| 026 | Housing type | weatherproof enclosure | HOUSING |
| 027 | Interface style | 120 vessel multi-vessel |  |
| 027 | Interface style | 16 node multi-vessel |  |
| 027 | Interface style | 4 vessel multi-vessel |  |
| 027 | Interface style | single vessel |  |
| 028 | Input sensor/signal type | analog current |  |
| 028 | Input sensor/signal type | analog voltage |  |
| 028 | Input sensor/signal type | full-bridge strain gauge |  |
| 028 | Input sensor/signal type | half-bridge strain gauge |  |
| 028 | Input sensor/signal type | parallel communication |  |
| 028 | Input sensor/signal type | pulse frequency |  |
| 028 | Input sensor/signal type | serial communication |  |
| 029 | Input excitation style | 10 V (dc) |  |
| 029 | Input excitation style | 15 V (dc) |  |
| 029 | Input excitation style | 5-13 V (dc) programmable |  |
| 029 | Input excitation style | 8 V (dc) |  |
| 030 | Output signal type | 1 analog current | SIGNAL |
| 030 | Output signal type | 1 analog voltage | SIGNAL |
| 030 | Output signal type | 2 analog current | SIGNAL |
| 030 | Output signal type | 2 analog voltage | SIGNAL |
| 030 | Output signal type | analog current & digital | SIGNAL |
| 030 | Output signal type | analog current & relays | SIGNAL |
| 030 | Output signal type | analog voltage & digital | SIGNAL |
| 030 | Output signal type | digital & relays | SIGNAL |
| 030 | Output signal type | digital multi-variable | SIGNAL |
| 030 | Output signal type | digital single variable | SIGNAL |
| 030 | Output signal type | dry contact relay | SIGNAL |
| 030 | Output signal type | NA | SIGNAL |
| 030 | Output signal type | solid state relay | SIGNAL |
| 031 | Analog output resolution | 12 |  |
| 031 | Analog output resolution | 13 |  |
| 031 | Analog output resolution | 14 |  |
| 031 | Analog output resolution | 16 |  |
| 031u | Analog output resolution units | bit | UNITS |
| 032 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | 4/7/9 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP65 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP66 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP67 | ENCLOSURE TYPE NO/CLASS |
| 033 | Control mode | batching | CONTROL MODE |
| 033 | Control mode | NA | CONTROL MODE |
| 033 | Control mode | on/off | CONTROL MODE |
| 033 | Control mode | programmable | CONTROL MODE |
| 033 | Control mode | recipe handling | CONTROL MODE |
| 034 | Local operator interface | built-in keypad |  |
| 034 | Local operator interface | membrane keypad |  |
| 034 | Local operator interface | NA |  |
| 034 | Local operator interface | PC connected opto-link |  |
| 034 | Local operator interface | push-buttons |  |
| 034 | Local operator interface | software buttons |  |
| 035 | Characteristic curve | linear weight change/time | CHARACTERISTIC CURVE |
| 035 | Characteristic curve | linear with weight | CHARACTERISTIC CURVE |
| 035 | Characteristic curve | manufacturer standard | CHARACTERISTIC CURVE |
| 036 | Digital communication std | Allen-Bradley remote I/O |  |
| 036 | Digital communication std | BLH digi-system network |  |
| 036 | Digital communication std | DeviceNet |  |
| 036 | Digital communication std | FOUNDATION Fieldbus |  |
| 036 | Digital communication std | GE series 90 |  |
| 036 | Digital communication std | Honeywell TDC 3000 |  |
| 036 | Digital communication std | MODBUS Plus |  |
| 036 | Digital communication std | MODBUS RTU |  |
| 036 | Digital communication std | NA |  |
| 036 | Digital communication std | P-NET fieldbus |  |
| 036 | Digital communication std | PROFIBUS-DP |  |
| 036 | Digital communication std | PROFIBUS-PA |  |
| 036 | Digital communication std | Provox |  |
| 036 | Digital communication std | RS232C binary/ ASCII |  |
| 036 | Digital communication std | RS422/RS485 binary ASCII |  |
| 036 | Digital communication std | RS485 digi-system enabled |  |
| 036 | Digital communication std | RS485 half duplex ASCII |  |
| 036 | Digital communication std | RS485 simplex ASCII |  |
| 037 | Signal power source | 100 V (ac) 50/60 Hz |  |
| 037 | Signal power source | 10-30 V (dc) |  |
| 037 | Signal power source | 115 V (ac) 50/60 Hz |  |
| 037 | Signal power source | 120 V (ac) 50/60 Hz |  |
| 037 | Signal power source | 220 V (ac) 50/60 Hz |  |
| 037 | Signal power source | 230 V (ac) 50/60 Hz |  |
| 037 | Signal power source | 24 V (dc) |  |
| 037 | Signal power source | 85-240 V (ac) 50/60 Hz |  |
| 037 | Signal power source | battery |  |
| 038 | Aux input signal type | 1 discrete input |  |
| 038 | Aux input signal type | 4 discrete inputs |  |
| 038 | Aux input signal type | 6 discrete inputs |  |
| 038 | Aux input signal type | 8 discrete inputs |  |
| 038 | Aux input signal type | NA |  |
| 039 | Max qty sensor/xdcr/xmtr | 1 |  |
| 039 | Max qty sensor/xdcr/xmtr | 12 |  |
| 039 | Max qty sensor/xdcr/xmtr | 16 |  |
| 039 | Max qty sensor/xdcr/xmtr | 4 |  |
| 039 | Max qty sensor/xdcr/xmtr | 6 |  |
| 039 | Max qty sensor/xdcr/xmtr | 8 |  |
| 040 | Signal summing circuit | integral |  |
| 040 | Signal summing circuit | NA |  |
| 040 | Signal summing circuit | remote |  |
| 041a | Contacts arrangement | NA |  |
| 041a | Contacts arrangement | SPDT |  |
| 041a | Contacts arrangement | SPST |  |
| 041b | Contacts quantity | 0 |  |
| 041b | Contacts quantity | 1 |  |
| 041b | Contacts quantity | 2 |  |
| 041b | Contacts quantity | 3 |  |
| 041b | Contacts quantity | 4 |  |
| 041b | Contacts quantity | 5 |  |
| 041b | Contacts quantity | 6 |  |
| 041b | Contacts quantity | 8 |  |
| 042 | Integral indicator style | 1 line 16 character LCD |  |
| 042 | Integral indicator style | 2 line 16 character LCD |  |
| 042 | Integral indicator style | 2 line 20 character LCD |  |
| 042 | Integral indicator style | 2 line 20 character VFD |  |
| 042 | Integral indicator style | 2 line 40 character LCD |  |
| 042 | Integral indicator style | 6 digit LED |  |
| 042 | Integral indicator style | bargraph |  |
| 042 | Integral indicator style | LED lights |  |
| 042 | Integral indicator style | NA |  |
| 043 | Display resolution | 10000 counts |  |
| 043 | Display resolution | 100000 counts |  |
| 043 | Display resolution | 100000000 counts |  |
| 043 | Display resolution | 120000 counts |  |
| 043 | Display resolution | 20000 counts |  |
| 043 | Display resolution | 200000 counts |  |
| 043 | Display resolution | 300000000 counts |  |
| 043 | Display resolution | 50000 counts |  |
| 043 | Display resolution | 700000 counts |  |
| 044 | Cert/Approval type | CE marked | CERTIFICATION |
| 044 | Cert/Approval type | CENELEC intrinsic safe | CERTIFICATION |
| 044 | Cert/Approval type | CSA hazardous | CERTIFICATION |
| 044 | Cert/Approval type | CSA intrinsic safe | CERTIFICATION |
| 044 | Cert/Approval type | FM general purpose | CERTIFICATION |
| 044 | Cert/Approval type | FM hazardous | CERTIFICATION |
| 044 | Cert/Approval type | FM intrinsic safe | CERTIFICATION |
| 044 | Cert/Approval type | UL general purpose | CERTIFICATION |
| 045 | Mounting location/type | 19 inch rack | MOUNTING POSITION |
| 045 | Mounting location/type | 2 in/DN50 pipe mount | MOUNTING POSITION |
| 045 | Mounting location/type | bracket mount | MOUNTING POSITION |
| 045 | Mounting location/type | desktop | MOUNTING POSITION |
| 045 | Mounting location/type | DIN rail mount | MOUNTING POSITION |
| 045 | Mounting location/type | panel mount | MOUNTING POSITION |
| 045 | Mounting location/type | surface mount | MOUNTING POSITION |
| 046 | Failure/Diagnostic action | activate alarm relay |  |
| 046 | Failure/Diagnostic action | alarm display |  |
| 046 | Failure/Diagnostic action | drive output high |  |
| 046 | Failure/Diagnostic action | drive output low |  |
| 046 | Failure/Diagnostic action | NA |  |
| 047 | Transducer diagnostics | NA |  |
| 047 | Transducer diagnostics | off-line checking |  |
| 047 | Transducer diagnostics | on-line checking |  |
| 048 | Signal filtration | dynamic digital filter |  |
| 048 | Signal filtration | NA |  |
| 049 | Transducer calibration | digitized |  |
| 049 | Transducer calibration | individually digitized |  |
| 049 | Transducer calibration | NA |  |
| 050 | Enclosure material | ABS | MATERIAL |
| 050 | Enclosure material | anodized aluminum | MATERIAL |
| 050 | Enclosure material | coated carbon steel | MATERIAL |
| 050 | Enclosure material | epoxy coated aluminum | MATERIAL |
| 050 | Enclosure material | FRP | MATERIAL |
| 050 | Enclosure material | polycarbonate | MATERIAL |
| 050 | Enclosure material | stainless steel | MATERIAL |
| 051a | Defined attribute 1 name | Internal modem | DEFINABLE ATTRIBUTE NAME |
| 051a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 051b | Defined attribute 1 data | 2400 baud Bell 212/103 | DEFINABLE ATTRIBUTE VALUE |
| 051b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 052a | Defined attribute 2 name | Data link converter | DEFINABLE ATTRIBUTE NAME |
| 052a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 052b | Defined attribute 2 data | fiber optic | DEFINABLE ATTRIBUTE VALUE |
| 052b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 053 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 054a | Linearity | 0.0015 |  |
| 054a | Linearity | 0.003 |  |
| 054a | Linearity | 0.01 |  |
| 054a | Linearity | 0.1 |  |
| 054b | Linearity rating ref base | % full scale |  |
| 054b | Linearity rating ref base | % reading |  |
| 054b | Linearity rating ref base | % span |  |
| 055a | Repeatability | 0.3 |  |
| 055b | Repeatability ref base | pV/count |  |
| 055b | Repeatability ref base | uV/count |  |
| 056 | Max input signal | 25 |  |
| 056 | Max input signal | 3 |  |
| 056 | Max input signal | 3.5 |  |
| 056 | Max input signal | 35 |  |
| 056 | Max input signal | 70 |  |
| 056u | Max input signal units | mV | UNITS |
| 056u | Max input signal units | mV/V | UNITS |
| 057 | Max resolution | 100000 |  |
| 057 | Max resolution | 1000000 |  |
| 057 | Max resolution | 1048000 |  |
| 057 | Max resolution | 1048576 |  |
| 057 | Max resolution | 20000 |  |
| 057 | Max resolution | 2097152 |  |
| 057 | Max resolution | 31400 |  |
| 057 | Max resolution | 4194304 |  |
| 057 | Max resolution | 50000 |  |
| 057 | Max resolution | 60000 |  |
| 057 | Max resolution | 65536 |  |
| 057 | Max resolution | 750000 |  |
| 057 | Max resolution | 8300 |  |
| 057u | Resolution units | count | UNITS |
| 058a | Sensitivity | 0.05 |  |
| 058a | Sensitivity | 0.5 |  |
| 058a | Sensitivity | 1.0 |  |
| 058a | Sensitivity | 2 |  |
| 058b | Sensitivity ref base | mV | UNITS |
| 058b | Sensitivity ref base | uV/count | UNITS |
| 059 | Max response time |  |  |
| 059 | Max response time | 100 |  |
| 059 | Max response time | 125 |  |
| 059 | Max response time | 1535 |  |
| 059 | Max response time | 17 |  |
| 059 | Max response time | 19 |  |
| 059 | Max response time | 200 |  |
| 059 | Max response time | 25 |  |
| 059 | Max response time | 250 |  |
| 059 | Max response time | 33 |  |
| 059 | Max response time | 376 |  |
| 059 | Max response time | 400 |  |
| 059 | Max response time | 50 |  |
| 059 | Max response time | 512 |  |
| 059 | Max response time | 76 |  |
| 059 | Max response time | 8.5 |  |
| 059u | Response time units | ms | UNITS |
| 060a | Min ambient working temp | -10 | AMBIENT TEMPERATURE |
| 060au | Min amb temperature units | °C | UNITS |
| 060au | Min amb temperature units | °F | UNITS |
| 060au | Min amb temperature units | C | UNITS |
| 060au | Min amb temperature units | F | UNITS |
| 060b | Max ambient working temp | 55 | MAX AMBIENT TEMPERATURE |
| 060bu | Max amb temperature units | °C | UNITS |
| 060bu | Max amb temperature units | °F | UNITS |
| 060bu | Max amb temperature units | C | UNITS |
| 060bu | Max amb temperature units | F | UNITS |
| 061a | Contacts ac rating | 0.4 | DEVICE RATING |
| 061a | Contacts ac rating | 1 | DEVICE RATING |
| 061a | Contacts ac rating | 10 | DEVICE RATING |
| 061a | Contacts ac rating | 2 | DEVICE RATING |
| 061a | Contacts ac rating | 5 | DEVICE RATING |
| 061a | Contacts ac rating | 8 | DEVICE RATING |
| 061au | AC rating current units | A | UNITS |
| 061b | AC rating max voltage | 110 | DEVICE RATING |
| 061b | AC rating max voltage | 220 | DEVICE RATING |
| 061b | AC rating max voltage | 230 | DEVICE RATING |
| 061b | AC rating max voltage | 240 | DEVICE RATING |
| 061b | AC rating max voltage | 250 | DEVICE RATING |
| 061b | AC rating max voltage | 28 | DEVICE RATING |
| 061b | AC rating max voltage | 30 | DEVICE RATING |
| 061bu | AC max voltage units | V | UNITS |
| 062a | Contacts dc rating | 0.4 | DEVICE RATING |
| 062a | Contacts dc rating | 1 | DEVICE RATING |
| 062a | Contacts dc rating | 5 | DEVICE RATING |
| 062au | DC rating units | A | UNITS |
| 062au | DC rating units | mA | UNITS |
| 062au | DC rating units | W | UNITS |
| 062b | DC rating max voltage | 24 | DEVICE RATING |
| 062b | DC rating max voltage | 28 | DEVICE RATING |
| 062bu | DC max voltage units | V | UNITS |
| 063 | Max sensor to receiver lg |  |  |
| 063u | Max sensor to receiver lg units | ft | UNITS |
| 063u | Max sensor to receiver lg units | m | UNITS |
| 064a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 064b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 065a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 066b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 068 | ACCESSORIES | SECTION TITLE |  |
| 069 | Remote indicator style | 2 line 20 character VFD |  |
| 069 | Remote indicator style | NA |  |
| 070 | Remote indicator mounting | NA |  |
| 070 | Remote indicator mounting | panel mount |  |
| 071 | Remote indicator enclosure | NEMA 12 aluminum |  |
| 071 | Remote indicator enclosure | NEMA 4/4X aluminum |  |
| 072 | Calibrator style | NA |  |
| 073a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 073a | Defined attribute 1 name | Signal conn hardware | DEFINABLE ATTRIBUTE NAME |
| 073b | Defined attribute 1 data | cable fitting kit | DEFINABLE ATTRIBUTE VALUE |
| 073b | Defined attribute 1 data | conduit fitting kit | DEFINABLE ATTRIBUTE VALUE |
| 073b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074a | Defined attribute 2 name | Enclosure purge controls | DEFINABLE ATTRIBUTE NAME |
| 074a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 074b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 074b | Defined attribute 2 data | Y type | DEFINABLE ATTRIBUTE VALUE |
| 075a | Defined attribute 3 name | Input/Output barriers | DEFINABLE ATTRIBUTE NAME |
| 075a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 075b | Defined attribute 3 data | intrinsically safe | DEFINABLE ATTRIBUTE VALUE |
| 075b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 076 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 077 | Custom tag | fiber tag |  |
| 077 | Custom tag | NA |  |
| 077 | Custom tag | sst permanent attached |  |
| 077 | Custom tag | sst wired-on |  |
| 078 | Reference specification | NA | REFERENCE SPECIFICATION |
| 079 | Compliance standard | EN 5501/EN55011 | NACE STANDARD |
| 079 | Compliance standard | IEC 801-2,801-3,801-4 | NACE STANDARD |
| 079 | Compliance standard | NA | NACE STANDARD |
| 080 | Software configuration | manufacturer standard |  |
| 080 | Software configuration | NA |  |
| 081 | Software program | calibration and setup |  |
| 081 | Software program | diagnostics |  |
| 081 | Software program | dynamic digital filtering |  |
| 081 | Software program | NA |  |
| 082a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 082b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 083a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 083b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 084a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 084b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 085 | PHYSICAL DATA | SECTION TITLE |  |
| 086 | Estimated weight |  |  |
| 086u | Weight units | kg | UNITS |
| 086u | Weight units | lb | UNITS |
| 087 | Overall width |  |  |
| 087u | Overall width units | in | UNITS |
| 087u | Overall width units | mm | UNITS |
| 088 | Overall height |  |  |
| 088u | Overall height units | in | UNITS |
| 088u | Overall height units | mm | UNITS |
| 089 | Overall depth |  |  |
| 089u | Overall depth units | in | UNITS |
| 089u | Overall depth units | mm | UNITS |
| 090a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 090a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 090a | Signal conn nominal size | NA | NOMINAL SIZE |
| 090b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 090b | Signal conn termn style | gland | END CONNECTION TYPE |
| 090b | Signal conn termn style | NA | END CONNECTION TYPE |
| 090b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 090b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 091 | Mfr reference dwg | NA |  |
| 092a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 093b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 094a | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 094b | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Weight tag 1 |  |  |
| 112b | Weight-Analog output 1 | CALIBRATION/TEST DESC |  |
| 112c | Weight 1 LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Weight 1 LRV units | gm | UNITS |
| 112cu | Weight 1 LRV units | kg | UNITS |
| 112cu | Weight 1 LRV units | lb | UNITS |
| 112cu | Weight 1 LRV units | oz | UNITS |
| 112d | Weight 1 URV |  | UPPER RANGE-VALUE |
| 112du | Weight 1 URV units | gm | UNITS |
| 112du | Weight 1 URV units | kg | UNITS |
| 112du | Weight 1 URV units | lb | UNITS |
| 112du | Weight 1 URV units | oz | UNITS |
| 112e | Weight 1 signal action | direct |  |
| 112e | Weight 1 signal action | reverse |  |
| 112f | Weight 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112f | Weight 1 output LRV | 10 | LOWER RANGE-VALUE |
| 112f | Weight 1 output LRV | 2 | LOWER RANGE-VALUE |
| 112f | Weight 1 output LRV | 4 | LOWER RANGE-VALUE |
| 112fu | Weight 1 output LRV units | mA | UNITS |
| 112fu | Weight 1 output LRV units | V | UNITS |
| 112g | Weight 1 output URV | 10 | UPPER RANGE-VALUE |
| 112g | Weight 1 output URV | 20 | UPPER RANGE-VALUE |
| 112g | Weight 1 output URV | 50 | UPPER RANGE-VALUE |
| 112gu | Weight 1 output URV units | mA | UNITS |
| 112gu | Weight 1 output URV units | V | UNITS |
| 113a | Weight tag 2 |  |  |
| 113b | Weight-Analog output 2 | CALIBRATION/TEST DESC |  |
| 113c | Weight 2 LRV | 0 | LOWER RANGE-VALUE |
| 113cu | Weight 2 LRV units | gm | UNITS |
| 113cu | Weight 2 LRV units | kg | UNITS |
| 113cu | Weight 2 LRV units | lb | UNITS |
| 113cu | Weight 2 LRV units | oz | UNITS |
| 113d | Weight 2 URV |  | UPPER RANGE-VALUE |
| 113du | Weight 2 URV units | gm | UNITS |
| 113du | Weight 2 URV units | kg | UNITS |
| 113du | Weight 2 URV units | lb | UNITS |
| 113du | Weight 2 URV units | oz | UNITS |
| 113e | Weight 2 signal action | direct |  |
| 113e | Weight 2 signal action | reverse |  |
| 113f | Weight 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113f | Weight 2 output LRV | 10 | LOWER RANGE-VALUE |
| 113f | Weight 2 output LRV | 4 | LOWER RANGE-VALUE |
| 113fu | Weight 2 output LRV units | % | UNITS |
| 113fu | Weight 2 output LRV units | mA | UNITS |
| 113fu | Weight 2 output LRV units | V | UNITS |
| 113g | Weight 2 output URV | 10 | UPPER RANGE-VALUE |
| 113g | Weight 2 output URV | 20 | UPPER RANGE-VALUE |
| 113g | Weight 2 output URV | 50 | UPPER RANGE-VALUE |
| 113gu | Weight 2 output URV units | % | UNITS |
| 113gu | Weight 2 output URV units | mA | UNITS |
| 113gu | Weight 2 output URV units | V | UNITS |
| 114a | Digital tag |  |  |
| 114b | Weight-Digital output | CALIBRATION/TEST DESC |  |
| 114c | Weight LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Weight LRV units | gm | UNITS |
| 114cu | Weight LRV units | kg | UNITS |
| 114cu | Weight LRV units | lb | UNITS |
| 114cu | Weight LRV units | oz | UNITS |
| 114d | Weight URV |  | UPPER RANGE-VALUE |
| 114du | Weight URV units |  | UNITS |
| 114du | Weight URV units | gm | UNITS |
| 114du | Weight URV units | kg | UNITS |
| 114du | Weight URV units | lb | UNITS |
| 114du | Weight URV units | oz | UNITS |
| 114e | Weight signal action | direct |  |
| 114e | Weight signal action | reverse |  |
| 114f | Weight output LRV |  | LOWER RANGE-VALUE |
| 114fu | Weight output LRV units | gm | UNITS |
| 114fu | Weight output LRV units | kg | UNITS |
| 114fu | Weight output LRV units | lb | UNITS |
| 114fu | Weight output LRV units | oz | UNITS |
| 114g | Weight output URV |  | UPPER RANGE-VALUE |
| 114gu | Weight output URV units |  | UNITS |
| 114gu | Weight output URV units | gm | UNITS |
| 114gu | Weight output URV units | kg | UNITS |
| 114gu | Weight output URV units | lb | UNITS |
| 114gu | Weight output URV units | oz | UNITS |
| 115a | Weight scale 1 tag |  |  |
| 115b | Weight-Scale 1 | CALIBRATION/TEST DESC |  |
| 115c | Weight 1 LRV | 0 | LOWER RANGE-VALUE |
| 115cu | Weight 1 LRV units | gm | UNITS |
| 115cu | Weight 1 LRV units | kg | UNITS |
| 115cu | Weight 1 LRV units | lb | UNITS |
| 115cu | Weight 1 LRV units | oz | UNITS |
| 115d | Weight 1 URV |  | UPPER RANGE-VALUE |
| 115du | Weight 1 URV units | gm | UNITS |
| 115du | Weight 1 URV units | kg | UNITS |
| 115du | Weight 1 URV units | lb | UNITS |
| 115du | Weight 1 URV units | oz | UNITS |
| 115e | Weight 1 signal action | direct |  |
| 115e | Weight 1 signal action | reverse |  |
| 115f | Weight 1 scale LRV |  | LOWER RANGE-VALUE |
| 115fu | Weight 1 scale LRV units | gm | UNITS |
| 115fu | Weight 1 scale LRV units | kg | UNITS |
| 115fu | Weight 1 scale LRV units | lb | UNITS |
| 115fu | Weight 1 scale LRV units | oz | UNITS |
| 115g | Weight 1 scale URV |  | UPPER RANGE-VALUE |
| 115gu | Weight 1 scale URV units | gm | UNITS |
| 115gu | Weight 1 scale URV units | kg | UNITS |
| 115gu | Weight 1 scale URV units | lb | UNITS |
| 115gu | Weight 1 scale URV units | oz | UNITS |
| 116a | Weight scale 2 tag |  |  |
| 116b | Weight-Scale 2 | CALIBRATION/TEST DESC |  |
| 116c | Weight 2 LRV | 0 | LOWER RANGE-VALUE |
| 116cu | Weight 2 LRV units | gm | UNITS |
| 116cu | Weight 2 LRV units | kg | UNITS |
| 116cu | Weight 2 LRV units | lb | UNITS |
| 116cu | Weight 2 LRV units | oz | UNITS |
| 116d | Weight 2 URV |  | UPPER RANGE-VALUE |
| 116du | Weight 2 URV units | gm | UNITS |
| 116du | Weight 2 URV units | kg | UNITS |
| 116du | Weight 2 URV units | lb | UNITS |
| 116du | Weight 2 URV units | oz | UNITS |
| 116e | Weight 2 signal action | direct |  |
| 116e | Weight 2 signal action | reverse |  |
| 116f | Weight 2 scale LRV |  | LOWER RANGE-VALUE |
| 116fu | Weight 2 scale LRV units | gm | UNITS |
| 116fu | Weight 2 scale LRV units | kg | UNITS |
| 116fu | Weight 2 scale LRV units | lb | UNITS |
| 116fu | Weight 2 scale LRV units | oz | UNITS |
| 116g | Weight 2 scale URV |  | UPPER RANGE-VALUE |
| 116gu | Weight 2 scale URV units | gm | UNITS |
| 116gu | Weight 2 scale URV units | kg | UNITS |
| 116gu | Weight 2 scale URV units | lb | UNITS |
| 116gu | Weight 2 scale URV units | oz | UNITS |
| 117a | Weight setpoint 1 tag no |  |  |
| 117b | Weight setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 117c | Setpoint 1 LRV | 0 | LOWER RANGE-VALUE |
| 117cu | Setpoint 1 LRV units | gm | UNITS |
| 117cu | Setpoint 1 LRV units | kg | UNITS |
| 117cu | Setpoint 1 LRV units | lb | UNITS |
| 117cu | Setpoint 1 LRV units | oz | UNITS |
| 117d | Setpoint 1 URV |  | UPPER RANGE-VALUE |
| 117du | Setpoint 1 URV units | gm | UNITS |
| 117du | Setpoint 1 URV units | kg | UNITS |
| 117du | Setpoint 1 URV units | lb | UNITS |
| 117du | Setpoint 1 URV units | oz | UNITS |
| 117e | Setpoint 1 signal action | NC |  |
| 117e | Setpoint 1 signal action | NO |  |
| 117f | Setpoint 1 output LRV | 0 | LOWER RANGE-VALUE |
| 117fu | Setpoint 1 output LRV units | V | UNITS |
| 117g | Setpoint 1 output URV | 120 | UPPER RANGE-VALUE |
| 117g | Setpoint 1 output URV | 24 | UPPER RANGE-VALUE |
| 117gu | Setpoint 1 output URV units | V | UNITS |
| 118a | Weight setpoint 2 tag no |  |  |
| 118b | Weight setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 118c | Setpoint 2 LRV | 0 | LOWER RANGE-VALUE |
| 118cu | Setpoint 2 LRV units | gm | UNITS |
| 118cu | Setpoint 2 LRV units | kg | UNITS |
| 118cu | Setpoint 2 LRV units | lb | UNITS |
| 118cu | Setpoint 2 LRV units | oz | UNITS |
| 118d | Setpoint 2 URV |  | UPPER RANGE-VALUE |
| 118du | Setpoint 2 URV units | gm | UNITS |
| 118du | Setpoint 2 URV units | kg | UNITS |
| 118du | Setpoint 2 URV units | lb | UNITS |
| 118du | Setpoint 2 URV units | oz | UNITS |
| 118e | Setpoint 2 signal action | NC |  |
| 118e | Setpoint 2 signal action | NO |  |
| 118f | Setpoint 2 output LRV | 0 | LOWER RANGE-VALUE |
| 118fu | Setpoint 2 output LRV units | V | UNITS |
| 118g | Setpoint 2 output URV | 120 | UPPER RANGE-VALUE |
| 118g | Setpoint 2 output URV | 24 | UPPER RANGE-VALUE |
| 118gu | Setpoint 2 output URV units | V | UNITS |
| 119a | Weight setpoint 3 tag no |  |  |
| 119b | Weight setpoint 3-Output | CALIBRATION/TEST DESC |  |
| 119c | Setpoint 3 LRV | 0 | LOWER RANGE-VALUE |
| 119cu | Setpoint 3 LRV units | gm | UNITS |
| 119cu | Setpoint 3 LRV units | kg | UNITS |
| 119cu | Setpoint 3 LRV units | lb | UNITS |
| 119cu | Setpoint 3 LRV units | oz | UNITS |
| 119d | Setpoint 3 URV |  | UPPER RANGE-VALUE |
| 119du | Setpoint 3 URV units | gm | UNITS |
| 119du | Setpoint 3 URV units | kg | UNITS |
| 119du | Setpoint 3 URV units | lb | UNITS |
| 119du | Setpoint 3 URV units | oz | UNITS |
| 119e | Setpoint 3 signal action | NC |  |
| 119e | Setpoint 3 signal action | NO |  |
| 119f | Setpoint 3 output LRV | 0 | LOWER RANGE-VALUE |
| 119fu | Setpoint 3 output LRV units | V | UNITS |
| 119g | Setpoint 3 output URV | 120 | UPPER RANGE-VALUE |
| 119g | Setpoint 3 output URV | 24 | UPPER RANGE-VALUE |
| 119gu | Setpoint 3 output URV units | V | UNITS |
| 120a | Weight setpoint 4 tag no |  |  |
| 120b | Weight setpoint 4-Output | CALIBRATION/TEST DESC |  |
| 120c | Setpoint 4 LRV | 0 | LOWER RANGE-VALUE |
| 120cu | Setpoint 4 LRV units | gm | UNITS |
| 120cu | Setpoint 4 LRV units | kg | UNITS |
| 120cu | Setpoint 4 LRV units | lb | UNITS |
| 120cu | Setpoint 4 LRV units | oz | UNITS |
| 120d | Setpoint 4 URV | 0 | UPPER RANGE-VALUE |
| 120du | Setpoint 4 URV units | gm | UNITS |
| 120du | Setpoint 4 URV units | kg | UNITS |
| 120du | Setpoint 4 URV units | lb | UNITS |
| 120du | Setpoint 4 URV units | oz | UNITS |
| 120e | Setpoint 4 signal action | NC |  |
| 120e | Setpoint 4 signal action | NO |  |
| 120f | Setpoint 4 output LRV | 0 | LOWER RANGE-VALUE |
| 120fu | Setpoint 4 output LRV units | V | UNITS |
| 120g | Setpoint 4 output URV | 120 | UPPER RANGE-VALUE |
| 120g | Setpoint 4 output URV | 24 | UPPER RANGE-VALUE |
| 120gu | Setpoint 4 output URV units | V | UNITS |
| 121a | Weight setpoint 5 tag no |  |  |
| 121b | Weight setpoint 5-Output | CALIBRATION/TEST DESC |  |
| 121c | Setpoint 5 LRV | 0 | LOWER RANGE-VALUE |
| 121cu | Setpoint 5 LRV units | gm | UNITS |
| 121cu | Setpoint 5 LRV units | kg | UNITS |
| 121cu | Setpoint 5 LRV units | lb | UNITS |
| 121cu | Setpoint 5 LRV units | oz | UNITS |
| 121d | Setpoint 5 URV |  | UPPER RANGE-VALUE |
| 121du | Setpoint 5 URV units | gm | UNITS |
| 121du | Setpoint 5 URV units | kg | UNITS |
| 121du | Setpoint 5 URV units | lb | UNITS |
| 121du | Setpoint 5 URV units | oz | UNITS |
| 121e | Setpoint 5 signal action | NC |  |
| 121e | Setpoint 5 signal action | NO |  |
| 121f | Setpoint 5 output LRV | 0 | LOWER RANGE-VALUE |
| 121fu | Setpoint 5 output LRV units | V | UNITS |
| 121g | Setpoint 5 output URV | 120 | UPPER RANGE-VALUE |
| 121g | Setpoint 5 output URV | 24 | UPPER RANGE-VALUE |
| 121gu | Setpoint 5 output URV units | V | UNITS |
| 122a | Weight setpoint 6 tag no |  |  |
| 122b | Weight setpoint 6-Output | CALIBRATION/TEST DESC |  |
| 122c | Setpoint 6 LRV | 0 | LOWER RANGE-VALUE |
| 122cu | Setpoint 6 LRV units | gm | UNITS |
| 122cu | Setpoint 6 LRV units | kg | UNITS |
| 122cu | Setpoint 6 LRV units | lb | UNITS |
| 122cu | Setpoint 6 LRV units | oz | UNITS |
| 122d | Setpoint 6 URV |  | UPPER RANGE-VALUE |
| 122du | Setpoint 6 URV units | gm | UNITS |
| 122du | Setpoint 6 URV units | kg | UNITS |
| 122du | Setpoint 6 URV units | lb | UNITS |
| 122du | Setpoint 6 URV units | oz | UNITS |
| 122e | Setpoint 6 signal action | NC |  |
| 122e | Setpoint 6 signal action | NO |  |
| 122f | Setpoint 6 output LRV | 0 | LOWER RANGE-VALUE |
| 122fu | Setpoint 6 output LRV units | V | UNITS |
| 122g | Setpoint 6 output URV | 120 | UPPER RANGE-VALUE |
| 122g | Setpoint 6 output URV | 24 | UPPER RANGE-VALUE |
| 122gu | Setpoint 6 output URV units | V | UNITS |
| 123a | Weight setpoint 7 tag no |  |  |
| 123b | Weight setpoint 7-Output | CALIBRATION/TEST DESC |  |
| 123c | Setpoint 7 LRV | 0 | LOWER RANGE-VALUE |
| 123cu | Setpoint 7 LRV units | gm | UNITS |
| 123cu | Setpoint 7 LRV units | kg | UNITS |
| 123cu | Setpoint 7 LRV units | lb | UNITS |
| 123cu | Setpoint 7 LRV units | oz | UNITS |
| 123d | Setpoint 7 URV |  | UPPER RANGE-VALUE |
| 123du | Setpoint 7 URV units | gm | UNITS |
| 123du | Setpoint 7 URV units | kg | UNITS |
| 123du | Setpoint 7 URV units | lb | UNITS |
| 123du | Setpoint 7 URV units | oz | UNITS |
| 123e | Setpoint 7 signal action | NC |  |
| 123e | Setpoint 7 signal action | NO |  |
| 123f | Setpoint 7 output LRV | 0 | LOWER RANGE-VALUE |
| 123fu | Setpoint 7 output LRV units | V | UNITS |
| 123g | Setpoint 7 output URV | 120 | UPPER RANGE-VALUE |
| 123g | Setpoint 7 output URV | 24 | UPPER RANGE-VALUE |
| 123gu | Setpoint 7 output URV units | V | UNITS |
| 124a | Weight setpoint 8 tag no |  |  |
| 124b | Weight setpoint 8-Output | CALIBRATION/TEST DESC |  |
| 124c | Setpoint 8 LRV | 0 | LOWER RANGE-VALUE |
| 124cu | Setpoint 8 LRV units | gm | UNITS |
| 124cu | Setpoint 8 LRV units | kg | UNITS |
| 124cu | Setpoint 8 LRV units | lb | UNITS |
| 124cu | Setpoint 8 LRV units | oz | UNITS |
| 124d | Setpoint 8 URV |  | UPPER RANGE-VALUE |
| 124du | Setpoint 8 URV units | gm | UNITS |
| 124du | Setpoint 8 URV units | kg | UNITS |
| 124du | Setpoint 8 URV units | lb | UNITS |
| 124du | Setpoint 8 URV units | oz | UNITS |
| 124e | Setpoint 8 signal action | NC |  |
| 124e | Setpoint 8 signal action | NO |  |
| 124f | Setpoint 8 output LRV | 0 | LOWER RANGE-VALUE |
| 124fu | Setpoint 8 output LRV units | V | UNITS |
| 124g | Setpoint 8 output URV | 120 | UPPER RANGE-VALUE |
| 124g | Setpoint 8 output URV | 24 | UPPER RANGE-VALUE |
| 124gu | Setpoint 8 output URV units | V | UNITS |
| 125a | Failure tag no |  |  |
| 125b | Failure signal-Output | CALIBRATION/TEST DESC |  |
| 125e | Failure action | direct |  |
| 125e | Failure action | NC |  |
| 125e | Failure action | NO |  |
| 125e | Failure action | reverse |  |
| 125f | Failure output LRV | 0 | LOWER RANGE-VALUE |
| 125fu | Failure output LRV units | mA | UNITS |
| 125fu | Failure output LRV units | V | UNITS |
| 125g | Failure output URV | 120 | UPPER RANGE-VALUE |
| 125g | Failure output URV | 24 | UPPER RANGE-VALUE |
| 125gu | Failure output URV units | mA | UNITS |
| 125gu | Failure output URV units | V | UNITS |
| 126a | Attribute tag no |  |  |
| 126b | Attribute cal/test descp | % rejection-Output |  |
| 126c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 126cu | Attr cal/test LRV units |  | UNITS |
| 126d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 126du | Attr cal/test URV units |  | UNITS |
| 126e | Attribute cal/test action | direct |  |
| 126e | Attribute cal/test action | NA |  |
| 126e | Attribute cal/test action | NC |  |
| 126e | Attribute cal/test action | NO |  |
| 126e | Attribute cal/test action | reverse |  |
| 126f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 126fu | Attr output LRV units |  | UNITS |
| 126g | Attribute output URV |  | UPPER RANGE-VALUE |
| 126gu | Attr output URV units |  | UNITS |
| 127 | COMPONENT IDENTIFICATIONS |  |  |
| 129a | Component type | multi-vessel wt indicator |  |
| 129a | Component type | weight controller |  |
| 129a | Component type | weight display station |  |
| 129a | Component type | weight indicator |  |
| 129a | Component type | weight transmitter |  |
| 129b | Manufacturer |  | MANUFACTURER |
| 129c | Model number |  | MODEL NUMBER |
| 130a | Component type | weight network interface |  |
| 130b | Manufacturer |  | MANUFACTURER |
| 130c | Model number |  | MODEL NUMBER |
| 131a | Component type |  |  |
| 131b | Manufacturer |  | MANUFACTURER |
| 131c | Model number |  | MODEL NUMBER |
| 132a | Component type |  |  |
| 132b | Manufacturer |  | MANUFACTURER |
| 132c | Model number |  | MODEL NUMBER |