| Pick List 20W2211 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 011 | BODY OR HOUSING | SECTION TITLE |  |
| 012 | Body/Housing type | ALPHA bending beam |  |
| 012 | Body/Housing type | bolt-on plate |  |
| 012 | Body/Housing type | canister |  |
| 012 | Body/Housing type | cylindrical beam |  |
| 012 | Body/Housing type | donut/washer |  |
| 012 | Body/Housing type | hollow |  |
| 012 | Body/Housing type | load link |  |
| 012 | Body/Housing type | load pin |  |
| 012 | Body/Housing type | low-profile |  |
| 012 | Body/Housing type | L-type |  |
| 012 | Body/Housing type | miniature size |  |
| 012 | Body/Housing type | minigram beam |  |
| 012 | Body/Housing type | off-axis canister |  |
| 012 | Body/Housing type | pancake |  |
| 012 | Body/Housing type | plate/platform |  |
| 012 | Body/Housing type | rectangular beam |  |
| 012 | Body/Housing type | rod end/in-line |  |
| 012 | Body/Housing type | S-type |  |
| 012 | Body/Housing type | subminiature size |  |
| 013 | Construction style | all welded |  |
| 013 | Construction style | double diaphragm |  |
| 013 | Construction style | seals |  |
| 014 | Load conn/thru-hole size | #10-32 UNC |  |
| 014 | Load conn/thru-hole size | #4-40 UINC |  |
| 014 | Load conn/thru-hole size | #6 |  |
| 014 | Load conn/thru-hole size | .1 in |  |
| 014 | Load conn/thru-hole size | .2 in |  |
| 014 | Load conn/thru-hole size | 1 1/2 in |  |
| 014 | Load conn/thru-hole size | 1 1/2-12 UNF |  |
| 014 | Load conn/thru-hole size | 1 1/4 in |  |
| 014 | Load conn/thru-hole size | 1 1/4-12 UNF-3B |  |
| 014 | Load conn/thru-hole size | 1 3/4 in |  |
| 014 | Load conn/thru-hole size | 1 3/4-12 UNF-3B |  |
| 014 | Load conn/thru-hole size | 1 in |  |
| 014 | Load conn/thru-hole size | 1.76 in |  |
| 014 | Load conn/thru-hole size | 1/2 in |  |
| 014 | Load conn/thru-hole size | 1/2-20 UNF |  |
| 014 | Load conn/thru-hole size | 1/4 in |  |
| 014 | Load conn/thru-hole size | 1/4-28 UNF |  |
| 014 | Load conn/thru-hole size | 1/8 in |  |
| 014 | Load conn/thru-hole size | 1-14 UNF |  |
| 014 | Load conn/thru-hole size | 1-14 UNS |  |
| 014 | Load conn/thru-hole size | 12 mm |  |
| 014 | Load conn/thru-hole size | 2 1/2-12 UN |  |
| 014 | Load conn/thru-hole size | 2 3/4-8 UNF-3B |  |
| 014 | Load conn/thru-hole size | 2-12 UN |  |
| 014 | Load conn/thru-hole size | 2-12 UNF |  |
| 014 | Load conn/thru-hole size | 3 1/2-8 UN |  |
| 014 | Load conn/thru-hole size | 3 in |  |
| 014 | Load conn/thru-hole size | 3/16 in |  |
| 014 | Load conn/thru-hole size | 3/4 in |  |
| 014 | Load conn/thru-hole size | 3/4-16 UNF |  |
| 014 | Load conn/thru-hole size | 3/8 in |  |
| 014 | Load conn/thru-hole size | 3/8-24 UNF |  |
| 014 | Load conn/thru-hole size | 3-8 UN |  |
| 014 | Load conn/thru-hole size | 4-8 UN |  |
| 014 | Load conn/thru-hole size | 5/8 in |  |
| 014 | Load conn/thru-hole size | 5/8-18 UNF-3B |  |
| 014 | Load conn/thru-hole size | 5-8 UN |  |
| 014 | Load conn/thru-hole size | 6 mm |  |
| 014 | Load conn/thru-hole size | 7/8-14 |  |
| 014 | Load conn/thru-hole size | NA |  |
| 015a | Load conn termn type | clamped |  |
| 015a | Load conn termn type | eyelet |  |
| 015a | Load conn termn type | pancake |  |
| 015a | Load conn termn type | threaded |  |
| 015b | Load conn termn style | female |  |
| 015b | Load conn termn style | inside |  |
| 015b | Load conn termn style | male |  |
| 015b | Load conn termn style | male/female |  |
| 015b | Load conn termn style | NA |  |
| 015b | Load conn termn style | outside |  |
| 016 | Load button | built-in |  |
| 016 | Load button | NA |  |
| 016 | Load button | thread-in |  |
| 017 | Body/Housing material | 15-5 pH stainless steel | MATERIAL |
| 017 | Body/Housing material | 17-4 pH stainless steel | MATERIAL |
| 017 | Body/Housing material | 4340 painted | MATERIAL |
| 017 | Body/Housing material | AISI 1018 carbon steel | MATERIAL |
| 017 | Body/Housing material | anodized aluminum | MATERIAL |
| 017 | Body/Housing material | nickel-plated steel | MATERIAL |
| 017 | Body/Housing material | stainless steel | MATERIAL |
| 018 | Seal/O ring material | NA | MATERIAL |
| 018 | Seal/O ring material | teflon | MATERIAL |
| 018 | Seal/O ring material | teflon | MATERIAL |
| 019a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 019b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 020a | Defined attribute 2 name | Lifting device | DEFINABLE ATTRIBUTE NAME |
| 020a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 020b | Defined attribute 2 data | lifting eyes | DEFINABLE ATTRIBUTE VALUE |
| 020b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 021 | SENSING ELEMENT | SECTION TITLE |  |
| 022 | Force sensor type | compression only |  |
| 022 | Force sensor type | shear |  |
| 022 | Force sensor type | tension only |  |
| 022 | Force sensor type | tension/compression |  |
| 023 | Construction style | dbl-bridge strain gauge |  |
| 023 | Construction style | dual axis strain gauge |  |
| 023 | Construction style | full-bridge strain gauge |  |
| 023 | Construction style | half-bridge strain gauge |  |
| 023 | Construction style | semiconductor |  |
| 024 | Rated capacity/stress | .5 |  |
| 024 | Rated capacity/stress | 1 |  |
| 024 | Rated capacity/stress | 10 |  |
| 024 | Rated capacity/stress | 100 |  |
| 024 | Rated capacity/stress | 1000 |  |
| 024 | Rated capacity/stress | 10000 |  |
| 024 | Rated capacity/stress | 1000000 |  |
| 024 | Rated capacity/stress | 11 |  |
| 024 | Rated capacity/stress | 1100 |  |
| 024 | Rated capacity/stress | 112 |  |
| 024 | Rated capacity/stress | 15000 |  |
| 024 | Rated capacity/stress | 2 |  |
| 024 | Rated capacity/stress | 20 |  |
| 024 | Rated capacity/stress | 200 |  |
| 024 | Rated capacity/stress | 2000 |  |
| 024 | Rated capacity/stress | 20000 |  |
| 024 | Rated capacity/stress | 200000 |  |
| 024 | Rated capacity/stress | 22 |  |
| 024 | Rated capacity/stress | 220 |  |
| 024 | Rated capacity/stress | 2200 |  |
| 024 | Rated capacity/stress | 25 |  |
| 024 | Rated capacity/stress | 250 |  |
| 024 | Rated capacity/stress | 25000 |  |
| 024 | Rated capacity/stress | 300 |  |
| 024 | Rated capacity/stress | 3000 |  |
| 024 | Rated capacity/stress | 30000 |  |
| 024 | Rated capacity/stress | 3000000 |  |
| 024 | Rated capacity/stress | 34 |  |
| 024 | Rated capacity/stress | 35000 |  |
| 024 | Rated capacity/stress | 4000 |  |
| 024 | Rated capacity/stress | 5 |  |
| 024 | Rated capacity/stress | 5.5 |  |
| 024 | Rated capacity/stress | 50 |  |
| 024 | Rated capacity/stress | 500 |  |
| 024 | Rated capacity/stress | 5000 |  |
| 024 | Rated capacity/stress | 50000 |  |
| 024 | Rated capacity/stress | 550 |  |
| 024 | Rated capacity/stress | 5500 |  |
| 024 | Rated capacity/stress | 7000 |  |
| 024 | Rated capacity/stress | 750 |  |
| 024 | Rated capacity/stress | 7500 |  |
| 024 | Rated capacity/stress | 75000 |  |
| 024u | Rated capacity/stress units | g | UNITS |
| 024u | Rated capacity/stress units | kg | UNITS |
| 024u | Rated capacity/stress units | kg/mm2 | UNITS |
| 024u | Rated capacity/stress units | kN | UNITS |
| 024u | Rated capacity/stress units | lb | UNITS |
| 024u | Rated capacity/stress units | N | UNITS |
| 024u | Rated capacity/stress units | psi | UNITS |
| 025 | Rated nominal output | .91 mV/V |  |
| 025 | Rated nominal output | 1 mV/V |  |
| 025 | Rated nominal output | 1.5 mV/V |  |
| 025 | Rated nominal output | 1.875 mV/V |  |
| 025 | Rated nominal output | 15 mV/V |  |
| 025 | Rated nominal output | 2 mV/V |  |
| 025 | Rated nominal output | 2.5 mV/V |  |
| 025 | Rated nominal output | 20 mV/V |  |
| 025 | Rated nominal output | 3 mV/V |  |
| 025 | Rated nominal output | 30 mV/V |  |
| 025 | Rated nominal output | 320 mV |  |
| 025 | Rated nominal output | 35 mV/0.7 kg/mm2 |  |
| 025 | Rated nominal output | 4 mV/V |  |
| 025 | Rated nominal output | 5 mV/V |  |
| 025 | Rated nominal output | 56 mV/0.7 kg/mm2 |  |
| 025 | Rated nominal output | 70 mV/0.7 kg/mm2 |  |
| 025 | Rated nominal output | 80 mV/0.7 kg/mm2 |  |
| 026 | Nominal resistance | 1000 Ohm |  |
| 026 | Nominal resistance | 350 Ohm |  |
| 026 | Nominal resistance | 4 kOhm |  |
| 026 | Nominal resistance | 500 Ohm |  |
| 026 | Nominal resistance | 7 kOhm |  |
| 026 | Nominal resistance | 7.5 kOhm |  |
| 026 | Nominal resistance | 700 Ohm |  |
| 027a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 027a | Defined attribute 1 name | Special rating | DEFINABLE ATTRIBUTE NAME |
| 027b | Defined attribute 1 data | fatigue rated | DEFINABLE ATTRIBUTE VALUE |
| 027b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 028a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 028a | Defined attribute 2 name | Trimmed output signal | DEFINABLE ATTRIBUTE NAME |
| 028b | Defined attribute 2 data | 1/4 % of specified output | DEFINABLE ATTRIBUTE VALUE |
| 028b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 029 | SIGNAL OR AMPLIFIER | SECTION TITLE |  |
| 030 | Configuration type | amplifier |  |
| 030 | Configuration type | signal conditioner |  |
| 030 | Configuration type | signal connections |  |
| 031 | Output signal type | analog current | SIGNAL |
| 031 | Output signal type | analog voltage | SIGNAL |
| 031 | Output signal type | milivolt | SIGNAL |
| 032 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | 6P | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP65 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP67 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | IP68 | ENCLOSURE TYPE NO/CLASS |
| 032 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 033 | Local adjustment type | NA |  |
| 033 | Local adjustment type | removed zero and span |  |
| 033 | Local adjustment type | zero and span |  |
| 034 | Signal termination type | bendix connector | END CONNECTION TYPE |
| 034 | Signal termination type | hermetic connector | END CONNECTION TYPE |
| 034 | Signal termination type | integral cable | END CONNECTION TYPE |
| 034 | Signal termination type | molded junction box | END CONNECTION TYPE |
| 034 | Signal termination type | NEMA 6 connector | END CONNECTION TYPE |
| 034 | Signal termination type | quick-disconnect | END CONNECTION TYPE |
| 034 | Signal termination type | turck connector | END CONNECTION TYPE |
| 035 | Supply/Excitation voltage | 10 V (ac)/10 V (dc) |  |
| 035 | Supply/Excitation voltage | 10 V (dc) |  |
| 035 | Supply/Excitation voltage | 10-30 V (dc) |  |
| 035 | Supply/Excitation voltage | 12 V (dc) |  |
| 035 | Supply/Excitation voltage | 5 V (dc) |  |
| 035 | Supply/Excitation voltage | 5-15 V (dc) |  |
| 035 | Supply/Excitation voltage | 9-28 V (dc) |  |
| 036 | Cert/Approval type | CE marked | CERTIFICATION |
| 036 | Cert/Approval type | CENELEC | CERTIFICATION |
| 036 | Cert/Approval type | CSA general purpose | CERTIFICATION |
| 036 | Cert/Approval type | FM intrinsic safe | CERTIFICATION |
| 036 | Cert/Approval type | FM non-incendive | CERTIFICATION |
| 036 | Cert/Approval type | NA | CERTIFICATION |
| 037 | Mounting location/type | integral to cable | MOUNTING POSITION |
| 037 | Mounting location/type | integral to cell housing | MOUNTING POSITION |
| 037 | Mounting location/type | remote surface mounted | MOUNTING POSITION |
| 038 | Remote enclosure material | NA | MATERIAL |
| 038 | Remote enclosure material | stainless steel | MATERIAL |
| 039a | Defined attribute 1 name | Calibration shunt | DEFINABLE ATTRIBUTE NAME |
| 039a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 039b | Defined attribute 1 data | internal circuit | DEFINABLE ATTRIBUTE VALUE |
| 039b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 040a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 040b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 041 | LEAD WIRE AND EXTENSION | SECTION TITLE |  |
| 042 | Extension type | extension cable |  |
| 042 | Extension type | integral cable |  |
| 042 | Extension type | NA |  |
| 043 | Conductor nominal size | 4 conductor 20 AWG |  |
| 043 | Conductor nominal size | 4 conductor 24 AWG |  |
| 043 | Conductor nominal size | 6 conductor 20 AWG |  |
| 043 | Conductor nominal size | 8 conductor 24 AWG |  |
| 043 | Conductor nominal size | NA |  |
| 044 | Cable length | 1.7 |  |
| 044 | Cable length | 10 |  |
| 044 | Cable length | 100 |  |
| 044 | Cable length | 12.5 |  |
| 044 | Cable length | 13 |  |
| 044 | Cable length | 15 |  |
| 044 | Cable length | 16 |  |
| 044 | Cable length | 25 |  |
| 044 | Cable length | 3 |  |
| 044 | Cable length | 35 |  |
| 044 | Cable length | 4 |  |
| 044 | Cable length | 5 |  |
| 044 | Cable length | 5.5 |  |
| 044 | Cable length | 50 |  |
| 044 | Cable length | 75 |  |
| 044u | Cable length units | ft | UNITS |
| 044u | Cable length units | m | UNITS |
| 044u | Cable length units | NA | UNITS |
| 045 | Connector configuration | 4-pin straight |  |
| 045 | Connector configuration | 6-pin straight |  |
| 045 | Connector configuration | NA |  |
| 046 | Signal termination type | bare wire | END CONNECTION TYPE |
| 046 | Signal termination type | NA | END CONNECTION TYPE |
| 046 | Signal termination type | plug x card edge | END CONNECTION TYPE |
| 046 | Signal termination type | stripped & tinned | END CONNECTION TYPE |
| 047 | Cable jacket material | hypalon | MATERIAL |
| 047 | Cable jacket material | NA | MATERIAL |
| 047 | Cable jacket material | neoprene | MATERIAL |
| 047 | Cable jacket material | PVC | MATERIAL |
| 047 | Cable jacket material | Teflon | MATERIAL |
| 047 | Cable jacket material | Teflon | MATERIAL |
| 047 | Cable jacket material | TPR/TPE | MATERIAL |
| 048a | Defined attribute 1 name | Cable armor | DEFINABLE ATTRIBUTE NAME |
| 048a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 048b | Defined attribute 1 data | food-grade tubing | DEFINABLE ATTRIBUTE VALUE |
| 048b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 049a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 049b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 050 | MOUNTING HARDWARE | SECTION TITLE |  |
| 051 | Hardware type | base attachment |  |
| 051 | Hardware type | checkless assembly |  |
| 051 | Hardware type | load stand |  |
| 051 | Hardware type | NA |  |
| 051 | Hardware type | scale base |  |
| 051 | Hardware type | self checking assembly |  |
| 051 | Hardware type | vessel attachment |  |
| 052 | Construction style | 3 point support system |  |
| 052 | Construction style | 4 point support system |  |
| 052 | Construction style | base leveling adptr plate |  |
| 052 | Construction style | base plate |  |
| 052 | Construction style | bench scale |  |
| 052 | Construction style | double ended beam support |  |
| 052 | Construction style | expansion/retainer plate |  |
| 052 | Construction style | integral base plate |  |
| 052 | Construction style | low profile deck |  |
| 052 | Construction style | NA |  |
| 052 | Construction style | pull plate |  |
| 052 | Construction style | shackle |  |
| 052 | Construction style | single ended beam support |  |
| 052 | Construction style | slide expansion mount kit |  |
| 052 | Construction style | spherical rod end bearing |  |
| 052 | Construction style | tension flexure rod |  |
| 052 | Construction style | top adapter plate |  |
| 052 | Construction style | top adptr plate,shock pad |  |
| 052 | Construction style | top leveling plate |  |
| 052 | Construction style | top universal adptr plate |  |
| 053 | Surface finish | brushed |  |
| 053 | Surface finish | electropolished |  |
| 053 | Surface finish | manufacturer standard |  |
| 053 | Surface finish | NA |  |
| 053 | Surface finish | polished |  |
| 054 | Hardware material | 15-5 pH stainless steel | MATERIAL |
| 054 | Hardware material | 17-4 pH stainless steel | MATERIAL |
| 054 | Hardware material | 302 stainless steel | MATERIAL |
| 054 | Hardware material | 304 stainless steel | MATERIAL |
| 054 | Hardware material | ASTM A53 GR B,ASTM A36 | MATERIAL |
| 054 | Hardware material | carbon steel | MATERIAL |
| 054 | Hardware material | ductile iron | MATERIAL |
| 054 | Hardware material | NA | MATERIAL |
| 054 | Hardware material | nickel plated mild steel | MATERIAL |
| 055 | Isolation pad material | NA | MATERIAL |
| 055 | Isolation pad material | phenolic glass | MATERIAL |
| 055 | Isolation pad material | rigid laminate | MATERIAL |
| 056a | Defined attribute 1 name | Weighing surface size | DEFINABLE ATTRIBUTE NAME |
| 056b | Defined attribute 1 data | 10 in by 10 in | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 12 in by 12 in | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 12 in by 18 in | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 18 in by 18 in | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 18 in by 24 in | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 2.5 ft by 2.5 ft | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 24 in by 24 in | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 3 ft by 3 ft | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 4 ft by 4 ft | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 4 ft by 5 ft | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 4 ft by 6 ft | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 5 ft by 5 ft | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 5 ft by 6 ft | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | 5 ft by 7 ft | DEFINABLE ATTRIBUTE VALUE |
| 056b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 057a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 057b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 058 | SUMMING UNIT OR JUNCTION BOX | SECTION TITLE |  |
| 059 | Configuration type | NA |  |
| 059 | Configuration type | signal extension box |  |
| 059 | Configuration type | signal summing unit |  |
| 060 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 060 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 060 | Enclosure type no/class | 7/9 | ENCLOSURE TYPE NO/CLASS |
| 060 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 061 | Max input signal quantity | 0 |  |
| 061 | Max input signal quantity | 4 |  |
| 061 | Max input signal quantity | 8 |  |
| 062 | Cert/Approval type | CE marked | CERTIFICATION |
| 062 | Cert/Approval type | CSA general purpose | CERTIFICATION |
| 062 | Cert/Approval type | CSA hazardous | CERTIFICATION |
| 062 | Cert/Approval type | FM explosion proof | CERTIFICATION |
| 062 | Cert/Approval type | FM general purpose | CERTIFICATION |
| 063 | Mounting location/Type | conduit mounted | MOUNTING POSITION |
| 063 | Mounting location/Type | NA | MOUNTING POSITION |
| 063 | Mounting location/Type | surface mount | MOUNTING POSITION |
| 064 | Enclosure material | NA | MATERIAL |
| 064 | Enclosure material | stainless steel | MATERIAL |
| 065a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 065b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 066a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 066b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 067 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 068a | Min working temperature |  | WORKING TEMPERATURE |
| 068au | Min working temp units | °C | UNITS |
| 068au | Min working temp units | °F | UNITS |
| 068au | Min working temp units | C | UNITS |
| 068au | Min working temp units | F | UNITS |
| 068b | Max working temperature |  | WORKING TEMPERATURE |
| 068bu | Max working temp units | °C | UNITS |
| 068bu | Max working temp units | °F | UNITS |
| 068bu | Max working temp units | C | UNITS |
| 068bu | Max working temp units | F | UNITS |
| 069a | Accuracy rating | .02 | ACCURACY RATING |
| 069a | Accuracy rating | .03 | ACCURACY RATING |
| 069a | Accuracy rating | .04 | ACCURACY RATING |
| 069a | Accuracy rating | .05 | ACCURACY RATING |
| 069a | Accuracy rating | .06 | ACCURACY RATING |
| 069a | Accuracy rating | .08 | ACCURACY RATING |
| 069a | Accuracy rating | .1 | ACCURACY RATING |
| 069a | Accuracy rating | .2 | ACCURACY RATING |
| 069a | Accuracy rating | .25 | ACCURACY RATING |
| 069a | Accuracy rating | .5 | ACCURACY RATING |
| 069a | Accuracy rating | .7 | ACCURACY RATING |
| 069a | Accuracy rating | 1 | ACCURACY RATING |
| 069b | Accuracy rating ref base | % full scale | ACCURACY REFERENCE |
| 069b | Accuracy rating ref base | % rated capacity | ACCURACY REFERENCE |
| 070a | Linearity | .02 |  |
| 070a | Linearity | .03 |  |
| 070a | Linearity | .04 |  |
| 070a | Linearity | .05 |  |
| 070a | Linearity | .1 |  |
| 070a | Linearity | .15 |  |
| 070a | Linearity | .2 |  |
| 070a | Linearity | .25 |  |
| 070a | Linearity | .5 |  |
| 070b | Linearity ref base | % full scale |  |
| 071a | Repeatability | .01 |  |
| 071a | Repeatability | .015 |  |
| 071a | Repeatability | .02 |  |
| 071a | Repeatability | .03 |  |
| 071a | Repeatability | .05 |  |
| 071a | Repeatability | .08 |  |
| 071a | Repeatability | .1 |  |
| 071b | Repeatability ref base | % full scale |  |
| 071b | Repeatability ref base | % rated capacity |  |
| 071b | Repeatability ref base | % rated output |  |
| 072a | Temp compensation LRL |  | LOWER RANGE-LIMIT |
| 072au | Temp comp LRL units | °C | UNITS |
| 072au | Temp comp LRL units | °F | UNITS |
| 072au | Temp comp LRL units | C | UNITS |
| 072au | Temp comp LRL units | F | UNITS |
| 072b | Temp compensation URL |  | UPPER RANGE-LIMIT |
| 072bu | Temp comp URL units | °C | UNITS |
| 072bu | Temp comp URL units | °F | UNITS |
| 072bu | Temp comp URL units | C | UNITS |
| 072bu | Temp comp URL units | F | UNITS |
| 073a | Overrange limit | 150 |  |
| 073a | Overrange limit | 200 |  |
| 073a | Overrange limit | 300 |  |
| 073b | Overrange limit ref base | % rated capacity |  |
| 074a | Temp effect on zero | .0008 |  |
| 074a | Temp effect on zero | .0014 |  |
| 074a | Temp effect on zero | .0015 |  |
| 074a | Temp effect on zero | .0017 |  |
| 074a | Temp effect on zero | .002 |  |
| 074a | Temp effect on zero | .003 |  |
| 074a | Temp effect on zero | .005 |  |
| 074a | Temp effect on zero | .01 |  |
| 074a | Temp effect on zero | .02 |  |
| 074b | Temp effect on zero ref | % full scale/°C |  |
| 074b | Temp effect on zero ref | % full scale/°F |  |
| 075a | Temp effect on span | .0008 |  |
| 075a | Temp effect on span | .0014 |  |
| 075a | Temp effect on span | .0015 |  |
| 075a | Temp effect on span | .0018 |  |
| 075a | Temp effect on span | .002 |  |
| 075a | Temp effect on span | .0033 |  |
| 075a | Temp effect on span | .005 |  |
| 075a | Temp effect on span | .008 |  |
| 075a | Temp effect on span | .01 |  |
| 075a | Temp effect on span | .02 |  |
| 075b | Temp effect on span ref | % full scale/°F |  |
| 075b | Temp effect on span ref | % reading/°C |  |
| 075b | Temp effect on span ref | % reading/°F |  |
| 076 | Life cycles | 1E7 fully reversed |  |
| 076 | Life cycles | 1E8 unidirectional |  |
| 076 | Life cycles | 1E9 fully reversed |  |
| 076 | Life cycles | 1E9 unidirectional |  |
| 077a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 077b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 078a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 078b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 079a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 079b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 080 | ACCESSORIES | SECTION TITLE |  |
| 081 | Simulated component | dummy beam |  |
| 081 | Simulated component | NA |  |
| 081 | Simulated component | weight module |  |
| 082 | Mating connector | NA |  |
| 083 | Access ramp | 2.5 ft wide x 3 ft long |  |
| 083 | Access ramp | 2.5 ft wide x 4 ft long |  |
| 083 | Access ramp | 3 ft wide x 3 ft long |  |
| 083 | Access ramp | 3 ft wide x 4 ft long |  |
| 083 | Access ramp | 4 ft wide x 3 ft long |  |
| 083 | Access ramp | 4 ft wide x 4 ft long |  |
| 083 | Access ramp | 5 ft wide x 3 ft long |  |
| 083 | Access ramp | 5 ft wide x 4 ft long |  |
| 083 | Access ramp | NA |  |
| 084 | Pit frame | 2.5 ft by 2.5 ft |  |
| 084 | Pit frame | 3 ft by 3 ft |  |
| 084 | Pit frame | 4 ft by 4 ft |  |
| 084 | Pit frame | 4 ft by 5 ft |  |
| 084 | Pit frame | 4 ft by 6 ft |  |
| 084 | Pit frame | 5 ft by 5 ft |  |
| 084 | Pit frame | 5 ft by 6 ft |  |
| 084 | Pit frame | 5 ft by 7 ft |  |
| 084 | Pit frame | NA |  |
| 085a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 085b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 086a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 086b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 087a | Defined attribute 3 name |  | DEFINABLE ATTRIBUTE NAME |
| 087b | Defined attribute 3 data |  | DEFINABLE ATTRIBUTE VALUE |
| 088 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 089 | Custom tag | fiber tag |  |
| 089 | Custom tag | NA |  |
| 089 | Custom tag | sst permanent attached |  |
| 089 | Custom tag | sst wired-on |  |
| 090 | Reference specification | NA | REFERENCE SPECIFICATION |
| 091 | Compliance standard | ASTM E74 | NACE STANDARD |
| 091 | Compliance standard | AWS B2.1.009-90 | NACE STANDARD |
| 091 | Compliance standard | NA | NACE STANDARD |
| 091 | Compliance standard | NTEP CoC Number 87-060 | NACE STANDARD |
| 091 | Compliance standard | NTEP CoC Number 95-100 | NACE STANDARD |
| 091 | Compliance standard | OIML EN 45501:1992 | NACE STANDARD |
| 092 | Calibration report | compression data |  |
| 092 | Calibration report | NA |  |
| 092 | Calibration report | tension data |  |
| 092 | Calibration report | tension/compression data |  |
| 093a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 093a | Defined attribute 1 name | Warranty | DEFINABLE ATTRIBUTE NAME |
| 093b | Defined attribute 1 data | 1 year | DEFINABLE ATTRIBUTE VALUE |
| 093b | Defined attribute 1 data | 10 year | DEFINABLE ATTRIBUTE VALUE |
| 093b | Defined attribute 1 data | 2 year | DEFINABLE ATTRIBUTE VALUE |
| 093b | Defined attribute 1 data | 3 year | DEFINABLE ATTRIBUTE VALUE |
| 093b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 094a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 094b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 095a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 095b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 096 | PHYSICAL DATA | SECTION TITLE |  |
| 097 | Estimated weight |  |  |
| 097u | Weight units | kg | UNITS |
| 097u | Weight units | lb | UNITS |
| 097u | Weight units | oz | UNITS |
| 098 | Overall length |  |  |
| 098u | Overall length units | in | UNITS |
| 098u | Overall length units | mm | UNITS |
| 099 | Overall height |  |  |
| 099u | Overall height units | in | UNITS |
| 099u | Overall height units | mm | UNITS |
| 100 | Outside diameter/Width |  |  |
| 100u | OutsideDia/Width units | in | UNITS |
| 100u | OutsideDia/Width units | mm | UNITS |
| 101a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 101a | Signal conn nominal size | 12 mm | NOMINAL SIZE |
| 101a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 101b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 101b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 101b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 102 | Mfr reference dwg | NA |  |
| 103a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 103b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 104a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 104b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 110 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 112a | Weight 1 tag number |  |  |
| 112b | Weight 1- Output signal | CALIBRATION/TEST DESC |  |
| 112c | Weight 1 LRV | 0 | LOWER RANGE-VALUE |
| 112cu | Weight 1 LRV units | gm | UNITS |
| 112cu | Weight 1 LRV units | kg | UNITS |
| 112cu | Weight 1 LRV units | lb | UNITS |
| 112cu | Weight 1 LRV units | oz | UNITS |
| 112d | Weight 1 URV |  | UPPER RANGE-VALUE |
| 112du | Weight 1 URV units | gm | UNITS |
| 112du | Weight 1 URV units | kg | UNITS |
| 112du | Weight 1 URV units | lb | UNITS |
| 112du | Weight 1 URV units | oz | UNITS |
| 112f | Weight 1 output LRV | 0 | LOWER RANGE-VALUE |
| 112f | Weight 1 output LRV | 4 | LOWER RANGE-VALUE |
| 112f | Weight 1 output LRV | -5 | LOWER RANGE-VALUE |
| 112fu | Weight 1 output LRV units | mA | UNITS |
| 112fu | Weight 1 output LRV units | V | UNITS |
| 112g | Weight 1 output URV | 10 | UPPER RANGE-VALUE |
| 112g | Weight 1 output URV | 20 | UPPER RANGE-VALUE |
| 112g | Weight 1 output URV | 5 | UPPER RANGE-VALUE |
| 112gu | Weight 1 output URV units | mA | UNITS |
| 112gu | Weight 1 output URV units | V | UNITS |
| 113a | Weight 2 tag no |  |  |
| 113b | Weight 2- Output signal | CALIBRATION/TEST DESC |  |
| 113c | Weight 2 LRV | 0 | LOWER RANGE-VALUE |
| 113cu | Weight 2 LRV units | gm | UNITS |
| 113cu | Weight 2 LRV units | kg | UNITS |
| 113cu | Weight 2 LRV units | lb | UNITS |
| 113cu | Weight 2 LRV units | oz | UNITS |
| 113d | Weight 2 URV |  | UPPER RANGE-VALUE |
| 113du | Weight 2 URV units | gm | UNITS |
| 113du | Weight 2 URV units | kg | UNITS |
| 113du | Weight 2 URV units | lb | UNITS |
| 113du | Weight 2 URV units | oz | UNITS |
| 113f | Weight 2 output LRV | 0 | LOWER RANGE-VALUE |
| 113f | Weight 2 output LRV | 4 | LOWER RANGE-VALUE |
| 113f | Weight 2 output LRV | -5 | LOWER RANGE-VALUE |
| 113fu | Weight 2 output LRV units | mA | UNITS |
| 113fu | Weight 2 output LRV units | V | UNITS |
| 113g | Weight 2 output URV | 10 | UPPER RANGE-VALUE |
| 113g | Weight 2 output URV | 20 | UPPER RANGE-VALUE |
| 113g | Weight 2 output URV | 5 | UPPER RANGE-VALUE |
| 113gu | Weight 2 output URV units | mA | UNITS |
| 113gu | Weight 2 output URV units | V | UNITS |
| 114a | Weight 3 tag no |  |  |
| 114b | Weight 3- Output signal | CALIBRATION/TEST DESC |  |
| 114c | Weight 3 LRV | 0 | LOWER RANGE-VALUE |
| 114cu | Weight 3 LRV units | gm | UNITS |
| 114cu | Weight 3 LRV units | kg | UNITS |
| 114cu | Weight 3 LRV units | lb | UNITS |
| 114cu | Weight 3 LRV units | oz | UNITS |
| 114d | Weight 3 URV |  | UPPER RANGE-VALUE |
| 114du | Weight 3 URV units | gm | UNITS |
| 114du | Weight 3 URV units | kg | UNITS |
| 114du | Weight 3 URV units | lb | UNITS |
| 114du | Weight 3 URV units | oz | UNITS |
| 114f | Weight 3 output LRV | 0 | LOWER RANGE-VALUE |
| 114f | Weight 3 output LRV | 4 | LOWER RANGE-VALUE |
| 114f | Weight 3 output LRV | -5 | LOWER RANGE-VALUE |
| 114fu | Weight 3 output LRV units | mA | UNITS |
| 114fu | Weight 3 output LRV units | V | UNITS |
| 114g | Weight 3 output URV | 10 | UPPER RANGE-VALUE |
| 114g | Weight 3 output URV | 20 | UPPER RANGE-VALUE |
| 114g | Weight 3 output URV | 5 | UPPER RANGE-VALUE |
| 114gu | Weight 3 output URV units | mA | UNITS |
| 114gu | Weight 3 output URV units | V | UNITS |
| 115a | Weight 4 tag no |  |  |
| 115b | Weight 4- Output signal | CALIBRATION/TEST DESC |  |
| 115c | Weight 4 LRV | 0 | LOWER RANGE-VALUE |
| 115cu | Weight 4 LRV units | gm | UNITS |
| 115cu | Weight 4 LRV units | kg | UNITS |
| 115cu | Weight 4 LRV units | lb | UNITS |
| 115cu | Weight 4 LRV units | oz | UNITS |
| 115d | Weight 4 URV |  | UPPER RANGE-VALUE |
| 115du | Weight 4 URV units | gm | UNITS |
| 115du | Weight 4 URV units | kg | UNITS |
| 115du | Weight 4 URV units | lb | UNITS |
| 115du | Weight 4 URV units | oz | UNITS |
| 115f | Weight 4 output LRV | 0 | LOWER RANGE-VALUE |
| 115f | Weight 4 output LRV | 4 | LOWER RANGE-VALUE |
| 115f | Weight 4 output LRV | -5 | LOWER RANGE-VALUE |
| 115fu | Weight 4 output LRV units | mA | UNITS |
| 115fu | Weight 4 output LRV units | V | UNITS |
| 115g | Weight 4 output URV | 10 | UPPER RANGE-VALUE |
| 115g | Weight 4 output URV | 20 | UPPER RANGE-VALUE |
| 115g | Weight 4 output URV | 5 | UPPER RANGE-VALUE |
| 115gu | Weight 4 output URV units | mA | UNITS |
| 115gu | Weight 4 output URV units | V | UNITS |
| 116a | Weight 5 tag no |  |  |
| 116b | Weight 5- Output signal | CALIBRATION/TEST DESC |  |
| 116c | Weight 5 LRV | 0 | LOWER RANGE-VALUE |
| 116cu | Weight 5 LRV units | gm | UNITS |
| 116cu | Weight 5 LRV units | kg | UNITS |
| 116cu | Weight 5 LRV units | lb | UNITS |
| 116cu | Weight 5 LRV units | oz | UNITS |
| 116d | Weight 5 URV |  | UPPER RANGE-VALUE |
| 116du | Weight 5 URV units | gm | UNITS |
| 116du | Weight 5 URV units | kg | UNITS |
| 116du | Weight 5 URV units | lb | UNITS |
| 116du | Weight 5 URV units | oz | UNITS |
| 116f | Weight 5 output LRV | 0 | LOWER RANGE-VALUE |
| 116f | Weight 5 output LRV | 4 | LOWER RANGE-VALUE |
| 116f | Weight 5 output LRV | -5 | LOWER RANGE-VALUE |
| 116fu | Weight 5 output LRV units | mA | UNITS |
| 116fu | Weight 5 output LRV units | V | UNITS |
| 116g | Weight 5 output URV | 10 | UPPER RANGE-VALUE |
| 116g | Weight 5 output URV | 20 | UPPER RANGE-VALUE |
| 116g | Weight 5 output URV | 5 | UPPER RANGE-VALUE |
| 116gu | Weight 5 output URV units | mA | UNITS |
| 116gu | Weight 5 output URV units | V | UNITS |
| 117a | Weight 6 tag no |  |  |
| 117b | Weight 6- Output signal | CALIBRATION/TEST DESC |  |
| 117c | Weight 6 LRV | 0 | LOWER RANGE-VALUE |
| 117cu | Weight 6 LRV units | gm | UNITS |
| 117cu | Weight 6 LRV units | kg | UNITS |
| 117cu | Weight 6 LRV units | lb | UNITS |
| 117cu | Weight 6 LRV units | oz | UNITS |
| 117d | Weight 6 URV |  | UPPER RANGE-VALUE |
| 117du | Weight 6 URV units | gm | UNITS |
| 117du | Weight 6 URV units | kg | UNITS |
| 117du | Weight 6 URV units | lb | UNITS |
| 117du | Weight 6 URV units | oz | UNITS |
| 117f | Weight 6 output LRV | 0 | LOWER RANGE-VALUE |
| 117f | Weight 6 output LRV | 4 | LOWER RANGE-VALUE |
| 117f | Weight 6 output LRV | -5 | LOWER RANGE-VALUE |
| 117fu | Weight 6 output LRV units | mA | UNITS |
| 117fu | Weight 6 output LRV units | V | UNITS |
| 117g | Weight 6 output URV | 10 | UPPER RANGE-VALUE |
| 117g | Weight 6 output URV | 20 | UPPER RANGE-VALUE |
| 117g | Weight 6 output URV | 5 | UPPER RANGE-VALUE |
| 117gu | Weight 6 output URV units | mA | UNITS |
| 117gu | Weight 6 output URV units | V | UNITS |
| 118a | Weight 7 tag no |  |  |
| 118b | Weight 7- Output signal | CALIBRATION/TEST DESC |  |
| 118c | Weight 7 LRV |  | LOWER RANGE-VALUE |
| 118c | Weight 7 LRV | 0 | LOWER RANGE-VALUE |
| 118cu | Weight 7 LRV units | gm | UNITS |
| 118cu | Weight 7 LRV units | kg | UNITS |
| 118cu | Weight 7 LRV units | lb | UNITS |
| 118cu | Weight 7 LRV units | oz | UNITS |
| 118d | Weight 7 URV |  | UPPER RANGE-VALUE |
| 118du | Weight 7 URV units | gm | UNITS |
| 118du | Weight 7 URV units | kg | UNITS |
| 118du | Weight 7 URV units | lb | UNITS |
| 118du | Weight 7 URV units | oz | UNITS |
| 118f | Weight 7 output LRV | 0 | LOWER RANGE-VALUE |
| 118f | Weight 7 output LRV | 4 | LOWER RANGE-VALUE |
| 118f | Weight 7 output LRV | -5 | LOWER RANGE-VALUE |
| 118fu | Weight 7 output LRV units | mA | UNITS |
| 118fu | Weight 7 output LRV units | V | UNITS |
| 118g | Weight 7 output URV | 10 | UPPER RANGE-VALUE |
| 118g | Weight 7 output URV | 20 | UPPER RANGE-VALUE |
| 118g | Weight 7 output URV | 5 | UPPER RANGE-VALUE |
| 118gu | Weight 7 output URV units | mA | UNITS |
| 118gu | Weight 7 output URV units | V | UNITS |
| 119a | Weight 8 tag no |  |  |
| 119b | Weight 8- Output signal | CALIBRATION/TEST DESC |  |
| 119c | Weight 8 LRV | 0 | LOWER RANGE-VALUE |
| 119cu | Weight 8 LRV units | gm | UNITS |
| 119cu | Weight 8 LRV units | kg | UNITS |
| 119cu | Weight 8 LRV units | lb | UNITS |
| 119cu | Weight 8 LRV units | oz | UNITS |
| 119d | Weight 8 URV |  | UPPER RANGE-VALUE |
| 119du | Weight 8 URV units | gm | UNITS |
| 119du | Weight 8 URV units | kg | UNITS |
| 119du | Weight 8 URV units | lb | UNITS |
| 119du | Weight 8 URV units | oz | UNITS |
| 119f | Weight 8 output LRV | 0 | LOWER RANGE-VALUE |
| 119f | Weight 8 output LRV | 4 | LOWER RANGE-VALUE |
| 119f | Weight 8 output LRV | -5 | LOWER RANGE-VALUE |
| 119fu | Weight 8 output LRV units | mA | UNITS |
| 119fu | Weight 8 output LRV units | V | UNITS |
| 119g | Weight 8 output URV | 10 | UPPER RANGE-VALUE |
| 119g | Weight 8 output URV | 20 | UPPER RANGE-VALUE |
| 119g | Weight 8 output URV | 5 | UPPER RANGE-VALUE |
| 119gu | Weight 8 output URV units | mA | UNITS |
| 119gu | Weight 8 output URV units | V | UNITS |
| 120a | Weight sum tag no |  |  |
| 120b | Weight sum-Output signal | CALIBRATION/TEST DESC |  |
| 120c | Weight sum LRV |  | LOWER RANGE-VALUE |
| 120cu | Weight sum LRV units | gm | UNITS |
| 120cu | Weight sum LRV units | kg | UNITS |
| 120cu | Weight sum LRV units | lb | UNITS |
| 120cu | Weight sum LRV units | oz | UNITS |
| 120d | Weight sum URV |  | UPPER RANGE-VALUE |
| 120du | Weight sum URV units | gm | UNITS |
| 120du | Weight sum URV units | kg | UNITS |
| 120du | Weight sum URV units | lb | UNITS |
| 120du | Weight sum URV units | oz | UNITS |
| 120f | Weight sum output LRV | 0 | LOWER RANGE-VALUE |
| 120f | Weight sum output LRV | 4 | LOWER RANGE-VALUE |
| 120f | Weight sum output LRV | -5 | LOWER RANGE-VALUE |
| 120fu | Weight sum output LRV units | mA | UNITS |
| 120fu | Weight sum output LRV units | V | UNITS |
| 120g | Weight sum output URV | 10 | UPPER RANGE-VALUE |
| 120g | Weight sum output URV | 20 | UPPER RANGE-VALUE |
| 120g | Weight sum output URV | 5 | UPPER RANGE-VALUE |
| 120gu | Weight sum output URV units | mA | UNITS |
| 120gu | Weight sum output URV units | V | UNITS |
| 121a | Attribute1 tag number |  |  |
| 121b | Attr 1 cal/test descp |  |  |
| 121c | Attribute 1 LRV |  | LOWER RANGE-VALUE |
| 121cu | Attribute 1 LRV units |  | UNITS |
| 121d | Attribute 1 URV |  | UPPER RANGE-VALUE |
| 121du | Attribute 1 URV units |  | UNITS |
| 121f | Attr 1 output LRV |  | LOWER RANGE-VALUE |
| 121fu | Attr 1 output LRV units |  | UNITS |
| 121g | Attr 1 output URV |  | UPPER RANGE-VALUE |
| 121gu | Attr 1 output URV units |  | UNITS |
| 122 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 124a | Component type | load beam transducer |  |
| 124a | Component type | load cell |  |
| 124b | Manufacturer |  | MANUFACTURER |
| 124c | Model number |  | MODEL NUMBER |
| 125a | Component type | amplifier |  |
| 125a | Component type | signal conditioner |  |
| 125a | Component type | summing unit |  |
| 125b | Manufacturer |  | MANUFACTURER |
| 125c | Model number |  | MODEL NUMBER |
| 126a | Component type | junction box |  |
| 126b | Manufacturer |  | MANUFACTURER |
| 126c | Model number |  | MODEL NUMBER |
| 127a | Component type |  |  |
| 127b | Manufacturer |  | MANUFACTURER |
| 127c | Model number |  | MODEL NUMBER |