| Pick List 20Z2011 |  |  |  |
| --- | --- | --- | --- |
| Line No | Field prompt | Pick list data | Help keyword |
| 012a | Project number |  |  |
| 012b | Sub project no |  |  |
| 013 | Project |  | PROJECT |
| 014 | Enterprise |  |  |
| 015 | Site |  |  |
| 016a | Area |  |  |
| 016b | Cell |  |  |
| 016c | Unit |  |  |
| 017 | Related equipment |  |  |
| 018 | Service |  |  |
| 020 | P&ID/Reference dwg number | NA |  |
| 021a | Inline hazardous area cl | I | AREA CLASSIFICATION (CLASS) |
| 021a | Inline hazardous area cl | II | AREA CLASSIFICATION (CLASS) |
| 021a | Inline hazardous area cl | III | AREA CLASSIFICATION (CLASS) |
| 021b | Inline hazardous Div/Zone | 0 | AREA CLASSIFICATION (DIVISION) |
| 021b | Inline hazardous Div/Zone | 1 | AREA CLASSIFICATION (DIVISION) |
| 021b | Inline hazardous Div/Zone | 2 | AREA CLASSIFICATION (DIVISION) |
| 021c | Inline hazardous area gr | A | AREA CLASSIFICATION (GROUP) |
| 021c | Inline hazardous area gr | B | AREA CLASSIFICATION (GROUP) |
| 021c | Inline hazardous area gr | C | AREA CLASSIFICATION (GROUP) |
| 021c | Inline hazardous area gr | D | AREA CLASSIFICATION (GROUP) |
| 021c | Inline hazardous area gr | E | AREA CLASSIFICATION (GROUP) |
| 021c | Inline hazardous area gr | F | AREA CLASSIFICATION (GROUP) |
| 021c | Inline hazardous area gr | G | AREA CLASSIFICATION (GROUP) |
| 021c | Inline hazardous area gr | H | AREA CLASSIFICATION (GROUP) |
| 022a | Inline area min ign temp |  |  |
| 022au | Inline ign temp units | °C | UNITS |
| 022au | Inline ign temp units | °F | UNITS |
| 022au | Inline ign temp units | C | UNITS |
| 022au | Inline ign temp units | F | UNITS |
| 022b | Inline ign temp ident no | T1 |  |
| 022b | Inline ign temp ident no | T2 |  |
| 022b | Inline ign temp ident no | T2A |  |
| 022b | Inline ign temp ident no | T2B |  |
| 022b | Inline ign temp ident no | T2C |  |
| 022b | Inline ign temp ident no | T2D |  |
| 022b | Inline ign temp ident no | T3 |  |
| 022b | Inline ign temp ident no | T3A |  |
| 022b | Inline ign temp ident no | T3B |  |
| 022b | Inline ign temp ident no | T3C |  |
| 022b | Inline ign temp ident no | T4 |  |
| 022b | Inline ign temp ident no | T4A |  |
| 022b | Inline ign temp ident no | T5 |  |
| 022b | Inline ign temp ident no | T6 |  |
| 023 | Minimum temperature |  |  |
| 023u | Minimum temperature units | °C | UNITS |
| 023u | Minimum temperature units | °F | UNITS |
| 023u | Minimum temperature units | C | UNITS |
| 023u | Minimum temperature units | F | UNITS |
| 024 | Maximum temperature |  |  |
| 024u | Maximum temperature units | °C | UNITS |
| 024u | Maximum temperature units | °F | UNITS |
| 024u | Maximum temperature units | C | UNITS |
| 024u | Maximum temperature units | F | UNITS |
| 025 | Min required overtravel |  |  |
| 025u | Overtravel units | in | UNITS |
| 025u | Overtravel units | mm | UNITS |
| 026 | Maximum travel to operate |  |  |
| 026u | Travel to operate units | in | UNITS |
| 026u | Travel to operate units | mm | UNITS |
| 027 | Actuating material | aluminum | MATERIAL |
| 027 | Actuating material | brass | MATERIAL |
| 027 | Actuating material | stainless steel | MATERIAL |
| 027 | Actuating material | steel | MATERIAL |
| 028a | User defined attribute 1 name | NA |  |
| 028b | User defined attribute 1 value | NA |  |
| 029a | User defined attribute 2 name | NA |  |
| 029b | User defined attribute 2 value | NA |  |
| 030a | User defined attribute 3 name | NA |  |
| 030b | User defined attribute 3 value | NA |  |
| 031 | SWITCH HOUSING | SECTION TITLE |  |
| 032 | Housing type | environment-sealed | HOUSING |
| 032 | Housing type | factory sealed | HOUSING |
| 032 | Housing type | general purpose | HOUSING |
| 032 | Housing type | hazardous locations | HOUSING |
| 032 | Housing type | hermetically sealed | HOUSING |
| 032 | Housing type | integral cable gland | HOUSING |
| 032 | Housing type | NA | HOUSING |
| 032 | Housing type | oiltight | HOUSING |
| 032 | Housing type | special purpose | HOUSING |
| 032 | Housing type | splash resistant | HOUSING |
| 032 | Housing type | watertight | HOUSING |
| 033 | Construction style | box nonplug-in |  |
| 033 | Construction style | box plug-in |  |
| 033 | Construction style | DIN |  |
| 033 | Construction style | dual switch |  |
| 033 | Construction style | international style |  |
| 033 | Construction style | rectangular |  |
| 033 | Construction style | square |  |
| 034 | Nominal size | compact | NOMINAL SIZE |
| 034 | Nominal size | large | NOMINAL SIZE |
| 034 | Nominal size | miniature | NOMINAL SIZE |
| 034 | Nominal size | small | NOMINAL SIZE |
| 034 | Nominal size | standard | NOMINAL SIZE |
| 034 | Nominal size | subminiature | NOMINAL SIZE |
| 035 | Enclosure type no/class | 1 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 1,12,13 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 1,3,4,12,13 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 1,4,12,13 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 1,4,6P,13 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 1,4X,6P,13 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 12 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 13 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 2 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 3 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 4 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 4,13 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 4X | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 6 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 6P | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 7 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 7,9 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | 9 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | IP64 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | IP65 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | IP66 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | IP67 | ENCLOSURE TYPE NO/CLASS |
| 035 | Enclosure type no/class | NA | ENCLOSURE TYPE NO/CLASS |
| 036 | Mounting location/type | cavity mounted | MOUNTING POSITION |
| 036 | Mounting location/type | flush-mounting | MOUNTING POSITION |
| 036 | Mounting location/type | front-mounting | MOUNTING POSITION |
| 036 | Mounting location/type | manifold mount | MOUNTING POSITION |
| 036 | Mounting location/type | panel mount | MOUNTING POSITION |
| 036 | Mounting location/type | rear-mounting | MOUNTING POSITION |
| 036 | Mounting location/type | surface mounted | MOUNTING POSITION |
| 037 | Housing material | die-cast aluminum | MATERIAL |
| 037 | Housing material | filled phenolic | MATERIAL |
| 037 | Housing material | glass filled polymer | MATERIAL |
| 037 | Housing material | NA | MATERIAL |
| 037 | Housing material | silicon bronze | MATERIAL |
| 037 | Housing material | stainless steel | MATERIAL |
| 037 | Housing material | thermoplastic polyester | MATERIAL |
| 037 | Housing material | zinc die-cast | MATERIAL |
| 038a | Defined attribute 1 name | Special cover | DEFINABLE ATTRIBUTE NAME |
| 038b | Defined attribute 1 data | transparent plastic | DEFINABLE ATTRIBUTE VALUE |
| 039a | Defined attribute 2 name | Conduit fitting | DEFINABLE ATTRIBUTE NAME |
| 039b | Defined attribute 2 data | liquid-tight back 90 ° | DEFINABLE ATTRIBUTE VALUE |
| 039b | Defined attribute 2 data | liquid-tight front 90 ° | DEFINABLE ATTRIBUTE VALUE |
| 039b | Defined attribute 2 data | liquid-tight left 90 ° | DEFINABLE ATTRIBUTE VALUE |
| 039b | Defined attribute 2 data | liquid-tight right 90 ° | DEFINABLE ATTRIBUTE VALUE |
| 039b | Defined attribute 2 data | liquid-tight straight-out | DEFINABLE ATTRIBUTE VALUE |
| 040 | ACTUATOR | SECTION TITLE |  |
| 041 | Actuator type | linear motion |  |
| 041 | Actuator type | rotary motion |  |
| 042 | Actuator style | gravity return |  |
| 042 | Actuator style | low force/torque |  |
| 042 | Actuator style | neutral position |  |
| 042 | Actuator style | sequential position |  |
| 042 | Actuator style | spring return |  |
| 042 | Actuator style | two stage |  |
| 043a | Free position LRL | 0 |  |
| 043a | Free position LRL | -49 |  |
| 043au | Free position LRL units | ° | UNITS |
| 043au | Free position LRL units | deg | UNITS |
| 043b | Free position URL | 360 |  |
| 043b | Free position URL | 49 |  |
| 043bu | Free position URL units | ° | UNITS |
| 043bu | Free position URL units | deg | UNITS |
| 044 | Pre-Travel to operate | 1.25 |  |
| 044 | Pre-Travel to operate | 1.5 |  |
| 044 | Pre-Travel to operate | 10 |  |
| 044 | Pre-Travel to operate | 14.2 |  |
| 044 | Pre-Travel to operate | 15 |  |
| 044 | Pre-Travel to operate | 20.6 |  |
| 044 | Pre-Travel to operate | 25 |  |
| 044 | Pre-Travel to operate | 26 |  |
| 044 | Pre-Travel to operate | 26.5 |  |
| 044 | Pre-Travel to operate | 3 |  |
| 044 | Pre-Travel to operate | 30 |  |
| 044 | Pre-Travel to operate | 31.8 |  |
| 044 | Pre-Travel to operate | 38 |  |
| 044 | Pre-Travel to operate | 38.1 |  |
| 044 | Pre-Travel to operate | 68 |  |
| 044 | Pre-Travel to operate | 8 |  |
| 044 | Pre-Travel to operate | 9 |  |
| 044u | Travel to operate units | ° | UNITS |
| 044u | Travel to operate units | deg | UNITS |
| 044u | Travel to operate units | in | UNITS |
| 044u | Travel to operate units | mm | UNITS |
| 045 | Total travel | .81 |  |
| 045 | Total travel | 12 |  |
| 045 | Total travel | 15 |  |
| 045 | Total travel | 20.6 |  |
| 045 | Total travel | 24 |  |
| 045 | Total travel | 25 |  |
| 045 | Total travel | 3 |  |
| 045 | Total travel | 30 |  |
| 045 | Total travel | 4 |  |
| 045 | Total travel | 40 |  |
| 045 | Total travel | 43 |  |
| 045 | Total travel | 44 |  |
| 045 | Total travel | 6 |  |
| 045 | Total travel | 8 |  |
| 045u | Total travel units | ° | UNITS |
| 045u | Total travel units | deg | UNITS |
| 045u | Total travel units | in | UNITS |
| 045u | Total travel units | mm | UNITS |
| 046 | Operator type | adj wide roller lever |  |
| 046 | Operator type | adjustable lever |  |
| 046 | Operator type | adjustable plunger |  |
| 046 | Operator type | adjustable rod |  |
| 046 | Operator type | adjustable roller |  |
| 046 | Operator type | auxiliary leaf |  |
| 046 | Operator type | ball bearing plunger |  |
| 046 | Operator type | bevel plunger |  |
| 046 | Operator type | cable with eyebolt |  |
| 046 | Operator type | cat wisker |  |
| 046 | Operator type | chain |  |
| 046 | Operator type | cross roller arm |  |
| 046 | Operator type | cross roller plunger |  |
| 046 | Operator type | cross rotated plunger |  |
| 046 | Operator type | cross rotated roller arm |  |
| 046 | Operator type | extended adj roller |  |
| 046 | Operator type | extended plunger |  |
| 046 | Operator type | extended roller lever |  |
| 046 | Operator type | extended straight plunger |  |
| 046 | Operator type | fork lock lever |  |
| 046 | Operator type | forked roller |  |
| 046 | Operator type | integral leaf |  |
| 046 | Operator type | integral lever |  |
| 046 | Operator type | linkage lever arm |  |
| 046 | Operator type | looped rod |  |
| 046 | Operator type | manual palm button |  |
| 046 | Operator type | micrometer adj roller |  |
| 046 | Operator type | non-adj offset roller |  |
| 046 | Operator type | non-adj one-way roller |  |
| 046 | Operator type | non-adj without roller |  |
| 046 | Operator type | non-adjustable roller |  |
| 046 | Operator type | one-way roller |  |
| 046 | Operator type | overtravel plunger |  |
| 046 | Operator type | pin plunger |  |
| 046 | Operator type | push rod |  |
| 046 | Operator type | reversed lever |  |
| 046 | Operator type | reversed roller lever |  |
| 046 | Operator type | roller lever |  |
| 046 | Operator type | roller lever push |  |
| 046 | Operator type | roller lever/Leaf |  |
| 046 | Operator type | roller plunger |  |
| 046 | Operator type | roller push |  |
| 046 | Operator type | rotary roller |  |
| 046 | Operator type | sealed roller plunger |  |
| 046 | Operator type | standard lever |  |
| 046 | Operator type | straight lever |  |
| 046 | Operator type | straight plunger |  |
| 046 | Operator type | stroke |  |
| 046 | Operator type | wobble cable |  |
| 046 | Operator type | wobble cat wisker |  |
| 046 | Operator type | wobble coil spring |  |
| 046 | Operator type | wobble flexible cable |  |
| 046 | Operator type | wobble rod |  |
| 046 | Operator type | wobble rod coil spring |  |
| 046 | Operator type | wobble spring rod |  |
| 046 | Operator type | wobble spring wire |  |
| 046 | Operator type | wobble steel wire |  |
| 046 | Operator type | wobble stick |  |
| 047 | Movement operation mode | ccw rotation only |  |
| 047 | Movement operation mode | clockwise rotation only |  |
| 047 | Movement operation mode | cw/ccw rotation |  |
| 047 | Movement operation mode | linear |  |
| 047 | Movement operation mode | linear unidirectional |  |
| 048 | Lever nominal size | .75 in radius |  |
| 048 | Lever nominal size | 1 1/2 in long |  |
| 048 | Lever nominal size | 1 3/8 in long |  |
| 048 | Lever nominal size | 1.19 to 3 in radius |  |
| 048 | Lever nominal size | 1.19 to 4 in radius |  |
| 048 | Lever nominal size | 1.44 in radius |  |
| 048 | Lever nominal size | 1.5 in radius |  |
| 048 | Lever nominal size | 11.5 in long |  |
| 048 | Lever nominal size | 12 in long |  |
| 048 | Lever nominal size | 2 1/2 in long |  |
| 048 | Lever nominal size | 2 1/2 in radius |  |
| 048 | Lever nominal size | 2 1/8 in radius |  |
| 048 | Lever nominal size | 2 in long |  |
| 048 | Lever nominal size | 2 in radius |  |
| 048 | Lever nominal size | 3 in long |  |
| 048 | Lever nominal size | 3 in radius |  |
| 048 | Lever nominal size | 5 in long |  |
| 048 | Lever nominal size | 6 in long, 2 in wide loop |  |
| 048 | Lever nominal size | 7/8 in long |  |
| 048 | Lever nominal size | 8.5 in long |  |
| 049 | Mounting orientation | front mounted |  |
| 049 | Mounting orientation | reversed position |  |
| 049 | Mounting orientation | right side mounted |  |
| 049 | Mounting orientation | side, vertical roller |  |
| 049 | Mounting orientation | top push |  |
| 049 | Mounting orientation | top, roller 0ffset |  |
| 049 | Mounting orientation | top, roller parallel |  |
| 049 | Mounting orientation | top, roller perpendicular |  |
| 049 | Mounting orientation | top,rotatable 4 positions |  |
| 050 | Lever arm material | carbon steel | MATERIAL |
| 050 | Lever arm material | cast zinc | MATERIAL |
| 050 | Lever arm material | NA | MATERIAL |
| 050 | Lever arm material | silicon bronze | MATERIAL |
| 050 | Lever arm material | TUFRAM coated aluminum | MATERIAL |
| 051 | Roller/Rod material | 316 SST | MATERIAL |
| 051 | Roller/Rod material | ball bearing | MATERIAL |
| 051 | Roller/Rod material | beryllium copper | MATERIAL |
| 051 | Roller/Rod material | DELRIN | MATERIAL |
| 051 | Roller/Rod material | hardened sintered iron | MATERIAL |
| 051 | Roller/Rod material | metal | MATERIAL |
| 051 | Roller/Rod material | NA | MATERIAL |
| 051 | Roller/Rod material | nylatron | MATERIAL |
| 051 | Roller/Rod material | nylon | MATERIAL |
| 051 | Roller/Rod material | rubber | MATERIAL |
| 051 | Roller/Rod material | stainless steel | MATERIAL |
| 051 | Roller/Rod material | steel | MATERIAL |
| 052 | Seal material | buna N | MATERIAL |
| 052 | Seal material | NA | MATERIAL |
| 052 | Seal material | neoprene | MATERIAL |
| 052 | Seal material | PTFE | MATERIAL |
| 052 | Seal material | viton | MATERIAL |
| 052 | Seal material | viton | MATERIAL |
| 053a | Defined attribute 1 name | Dust protection | DEFINABLE ATTRIBUTE NAME |
| 053a | Defined attribute 1 name | Shaft equipment | DEFINABLE ATTRIBUTE NAME |
| 053b | Defined attribute 1 data | dust boot | DEFINABLE ATTRIBUTE VALUE |
| 053b | Defined attribute 1 data | hub only | DEFINABLE ATTRIBUTE VALUE |
| 053b | Defined attribute 1 data | shaft and hub | DEFINABLE ATTRIBUTE VALUE |
| 054a | Defined attribute 2 name | Roller location | DEFINABLE ATTRIBUTE NAME |
| 054b | Defined attribute 2 data | LH roller on opp side | DEFINABLE ATTRIBUTE VALUE |
| 054b | Defined attribute 2 data | RH roller on opp side | DEFINABLE ATTRIBUTE VALUE |
| 054b | Defined attribute 2 data | roller on front | DEFINABLE ATTRIBUTE VALUE |
| 054b | Defined attribute 2 data | roller on rear | DEFINABLE ATTRIBUTE VALUE |
| 054b | Defined attribute 2 data | rollers on same side | DEFINABLE ATTRIBUTE VALUE |
| 055 | SWITCH MECHANISM | SECTION TITLE |  |
| 056 | Switch type | digital |  |
| 056 | Switch type | electro-mechanical |  |
| 056 | Switch type | sealed reed contact |  |
| 056 | Switch type | solid-state |  |
| 057 | Contact style | direct opening NC contact |  |
| 057 | Contact style | maintained contact |  |
| 057 | Contact style | momentary contact |  |
| 057 | Contact style | momentary-spring return |  |
| 058 | Nominal contact rating | A150 |  |
| 058 | Nominal contact rating | A300 |  |
| 058 | Nominal contact rating | A600 |  |
| 058 | Nominal contact rating | AC 11 |  |
| 058 | Nominal contact rating | AC 15 |  |
| 058 | Nominal contact rating | B300 |  |
| 058 | Nominal contact rating | B600 |  |
| 058 | Nominal contact rating | DC 11 |  |
| 058 | Nominal contact rating | DC 13 |  |
| 058 | Nominal contact rating | P150 |  |
| 058 | Nominal contact rating | P300 |  |
| 058 | Nominal contact rating | Q300 |  |
| 058 | Nominal contact rating | R150 |  |
| 058 | Nominal contact rating | R300 |  |
| 059 | Output signal type | analog current | SIGNAL |
| 059 | Output signal type | digital | SIGNAL |
| 059 | Output signal type | dry contact | SIGNAL |
| 060 | Switch action type | quick make-quick break |  |
| 060 | Switch action type | slow action |  |
| 060 | Switch action type | slow action spring return |  |
| 060 | Switch action type | slow make-before break |  |
| 060 | Switch action type | slow make-slow break |  |
| 060 | Switch action type | snap action |  |
| 060 | Switch action type | snap action spring return |  |
| 061 | Digital communication std | DeviceNet |  |
| 061 | Digital communication std | DeviceNet |  |
| 061 | Digital communication std | NA |  |
| 062 | Circuitry type | 1-circuit |  |
| 062 | Circuitry type | 2-circuit |  |
| 062 | Circuitry type | 4-circuit |  |
| 063a | Contacts arrangement | DPDT |  |
| 063a | Contacts arrangement | DPDT-DB |  |
| 063a | Contacts arrangement | DPST-NC |  |
| 063a | Contacts arrangement | DPST-NC-DB |  |
| 063a | Contacts arrangement | DPST-NO |  |
| 063a | Contacts arrangement | DPST-NO-DB |  |
| 063a | Contacts arrangement | SPDT |  |
| 063a | Contacts arrangement | SPDT DB |  |
| 063a | Contacts arrangement | SPDT-1 NO,1 NC |  |
| 063a | Contacts arrangement | SPDT-DB |  |
| 063a | Contacts arrangement | SPST |  |
| 063a | Contacts arrangement | SPST-NC |  |
| 063a | Contacts arrangement | SPST-NC-DB |  |
| 063a | Contacts arrangement | SPST-NO |  |
| 063a | Contacts arrangement | SPST-NO-DB |  |
| 063b | Contacts quantity | 1 |  |
| 063b | Contacts quantity | 2 |  |
| 063b | Contacts quantity | 3 |  |
| 063b | Contacts quantity | 4 |  |
| 065 | Integral indicator style | LED light |  |
| 065 | Integral indicator style | NA |  |
| 065 | Integral indicator style | neon light |  |
| 066 | Signal termination type | 10-pin mini-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | 3-pin micro-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | 3-pin mini-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | 3-pin pico-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | 4-pin binder-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | 4-pin micro-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | 4-pin mini-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | 5-pin micro-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | 5-pin mini-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | 6-pin mini-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | 9-pin mini-style QD | END CONNECTION TYPE |
| 066 | Signal termination type | cable gland | END CONNECTION TYPE |
| 066 | Signal termination type | factory sealed leads | END CONNECTION TYPE |
| 066 | Signal termination type | integral cable | END CONNECTION TYPE |
| 066 | Signal termination type | pigtail leads | END CONNECTION TYPE |
| 066 | Signal termination type | potted-in cable | END CONNECTION TYPE |
| 066 | Signal termination type | pressure plate terminals | END CONNECTION TYPE |
| 066 | Signal termination type | printed circuit board | END CONNECTION TYPE |
| 066 | Signal termination type | quick connect D8 | END CONNECTION TYPE |
| 066 | Signal termination type | quick connect E8 | END CONNECTION TYPE |
| 066 | Signal termination type | quick connect E9 | END CONNECTION TYPE |
| 066 | Signal termination type | screw terminals | END CONNECTION TYPE |
| 066 | Signal termination type | solder terminals | END CONNECTION TYPE |
| 067 | Cert/Approval type | CE marked | CERTIFICATION |
| 067 | Cert/Approval type | CENELEC | CERTIFICATION |
| 067 | Cert/Approval type | CSA hazardous | CERTIFICATION |
| 067 | Cert/Approval type | c-UL general purpose | CERTIFICATION |
| 067 | Cert/Approval type | UL hazardous | CERTIFICATION |
| 068 | Time delay type | NA |  |
| 068 | Time delay type | off-delay |  |
| 068 | Time delay type | on-delay |  |
| 069 | Contact material | gold alloy | MATERIAL |
| 069 | Contact material | gold plated | MATERIAL |
| 069 | Contact material | silver | MATERIAL |
| 069 | Contact material | silver cadmium oxide | MATERIAL |
| 069 | Contact material | silver nickel alloy | MATERIAL |
| 070a | Defined attribute 1 name | Switch seal type | DEFINABLE ATTRIBUTE NAME |
| 070b | Defined attribute 1 data | fully potted | DEFINABLE ATTRIBUTE VALUE |
| 070b | Defined attribute 1 data | hermetically sealed | DEFINABLE ATTRIBUTE VALUE |
| 071a | Defined attribute 2 name | Gounding type | DEFINABLE ATTRIBUTE NAME |
| 071b | Defined attribute 2 data | double insulated | DEFINABLE ATTRIBUTE VALUE |
| 072 | LEAD WIRE AND EXTENSION | SECTION TITLE |  |
| 073 | Extension type | cordset |  |
| 073 | Extension type | extension cable |  |
| 073 | Extension type | integral cable |  |
| 073 | Extension type | NA |  |
| 073 | Extension type | patch cord |  |
| 073 | Extension type | Y-cables |  |
| 074 | Conductor nominal size | 2 conductor 16 AWG |  |
| 074 | Conductor nominal size | 2 conductor 18 AWG |  |
| 074 | Conductor nominal size | 3 conductor 16 AWG |  |
| 074 | Conductor nominal size | 3 conductor 18 AWG |  |
| 074 | Conductor nominal size | 4 conductor 16 AWG |  |
| 074 | Conductor nominal size | 5 conductor 16 AWG |  |
| 074 | Conductor nominal size | 6 conductor 22 AWG |  |
| 074 | Conductor nominal size | NA |  |
| 075 | Cable length | 0 |  |
| 075 | Cable length | 1.0 |  |
| 075 | Cable length | 1.52 |  |
| 075 | Cable length | 1.83 |  |
| 075 | Cable length | 10 |  |
| 075 | Cable length | 12 |  |
| 075 | Cable length | 16 |  |
| 075 | Cable length | 2 |  |
| 075 | Cable length | 2.5 |  |
| 075 | Cable length | 20 |  |
| 075 | Cable length | 3 |  |
| 075 | Cable length | 3.66 |  |
| 075 | Cable length | 4.78 |  |
| 075 | Cable length | 5 |  |
| 075 | Cable length | 5 |  |
| 075 | Cable length | 6 |  |
| 075 | Cable length | 6.5 |  |
| 075 | Cable length | 8 |  |
| 075u | Cable length units | ft | UNITS |
| 075u | Cable length units | m | UNITS |
| 076 | Connector configuration | 10-pin straight |  |
| 076 | Connector configuration | 4-pin right angle |  |
| 076 | Connector configuration | 4-pin straight |  |
| 076 | Connector configuration | 5-pin right angle |  |
| 076 | Connector configuration | 5-pin straight |  |
| 076 | Connector configuration | 6-pin straight |  |
| 076 | Connector configuration | 9-pin straight |  |
| 076 | Connector configuration | NA |  |
| 077 | Signal termination type | 2 cut cable x male conn | END CONNECTION TYPE |
| 077 | Signal termination type | 2 female conn x male conn | END CONNECTION TYPE |
| 077 | Signal termination type | cut cable | END CONNECTION TYPE |
| 077 | Signal termination type | cut cable x male conn | END CONNECTION TYPE |
| 077 | Signal termination type | female conn x cut cable | END CONNECTION TYPE |
| 077 | Signal termination type | female conn x male conn | END CONNECTION TYPE |
| 077 | Signal termination type | flying leads | END CONNECTION TYPE |
| 077 | Signal termination type | NA | END CONNECTION TYPE |
| 077 | Signal termination type | screw terminal | END CONNECTION TYPE |
| 077 | Signal termination type | solder | END CONNECTION TYPE |
| 077 | Signal termination type | weld tab | END CONNECTION TYPE |
| 078 | Cable jacket material | NA | MATERIAL |
| 078 | Cable jacket material | PUR | MATERIAL |
| 078 | Cable jacket material | PVC | MATERIAL |
| 078 | Cable jacket material | STO | MATERIAL |
| 078 | Cable jacket material | STOOW-A | MATERIAL |
| 079a | Defined attribute 1 name | Integral indicator style | DEFINABLE ATTRIBUTE NAME |
| 079a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 079b | Defined attribute 1 data | illuminated | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | LED | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 079b | Defined attribute 1 data | non-illuminated | DEFINABLE ATTRIBUTE VALUE |
| 080a | Defined attribute 2 name | Jacket color | DEFINABLE ATTRIBUTE NAME |
| 080a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 080b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 080b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 080b | Defined attribute 2 data | yellow | DEFINABLE ATTRIBUTE VALUE |
| 081 | PERFORMANCE CHARACTERISTICS | SECTION TITLE |  |
| 082 | Operating force/torque |  |  |
| 082u | Force/torque units | lb | UNITS |
| 082u | Force/torque units | N | UNITS |
| 082u | Force/torque units | N.m | UNITS |
| 082u | Force/torque units | oz.in | UNITS |
| 083a | Repeatability | .0004 |  |
| 083a | Repeatability | .01 |  |
| 083b | Repeatability ref base | in |  |
| 083b | Repeatability ref base | mm |  |
| 084 | Max over travel limit |  |  |
| 084u | Overrange units | ° | UNITS |
| 084u | Overrange units | deg | UNITS |
| 084u | Overrange units | in | UNITS |
| 084u | Overrange units | mm | UNITS |
| 085 | Max travel to reset |  |  |
| 085u | Max reset travel units | ° | UNITS |
| 085u | Max reset travel units | deg | UNITS |
| 085u | Max reset travel units | in | UNITS |
| 085u | Max reset travel units | mm | UNITS |
| 086a | Min ambient working temp | 0 | AMBIENT TEMPERATURE |
| 086a | Min ambient working temp | 32 | AMBIENT TEMPERATURE |
| 086a | Min ambient working temp | -40 | AMBIENT TEMPERATURE |
| 086au | Min amb working temp units | °C | UNITS |
| 086au | Min amb working temp units | °F | UNITS |
| 086au | Min amb working temp units | C | UNITS |
| 086au | Min amb working temp units | F | UNITS |
| 086b | Max ambient working temp | 110 | MAX AMBIENT TEMPERATURE |
| 086b | Max ambient working temp | 230 | MAX AMBIENT TEMPERATURE |
| 086bu | Max amb temperature units | °C | UNITS |
| 086bu | Max amb temperature units | °F | UNITS |
| 086bu | Max amb temperature units | C | UNITS |
| 086bu | Max amb temperature units | F | UNITS |
| 087a | Contacts ac rating | 0.6 | DEVICE RATING |
| 087a | Contacts ac rating | 0.75 | DEVICE RATING |
| 087a | Contacts ac rating | 1.2 | DEVICE RATING |
| 087a | Contacts ac rating | 1.5 | DEVICE RATING |
| 087a | Contacts ac rating | 10 | DEVICE RATING |
| 087a | Contacts ac rating | 15 | DEVICE RATING |
| 087a | Contacts ac rating | 16 | DEVICE RATING |
| 087a | Contacts ac rating | 2 | DEVICE RATING |
| 087a | Contacts ac rating | 20 | DEVICE RATING |
| 087a | Contacts ac rating | 3 | DEVICE RATING |
| 087a | Contacts ac rating | 5 | DEVICE RATING |
| 087a | Contacts ac rating | 6 | DEVICE RATING |
| 087au | AC rating current units | A | UNITS |
| 087b | AC rating max voltage | 110 | DEVICE RATING |
| 087b | AC rating max voltage | 115 | DEVICE RATING |
| 087b | AC rating max voltage | 120 | DEVICE RATING |
| 087b | AC rating max voltage | 125 | DEVICE RATING |
| 087b | AC rating max voltage | 220 | DEVICE RATING |
| 087b | AC rating max voltage | 24 | DEVICE RATING |
| 087b | AC rating max voltage | 240 | DEVICE RATING |
| 087b | AC rating max voltage | 250 | DEVICE RATING |
| 087b | AC rating max voltage | 380 | DEVICE RATING |
| 087b | AC rating max voltage | 450 | DEVICE RATING |
| 087b | AC rating max voltage | 480 | DEVICE RATING |
| 087b | AC rating max voltage | 500 | DEVICE RATING |
| 087b | AC rating max voltage | 600 | DEVICE RATING |
| 087bu | AC max voltage units | V | UNITS |
| 088a | Contacts dc rating | .1 | DEVICE RATING |
| 088a | Contacts dc rating | .2 | DEVICE RATING |
| 088a | Contacts dc rating | .55 | DEVICE RATING |
| 088a | Contacts dc rating | 0.4 | DEVICE RATING |
| 088a | Contacts dc rating | 1.1 | DEVICE RATING |
| 088a | Contacts dc rating | 15 | DEVICE RATING |
| 088a | Contacts dc rating | 2.2 | DEVICE RATING |
| 088a | Contacts dc rating | 2.5 | DEVICE RATING |
| 088a | Contacts dc rating | 25 | DEVICE RATING |
| 088a | Contacts dc rating | 4 | DEVICE RATING |
| 088a | Contacts dc rating | 5 | DEVICE RATING |
| 088a | Contacts dc rating | 6 | DEVICE RATING |
| 088a | Contacts dc rating | 7 | DEVICE RATING |
| 088au | DC rating current units | A | UNITS |
| 088b | DC rating max voltage | 110 | DEVICE RATING |
| 088b | DC rating max voltage | 115 | DEVICE RATING |
| 088b | DC rating max voltage | 120 | DEVICE RATING |
| 088b | DC rating max voltage | 125 | DEVICE RATING |
| 088b | DC rating max voltage | 14 | DEVICE RATING |
| 088b | DC rating max voltage | 220 | DEVICE RATING |
| 088b | DC rating max voltage | 230 | DEVICE RATING |
| 088b | DC rating max voltage | 24 | DEVICE RATING |
| 088b | DC rating max voltage | 240 | DEVICE RATING |
| 088b | DC rating max voltage | 250 | DEVICE RATING |
| 088b | DC rating max voltage | 28 | DEVICE RATING |
| 088b | DC rating max voltage | 30 | DEVICE RATING |
| 088b | DC rating max voltage | 550 | DEVICE RATING |
| 088b | DC rating max voltage | 8 | DEVICE RATING |
| 088bu | DC max voltage units | V | UNITS |
| 089 | Mechanical life cycles | 1x10E6 |  |
| 089 | Mechanical life cycles | 1x10E7 |  |
| 089 | Mechanical life cycles | 2x10E7 |  |
| 089 | Mechanical life cycles | 3x10E6 |  |
| 090 | Electrical life cycles | 200000 |  |
| 090 | Electrical life cycles | 500000 |  |
| 091a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 091b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 092a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 092b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 093a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 093b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 094 | ACCESSORIES | SECTION TITLE |  |
| 095 | Mating connector | 10 pin right angle female |  |
| 095 | Mating connector | 10 pin straight female |  |
| 095 | Mating connector | 4 pin right angle female |  |
| 095 | Mating connector | 4 pin straight female |  |
| 095 | Mating connector | 5 pin right angle female |  |
| 095 | Mating connector | 5 pin straight female |  |
| 095 | Mating connector | 9 pin right angle female |  |
| 095 | Mating connector | 9 pin straight female |  |
| 096 | Mounting adaptor/base | adaptor foot |  |
| 096 | Mounting adaptor/base | base assembly |  |
| 096 | Mounting adaptor/base | NA |  |
| 096 | Mounting adaptor/base | rear mounting kit |  |
| 097a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 097a | Defined attribute 1 name | Terminal wire cover | DEFINABLE ATTRIBUTE NAME |
| 097b | Defined attribute 1 data | 45 ° conduit interface | DEFINABLE ATTRIBUTE VALUE |
| 097b | Defined attribute 1 data | 90 ° conduit interface | DEFINABLE ATTRIBUTE VALUE |
| 097b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 098a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 098b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 099a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 099b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 100 | SPECIAL REQUIREMENTS | SECTION TITLE |  |
| 101 | Custom tag | fiber tag |  |
| 101 | Custom tag | NA |  |
| 101 | Custom tag | sst permanent attached |  |
| 101 | Custom tag | sst wired-on |  |
| 102 | Reference specification | NA | REFERENCE SPECIFICATION |
| 103 | Compliance standard | EN 81-1 | NACE STANDARD |
| 103 | Compliance standard | EN50013 | NACE STANDARD |
| 103 | Compliance standard | IEC 947-5-1 | NACE STANDARD |
| 103 | Compliance standard | MIL-S-8805 | NACE STANDARD |
| 103 | Compliance standard | NA | NACE STANDARD |
| 103 | Compliance standard | TUV | NACE STANDARD |
| 104a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 104b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 105a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 105b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 106a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 106b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 107 | PHYSICAL DATA | SECTION TITLE |  |
| 108 | Estimated weight |  |  |
| 108u | Weight units | kg | UNITS |
| 108u | Weight units | lb | UNITS |
| 109 | Overall width |  |  |
| 109u | Overall width units | in | UNITS |
| 109u | Overall width units | mm | UNITS |
| 110 | Overall length/height |  |  |
| 110u | Overall height units | in | UNITS |
| 110u | Overall height units | mm | UNITS |
| 111 | Overall depth |  |  |
| 111u | Overall depth units | in | UNITS |
| 111u | Overall depth units | m | UNITS |
| 112a | Signal conn nominal size | 1/2 in | NOMINAL SIZE |
| 112a | Signal conn nominal size | 3/4 in | NOMINAL SIZE |
| 112b | Signal conn termn style | 20 mm | END CONNECTION TYPE |
| 112b | Signal conn termn style | cm20 | END CONNECTION TYPE |
| 112b | Signal conn termn style | m16 | END CONNECTION TYPE |
| 112b | Signal conn termn style | NA | END CONNECTION TYPE |
| 112b | Signal conn termn style | NPT(F) | END CONNECTION TYPE |
| 112b | Signal conn termn style | NPT(M) | END CONNECTION TYPE |
| 112b | Signal conn termn style | pg 13.5 | END CONNECTION TYPE |
| 113 | Mfr reference dwg | NA |  |
| 114a | Defined attribute 1 name | NA | DEFINABLE ATTRIBUTE NAME |
| 114b | Defined attribute 1 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 115a | Defined attribute 2 name | NA | DEFINABLE ATTRIBUTE NAME |
| 115b | Defined attribute 2 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 116a | Defined attribute 3 name | NA | DEFINABLE ATTRIBUTE NAME |
| 116b | Defined attribute 3 data | NA | DEFINABLE ATTRIBUTE VALUE |
| 117 | CALIBRATIONS AND TEST | SECTION TITLE |  |
| 119a | Setpoint 1 tag no |  |  |
| 119b | Position setpoint 1-Output | CALIBRATION/TEST DESC |  |
| 119c | Setpoint 1 LRV |  | LOWER RANGE-VALUE |
| 119cu | Setpoint 1 LRV units | ° | UNITS |
| 119cu | Setpoint 1 LRV units | deg | UNITS |
| 119cu | Setpoint 1 LRV units | in | UNITS |
| 119cu | Setpoint 1 LRV units | mm | UNITS |
| 119d | Setpoint 1 URV |  | UPPER RANGE-VALUE |
| 119du | Setpoint 1 URV units | ° | UNITS |
| 119du | Setpoint 1 URV units | deg | UNITS |
| 119du | Setpoint 1 URV units | in | UNITS |
| 119du | Setpoint 1 URV units | mm | UNITS |
| 119e | Setpoint 1 signal action | NC |  |
| 119e | Setpoint 1 signal action | NO |  |
| 119f | Setpoint 1 output LRV | 0 | LOWER RANGE-VALUE |
| 119fu | Setpoint 1 output LRV units | V | UNITS |
| 119g | Setpoint 1 output URV | 120 | UPPER RANGE-VALUE |
| 119g | Setpoint 1 output URV | 24 | UPPER RANGE-VALUE |
| 119gu | Setpoint 1 output URV units | V | UNITS |
| 120a | Setpoint 2 tag no |  |  |
| 120b | Position setpoint 2-Output | CALIBRATION/TEST DESC |  |
| 120c | Setpoint 2 LRV |  | LOWER RANGE-VALUE |
| 120cu | Setpoint 2 LRV units | ° | UNITS |
| 120cu | Setpoint 2 LRV units | deg | UNITS |
| 120cu | Setpoint 2 LRV units | in | UNITS |
| 120cu | Setpoint 2 LRV units | mm | UNITS |
| 120d | Setpoint 2 URV |  | UPPER RANGE-VALUE |
| 120du | Setpoint 2 URV units | ° | UNITS |
| 120du | Setpoint 2 URV units | deg | UNITS |
| 120du | Setpoint 2 URV units | in | UNITS |
| 120du | Setpoint 2 URV units | mm | UNITS |
| 120e | Setpoint 2 signal action | NC |  |
| 120e | Setpoint 2 signal action | NO |  |
| 120f | Setpoint 2 output LRV | 0 | LOWER RANGE-VALUE |
| 120fu | Setpoint 2 output LRV units | V | UNITS |
| 120g | Setpoint 2 output URV | 120 | UPPER RANGE-VALUE |
| 120g | Setpoint 2 output URV | 24 | UPPER RANGE-VALUE |
| 120gu | Setpoint 2 output URV units | V | UNITS |
| 121a | Analog position tag no |  |  |
| 121b | Position-Analog output | CALIBRATION/TEST DESC |  |
| 121c | Position LRV |  | LOWER RANGE-VALUE |
| 121cu | Position LRV units | ° | UNITS |
| 121cu | Position LRV units | deg | UNITS |
| 121cu | Position LRV units | in | UNITS |
| 121cu | Position LRV units | mm | UNITS |
| 121d | Position URV |  | UPPER RANGE-VALUE |
| 121du | Position URV units | ° | UNITS |
| 121du | Position URV units | deg | UNITS |
| 121du | Position URV units | in | UNITS |
| 121du | Position URV units | mm | UNITS |
| 121e | Position signal action | direct |  |
| 121e | Position signal action | reverse |  |
| 121f | Position output LRV |  | LOWER RANGE-VALUE |
| 121fu | Position output LRV units | mA | UNITS |
| 121g | Position output URV |  | UPPER RANGE-VALUE |
| 121gu | Position output URV units | mA | UNITS |
| 122a | Attribute tag no |  |  |
| 122b | Attribute cal/test descp | NA |  |
| 122c | Attribute cal/test LRV |  | LOWER RANGE-VALUE |
| 122cu | Attr cal/test LRV units |  | UNITS |
| 122d | Attribute cal/test URV |  | UPPER RANGE-VALUE |
| 122du | Attr cal/test URV units |  | UNITS |
| 122e | Attribute cal/test action |  |  |
| 122f | Attribute output LRV |  | LOWER RANGE-VALUE |
| 122fu | Attr output LRV units |  | UNITS |
| 122g | Attribute output URV |  | UPPER RANGE-VALUE |
| 122gu | Attr output URV units |  | UNITS |
| 123 | COMPONENT IDENTIFICATIONS | SECTION TITLE |  |
| 125a | Component type | limit switch |  |
| 125b | Manufacturer |  | MANUFACTURER |
| 125c | Model number |  | MODEL NUMBER |
| 126a | Component type |  |  |
| 126b | Manufacturer |  | MANUFACTURER |
| 126c | Model number |  | MODEL NUMBER |
| 127a | Component type |  |  |
| 127b | Manufacturer |  | MANUFACTURER |
| 127c | Model number |  | MODEL NUMBER |
| 128a | Component type |  |  |
| 128b | Manufacturer |  | MANUFACTURER |
| 128c | Model number |  | MODEL NUMBER |